## GUIDE
GBCS Survey Review Template
Overview | Use this template to review the GBCS Surveys and both verify and evaluate survey responses.
Verification: Reviewer will review survey in its entirety and provide summary report to GSA for each full survey, indicating areas of concern, discrepancies, or inaccuracies
Evaluation: The reviewer will do a preliminary determination of whether the criteria is met (Yes, No, Partially)
Instructions | The "Template" tab is where the reviewer will record responses.
The GBCS survey is comprised of four parts: Instructions, and Parts 1-3
| Survey Part | Title | Action Required by Reviewer?
| Instructions | General guidelines for the system owners in completing the survey | No
| Part I | General information questions about the system | Yes, Note any general concerns with survey responses for this part in the fields provided.
| Part 2 | Effectiveness Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each effectiveness sub-criteria covered in Part 2 of the survey. Copy "Part 2" tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
| Part 3 | Development Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each development criteria covered in Part III of the survey
Completing Survey Review for Parts II-III | The majority of response fields are populated with drop-down menus for the reviewer to respond to the evaluation questions. Response options are "Yes," "No," and "Issue with Response." As described further below, some drop-down menus also include "Partially Met" as a potential response.
| Response | Definition | Action by Reviewer
| Yes | The information provided by the system owner for that sub-criteria is enough to confirm that the system does address that sub-criteria and affirmatively answers the evaluation question. | Mark Yes, and proceed to next evaluation question for that sub-criteria or move on to the next sub-criteria
| No | The system does not address that sub-criteria and therefore does not affirmatively answer the evaluation question. | Mark No, and proceed to the next sub-criteria (any additional evaluation questions for the sub-criteria can be marked as "N/A"
| Issue with Response | The reviewer is not able to respond "Yes" or "No" because the survey response is missing/unanswered, incomplete, factually incorrect, or unclear | Use the next cell over to briefly describe the issue with the answer (see below for further guidance).
| Partially Met | The system may meet the intent of the criteria, but does not specifically meet the evaluation question | Use the cell to the right to briefly describe how the intent is met to address the criteria, even though the evaluation question is not fully met (see below for example)
Types of Response Issues and Corrective Action | Issue | Reviewer Action Required | Corrective Action (if applicable)
| Missing/Unanswered | Note in the provided field | A missing answer will be considered intentional
| Incomplete | Note in the provided field | An incomplete answer will be evaluated as is
| Factually Incorrect | Describe in provided field, and include a question for the system owner requesting a correction. | If correction is received, GSA may ask RMI to re-evaluate (as needed)
| Unclear | Describe in provided field, and include a question for the system owner requesting a correction. | Once response is received by GSA, GSA will determine whether the answer is now clarified
Examples of "Partially Met" Criteria | Some evaluation questions include an additional potential response of "Partially Met." In this instance, GSA is interested in whether the system might meet the intent of the criteria but not completely align with the Guiding Principle requirement for that sub-criteria.
Example:
| Criteria | GP Compliance Language | Evaluation Question | How the system might "Partially Meet" that evaluation question. | Reviewer Action Required
| Moisture Control | "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks." | Is a plan/policy developed(yes/no)? | The system may require that the building identify and employ specific strategies to control moisture. While the system may not specifically require a formal plan, the system does support the intent of the sub-criteria/Guiding Principle Requirement to implement strategies that will control moisture. | In the field provided, briefly describe how the system may meet the intent of the Guiding Principle but not specifically meet what is actually required in the Guiding Principle and/or evaluation question.

## Part 1&3
Survey Part III |  |  |  | Evaluation
Survey Question Number | Sub- Criteria | EISA/DOE Rule Language | Definition | Evaluation Question | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet Criteria? | If "Issue with response," or "Partially Met," Please describe
Part III - A Process for Developing and Administering the Certification System
III-A: 1a) -1c) | Consensus-based approach | EISA/DOE Rule Language | Definition | Was the system developed using the ANSI process or another consensus-based process? | Yes |  | If yes, describe the consensus based approach. | BOMA BEST 4.0 – BOMA BEST Sustainable was developed by the industry for the industry: - The development of the program took a two phased approach. o BOMA Canada hired a consultant firm to conduct the revisioning phase which allowed BOMA Canada to gain insights into defining the guide vision, program structure, business process and certification types. This phase consisted of over 20 engagement sessions, gathering over 150+ stakeholders representing the entire industry. Stakeholders included consultants, building managers and operators, subject matter experts, building owners, BOMA BEST verifiers and BOMA Local Associations. They were invited to provide feedback on topics such as: business process, air/HVAC, custodial, energy and water, health and wellbeing, innovation, legislative topics, net zero carbon, resilience, site and landscaping, tenant operated buildings, verification, waste and circular economy. o During the development phase, BOMA Canada hired 3 consultants to develop the first draft of the assessment questionnaires. Once the questionnaires were drafted, 5 advisory groups were formed to solicit feedback on the questionnaires. These advisory groups focused on energy and carbon, IAQ and hazards, waste and water, custodial and resilience and wellness. - Once the questionnaires were finalized, BOMA Canada then initiated a 2-month 20+ pilot of the questionnaires, each providing valuable feedback for the overall program.
III-A: 2a)-2c); 3a)-3c) | Transparency | EISA/DOE Rule Language | Definition | To ensure transparency, what stakeholders or groups of stakholders were involved in the development and updating of the certification system | https://bomabest.org/introducing-boma-best-4-0/ |  | What was their role in the development or updating of the certification. | The stakeholders were instrumental in ensuring that the program represented industry best practices. Stakeholders were engaged during both phases of the development of the BOMA BEST questionnaires. They were also provided with a complete copy of the proposed draft BOMA BEST questionnaires and invited to thoroughly review and provide feedback. They identified gaps in the content, proposed new layout, suggested new content, and identified unclear questions. Results were announced via email to the stakeholders and delivered via webinar. An example of integration is provided as evidence.
I-A: 9) | Ability of applicable SDO to collect and reflect public comment | EISA/DOE Rule Language | Definition | Is there a procedure for differing opinions during system development and/or revision | Yes |  | If yes, describe the procedure. | Several topics were up for debate during the development of the BOMA BEST 4.0 questionnaires. Two of the most prominent discussions were the landlord vs. tenant responsibilities and carbon. To resolve these areas, BOMA Canada convened specific advisory sessions with industry stakeholders to discuss suggested ways forward. Two, 1.5-hour cross country virtual meetings were conducted where detailed discussions were had. Differing opinions were announced publicly or privately via phone conversations and email interactions with BOMA Canada. BOMA Canada summarized the outcomes and proposed solutions based on the discussions. These documents were sent out to the advisory for feedback. BOMA Canada was then able to arrive at a solution that pleased all stakeholders.
III-A: 4a)-4b) | Maturity | EISA/DOE Rule language | Definition | Is there an independent review and verification process for updating the certification system to ensure system maturity? | Yes |  | If yes, provide a description of how the system is revised or reaffirmed regularly to ensure maturity. | The current iteration of BOMA BEST is the 6th version of the program. BOMA BEST began as Go Green in 2005 and evolved to Go Green Plus, BOMA BEST (v1), BOMA BEST v2, BOMA BEST 3.0. and now BOMA BEST 4.0. Updates are therefore put in place every 3-4 years with a complete overhaul performed for this last iteration. This is done to reflect current industry standards. On an ongoing basis, applicants may submit requests for revisions or changes through the established Technical Update Request (TUR) process. These changes ensure the standard remains dynamic and incorporates best industry practices. The modifications are managed and resolved by the volunteer BOMA BEST Technical Committee consisting of industry stakeholders like subject matter experts, consultants, building managers and verifiers.
Part III - B Conformity Assessment
III-A: 5a)-5b) | Transparency | EISA/DOE Rule Language | Definition | Are revisions to the system documented and accessible to the public? | Yes |  | If yes, provide link to publicly accessible information regarding system revisions. | The Technical Interpretation Request (TIR) process is a publicly accessible process. It is described here: https://bomabestfieldguide.org/user-manual/about-technical-interpretation-requests/ All users of the BOMA BEST program (or other stakeholders) are invited to propose modifications to the program. Once the TIR is resolved, it is publicly announced via newsletter and is available for download on the website, further clarifying when the change will be applied to the live questionnaire.
III-B: 6a)-6b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is an assessor / auditor independently assigned / selected? | Yes |  | If yes, describe the selection or assignment process for auditors. | BOMA BEST assessments are verified by BOMA BEST Verifiers. These are independent third-party individuals who meet our eligibility requirements and have received formal training on the BOMA BEST program. They have signed a code of ethics forbidding any conflict of interest and a contract with a Local BOMA Association or directly with BOMA Canada. Only verifiers who have satisfactorily completed our training requirements may verify a BOMA BEST assessment.
III-B: 7a)-7b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Are the criteria used by the assessors and auditors to evaluate a building project documented, available to applicants, and independent from the organizaiton to whom they are providing their services | Yes |  | If yes, please provide links to the location of the documentation and/or description of the process that is made available to applicants. | 7b) BOMA BEST is designed to be accessible to all individuals. This is done by providing a thorough description in the questionnaire of exactly what is required to achieve a particular credit or question. The verifiers use the same description to examine whether the demonstration of compliance is sufficient. The questionnaires for each asset class (and the requirements for compliance) are free to access directly from the BOMA BEST website: https://bomabestfieldguide.org/field-guide-for-sustainable-buildings/# and can be downloaded from a user’s account on our BOMA BEST Hub: https://bomabesthub.com/ Occasionally some interpretation is required on behalf of the verifiers. Verifiers will consult with BOMA Canada on the interpretation. BOMA Canada has developed an ad-hoc verification committee composed of available verifiers to convene and discuss the appropriate interpretation. This interpretation is then shared with all verifiers. It is not typically shared with the applicants though public language on a particular question may be refined to enhance clarity of expectations based on these findings.
III-B: 8a)-8b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is there a documented process for applicants to appeal an auditor's/assessor's certification decision or specific findings | Yes |  | If yes, describe the documented appeal process available to the applicant. | 8b) An appeals process has been developed whereby applicants can contest a verifier's decision. The appeals process is described in "BOMA BEST SUSTAINABLE BUILDINGS Policy 9 – Appeals Process" available here https://bomabestfieldguide.org/user-manual/policy-9-appeals-process/
III-B: 9a)-9b) | Post-occupancy verification | EISA/DOE Rule Language | Definition | Does the system provide a verfication system for post-occupancy evaluation of the certified building? | Yes |  | If yes, describe the system and or requirement to perform a post occupancy of the certified building. | The BOMA BEST Sustainable Buildings program is exclusively for existing buildings. Eligibility requirements are provided in "BOMA BEST SUSTAINABLE BUILDINGS Policy 3: ELIGIBILITY CRITERIA" available here: https://bomabestfieldguide.org/user-manual/policy-3-eligibility-criteria/ states that: If the building’s occupancy rate (not occupant density) has been 50% or higher for the past 12 months, the building is eligible for BOMA BEST Bronze, Silver, Gold or Platinum certification levels. If the building’s occupancy rate (not occupant density) has been below 50% for the past 12 months, the building is eligible for the BOMA BEST Certified level only Everything described in this GSA submission is based on a post-occupancy performance assessment.
Note on C5: EISA Section 436 (h)(1)(d): the ability of the standard to be developed and revised through a consensus-based process.
Note on C6: Public Law 110-140, Energy Independence and Security Act (EISA) Section 436 (h)(1)(c): the ability of the applicable standard-setting organization to collect and reflect public comment.
Note on C8: DOE Rule 10 C.F.R. Parts 433, 435, and 436, Green Building Certification Systems for Federal Buildings: "The system under which the building is certified must be subject to periodic evaluation and assessment of the environmental and energy benefits that result under the rating system" (part 433.33(b)(4)).
Note on C10: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C11: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C12: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C13: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C14: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on D5: GSA defines a consensus based certification system is a voluntary consensus standard as defined by OMB Circular A-119 or one that incorporates the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus. Evidence of a consensus-based system may include: - Publicly accessible draft documents and comment periods, - Publicly accessible certification system clarifications, -Instructions for accessing information on key activities, and - Policy/procedure for ensuring stakeholder input during certification system development
Note on D6: A transparent certification system has a documented approach for the review and consideration of public comments, public comments are collected on a regular basis, and development and updating process of the certification system is documented and publicly available. Evidence of transparency may include: -Evidence that review comments are publicly available; for example, website link, publication of document online, or statement that review document/decision is available upon request - Evidence that public comments are incorporated into the certification system revision process.
Note on D8: A mature certification system is effectively linked to latest tools and standards; the certification system has components to track building performance post-occupancy; the certification system is used as a basis for development of other systems; and/or the certification system is consistently updated. As a best practice, the system is revised or reaffirmed every five years at minimum.
Note on D10: The assessor/auditor is defined and is independent from the organization whose product is being assessed for conformity. Assessors/auditors have no stake in whether a building receives certification.
Note on D11: The conformity assessment body publicly discloses the scoring methodology and levels achieved by products that conform to the standard; and describes how the public can access this information. A documented standard verification method and process should be followed by assessors and auditors
Note on D12: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D13: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D14: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on G3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on L3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Part 2
Survey Part 2 Review Template
Copy tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
II-A 2) Type of Building Addressed
Survey Part II |  |  |  | Evaluation
Survey Question(s) Number | Sub- Criteria | GP Compliance Language | Definition | Evaluation Question 1 | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet GP? | If "Issue with response," or "Partially Met," Please describe | Evaluation Question 3 (if applicable) | Response | If "Issue with response," or "Partially Met," Please describe
Part II - B: Employ Integrated Design Principles
II-B: 3a.1) - 3a.3) | Integrated Design and Management | GP Compliance Language | Definition | Does your system address integrated design and management? | Yes |  | List specific requirements in the system addressing integrated design and management. For each requirement listed, please note whether it is mandatory or optional. | Optional requirement that address retro-commissioning investigation. E6.1 — Retro-commissioning Investigation. Has an Existing Building Commissioning, Recommissioning or Retro-Commissioning Investigation or Operational Optimization Study been completed in the last five years? |  | R3.3 Capital Planning Aspects of planning for climate-related risks are addressed in BOMA Best, however, agencies would need to ensure other asepcts of sustainable design are incorporated in the general operations and maintenance of their facilities.
II-B: 3b.1) - 3b.3) | Sustainable siting | GP Compliance Language | Definition | Does your system address sustainable siting? | Yes |  | List specific requirements in the system addressing sustainable siting. For each requirement listed, please note whether it is mandatory or optional | Optional requirements that address sustainable siting: Resilience & Site R4.2 Innovation in Resilience & Site: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | R2.0 - Past Climate Hazards R1.1 - Site Irrigation R1.2 Sensitive Site Management
II-B: 3c.1) - 3c.3) | Stormwater Management | GP Compliance Language | Definition | Does your system address stormwater management? | No |  | List specific requirements in the system addressing stormwater management. For each requirement listed, please note whether it is mandatory or optional. | N/A |  | Stormwater is not addressed.
II-B: 3d.1) - 3d.3) | Infrastructure utilization and optimization | GP Compliance Language | Definition | Does your system address infrastructure utilization and optimization? | Yes |  | List specific requirements in the system addressing infrastructure utilization and optimization. For each requirement listed, please note whether it is mandatory or optional. | R4.2 – Innovation in Resilience & Site Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? Select all that apply: - Non-potable sources of water is used for irrigation - Actions are being taken to address climate risk hazards identified - [Other Asset Classes] Electric Vehicle (EV) charging stations installed for >2% of parking stalls |  | R4.2 Innovation in Reslience and Site - EV charging stations installed for more than 2% of parking stalls; and EV charging stations installed for more than 2% of resident suites.
II-B: 3e.1) - 3e.3) | Commissioning | GP Compliance Language | Definition | Does your system address Commissioning? | Yes |  | List specific requirements in the system addressing commissioning. For each requirement listed, please note whether it is mandatory or optional. | E6.1 – Retro-commissioning Investigation: asks Has an Existing Building Commissioning, Recommissioning or Retro-Commissioning Investigation or Operational Optimization Study been completed in the last five years? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) This is an optional field, applicable to the following asset classes: - Offices - Healthcare facilities - Enclosed Shopping Centres - Light Industrial - Open Air Retail - Multi-Unit Residential Buildings - Universal |  | E6.1 - Retro-commissioning Investigation
Part II - C: Optimize Energy Performance
II-B: 4a1 - 4a.3) | energy efficiency | GP Compliance Language | Definition | Does your system address energy efficiency? | Yes |  | List specific requirements in the system addressing energy efficiency. For each requirement listed, please note whether it is mandatory or optional | Mandatory requirement that addresses energy efficiency: E1.0b — Energy and Carbon Assessment: Has the energy efficiency and carbon emissions of systems managed by the owner or landlord been assessed in the last five years? (0 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and MURBs) Optional requirements that address energy efficiency: E2.2 — Capital Plan: Are high-cost energy conservation or carbon reduction measures from the assessment included in the capital plan? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E5.2 — Conservation Achieved: Is there evidence that energy efficiency improved or carbon emissions reduced due to measures implemented in the past ten years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I5.3 – Energy and Carbon in New Tenancies: Is there a plan to phase out any of the high global warming potential (GWP) refrigerants in use at the building or have any already been phased out? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E11.2 — Envelope Upgrade: Have major envelope upgrades been completed or initiated in the past ten years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E12.1 – Training in Energy and Carbon: Did the building operations and management team receive Energy and Carbon training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | E1.0a - Eneryg and Carbon assessment E2.0 - Energy Management Plan E3.1a - Benchmarking Energy Use E1.3a - Detailed Energy and Carbon Assessment E4.1a - Energy Use Tracking While BOMA Best contains numerous energy efficiency options, agencies would need to do more work to determine if they are 20% below 2015 baselines or 30% below 2003 energy use baselines.
II-C: 4b.1) - 4b.3) | energy metering | GP Compliance Language | Definition | Does your system address energy metering? | Yes |  | List specific requirements in the system addressing energy metering. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirements that address energy metering: E1.0b — Energy and Carbon Assessment: Has the energy efficiency and carbon emissions of systems managed by the owner or landlord been assessed in the last five years? (0 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and MURBs) Optional requirements that address energy metering: E1.3a — Detailed Energy and Carbon Assessment: Has a Detailed Energy and Carbon Assessment been performed in the past five years? (6 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) E3.1a — Benchmarking Energy Use: What is the calculated Energy Star score for the building? (5 points - Office, Healthcare and Multi-Unit Residential buildings) E3.1b — Sub-Metered Data: Is any sub-metered energy use available for the most recent 12 months? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E3.2a — Benchmarking Carbon Emissions: Are the whole building’s carbon emissions quantified and benchmarked? (2 points - Office and Healthcare buildings) E3.2b — Benchmarking Carbon Emissions: Are the carbon emissions available for the systems and equipment managed by the owner or landlord? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E4.1a – Energy Use Tracking: Was whole-building energy use data tracked before and during Covid? (2 points - Office, Healthcare and Multi-Unit Residential buildings) E4.1b — Tracking Sub-Metered Data: Was any sub-metered energy use data tracked before and during Covid? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E4.2a — Carbon Emissions Tracking Are the carbon emissions associated with whole-building energy use tracked beyond the most recent 12 months? (4 points – Office and Healthcare buildings) E4.3 — Data Monitoring: How frequently are energy use and carbon emissions trended and monitored? (4 points - Office and Healthcare buildings) E5.2 — Conservation Achieved: Is there evidence that energy efficiency improved or carbon emissions reduced due to measures implemented in the past ten years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E12.2 – Innovation in Energy & Carbon: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E13.0 — Owner or landlord Shares Energy and Carbon Practices: Has the owner or landlord shared an Energy and Carbon Management Communication Plan with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) |  | E4.1a - Energy Use Tracking E4.3a - Data Monitoring
II-C: 4c.1) - 4c.3) | renewable energy | GP Compliance Language | Definition | Does your system address renewable energy? | Yes |  | List specific requirements in the system addressing renewable energy. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address renewable energy E1.3b — Owner or landlord informs, tenant manages energy: Does the owner or landlord conduct visual inspections of tenant-managed energy systems each year? (3 points - Light Industrial and Open-Air Retail buildings) E10.1 — HVAC Efficiency: Is high efficiency, low carbon mechanical equipment installed in the building? (6 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E10.2 — On-site Combustion: Has the building transitioned off all forms of on-site combustion? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E12.2 – Innovation in Energy & Carbon: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | E12.2 - innovation in energy and carbon
II-C: 4d.1) - 4d.3) | benchmarking | GP Compliance Language | Definition | Does your system address benchmarking? | Yes |  | List specific requirements in the system addressing benchmarking. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirements that address benchmarking: E1.0a —Energy and Carbon Assessment: Has a Walkthrough Energy and Carbon Assessment been completed in the past five years? (0 Points – Office, Healthcare) E1.0b — Energy and Carbon Assessment: Has the energy efficiency and carbon emissions of systems managed by the owner or landlord been assessed in the last five years? (0 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and MURBs) Optional requirements that address benchmarking: E3.1a — Benchmarking Energy Use: What is the calculated Energy Star score for the building? (5 points - Office, Healthcare and Multi-Unit Residential buildings) E3.1b — Sub-Metered Data: Is any sub-metered energy use available for the most recent 12 months? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E3.2a — Benchmarking Carbon Emissions Are the whole building’s carbon emissions quantified and benchmarked? (2 points - Office and Healthcare buildings) E3.2b — Benchmarking Carbon Emissions: Are the carbon emissions available for the systems and equipment managed by the owner or landlord? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E3.3 – Third-Party Recognition: Has the building’s energy use or carbon emissions been certified by, reported to or recognized by a third party? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E4.1b — Tracking Sub-Metered Data: Was any sub-metered energy use data tracked before and during Covid? (2 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) E4.2a — Carbon Emissions Tracking: Are the carbon emissions associated with whole-building energy use tracked beyond the most recent 12 months? (4 points – Office and Healthcare buildings) E4.3 — Data Monitoring: How frequently are energy use and carbon emissions trended and monitored? (4 points - Office and Healthcare buildings) E12.1 – Training in Energy and Carbon: Did the building operations and management team receive Energy and Carbon training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E13.1 – Align Engagement Initiatives with Tenants: Do any of the tenants’ energy and carbon management approaches align with the owner or landlord's? (5 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) W1.0a — Walkthrough Water Assessment: Has a water assessment been conducted in the past five years? (0 points - Office and Healthcare buildings) W2.1a — Benchmark whole-building: What is the calculated Water Use Intensity (WUI) for the building? (6 points - Office buildings) W2.1b — Sub-Metered Data: Is any sub-metered water use available for the most recent 12 months? (3 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) W2.1c — Benchmark whole-building: What is the calculated Water Use Intensity (WUI) for the building? (6 points - Healthcare buildings) W3.1a — Tracking Whole-Building Use: Was whole-building water-use data tracked before and during Covid? (3 points - Office and Healthcare buildings) W6.1 – Training in Water Management: Did the building operations and management team receive water efficiency training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W6.2 – Innovation in Water Management: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W7.1 — Align Engagement Initiatives with Tenants: Do any of the tenants’ water management approaches align with the owner or landlord’s? (3 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) |  | E3.1a - Benchmarking energy use E4.1a - Energy use tracking E4.3 - Data monitoring
Part II - D Protect and Conserve Water
II-D: 5a.1) - 5a.3) | Indoor water use | GP Compliance Language | Definition | Does your system address indoor water use? | Yes |  | List specific requirements in the system addressing indoor water use. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address indoor water use: W1.1 – Water Efficient Features: Does the building incorporate any high-efficiency water fixtures? (7 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W5.3 – Water Features in Healthcare: Are the following strategies implemented to manage Indoor Air Quality (IAQ) in laboratories? (3 points – Healthcare) W7.0 — Owner or landlord Shares Water Management practices: Has the owner or landlord shared a Water Communication Plan with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) |  | W1.0a - walkthrough water assessment W1.1 - Water Efficient Features W2.1a - benchmark whole-building W3.1a - tracking whole-building use W3.2 - data monitoring While BOMA Best contains numerous water conservation options, agencies would need to do more work to determine if their water use is 20% less than their 2007 baseline, or at least a 20% reduction when comparing installed fixture performance to a base case that represents the code-minimum.
II-D: 5b.1) - 5b.3) | Water metering |  |  | Does your system address water metering? | Yes |  | List specific requirements in the system addressing water metering. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirements that address water metering: W1.0a — Walkthrough Water Assessment: Has a water assessment been conducted in the past five years? (0 points - Office and Healthcare buildings) W1.0b — Water Assessment: Have the water efficiency of systems managed by the owner or landlord been assessed in the last five years? (0 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) Optional requirements that address water metering: W2.1a — Benchmark whole-building: What is the calculated Water Use Intensity (WUI) for the building? (6 points - Office buildings) W2.1b — Sub-Metered Data: Is any sub-metered water use available for the most recent 12 months? (3 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) W2.1c — Benchmark whole-building: What is the calculated Water Use Intensity (WUI) for the building? (6 points - Healthcare buildings) W3.1a — Tracking Whole-Building Use: Was whole-building water-use data tracked before and during Covid? (3 points - Office and Healthcare buildings) W3.1b — Tracking Sub-Metered Data: Was any sub-metered water use data tracked before and during Covid? (3 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) W6.2 – Innovation in Water Management: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W7.0 — Owner or landlord Shares Water Management practices: Has the owner or landlord shared a Water Communication Plan with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) |  | W3.1a - tracking whole-building use W3.2 - data monitoring
II-D: 5c.1) - 5c.3) | Outdoor water use | GP Compliance Language | Definition | Does your system address outdoor water use? | Yes |  | List specific requirements in the system addressing outdoor water use. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address indoor water use: W1.1 – Water Efficient Features Does the building incorporate any high-efficiency water fixtures? (7 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W7.0 — Owner or landlord Shares Water Management practices: Has the owner or landlord shared a Water Communication Plan with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) |  | R1.1 - Site Irrigation While BOMA Best has an option to use effficient landscaping irrigation techniques, agencies would need to do more work to ensure they are using 50% less water than conventional buildings for irrigation or using xeriscape practices. None of this is mentioned or measured within BOMA Best.
II-D: 5D.1) - 5D.3) | Alternative water |  |  | Does your system address alternative water? | Yes |  | List specific requirements in the system addressing alternative water use. For each requirement listed, please note whether it is mandatory or optional. | Optional requirement that addresses alternative water: W6.2 – Innovation in Water Management: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | W6.2 - Innovation in Water Management
Part II - E: Enhance the Indoor Environment
II-E: 6a.1) - 6a.3) | ventilation and thermal comfort | GP Compliance Language | Definition | Does your system address ventilation and thermal comfort? | Yes |  | List specific requirements in the system addressing ventilation and thermal comfort. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirements that address ventilation and thermal comfort: E6.0 — Preventative Maintenance: Is a Preventive Maintenance Plan in place for the building? (0 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I4.0 – IAQ Management in Construction: Is a plan in place to minimize indoor air quality impacts during renovation and construction? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I8.0 – Owner or landlord shares IAQ & Hazards Practices: Has the owner or landlord’s Indoor Air Quality & Hazards Communication Plan been shared with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) Optional requirements that address ventilation and thermal comfort: Energy & Carbon E1.2 – Envelope Assessment: Has a Condition Assessment of the envelope and envelope components been completed in the past five years? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E1.3b — Owner or landlord informs, tenant manages energy: Does the owner or landlord conduct visual inspections of tenant-managed energy systems each year? (3 points - Light Industrial and Open-Air Retail buildings) E7.2 — Control Strategies: What control strategies are in place? (4 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) E10.1 — HVAC Efficiency: Is high efficiency, low carbon mechanical equipment installed in the building? (6 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E10.2 — On-site Combustion: Has the building transitioned off all forms of on-site combustion? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) E11.2 — Envelope Upgrade: Have major envelope upgrades been completed or initiated in the past ten years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Indoor Air Quality I1.1b – Tenant IAQ Corrective Actions: Has owner or landlord followed-up on Indoor Air Quality (IAQ) corrective actions identified in the tenant spaces? (4 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) I1.2 – Owner or landlord frequently assesses IAQ: How frequently are IAQ assessments conducted at the building? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.1a – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2) or ASHRAE 62.1 thresholds? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.1b – Owner or landlord informs, Tenant maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in tenant-controlled areas meet minimum carbon dioxide (CO2) thresholds? (3 points - Light Industrial and Open-Air Retail buildings) I2.1c – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2), ASHRAE 62.1 or ASHRAE 62.2 thresholds? (3 points – MURBs) I2.2 – IAQ in New Tenancies: Is there a procedure in place for reviewing the IAQ condition of tenant-controlled HVAC equipment at lease expiry? (4 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) I2.3 – Air Quality Sensors: Are air quality sensors (CO2, Temp, RH) present within the HVAC system and monitored on the Building Automation System (BAS)? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.4 – CO Monitoring in Parking Areas: Do carbon monoxide (CO) concentrations in enclosed parking garages and loading docks meet minimum thresholds? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I2.5 – CO Monitoring in Occupied Spaces: Do carbon monoxide (CO) concentrations in occupied spaces adjacent to parking garages, loading docks, and mechanical rooms meet minimum thresholds? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I2.6 – IAQ Management in Laboratories: Are the following strategies implemented to manage Indoor Air Quality (IAQ) in laboratories and specialised rooms? (3 points – Healthcare) I3.1 – Filter Inspection: Are filters in air handling systems inspected/replaced at regular intervals and corrective actions taken when required? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I3.2 – MERV Filter Rating: Are filters with MERV rating 13 or higher installed on AHUs? (4 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I7.1 – Training in IAQ & Hazards: Did the building operations and management team receive Indoor Air Quality & Hazards training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I8.1 – Align engagement initiatives with Tenants: Do any of the tenants’ indoor air quality & hazards management approaches align with the owner or landlord’s? (4 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) Resilience & Site R3.2 – Maintain Critical Systems: Have the building’s critical systems been identified that must be maintained in an extreme climate-related hazard event? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Accessibility & Wellness – Thermal Comfort A2.1 – Humidification: Are humidification systems present and properly maintained? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A2.2 – Relative Humidity: Is Relative Humidity (RH) maintained according to ASHRAE 55? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I2.1a - Owner or landlord maintains Outdoor Air I2.3 - Air Quality Sensors I2.5 - CO Monitoring in Occupied Spaces
II-E: 6b.1) - 6b.3) | daylighting and lighting controls | GP Compliance Language | Definition | Does your system address daylighting and lighting controls? | Yes |  | List specific requirements in the system addressing daylighting and lighting controls. For each requirement listed, please note whether it is mandatory or optional. | Optional requirement that addresses daylighting: A2.3 – Visual Elements: Have the visual elements in the building been reviewed to identify and recognise improvement opportunities? (3 points - Office and Healthcare buildings) Optional requirements that address lighting controls: A2.3 – Visual Elements: Have the visual elements in the building been reviewed to identify and recognise improvement opportunities? (3 points - Office and Healthcare buildings) E8.3 — Lighting Zones: Are lighting controls installed in the building, where appropriate? (2 points - Office and Healthcare buildings) |  | E8.1a-LEDs E8.2a - Light Sensors Ej8.3 Lighting Zones A2.3 - Visual Elements
II-E: 6c.1) - 6c.3) | low-emitting materials and products | GP Compliance Language | Definition | Does your system address low-emitting materials and products? | Yes |  | List specific requirements in the system addressing low-emitting materials and products. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirement that addresses low-emitting materials and products: I4.0 – IAQ Management in Construction: Is a plan in place to minimize indoor air quality impacts during renovation and construction? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Optional requirement that addresses low-emitting materials and products: P1.1 Circular Economy Procurement Strategy: Are circular economy procurement strategies implemented and maintained in building management activities? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) P1.2 Social Procurement Strategy: Are social procurement strategies implemented and maintained in building management activities? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) P2.1 – Pest Management: Is an Integrated Pest Management Program in place? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) P2.2 – Enhanced Cleaning Protocols: Is there an Enhanced Cleaning Protocol in place during flu season or for pandemic response? (2 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) P3.1 – Cleaning Products & Equipment in use: Do the cleaning products and equipment used in the building meet the Green Cleaning Program requirements? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) P3.2 – Custodial and Pest Management Assessment: Has an assessment of the building’s custodial practices been conducted in the last two years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I4.1 - IAQ Control in Construction Specifications P3.2 Custodial and Pest Management Assessment
II-E: 6d.1) - 6d.3) | radon mitigation | GP Compliance Language | Definition | Does your system address radon mitigation? | Yes |  | List specific requirements in the system addressing radon mitigation? For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address radon mitigation: I7.2 – Innovation in IAQ & Hazards: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I6.3 - Radon Risk Assessment
II-E: 6e.1) - 6e.3) | moisture and mold control | GP Compliance Language | Definition | Does your system address moisture and mold control? | Yes |  | List specific requirements in the system addressing moisture and mold control. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirement that addresses moisture: W5.0 — Mould and Water Damage Management: Is a Mould and Water Damage Management Program in place at the building? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Optional requirements that address moisture: R1.1 – Site Irrigation: Which type of water efficient controls are used to irrigate the site’s landscaped areas? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Mandatory requirements that address mould: Water W5.0 — Mould and Water Damage Management: Is a Mould and Water Damage Management Program in place at the building? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Indoor Air Quality I1.0a — Owner or landlord manages whole building IAQ: Has an Indoor Air Quality (IAQ) Management Plan and Assessment been prepared in owner or landlord-controlled areas in the past three years? (0 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I1.0b – Owner or landlord informs, tenant manages IAQ: Does the owner or landlord conduct visual IAQ inspections of tenant-managed spaces each year? (0 points - Light Industrial and Open-Air Retail buildings) Optional requirements that address mould: Water W5.1 – Water Damage Response: Is a process in place to respond to leaks or water infiltration issues? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) W6.1 – Training in Water Management: Did the building operations and management team receive water efficiency training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Indoor Air Quality I2.2 – IAQ in New Tenancies: Is there a procedure in place for reviewing the IAQ condition of tenant-controlled HVAC equipment at lease expiry? (4 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) I3.2 – MERV Filter Rating: Are filters with MERV rating 13 or higher installed on AHUs? (4 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) Accessibility & Wellness A2.2 – Relative Humidity: Is Relative Humidity (RH) maintained according to ASHRAE 55? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | W5.1 - Water Damage Response W6.1 - Training in water management
II-E: 6f.1) - 6f.3) | IAQ during construction and operations |  |  | Does your system address IAQ during construction and operations? | Yes |  | List specific requirements in the system addressing IAQ during construction and operations. For each requirement listed, please note whether it is mandatory or optional. | Indoor Air Quality & Hazards is an independent section of the BOMA BEST Sustainable Questionnaire. The mandatory requirements in this section are: I1.0a — Owner or landlord manages whole building IAQ: Has an Indoor Air Quality (IAQ) Management Plan and Assessment been prepared in owner or landlord-controlled areas in the past three years? (0 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I1.0b – Owner or landlord informs, tenant manages IAQ: Does the owner or landlord conduct visual IAQ inspections of tenant-managed spaces each year? (0 points - Light Industrial and Open-Air Retail buildings) I4.0 – IAQ Management in Construction: Is a plan in place to minimize indoor air quality impacts during renovation and construction? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I8.0 – Owner or landlord shares IAQ & Hazards Practices: Has the owner or landlord’s Indoor Air Quality & Hazards Communication Plan been shared with the building tenants? (0 points - Light Industrial and Open-Air Retail buildings) The optional requirements in this section are: I1.1a – Owner or landlord IAQ Corrective Actions: Has base building Indoor Air Quality (IAQ) corrective actions been addressed by the owner or landlord? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I1.1b – Tenant IAQ Corrective Actions: Has owner or landlord followed-up on Indoor Air Quality (IAQ) corrective actions identified in the tenant spaces? (4 points - Enclosed Shopping Centre, Universal, Light Industrial, Open-Air Retail and Multi-Unit Residential buildings) I1.2 – Owner or landlord frequently assesses IAQ: How frequently are IAQ assessments conducted at the building? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.1a – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2) or ASHRAE 62.1 thresholds? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.1b – Owner or landlord informs, Tenant maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in tenant-controlled areas meet minimum carbon dioxide (CO2) thresholds? (3 points - Light Industrial and Open-Air Retail buildings) I2.1c – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2), ASHRAE 62.1 or ASHRAE 62.2 thresholds? (3 points – MURBs) I2.2 – IAQ in New Tenancies: Is there a procedure in place for reviewing the IAQ condition of tenant-controlled HVAC equipment at lease expiry? (4 points - Enclosed Shopping Centre, Universal, Light Industrial and Open-Air Retail buildings) I2.3 – Air Quality Sensors: Are air quality sensors (CO2, Temp, RH) present within the HVAC system and monitored on the Building Automation System (BAS)? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.4 – CO Monitoring in Parking Areas: Do carbon monoxide (CO) concentrations in enclosed parking garages and loading docks meet minimum thresholds? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I2.5 – CO Monitoring in Occupied Spaces: Do carbon monoxide (CO) concentrations in occupied spaces adjacent to parking garages, loading docks, and mechanical rooms meet minimum thresholds? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I2.6 – IAQ Management in Laboratories: Are the following strategies implemented to manage Indoor Air Quality (IAQ) in laboratories and specialised rooms? (points Not Applicable – Healthcare) I3.1 – Filter Inspection: Are filters in air handling systems inspected/replaced at regular intervals and corrective actions taken when required? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I3.2 – MERV Filter Rating: Are filters with MERV rating 13 or higher installed on AHUs? (4 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) Renovations and Maintenance is a subsection within the Indoor Air Quality & Hazards section of the BOMA BEST Sustainable Questionnaire. This section is mandatory, and only applies to spaces under renovation and undergoing maintenance as the BOMA BEST Program does not apply to new construction sites. These requirements are: I4.1 – IAQ Control in Construction Specifications: Are the construction IAQ controls included in specifications for owner or landlord renovation or construction projects? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I4.2 – IAQ Management in Tenant Construction: Are the construction IAQ controls included in specifications for tenant renovation or construction projects? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I4.1 IAQ Control in Construction Specifications I4.2 - IAQ Management in Tenant Construction
II-E: 6g.1) - 6g.3) | environmental smoking control | GP Compliance Language | Definition | Does your system address environmental smoking control? | No |  | List specific requirements in the system addressing environmental smoking control. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-E: 6h.1) - 6h.3) | integrated pest management | GP Compliance Language | Definition | Does your system address integrated pest management? | Yes |  | List specific requirements in the system addressing integrated pest management. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address integrated pest management: P2.1 – Pest Management: Is an Integrated Pest Management Program in place? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) P3.2 – Custodial and Pest Management Assessment: Has an assessment of the building’s custodial practices been conducted in the last two years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | P2.1 - Pest Management
II-E: 6i.1) - 6i.3) | occupant health and wellness | GP Compliance Language |  | Does your system address occupant health and wellness? | Yes |  | List specific requirements in the system addressing occupant health and wellness. For each requirement listed, please note whether it is mandatory or optional. | Accessibility & Wellness is an independent section of the BOMA BEST Sustainable Questionnaire. The mandatory requirements in this section are: A1.0 – Accessibility Awareness: Has the property management team considered the following accessibility questions in relation to this building? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A4.0 – Occupant Engagement: Is an Occupant Environmental Communication Program in place at the building? (0 points - Office, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) Optional requirements that address occupant wellness are: A1.1 – RHFAC Survey or equivalent: Has a Rick Hansen Foundation Accessibility Certification™ (RHFAC) Professional or equivalent conducted an on-site visit of the building to identify barriers faced by people with disabilities? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A1.2 – RHFAC Plan or Action: Have steps been taken to address any shortcomings identified in the Rick Hansen Foundation Accessibility Certification™ (RHFAC) Professional’s on-site visit? (2 points - Office, Healthcare, Enclosed Shopping Centre and Universal buildings) A1.3 – RHFAC Certification or equivalent: What level of Rick Hansen Foundation Accessibility Certification™ (RHFAC) or equivalent has the building achieved? (3 points - Office, Healthcare, Enclosed Shopping Centre and Universal buildings) A2.1 – Humidification: Are humidification systems present and properly maintained? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A2.2 – Relative Humidity: Is Relative Humidity (RH) maintained according to ASHRAE 55? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A2.3 – Visual Elements: Have the visual elements in the building been reviewed to identify and recognise improvement opportunities? (3 points - Office and Healthcare buildings) A2.4 – Acoustic Elements: Have the acoustic elements in the building been reviewed to identify and recognise improvement opportunities? (2 points - Office and Healthcare buildings) A3.1 – DEI Assessment: Have the building features been evaluated against diversity, equity and inclusion (DEI) aspects to inform an implementation plan? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A3.2 – Inclusive Amenities: Have steps been taken to enhance inclusive amenities at the building? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A3.3 – Sense of Place: Have measures been implemented to enhance occupant and visitor inclusivity through creating a sense of place in the broader community? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A4.1 – Occupant Service Requests: Is an Occupant Service Request Program in place? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A4.2 – Occupant Satisfaction Survey: Was an occupant satisfaction survey conducted in the last three years? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A5.1 – Training in Accessibility & Wellness: Did the building operations and management team receive Accessibility & Wellness training in the previous three years? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) A5.2 – Innovation in Accessibility & Wellness: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (1 point - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) Optional requirements that address occupant health: I2.1a – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2) or ASHRAE 62.1 thresholds? (5 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I2.1c – Owner or landlord maintains Outdoor Air: Do measured Outdoor Air (OA) ventilation rates in owner or landlord-controlled areas meet minimum carbon dioxide (CO2), ASHRAE 62.1 or ASHRAE 62.2 thresholds? (3 points – MURBs) I2.3 – Air Quality Sensors: Are air quality sensors (CO2, Temp, RH) present within the HVAC system and monitored on the Building Automation System (BAS)? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) R2.2 – Rank Climate Risks: Have the climate risks been ranked and assessed for the building and site? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.3 – Resilience Strategies: Have resilience strategies been identified to address the most significant climate risks at the building and site level? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R3.1 – Emergency Preparedness: Do emergency preparedness and response plans include climate hazards and related extreme events? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | While BOMA Best indirectly touches on multiple areas that have a relation to occupant health and wellness. none of them will assist agencies in complying with this Guiding Principle.
Part II - F: Reduce the Environmental Impact of Materials
II-F: 7a.1) - 7a.3) | materials with recycled content | GP Compliance Language | Definition | Does your system address materials with recycled content? | No |  | List specific requirements in the system addressing materials with recycled content. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-F: 7b.1) - 7b.3) | materials with biobased content | GP Compliance Language | Definition | Does your system address materials with biobased content? | No |  | List specific requirements in the system addressing materials with biobased content. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-F: 7c.1) - 7c.3) | environmentally preferable products | GP Compliance Language | Definition | Does your system address environmentally preferable products? | Yes |  | List specific requirements in the system addressing environmentally preferable products. For each requirement listed, please note whether it is mandatory or optional. | Mandatory requirement that addresses environmentally preferable products: P2.0 – Green Cleaning Program: Is a Green Cleaning Program in place at the building? (0 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) |  | P3.1 - Cleaning products and Equipment in Use P3.2 0 Custodial and Pest Management Assessment
II-F: 7d.1) - 7d.3) | ozone depleting substances | GP Compliance Language | Definition | Does your system address ozone depleting substances? | Yes |  | List specific requirements in the system addressing ozone depleting substances. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address ozone depleting substances: I2.3 – Air Quality Sensors: Are air quality sensors (CO2, Temp, RH) present within the HVAC system and monitored on the Building Automation System (BAS)? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I5.1 – Refrigerant Safety Program: Is a Refrigerant Safety Program in place? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I5.2 – Refrigerant Inspections: Have leak checks and inspections been conducted on refrigerant systems? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I5.1 - Refrigerant Safety Program I5.3 - Phase-out High GWP Refrigerants
II-F: 7e.1) - 7e.3) | hazardous waste | GP Compliance Language | Definition | Does your system address hazardous waste? | Yes |  | List specific requirements in the system addressing hazardous waste. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address hazardous waste management: I6.1 – Hazardous Materials Management: Is a Hazardous Materials Management Program implemented at the building? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I6.2 – Hazardous Chemicals Management - Is a Hazardous Chemical Product Management Program implemented at the building? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | I6.1 - Hazardous Materials Management I6.2 - Hazardous Chemicals Management
II-F: 7f.1) - 7f.3) | solid waste management | GP Compliance Language | Definition | Does your system address solid waste management? | Yes |  | List specific requirements in the system addressing solid waste management. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address hazardous waste management: I6.1 – Hazardous Materials Management: Is a Hazardous Materials Management Program implemented at the building? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) I6.2 – Hazardous Chemicals Management - Is a Hazardous Chemical Product Management Program implemented at the building? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | P4 - Waste Management P5 - Waste Audit and Measurement
Part II - G Assess and Consider Building Resilience
II-G: 8a.1 - 8a.3 | Risk assessment | GP Compliance Language |  | Does your system address risk assessment? | Yes |  | List specific requirements in the system addressing risk assessment. For each requirement listed, please note whether it is mandatory or optional. | Optional requirements that address risk assessment: E1.4 — Deep Retrofit Study: Has a Deep Energy and Carbon Retrofit Study been performed on a targeted building system in the past 10 years? (6 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) I6.3 – Radon Risk Assessment: Has a Radon Risk Assessment been performed? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.1 – Future Climate Hazards: Have the site-specific risks associated with potential future climate hazards and related events been identified? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.2 – Rank Climate Risks: Have the climate risks been ranked and assessed for the building and site? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.3 – Resilience Strategies: Have resilience strategies been identified to address the most significant climate risks at the building and site level? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | R2.0 Past Climate Hazards R2.1 - Future Climate Hazards R2.2 - Rank Climate Risks R3.1 - Emergency Preparedness R3.2 - Maintain Critical Systems R3.3 - Capital Planning
II-G: 8b.1 - 8b.3 | Building resilience and adaptation | GP Compliance Language |  | Does your system address building resilience and adaptation | Yes |  | List specific requirements in the system addressing building resilience and adaptation. For each requirement listed, please note whether it is mandatory or optional. | Resilience & Site is an independent section of the BOMA BEST Sustainable Questionnaire. The mandatory requirements in this section are: R2.0 – Past Climate Hazards: What climate hazards and extreme weather events has the site experienced in the past ten years? (0 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) The optional requirements in this section are: R1.1 – Site Irrigation: Which type of water efficient controls are used to irrigate the site’s landscaped areas? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R1.2 – Sensitive Site Management: Are environmentally sensitive site management strategies implemented and maintained on the site? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.1 – Future Climate Hazards: Have the site-specific risks associated with potential future climate hazards and related events been identified? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.2 – Rank Climate Risks: Have the climate risks been ranked and assessed for the building and site? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R2.3 – Resilience Strategies: Have resilience strategies been identified to address the most significant climate risks at the building and site level? (3 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R3.1 – Emergency Preparedness: Do emergency preparedness and response plans include climate hazards and related extreme events? (5 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R3.2 – Maintain Critical Systems: Have the building’s critical systems been identified that must be maintained in an extreme climate-related hazard event? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R3.3 – Capital Planning: Are capital upgrade and renewal planning processes informed by climate-related risks? (3 points - Office, Healthcare, Enclosed Shopping Centre, Universal and Multi-Unit Residential buildings) R4.1 – Training in Resilience: Did the building operations and management team receive resilience training in the previous three years? (2 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) R4.2 – Innovation in Resilience & Site: Is an innovative process or technology in place at the building that goes beyond the requirements outlined in this section? (4 points - Applicable to all buildings (systems or equipment in the owner or landlord’s control)) |  | R2.3 - Reslience Strategies R3.3 - Capital Planning
Note on C7: Establish sustainability goals as part of the project to meet the Guiding Principles and incorporate those goals into the design document and process, such as the Owner’s Project Requirements (OPR), Basis of Design (BOD), Conceptual Design Report (CDR), or relevant design documents.
Note on C8: Follow all relevant requirements of 41 CFR § 102-76.20 of the Federal Management Regulation to make a positive contribution to the surrounding landscape, and comply with the National Environmental Policy Act of 1969, as amended, 42 U.S.C. 4321 et seq., and the National Historic Preservation Act of 1966, as amended, 54 U.S.C. Subtitle III, Division A.
Note on C9: [Option 1] For new construction or modernization projects disturbing a surface area of 5,000 or more square feet, use planning, design, construction, and maintenance strategies to maintain or restore the predevelopment hydrology of the property in terms of temperature, rate, volume, and duration of flow, in accordance with statutory requirements (42 U.S.C. § 17094). Low impact development (LID) infrastructure solutions can be utilized to help achieve this criteria. [Option 2] For new construction or modernization projects disturbing a surface area fewer than 5,000 square feet, use site planning, design, construction, and maintenance strategies such as low impact development (LID) to manage on-site stormwater and to maintain or restore hydrologic conditions after development, to the maximum extent that is technically practicable. 3 Conform to 2018 IgCC Section 501.3.4 (5.3.4) Stormwater Management.
Note on C10: Evaluate and prioritize transportation strategies and associated infrastructure improvements that promote and support alternative transportation, including walking, cycling, alternative fuel and electric vehicles, and public transit over the life of the building, as feasible and consistent with the mission of the facility.
Note on C12: Employ commissioning, as defined per Section 432 of the Energy Independence and Security Act of 2007 ((42 U.S.C. 8253(f)(1)(A)), and tailored to the size and complexity of the building
Note on C14: Ensure compliance with Federal energy efficiency performance requirements for new construction in accordance with § 109 of the Energy Policy Act of 2005 (42 U.S.C. § 6834(a)(3)(A)) and DOE’s regulations as established under 10 CFR parts 433, subpart A, and 10 CFR parts 435, subpart A. Ensure installation of ENERGY STAR and FEMP-designated products in all procurements involving energy-consuming products and services, in accordance with 42 U.S.C § 8259b and 10 CFR § 436.40– 436.43.
Note on C15: Install building-level meters for electricity and advanced meters to the maximum extent practicable, as required by EPAct 2005 § 103 (42 U.S.C. § 8253(e)). Install standard or advanced meters for natural gas and steam to the maximum extent practical, in accordance with the DOE’s Federal Building Metering Guidance and EISA 2007 § 434 (42 U.S.C. § 8253(e)(1)).
Note on C16: Evaluate applicable renewable electric energy strategies related to the project or building that could support, as needed, agency progress toward renewable energy goals where cost-effective, per 42 U.S.C. § 15852(a).
Note on C17: Benchmark building performance at least annually, preferably using ENERGY STAR Portfolio Manager, and regularly monitor building energy performance against historic performance data and peer buildings, in accordance with criteria established by DOE’s Federal Building Energy Use Benchmarking Guidance per 42 U.S.C. § 8253(f)(8).
Note on C19: For new construction where water is used to achieve energy efficiency, water conservation measures must be applied to the extent that they are life cycle cost-effective in accordance with 10 CFR Parts 433 and 435. In addition to the use of water conservation technologies otherwise required by 42 U.S.C. § 6834, water conservation technologies are to be applied to the extent that the technologies are life cycle cost-effective for new construction and modernization projects, in accordance with 42 U.S.C. § 6834(a)(3)(D)(vii). Eliminate the use of single-pass (also called "once-through") cooling equipment using potable water and optimize cooling tower operations to minimize makeup water. Agencies should refer to EPA's WaterSense, GSA’s SFTool: Water, and DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources for additional details on available water conservation technologies and best management practices
Note on C21: Evaluate and implement, as applicable, water efficient landscaping best practices that incorporate native, non-invasive, drought tolerant, and low maintenance plant species. Utilize and follow, as appropriate, landscaping best practices provided by GSA’s SFTool - Water resources, DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources, EPA’s WaterSense - Outdoors resources, or an agency-approved tool
Note on C25: Design and construct the building to meet and maintain all required illumination levels, in accordance with 41 CFR § 102-74.180 of the Federal Management Regulation, and maximize the use of automatic dimming controls or accessible manual controls in regularly occupied spaces
Note on C31: In accordance with 41 CFR § 102-74.35 of the Federal Management Regulation, ensure effective and environmentally sensitive integrated pest management (IPM) services including the planning, development, operations, and maintenance for pest control, removal, and prevention in both indoor and outdoor spaces. Ensure that pest management contracts are effectively coordinated with the activities of other building service programs that have a bearing on pest activity, such as food service, landscaping, child care, waste management, and repairs and operations.
Note on C34: "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on C37: "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C39: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C41: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C42: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on D7: Ventilation is the process of "changing" or replacing air in any space to remove airborne contaminants such as moisture, odors, emissions from building products and materials (e.g. VOCs and formaldehyde), combustion byproducts, dust, airborne bacteria, and carbon dioxide; and to replenish oxygen. Thermal conditions, which include air temperature, relative humidity, and velocity, greatly impact overall occupant comfort and associated productivity. ASHRAE Standard 55 – Thermal Environmental Conditions for Human Occupancy should be met and maintained at a minimum to achieve adequate indoor environmental quality.
Note on D8: Daylighting uses natural daylight as a substitute for electrical lighting. Daylight controls measure the amount of daylight/ambient light in a room and adjust the electric light levels accordingly. All automated controls, including occupancy sensors, should allow for occupant override. Occupants should also be given control over natural light levels through effective, adjustable shading.
Note on D9: Indoor Air Quality (IAQ) refers to the state of the air within a space. A space with good indoor air quality is one that is low in toxins, contaminants and odors. Good air quality possible when spaces are well ventilated (with outside air) and protected from pollutants brought into the space or by pollutants off-gassed within the space.
Note on D10: Radon comes from the natural (radioactive) breakdown of uranium in soil, rock and water and gets into the air you breathe. Radon can be found all over the U.S. It can get into any type of building—homes, offices, and schools—and result in a high indoor radon level.
Note on D12: Moisture control is the process of regulating where, when and how much water and water vapor collect in a building. Mold and other air borne contaminates develop when there is too much moisture.
Note on D14: Materials used in buildings often contain compounds that have a negative effect on indoor air quality (IAQ) and the earth’s atmosphere. These compounds can be present in adhesives, sealants, paints, flooring, carpets, composite wood and agrifiber products, furnishings, and in ceiling and wall systems. Low-emitting materials release only small amounts of these compounds into the surrounding air over time.
Note on D15: Construction activities can threaten the indoor air quality of an occupied space. Precautions should be taken to protect the health of construction workers as well as the health of occupants. These precautions include ensuring that airborne particles from construction activities are isolated from the permanently installed HVAC equipment; flushing out toxins before occupancy; ensuring absorptive materials are kept dry and that the facility is kept free from mold; and using construction materials low in harmful VOCs.
Note on D16: Research has shown that environmental tobacco smoke (ETS), or secondhand smoke, from cigarettes, pipes, and cigars has cancer-causing airborne particulates that can cause detrimental health effects when inhaled.1 Smoking should be banned from within the building and nearby (25-50 feet) of building openings such as entries, outdoor air intakes and operable windows. Buildings can also install separate HVAC systems to isolate smoking areas within the facility, although it’s typically uncommon and expensive in the office setting.
Note on D17: Integrated Pest Management is a process used to reduce or discourage the growth of pest populations. IPM protects human health and the surrounding environment and improves economic returns by employing the most effective, least-risk management option. It uses non-toxic products such as cleaning and physical barriers to entrance before resorting to chemical means. Pests include plants, fungi, insects, and/or animals.
Note on D19: Healthy people are free of disease and are otherwise well. Buildings with good indoor environmental quality (IEQ) support the health of occupants via high quality lighting, thermal conditions, air quality, acoustics, ergonomic and functional features.
Note on D21: Energy modeling is a computer based tool that predicts the amount of energy that a building will consume. It is a helpful way to identify potentially inefficient systems and compare a building’s energy use to a baseline performance case.
Note on D24: ENERGY STAR is a joint program of the U.S. Environmental Protection Agency (EPA) and the U.S. Department of Energy (DOE). The ENERGY STAR label helps consumers identify energy efficient products and practices in over 60 product categories for the home and office. Products earn the ENERGY STAR label by meeting the energy efficiency requirements set forth in ENERGY STAR product specifications. These products deliver the same or better performance as comparable models while using less energy and saving money. https://energy.gov/eere/femp/search-energy-efficient-products
Note on D25: Renewable energy comes from sources that are either inexhaustible or can be replaced very rapidly through natural processes. Examples include the sun, wind, geothermal energy, small (river-turbine) hydropower, and other hydrokinetic energy (waves and tides).
Note on D26: Alternative energy refers to energy not derived from traditional fossil fuel sources (coal, natural gas, petroleum) through conventional processes.
Note on D27: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities. Submetering or system-level metering is used to determine the proportion of energy use within a building attributable to specific end uses or subsystems (e.g., the ventilation system of an HVAC system).
Note on D28: To benchmark a building is to measure and rate the performance of a particular building compared to a standard. Various building performance indicators can be used for benchmarking (e.g. energy, water, air quality, thermal comfort) however energy use is the most commonly used and well-developed benchmarking indicator.
Note on D30: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D31: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D34: WaterSense, a partnership program of the U.S. Environmental Protection Agency (EPA), seeks to help consumers make smart water choices that save money and maintain high environmental standards without compromising performance. Independent, third-party licensed certifying bodies certify that products meet EPA criteria for water-efficiency and performance by following testing and certification protocols specific to each product category. Products and services that have earned the WaterSense label have been certified to be at least 20% more efficient without sacrificing performance.
Note on D35: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities.
Note on D36: A piece of building equipment which uses water to absorb heat from air-conditioning systems and regulate air temperature in a facility.
Note on D37: The practice uses water-efficient choices in planting and irrigation design. It incorporates climate-appropriate and native plants to decrease the amount of watering required. Xeriscaping or native landscaping for example, is a type of landscaping method that makes routine irrigation unnecessary.
Note on D38: Alternative or alternate water sources are supplied from sources that reuse water from another process or application and are not derived from freshwater sources (such as surface or groundwater). Examples of alternative water sources include grey water, reclaimed wastewater, rainwater harvesting, air handling unit condensate, and process equipment discharge water.
Note on D39: When it rains, stormwater either infiltrates into the ground or flows directly into the storm system. Pervious paving and landscaping allow water to be absorbed into the ground, percolating through natural filters and into aquifers. Impervious surfaces, such as sidewalks and roofs, force storm water to flow directly into the storm drain. This can lead to combined sewer overflow during times of significant rainfall. Additionally, excess storm water may collect contaminants prior to entering the storm drain, and depending on the location, may drain into natural waterways without being treated.
Note on G5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on K5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on N5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response