## GUIDE
GBCS Survey Review Template
Overview | Use this template to review the GBCS Surveys and both verify and evaluate survey responses.
Verification: Reviewer will review survey in its entirety and provide summary report to GSA for each full survey, indicating areas of concern, discrepancies, or inaccuracies
Evaluation: The reviewer will do a preliminary determination of whether the criteria is met (Yes, No, Partially)
Instructions | The "Template" tab is where the reviewer will record responses.
The GBCS survey is comprised of four parts: Instructions, and Parts 1-3
| Survey Part | Title | Action Required by Reviewer?
| Instructions | General guidelines for the system owners in completing the survey | No
| Part I | General information questions about the system | Yes, Note any general concerns with survey responses for this part in the fields provided.
| Part 2 | Effectiveness Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each effectiveness sub-criteria covered in Part 2 of the survey. Copy "Part 2" tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
| Part 3 | Development Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each development criteria covered in Part III of the survey
Completing Survey Review for Parts II-III | The majority of response fields are populated with drop-down menus for the reviewer to respond to the evaluation questions. Response options are "Yes," "No," and "Issue with Response." As described further below, some drop-down menus also include "Partially Met" as a potential response.
| Response | Definition | Action by Reviewer
| Yes | The information provided by the system owner for that sub-criteria is enough to confirm that the system does address that sub-criteria and affirmatively answers the evaluation question. | Mark Yes, and proceed to next evaluation question for that sub-criteria or move on to the next sub-criteria
| No | The system does not address that sub-criteria and therefore does not affirmatively answer the evaluation question. | Mark No, and proceed to the next sub-criteria (any additional evaluation questions for the sub-criteria can be marked as "N/A"
| Issue with Response | The reviewer is not able to respond "Yes" or "No" because the survey response is missing/unanswered, incomplete, factually incorrect, or unclear | Use the next cell over to briefly describe the issue with the answer (see below for further guidance).
| Partially Met | The system may meet the intent of the criteria, but does not specifically meet the evaluation question | Use the cell to the right to briefly describe how the intent is met to address the criteria, even though the evaluation question is not fully met (see below for example)
Types of Response Issues and Corrective Action | Issue | Reviewer Action Required | Corrective Action (if applicable)
| Missing/Unanswered | Note in the provided field | A missing answer will be considered intentional
| Incomplete | Note in the provided field | An incomplete answer will be evaluated as is
| Factually Incorrect | Describe in provided field, and include a question for the system owner requesting a correction. | If correction is received, GSA may ask RMI to re-evaluate (as needed)
| Unclear | Describe in provided field, and include a question for the system owner requesting a correction. | Once response is received by GSA, GSA will determine whether the answer is now clarified
Examples of "Partially Met" Criteria | Some evaluation questions include an additional potential response of "Partially Met." In this instance, GSA is interested in whether the system might meet the intent of the criteria but not completely align with the Guiding Principle requirement for that sub-criteria.
Example:
| Criteria | GP Compliance Language | Evaluation Question | How the system might "Partially Meet" that evaluation question. | Reviewer Action Required
| Moisture Control | "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks." | Is a plan/policy developed(yes/no)? | The system may require that the building identify and employ specific strategies to control moisture. While the system may not specifically require a formal plan, the system does support the intent of the sub-criteria/Guiding Principle Requirement to implement strategies that will control moisture. | In the field provided, briefly describe how the system may meet the intent of the Guiding Principle but not specifically meet what is actually required in the Guiding Principle and/or evaluation question.

## Part 1&3
Survey Part III |  |  |  | Evaluation
Survey Question Number | Sub- Criteria | EISA/DOE Rule Language | Definition | Evaluation Question | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet Criteria? | If "Issue with response," or "Partially Met," Please describe
Part III - A Process for Developing and Administering the Certification System
III-A: 1a) -1c) | Consensus-based approach | EISA/DOE Rule Language | Definition | Was the system developed using the ANSI process or another consensus-based process? | No |  | If yes, describe the consensus based approach. | N/A - BREEAM is driven by robust scientific research rather than consensus. Core Science Teams (CSTs) are established to focus on topics such as Carbon and Resilience to conduct the research and set the broad direction across all BREEAM rating systems globally. Each rating system is then developed with that framework, with the science base established to determine the performance levels for which credits can be awarded. Each CST has a Technical Working Group which is made up of industry experts on the subject matter. Individuals can be invited to join or they can register their interest in one or more topics through our website. These groups provided commentary on the proposed direction BREEAM is considering based on the science. However, the specifics of BREEAM’s criteria are not written by or signed off by the Technical Working Group. Any changes to the technical criteria must be justified with scientific evidence. Proposals for the new or updated technical standard is published in draft form for public consultation, with comments responded to and then published online. |  | System not developed using the ANSI process or another consensus-based process.
III-A: 2a)-2c); 3a)-3c) | Transparency | EISA/DOE Rule Language | Definition | To ensure transparency, what stakeholders or groups of stakholders were involved in the development and updating of the certification system | BREEAM USA In-Use Version 6 was updated in 2020. Since the launch of the previous standard in 2016, stakeholders from investors, owners, managers and sustainability professionals had provided feedback which was considered in the context of the building science that drives BREEAM’s development. The draft update was published and a comment period open to all stakeholders was publicized. Comments were submitted, gathered, considered and publicly responded to in a published document. |  | What was their role in the development or updating of the certification. | BREEAM is based on robust scientific research rather than a consensus view. Global consultations on sustainability topics set the broad direction across all BREEAM rating systems. Each rating system is then developed with that framework, with the science base established to determine the performance levels for which credits can be awarded. While we do extensive Industry consultation, any changes to the technical criteria must be justified with scientific evidence. BRE's purpose is to contribute to a thriving and sustainable world by developing science-led solutions to built environment challenges. We generate new knowledge through independent research. This is used to create the products, standards and qualifications that help make sure that buildings, homes and communities are safe, efficient, productive, sustainable and enjoyable places to be. Our customers use our expertise, and products and services to deliver their social, environmental and economic goals. BRE has been raising the standards of the built environment since 1921, and in the last few years has grown significantly, through the achievements of our people and the acquisition of businesses with beliefs and goals aligned with our own. BRE is a profit-for-purpose organization. Any profits from BRE’s work go to the BRE Trust, which invests in research projects for the public benefit, or are invested in upgrading our research facilities at the BRE Science Park. Influential but independent and with a heritage of scientific rigor for 100 years, we will play a key role over the next 100 years, as the world adapts to meet the challenges of climate change. Our multi-disciplinary teams include leading experts – working in world-class facilities – in virtually every element of the built environment. We operate internationally, with offices, representatives and partners around the globe, and at our Head Office and major facilities in the UK. Accreditation is the process and requirements by which bodies are recognized by Governments to provide assurance services. BRE Global Ltd is proud to be accredited by the United Kingdom Accreditation Service (UKAS) against BS EN ISO/IEC 17065:2012 – General requirements for bodies operating product certification systems for providing certification activities associated with the assessment of environmental performance of: • Masterplanning • New construction of infrastructure & buildings • Buildings in use • Refurbishment of buildings Additionally, all BREEAM related activities are aligned to ISO 9001. As an accredited certification body, BRE Global maintains an open and accountable governance structure that, among other things, safeguards impartiality. The Governing Body fulfils this role and provides guidance and advice to BRE Global through the wide knowledge and experience of the Governing Body members. Stakeholders can have confidence in our certifications because we conduct them and our business in a fair and impartial manner, and with avoidance of undue influence arising from conflicts of interest. We maintain impartiality by apply a number of principles and these can be viewed in our Statement of Impartiality. More information available here: https://bregroup.com/about-us-2/impartiality/
I-A: 9) | Ability of applicable SDO to collect and reflect public comment | EISA/DOE Rule Language | Definition | Is there a procedure for differing opinions during system development and/or revision | Yes |  | If yes, describe the procedure. | During the public consultation period, the proposed changes to the standard are published via the applicable website along with information about the consultation and a link to an online survey. The survey questions are developed in part with our Customer Engagement team to ensure they are neutral. The open period for the consultation depends on different factors, such as if it's a full new rating system or an update, the extent of the changes to an existing version, etc. Once the consultation period has closed, the comments and responses are collated for review. Individual members of our Core Science Teams reviews and drafts responses, which are then reviewed by senior members of our Technical team and Product team for approval. The comments provided and the responses are then published.
III-A: 4a)-4b) | Maturity | EISA/DOE Rule language | Definition | Is there an independent review and verification process for updating the certification system to ensure system maturity? | Yes |  | If yes, provide a description of how the system is revised or reaffirmed regularly to ensure maturity. | The Core Science Teams are tasked with tracking updates to the science and research that underpins BREEAM. Updates to the standards are undertaken at the topic level which means that the updates could focus on a single topic (like Version 7 is doing with Carbon and Energy) or multiple topics such as Resources or Natural Environment). Updates are considered across all BREEAM standards in those topics rather than by individual program to ensure harmonization of approach through the asset life cycle. Historically, the pace of change has warranted an update to the version every three to five years to ensure it continues to reflect the best and most robust science available and the appropriate tools and standards in the marketplace.
Part III - B Conformity Assessment
III-A: 5a)-5b) | Transparency | EISA/DOE Rule Language | Definition | Are revisions to the system documented and accessible to the public? | Yes |  | If yes, provide link to publcly accessible information regarding system revisions. | A detailed explanation of the changes between the previous standard and Version 6 is available here: https://files.bregroup.com/breeam/breeam-usa/BREEAM-USA-In-Use_Summary-of-Changes_v2016-to-v6.pdf
III-B: 6a)-6b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is an assessor / auditor independently assigned / selected? | Yes |  | If yes, describe the selection or assignment process for auditors. | Assessors are trained and licensed by BRE to conduct BREEAM USA In-Use assessments. Clients are free to choose any licensed Assessor, all of whom are publicly listed on both BREEAM Projects (https://tools.breeam.com/projects/explore/companies.jsp), our platform that facilities the benchmarking and certification process, and GreenBook Live, our global listing of all BREEAM Assessors and certified assessments (http://www.greenbooklive.com/search/scheme.jsp?id=214). BRE does not arrange, manage or set the fees for assessment services.
III-B: 7a)-7b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Are the criteria used by the assessors and auditors to evaluate a building project documented, available to applicants, and independent from the organizaiton to whom they are providing their services | Yes |  | If yes, please provide links to the location of the documentation and/or description of the process that is made available to applicants. | The full BREEAM USA In-Use technical standard, including full descriptions of how credits are awarded in topics like Energy, is available to download for free from the BREEAM website (https://bregroup.com/products/breeam/breeam-usa/breeam-usa-in-use/). Individuals who wish to access it are required to enter in basic contact details to gain access. Licensed Assessors are required to use the standard and demonstrate through their assessment report how they have verified that the criteria have been met and present the required evidence (detailed in the standard). The Quality Assurance process ensures that the high standard of submissions is maintained by the Assessor and the ratings awarded are robust and accurately reflect performance.
III-B: 8a)-8b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is there a documented process for applicants to appeal an auditor's/assessor's certification decision or specific findings | Yes |  | If yes, describe the documented appeal process available to the applicant. | The BRE Complaints and Appeals Procedure is made publicly available on our main group website (https://www.bregroup.com/about-us/policies-and-accounts/) and via GreenBookLive, the official listing site for certified assessments (https://www.greenbooklive.com/page.jsp?id=242). Complaints are submitted to our Group Quality team or the Head of Compliance either through email or in writing. All complaints received by BRE are independently investigated and actions taken where appropriate.
III-B: 9a)-9b) | Post-occupancy verification | EISA/DOE Rule Language | Definition | Does the system provide a verfication system for post-occupancy evaluation of the certified building? | Yes |  | If yes, describe the system and or requirement to perform a post occupancy of the certified building. | BREEAM USA In-Use is designed for the ongoing assessment of existing buildings and provides a means to verify the design and construction has delivered the intended performance outcomes from the Basis of Design, whether it was designed specifically to BREEAM standards for New Construction or Refurbishment/Renovation/Fit out. Part 1 can be used to assess a newly built structure within 12 months of completion as it focuses on the physical structure such as the envelope, systems, fixtures and fittings. Part 2 can be completed once the assessed area has been occupied for a minimum of 12 months. Providing energy and water performance data is not mandatory to pursue certification however without this data, the asset will find their rating severely restricted simply because they won’t be able to obtain enough credits to achieve the higher ratings available. Certification for either Part is 3 years and covers Energy and Water consumption among a broad range of sustainable criteria.
Note on C5: EISA Section 436 (h)(1)(d): the ability of the standard to be developed and revised through a consensus-based process.
Note on C6: Public Law 110-140, Energy Independence and Security Act (EISA) Section 436 (h)(1)(c): the ability of the applicable standard-setting organization to collect and reflect public comment.
Note on C8: DOE Rule 10 C.F.R. Parts 433, 435, and 436, Green Building Certification Systems for Federal Buildings: "The system under which the building is certified must be subject to periodic evaluation and assessment of the environmental and energy benefits that result under the rating system" (part 433.33(b)(4)).
Note on C10: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C11: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C12: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C13: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C14: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on D5: GSA defines a consensus based certification system is a voluntary consensus standard as defined by OMB Circular A-119 or one that incorporates the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus. Evidence of a consensus-based system may include: - Publicly accessible draft documents and comment periods, - Publicly accessible certification system clarifications, -Instructions for accessing information on key activities, and - Policy/procedure for ensuring stakeholder input during certification system development
Note on D6: A transparent certification system has a documented approach for the review and consideration of public comments, public comments are collected on a regular basis, and development and updating process of the certification system is documented and publicly available. Evidence of transparency may include: -Evidence that review comments are publicly available; for example, website link, publication of document online, or statement that review document/decision is available upon request - Evidence that public comments are incorporated into the certification system revision process.
Note on D8: A mature certification system is effectively linked to latest tools and standards; the certification system has components to track building performance post-occupancy; the certification system is used as a basis for development of other systems; and/or the certification system is consistently updated. As a best practice, the system is revised or reaffirmed every five years at minimum.
Note on D10: The assessor/auditor is defined and is independent from the organization whose product is being assessed for conformity. Assessors/auditors have no stake in whether a building receives certification.
Note on D11: The conformity assessment body publicly discloses the scoring methodology and levels achieved by products that conform to the standard; and describes how the public can access this information. A documented standard verification method and process should be followed by assessors and auditors
Note on D12: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D13: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D14: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on G3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on L3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Part 2
Survey Part 2 Review Template
Copy tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
II-A 2) Type of Building Addressed
Survey Part II |  |  |  | Evaluation
Survey Question(s) Number | Sub- Criteria | GP Compliance Language | Definition | Evaluation Question 1 | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet GP? | If "Issue with response," or "Partially Met," Please describe | Evaluation Question 3 (if applicable) | Response | If "Issue with response," or "Partially Met," Please describe
Part II - B: Employ Integrated Design Principles
II-B: 3a.1) - 3a.3) | Integrated Design and Management | GP Compliance Language | Definition | Does your system address integrated design and management? | Yes |  | List specific requirements in the system addressing integrated design and management. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Credits are awarded when where building users are provided accessible and understandable information including (but not limited to) the overview of the building and it’s environmental strategies, facilities for users with disabilities and inclusive spaces, safety and emergency information, transportation options, local amenities, building occupant controls and how to operate efficiently. The evidence required to receive credits includes the building user guide in whatever form it is delivered and evidence of how the information was/is communicated to building users. Achievement is optional. |  | Man 01 - Building User Guide
II-B: 3b.1) - 3b.3) | Sustainable siting | GP Compliance Language | Definition | Does your system address sustainable siting? | Yes |  | List specific requirements in the system addressing sustainable siting. For each requirement listed, please note whether it is mandatory or optional | Issues that support the preservation of habitats, soils, flora and fauna to minimize disturbance: Asset Performance: Lue 01 – Planted Area To measure and encourage planted areas within the asset footprint that support site’s ecology and the health and wellbeing of occupants through access to green space. Credits are awarded for the percentage of the asset’s footprint that has been planted. Where the asset sits on a site, this includes the surrounding areas and habitats that are within the site footprint. The evidence required to receive the credits include mapping, photos, and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM |  | LUE 01 - Planted Area LUE 02 - Ecological Features of a Planted area
II-B: 3c.1) - 3c.3) | Stormwater Management | GP Compliance Language | Definition | Does your system address stormwater management? | Yes |  | List specific requirements in the system addressing stormwater management. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Rsl 02 – Surface water runoff impact mitigation The aim of this issue is to avoid, reduce and delay the discharge of rainfall to public sewers and watercourses, thereby minimizing the risk and impact of localized flooding on-site and off-site and harm to water quality and groundwater resources. Credits are awarded where there are measures in place to minimize the rate of surface water runoff from the site, with examples including Low-Impact Development, permeable sources, green or blue roofs. The evidence required to receive the credits include photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | RSL - 02 - Surface water run-off impact mitigation
II-B: 3d.1) - 3d.3) | Infrastructure utilization and optimization | GP Compliance Language | Definition | Does your system address infrastructure utilization and optimization? | Yes |  | List specific requirements in the system addressing infrastructure utilization and optimization. For each requirement listed, please note whether it is mandatory or optional. | Asset performance: Tra 01 – Alternative modes of transport The aim of this issue is maximizing the potential for alternative local public, private and active transport modes through provision of sustainable transport measures appropriate to the site. Credits are available for compliant cycle facilities, electric vehicle recharging stations and car sharing priority spaces which supports occupants choosing options that minimize their transportation emissions. Consideration is given for rural locations when setting the minimum number of cycle spaces required. The evidence required includes the calculations used to determine minimum compliance requirements for the asset, site/building plans and communications to encourage occupants to utilize these methods, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. The answer options related to parking spaces can be filtered out where no parking spaces are provided. Asset performance: Tra 02 – Proximity to public transport To ensure appropriate public transport provision is available to building users, thereby helping to reduce transport-related pollution and congestion. Credits are awarded depending on the walking distance of public transport networks and the frequency of the service at peak times. This recognizes the practicality of the options available and encourages those options which are feasible and will result in lower occupant transport emissions. There are credits available for a dedicated bus service as well. The evidence required to receive the credits include photographs, maps, public transit timetables, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Tra 03 – Proximity to amenities The aim of this issue is to ensure building users have appropriate access to amenities near to the asset, consequently reducing occupant transportation emissions. Credits are awarded depending on number of amenities within a specific walking distance of amenities from the asset. The evidence required to receive the credits include photographs, maps, and floor plans, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Tra 04 – Pedestrian and cyclist safety The aim of this issue is to encourage the provision of safe access around the site and outdoor space that enhances the well-being of building users as they move around. Credits are awarded where service areas and maneuvering areas are independent from parking areas, protecting cyclists and pedestrians from danger. This provides further confidence to occupants to select these transport modes. The evidence required include maps, photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. |  | TRA 01 - ALternative modes of transport TRA 02 - Proximity to public transport TRA 03 - Proximity to amenities TRA 04 - Pedestrian and cyclist safety
II-B: 3e.1) - 3e.3) | Commissioning | GP Compliance Language | Definition | Does your system address Commissioning? | Yes |  | List specific requirements in the system addressing commissioning. For each requirement listed, please note whether it is mandatory or optional. | Commissioning applies specifically to newly constructed buildings. As an existing building standard, BREEAM In-Use V6 does not explicitly mention commissioning of an asset as the program scope only covers existing buildings which are occupied and in use. However, BREEAM’s New Construction and Refurbishment & Fit-Out programs both encourage commissioning.
Part II - C: Optimize Energy Performance
II-B: 4a1 - 4a.3) | energy efficiency | GP Compliance Language | Definition | Does your system address energy efficiency? | Yes |  | List specific requirements in the system addressing energy efficiency. For each requirement listed, please note whether it is mandatory or optional | BREEAM takes an “Efficiency First” approach by evaluating the efficiency of the building envelope and systems (Part 1 Asset Performance) independently from the operational energy performance (Part 2 Management Performance). The Asset Energy Calculator (Part 1 Asset Performance) requires the following information to start: • the year the building was built, • when it was last refurbished (if applicable) • the address of the building • the space uses within the building (e.g. office, industrial, retail) • the building services present in the building (answered through Asset Performance: Ene 01 – Building Services) • the percentage of area that is mechanically ventilated (answered through Asset Performance: Ene 02 – Percentage of Mechanical Ventilation) The Asset Energy Calculator creates a model of the asset from this basic information that provides a climate adjusted calculation of the kgCO2eq/ft2/year expected for this type of asset in a worse-case scenario. The asset can then provide optional responses to questions around envelope performance and demonstrated building efficiencies (Ene 03 – 09) to come to the final climate adjusted kgCO2eq/ft2/year for the asset. This performance is then compared to a standard climate adjusted specification for an asset of that same space type and a best practice specification (which is net zero carbon) to award credits. The credits are awarded by how much better the asset performs over the standard specification while only awarding maximum credits where the best practice (net zero carbon) has been met, ensuring that assets must always do better than the standard practice. The full description of the methodology is published in the Technical Manual (pages 100-117). Further to this, there are also issues that support demand side management capabilities (Ene 10), installed controls to reduce energy waste (Ene 11), achieving a recognized energy performance asset rating like DOE’s Asset Energy Score or ENERGY STAR Score (Ene 12), the installation of solar photovoltaic (PV) and/or thermal panels (Ene 13 and Ene 14 respectively) and monitoring specific energy usage and performance inside the building (Ene 15, 16 and 18) and external lighting (Ene 17). The Operational Energy Calculator (Part 2 Management Performance) separately provides an evaluation of the actual energy performance based on consumption data. Performance is measured as kgCO2eq/ft2/year. Credits are awarded depending on how the asset performs against a reference benchmark that reflects the average expected performance of a building in the same location, climate and space types of the asset being assessed. The emissions factors for electricity use the EPA's eGrid factors; all other fuel sources use a factor applied anywhere in the world to ensure comparability. Credits are awarded on a sliding 50-credit scale with maximum credits for a zero-carbon building, and zero credits where the actual emissions are more than four times the reference benchmark emissions. Exemplary performance is also offered for net positive carbon performance. The full description of the methodology is published in the Technical Manual (pages 342-343). The methodology is very similar to that of ENERGY STAR though using different and more global data set which allows BREEAM to be used in over 50 different building types. All energy usage for the previous 12 months is required to be reported to calculate the score (Ene 19). Assets have the option to report the carbon intensity of their districting heating and/or cooling (Ene 20) where it is known and any on-site renewable energy that is generated (Ene 21). BREEAM does not accept off-site generation (through RECs, PPAs or other mechanisms) or offsets of any kind as part of the calculation. Additionally, there are credits available for conducting an energy audit within 5 years (Ene 22), energy measurement, monitoring and reporting (Ene 23) and demonstrating a reduction in carbon emissions over a 3-year period (Ene 24). The asset is required to provide the information about the asset’s age, year of construction/refurbishment, location and space uses to register the building. All other energy data points are optional to provide, meaning that assets can report their performance in all the other categories and may still obtain a rating and certification. This flexibility is balanced through the weighting of the BREEAM categories. As the Energy category is the weighted the heaviest in both parts (25% and 27% respectively for Part 1 and Part 2), any asset that does not provide the basic information to generate the Asset Energy Score or without compliant consumption data for Operational Energy Score will see their overall BREEAM score in either Part severely limited along with their ability to achieve the higher ratings in the BREEAM program. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include managing their energy usage. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. Management Performance: Man 03 – Maintenance policies and procedures The aim of this issue is to recognize and encourage building management to inform staff and visitors about asset performance. Credits are awarded within this issue where there is a full set of operational and maintenance manuals available to all building and facilities management staff, there are proactive maintenance policy and procedures outlined for the external site and building envelope and there are regular reviews of the building management systems by suitably qualified staff. The evidence required to receive the credits include the manual(s) and maintenance records, all verified as |  | Asset Energy Calculator Operational Energy Calculator
II-C: 4b.1) - 4b.3) | energy metering | GP Compliance Language | Definition | Does your system address energy metering? | Yes |  | List specific requirements in the system addressing energy metering. For each requirement listed, please note whether it is mandatory or optional. | Asset performance: Ene 15 – Monitoring energy uses The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption for different building services and building services systems. Credits are awarded for the issue based on the extent to which end uses with significant energy consumption are sub metered, with a minimum of 25% to achieve any credits. The evidence required includes copies of verified sub-meter data from outputs from energy monitoring and management systems or automatic or manual meter readings or line diagram indicating sub-meters and the related energy uses or evidence to show that the end uses can be monitored separately. Achievement is optional. This issue can be filtered out where there are no end uses with significant energy consumption in the asset. Asset Performance: Ene 16 – Monitoring tenanted areas The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption in separately tenanted and functional areas. Credits are awarded where energy is monitored through sub metering in all tenanted areas of the asset and additionally where all end uses with significant energy consumption within the tenanted area are sub metered. Evidence includes estimated energy consumption for tenanted areas, functional areas with different energy requirements and high energy intensity equipment and areas as well as copies of verified sub-meter data for the first and last date of the 12-month period specified. These may be outputs from energy monitoring and management systems or automatic or manual meter readings or Line diagram indicating sub-meters and the related energy uses or evidence to show that the tenanted area can be monitored separately. Achievement is optional. This issue can be filtered out where the asset does not have any tenanted areas or where the estimated energy consumption for the tenanted areas is not significant. This issue can also be filtered out where the asset does not have any functional areas with significantly different energy use patters or where the estimated energy consumption for the functional area is not significant. Management Performance: Ene 19 – Energy consumption The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by employing effective energy management practices, increasing intrinsic energy efficiency of the building envelope, and installing energy efficient building services and equipment. Credits are awarded where there is accurate annual recording of energy data for the asset. The evidence required to receive the credits include metering data or energy bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. This issue is part of the Part 2 Operational Energy Calculator. Providing energy performance data is optional. However, any asset without compliant consumption data will see their score severely limited due to the category weightings. This will prevent the asset from achieving the higher ratings available not matter how many other credits they collect in other categories. Management Performance: Ene 21 – Renewable electricity generated The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by generating renewable electricity. Credits are awarded based on the amount of electricity generated from renewable sources vs. non-renewable sources. The evidence for this issue requires photographic evidence of the generation meter as well as BEMS data for the reporting period selected. This issue is part of the Part 2 Operational Energy Calculator. Achievement is optional. |  | ENE 15 - Monitoring energy uses ENE 16 - Monitoring tenanted areas
II-C: 4c.1) - 4c.3) | renewable energy | GP Compliance Language | Definition | Does your system address renewable energy? | Yes |  | List specific requirements in the system addressing renewable energy. For each requirement listed, please note whether it is mandatory or optional. | BREEAM In-Use encourages assets to understand the capacity for the asset to support on-site renewable energy generation, including: Asset Performance: Ene 10 – Demand side management (DSM) capabilities for electricity The aim of this issue is to reduce carbon emissions associated with grid supply electricity by enabling electricity demand profiles to better match the availability of renewable electricity generation sources. This issue only provides an Exemplary credit which is awarded for adapting the asset to enable renewable sources of energy by including energy storage capabilities, electric smart appliances, and such like. The evidence required to receive the credits include photographs, billing data, and metering data, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Ene 13 – Solar photovoltaic (PV) panels The aim of the issue is to reduce the energy use and carbon emissions of an asse by on-site renewable energy generation from photovoltaics (PV). Credits are awarded for the correct installation and the % coverage of the PV systems on the roof of the asset. The evidence required to receive the credits an onsite visit from the licensed BREEEAM assessor and an extract of the relevant operations manuals or copy of the manufacturer’s information for the PV panels. Achievement is optional. This issue can be filtered out where the asset does not have an accessible roof or suitable site areas. Asset Performance: Ene 14 – Solar thermal panels The aim of this issue is to minimize carbon emissions through on-site renewable energy generation from solar thermal. Credits are awarded for the correct installation and the % coverage of the solar thermal panels on the asset. The evidence required to receive the credits an onsite visit from the licensed BREEEAM assessor and an extract of the relevant operations manuals or copy of the manufacturer’s information for the solar thermal panels. Achievement is optional. This issue can be filtered out where the asset does not have an accessible roof or where the asset does not have any significant hot water usage or this is supplied by district heating. When evaluating operational energy performance, BREEAM In-Use only rewards assets for on-site generation and use of renewable energy. Off-site renewable energy generation delivered through the grid however purchased, Renewable Energy Credits (RECs) and offsets are not accepted. Assets have the option to report any on-site renewable energy that is generated (Ene 21) as part of the Operational Energy Calculator (Ene 19 – 21). Management Performance: Ene 19 – Energy consumption The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by employing effective energy management practices, increasing intrinsic energy efficiency of the building envelope, and installing energy efficient building services and equipment. Credits are awarded where there is accurate annual recording of energy data for the asset. The evidence required to receive the credits include metering data or energy bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Providing energy performance data is optional. However, any asset without compliant consumption data will see their score severely limited due to the category weightings. This will prevent the asset from achieving the higher ratings available not matter how many other credits they collect in other categories. Management Performance: Ene 21 – Renewable electricity generated The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by generating renewable electricity. Credits are awarded based on the amount of electricity generated from renewable sources vs. non-renewable sources. The evidence for this issue requires photographic evidence of the generation meter as well as BEMS data for the reporting period selected. |  | ENE 13 - Solar Photovoltaic Panels ENE 14 - Solar Thermal panels ENE 21 - Renewable Electricity Generated
II-C: 4d.1) - 4d.3) | benchmarking | GP Compliance Language | Definition | Does your system address benchmarking? | Yes |  | List specific requirements in the system addressing benchmarking. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Ene 12 – Local energy performance asset rating The aim of this issue is to recognize operational energy efficiency and carbon benefits associated with benchmarking against local energy standards. Credits are awarded where the asset has been assessed and passed local energy performance standards for existing buildings. Examples include the Department of Energy’s Building Energy Asset Score or a certified ENERGY STAR score. The evidence required to receive the credits include documentation and certificates, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Ene 23 – Energy consumption reporting The aim of this issue is to minimize operational energy consumption and associated carbon emissions by encouraging the measurement of energy performance against targets and increasing the awareness of energy consumption among building managers and users. Credits are awarded where the asset collects energy consumption data and it is compared against targets. Additional credits are offered where the information is reported internally and maximum credits are offered where the data is published in an annual public report. The evidence required to receive the credits include records of energy consumption (in which ENERGY STAR Portfolio Manager records and reporting could potentially contribute) and documentation showing how the data was communicated, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Over the longer term, benchmarking can demonstrate a reduction in carbon emissions which would be further rewarded in Management Performance: Ene 24 – Reduction of carbon emissions where the average reduction in emissions from the asset over a three period can be demonstrated to be at least 5%. Additional credits are offered where those reductions are ≥10% and maximum credits are awarded where reductions are ≥15%. |  | ENE 12 - Local energy performance asset rating ENE 23 – Energy consumption reporting
Part II - D Protect and Conserve Water
II-D: 5a.1) - 5a.3) | Indoor water use | GP Compliance Language | Definition | Does your system address indoor water use? | Yes |  | List specific requirements in the system addressing indoor water use. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Wat 01 – Water monitoring The aim of this issue is to reduce the consumption of water in buildings through the effective management and monitoring of water consumption. Credits are awarded for installing submeters, with more credits offered the more specific the submetering covers (site, building, equipment with 10% or more of all building water demand and tenanted areas. Exemplary credit is offered where submeters are pulsed and connect to a Building Management System. Evidence includes copies of the site plans including where all the water meters are located, photos of all the installed water meters and a copy of the most recent water meter readings, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. However, demonstrating that water meters are in place and operational at site level or better is required to achieve a rating of Good or better under Part 1 Asset Performance. Asset Performance: Wat 02 – Water efficient equipment: toilets The aim of this issue is to reduce water consumption by encouraging the specification of water efficient toilets. A minimum 1.6 gallon per flush rate on all toilets is required to earn any credits. Maximum credits offered where over 50% of toilets are ≤0.79 gallons per flush and all remaining toilets are ≤1.18 gallons per flush, exceeding the WaterSense label minimum rates. Calculation methodology includes effective flush volume where dual flush toilets are present. Evidence includes photos of the installed toilets, copies of the floor plans and manufacturer details of the toilets, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 03 – Water efficient equipment: urinals The aim of this issue is to reduce water consumption by encouraging the specification of water efficient urinals. More credits are offered for better performance demonstrated: where all urinals installed have less than 0.8 gallons per flush, less than 0.5 gallons per flush and waterless flush. Evidence includes photos of the installed urinals, copies of the floor plans and manufacturer details of the urinals, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no urinals are present and no urinals from nearby facilities will be used by the occupants and visitors. Asset Performance: Wat 04 – Water efficient equipment: hand washing sink faucets The aim of this issue is to reduce water consumption by encouraging specification of water efficient hand washing sink faucets. More credits are offered for better performance demonstrated: no more than 1.6 gallon/minute rate for all faucets, 50% or more have less than 1.0 gallon/minute rate with remaining at 1.6 gallon/minute or less, 100% at 1.0 gallons/minute or less and maximum credits where 100% at 1.0 gallons/minute or less and they have automatic controls. Evidence includes, photos of the installed faucets, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 05 – Water efficient equipment: Showers The aim of this issue is to reduce water consumption by encouraging the specification of water efficient showers. Credits are awarded for the percentage of low water use showers installed, with only those with a flow rate of less than or equal to 1.6 gallons/minute permitted. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no showers are present in the asset and no showers from nearby facilities will be used by occupants and visitors. Asset Performance: Wat 06 – Water efficient equipment: Appliances The aim of this issue is to reduce water consumption by encouraging the specification of water efficient appliances. Credits are awarded where the dishwashers and washing machines that are part of the scope are low water use appliances. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no appliances are present in the asset and no appliances from nearby facilities will be used by the occupants and visitors. Asset Performance: Wat 10 – Reducing utility–supplied water consumption The aim of this issue is to minimize unnecessary water consumption by reducing the demand for utility-supplied water within the asset. Credits are given where the asset has the ability to harvest and reuse greywater, blackwater or rainwater. Evidence includes photos of the water source(s) and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where legislative requirements prevent use of non-utility supplied water within the asset. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded based on the percentage of total annual water consumption comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 14 – Water Strategy The aim of this issue is to promote reduced utility-supplied water consumption through encouraging strategies that focus on water efficiency and reduction on wastage. Credits are awarded where the water strategy includes replacing water appliances and fittings with low water use equivalents during renovations. Evidence includes the strategy document with relevant sections highlighted as well as maintenance logs and evidence of water monitoring data, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include managing their indoor water use. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 05 – Green lease The aim of this issue is to encourage the implementation of lease agreements that contain incentives to actively engage tenants in consideration of energy, water, and waste efficient practices. Credits are awarded where the percentage of tenants within an asset have a green lease in place that includes sharing of environmental performance data. More credits are offered the higher the percentage of tenants with green leases and where targets are set in addition to data sharing. Evidence includes a copy of the tenant contract with the green lease section and scope highlighted or identified, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where the asset doesn’t have any tenanted areas. |  | WAT 01 – Water monitoring WAT 02 – Water efficient equipment: toilets WAT 03 – Water efficient equipment: urinals WAT 04 – Water efficient equipment: hand washing sink faucets WAT 05 – Water efficient equipment: showers WAT 06 – Water efficient equipment: appliances WAT 10 – Reducing utility-supplied water consumption WAT 12 – Water recycling WAT 14 – Water strategy
II-D: 5b.1) - 5b.3) | Water metering |  |  | Does your system address water metering? | Yes |  | List specific requirements in the system addressing water metering. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Wat 01 – Water monitoring The aim of this issue is to reduce the consumption of water in buildings through the effective management and monitoring of water consumption. Credits are awarded for installing submeters, with more credits offered the more specific the submetering covers (site, building, equipment with 10% or more of all building water demand and tenanted areas. Exemplary credit is offered where submeters are pulsed and connect to a Building Management System. Evidence includes copies of the site plans including where all the water meters are located, photos of all the installed water meters and a copy of the most recent water meter readings, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. However, demonstrating that water meters are in place and operational at site level or better is required to achieve a rating of Good or better under Part 1 Asset Performance. Asset Performance: Wat 07 – Leak detection system The aim of this issue is to minimize undetected wastage and leaks from the asset’s water supply system. Credits are awarded where the asset’s water supply system is fitted with an automatic leak detection system. Evidence includes photographic evidence and manufacturer specifications of the leak detection system, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 08 – Leak prevention The aim of this issue is to minimize undetected wastage and leaks from sanitary fittings and supply pipework. Credits are awarded where the flow control device that regulates the water supplier are fitted to each restroom area or sanitary facility. Evidence includes photographic evidence, manufacturer specifications of the shut off controls and a systematic diagram showing the areas of isolation, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 09 – Isolation valves The aim of this issue is to minimize undetected wastage and leaks due to defects and minimize disruption during maintenance. Credits are awarded for the percentage of water fixtures and equipment that have isolation valves fitted. A minimum of 1% of water fixtures must have isolation valves fitted for credit to be awarded with additional credits offered where the percentage meets ≥50% or ≥75% and maximum credits offered for 100%. Evidence includes photographic evidence of the valves, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | WAT 01 - Water Monitoring WAT 07 - Leak Detection System
II-D: 5c.1) - 5c.3) | Outdoor water use | GP Compliance Language | Definition | Does your system address outdoor water use? | Yes |  | List specific requirements in the system addressing outdoor water use. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Lue 02 – Ecological features of planted area To measure and recognize ecological features that have been installed in the planted areas of the asset footprint to improve the ecological value of the site. Credits are awarded for the extent of the features found, with an exemplary credit available where the habitat significantly supports local native species. The evidence required to receive the credits include photos and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Lue 04 – Biodiversity management plan To encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of an ecology survey, which sets targets to maintain and enhance the ecological value of the site. Credits are awarded where the ecology survey has been completed and the plan developed as a result is being implemented. This plan will often include irrigation methodologies for the biological infrastructure on site. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 11 – Water consumption The aim of this issue is to ensure management are aware of annual consumption from utility-supplied water resources. Credits are awarded for reporting the annual consumption figure which includes both indoor and outdoor water use. The evidence required to receive the credits include meter readings and/or utility bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded based on the percentage of total annual water consumption comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 13 – Water consumption reporting The aim of this issue is to facilitate the structured and systematic provision of reporting on water consumption to encourage building users to understand and set efficiency improvement targets. Credits are awarded where the strategy in place uses water monitoring data to minimize water consumption, with more credits provided where the strategy includes target setting and reporting mechanisms. The evidence required to receive the credits include consumption records, specialist reports, and strategy/policy documents, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | Outside of using local plants, the rating system does not contain any credits that specifically target reducing outdoor water use. In order to meet the Guiding Principles, agencies would need to employ water efficient irrigation strategies to reduce outdoor water use by 50% or more and use xeriscaping techniques or other strategies designed to minimize outdoor water use. LUE 02 – Ecological features of planted area
II-D: 5D.1) - 5D.3) | Alternative water |  |  | Does your system address alternative water? | Yes |  | List specific requirements in the system addressing alternative water use. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Wat 10 – Reducing utility-supplied water consumption The aim of this issue is to minimize unnecessary water consumption by reducing the demand for utility-supplied water within the asset. Credits are given where the asset has the ability to harvest and reuse greywater, blackwater or rainwater. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where legislative requirements prevent use of non-utility supplied water within the asset. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded where the annual water consumption of the asset also comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional.y |  | Wat 10 – Reducing utility-supplied water consumption Wat 12 – Water recycling
Part II - E: Enhance the Indoor Environment
II-E: 6a.1) - 6a.3) | ventilation and thermal comfort | GP Compliance Language | Definition | Does your system address ventilation and thermal comfort? | Yes |  | List specific requirements in the system addressing ventilation and thermal comfort. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Hea 07 – User comfort control The aim of this issue is to recognize the provision of controls allowing asset users to optimize their comfort levels. Credits are awarded for where there is the ability for asset users to control the temperature and ventilation in occupied spaces. Evidence includes photos of the system, as well as building plans illustrated with the locations of the control panels and zoning, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 08 – Ventilation system air intakes and exhausts The aim of this issue is to ensure that the asset ventilation system minimizes the entry of external sources of air pollution. Credits are awarded where there are ventilation systems which minimize the entry of air pollutants in accordance with ASHRAE 62.1-2019. The evidence required includes documentation (plans, photographs or scaled drawings of the asset) showing the location of air intakes and exhausts and external sources of pollution and the distances between them, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 14 – Thermal Comfort The aim of this issue is to ensure that asset users are thermally comfortable in occupied spaces. Credits are awarded for regularly monitoring occupied spaces within the asset. Credits are awarded depending on how stringent the method is for monitoring thermal comfort. This includes through detailed thermal comfort measurement and analysis in line with ASHRAE 55-2017. Evidence includes a procedure and records outlining thermal comfort related feedback, occupant satisfaction surveys, physical measurement data, analysis, and records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. Included is the cleanliness of and for cleaning ventilation system components in accordance with ASHRAE 62.1-2019. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 7 - User Comfort Control HEA 14 - Thermal Comfort HEA 16 - Indoor Air Quality Management
II-E: 6b.1) - 6b.3) | daylighting and lighting controls | GP Compliance Language | Definition | Does your system address daylighting and lighting controls? | Yes |  | List specific requirements in the system addressing daylighting and lighting controls. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Hea 01 – Daylighting This issue aims to ensure asset users have access to good levels of daylight. Credits are awarded based on the percentage of occupied spaces which have glazed areas that allow asset users to experience daylight. Exemplary credit is available where all occupied spaces meet the minimum performance requirements for the glazed area as a percentage of the floor area. Evidence required for this issue includes photos of the occupied spaces, and Documentation specifying the floor area and glazed area in occupied spaces and calculations in accordance with the Methodology, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where the only relevant occupied space requires daylight to be excluded or lighting conditions to be strictly controlled. Asset Performance: Hea 02 – Control of glare from sunlight This issue aims to recognize and encourage features that control glare from sunlight in occupied spaces. Credits are awarded based on the percentage of relevant occupied space (weighted by floor area) that contains compliant glare control features. Evidence required includes photos showing glare control features installed, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. |  | HEA 01 - Daylighting HEA 02 - Control of glare from sunlight HEA 03 - Internal and external lighting levels HEA 04 - Lighting Control
II-E: 6c.1) - 6c.3) | low-emitting materials and products | GP Compliance Language | Definition | Does your system address low-emitting materials and products? | Yes |  | List specific requirements in the system addressing low-emitting materials and products. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. Included is the selection of low or no emission products for paints, coatings, adhesives, sealants, flooring, furniture and cleaning products with labels such as EPA Safer Choice. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 16 - Indoor Air Quality Management
II-E: 6d.1) - 6d.3) | radon mitigation | GP Compliance Language | Definition | Does your system address radon mitigation? | Yes |  | List specific requirements in the system addressing radon mitigation? For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Pol 09 – Land contamination mitigation The aim of this issue is to identify any land contamination issues that require further investigation or remediation. This includes radon. Credits are awarded where the investigation has been carried out and where issues have been identified, the extent to which they have been remediated. Evidence includes reports from contaminated land specialists and other relevant documentation, which are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes the monitoring of radon and other air pollutants. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 16 - Indoor Air Quality Management POL 09 - Land Contamination Mitigation
II-E: 6e.1) - 6e.3) | moisture and mold control | GP Compliance Language | Definition | Does your system address moisture and mold control? | Yes |  | List specific requirements in the system addressing moisture and mold control. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes identifying sources of moisture and potential for condensation through inspections. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 16 - Indoor Air Quality Management
II-E: 6f.1) - 6f.3) | IAQ during construction and operations |  |  | Does your system address IAQ during construction and operations? | Yes |  | List specific requirements in the system addressing IAQ during construction and operations. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes procedures and plans to ensure good indoor air quality is maintained during specific maintenance, redecoration, refurbishment, or construction activities. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 16 - Indoor Air Quality Management
II-E: 6g.1) - 6g.3) | environmental smoking control | GP Compliance Language | Definition | Does your system address environmental smoking control? | Yes |  | List specific requirements in the system addressing environmental smoking control. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Hea 15 – Smoking policy The aim of this issue is to recognize and encourage the health benefits of a smoke-free environment and to minimize fire risk. Credits are awarded where there are policies which prohibit smoking inside, and directly outside the asset’s entrances. Evidence requirements include a copy of the smoke-free policy and, where applicable, tenancy agreements. As well as photos of ‘No Smoking’ signage and other infrastructure which demonstrates the separation of smoke free zones such as shelters. All evidence must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 11 – Provision of rest areas The aim of this issue is to recognize and encourage the provision of rest areas for asset users. Credits are awarded where there are purpose-built areas to allow asset users to rest, prepare food and sit together. Additional credits are awarded where there are dedicated outdoor spaces with seating. All rest areas must prohibit smoking. Evidence requirements include photos of the areas, demonstrating the facilities available to asset users as well as plans of the locations, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | HEA 15 - Smoking Policy
II-E: 6h.1) - 6h.3) | integrated pest management | GP Compliance Language | Definition | Does your system address integrated pest management? | Yes |  | List specific requirements in the system addressing integrated pest management. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Lue 04 – Biodiversity management plan The aim of this issue is to encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of the ecology survey, which sets targets to maintain and enhance the ecological value of the site . Credits are awarded where the ecology survey has been completed and where biodiversity on the site was identified, the plan has been completed and is being implemented. This plan will include an integrated pest management plan for the site and surrounding areas. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | LUE 04 - Biodiversity Management Plan
II-E: 6i.1) - 6i.3) | occupant health and wellness | GP Compliance Language |  | Does your system address occupant health and wellness? | Yes |  | List specific requirements in the system addressing occupant health and wellness. For each requirement listed, please note whether it is mandatory or optional. | Supporting the occupant health and wellbeing has been a core of the BREEAM standard since it was launched in 1990. As an asset-focused sustainability standard, BREEAM seeks to deliver healthy environments to enable healthy occupants. Overall health and wellness Asset Performance: Hea 12 – Inclusive design The aim of this issue is to recognize and encourage assets that have considered their users and have inclusive features. Credits are awarded for the extent to which the asset contains features that allow users regardless of age, size, ability, or disability to use the asset effectively. Features are classified into standard and advanced (Universal Design) and maximum credits are offered where standard and advanced features are incorporated. Exemplary credit is available where extensive standard and advanced features are incorporated. Examples of standard features include baby changing facilities accessible to parents or caregivers regardless of gender and design considerations for individuals with limited mobility or strength. Advanced features include orientation and wayfinding features with enhanced signage, assistive technologies like hearing enhancement systems and inclusive spaces like quiet rooms or lactation spaces. Evidence includes building plans outlining the installed features, specifications of the features and photographic evidence, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. |  | HEA 12 - Inclusive Design HEA 13 - Drinking Water Provision HEA 06 - View Out
Part II - F: Reduce the Environmental Impact of Materials
II-F: 7a.1) - 7a.3) | materials with recycled content | GP Compliance Language | Definition | Does your system address materials with recycled content? | Yes |  | List specific requirements in the system addressing materials with recycled content. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Asset Performance: Rsc 03 – Resources inventory This issue aims to enable asset owners to recognize, maintain and benefit from the value of resources in the asset. Allowing them to increase the reuse and recycling of resources and reduce the use of virgin materials. Credit are awarded where a resources inventory has been completed within a 5-year period, with additional credits available for more comprehensive inventories. Evidence required includes a copy of the resources inventory, with the relevant sections identified according to each question answer and criterion specified, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system addresses responsible material procurement, it does not explicitly reference a requirement or metric related to recycled content of materials. In order to meet the Guiding Principles, agencies would need to ensure they use RCRA section 6002 compliant products or those that meet or exceed EPA's recycled content recommendations. RSC 05 – Sustainable procurement
II-F: 7b.1) - 7b.3) | materials with biobased content | GP Compliance Language | Definition | Does your system address materials with biobased content? | Yes |  | List specific requirements in the system addressing materials with biobased content. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. This would include the procurement of bio-based products where applicable as these would ensure the end products are more sustainable. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. |  | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system addresses responsible material procurement, it does not explicitly reference a requirement or metric related to recycled content of materials. In order to meet the Guiding Principles, agencies would need to ensure they use RCRA section 6002 compliant products or those that meet or exceed EPA's recycled content recommendations. RSC 05 – Sustainable procurement
II-F: 7c.1) - 7c.3) | environmentally preferable products | GP Compliance Language | Definition | Does your system address environmentally preferable products? | Yes |  | List specific requirements in the system addressing environmentally preferable products. For each requirement listed, please note whether it is mandatory or optional. | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Asset Performance: Rsc 03 – Resources inventory This issue aims to enable asset owners to recognize, maintain and benefit from the value of resources in the asset. Allowing them to increase the reuse and recycling of resources and reduce the use of virgin materials. Credit are awarded where a resources inventory has been completed within a 5-year period, with additional credits available for more comprehensive inventories. Evidence required includes a copy of the resources inventory, with the relevant sections identified according to each question answer and criterion specified, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | RSC 05 – Sustainable procurement
II-F: 7d.1) - 7d.3) | ozone depleting substances | GP Compliance Language | Definition | Does your system address ozone depleting substances? | Yes |  | List specific requirements in the system addressing ozone depleting substances. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Pol 04 – Global warming potential of refrigerants This issue aims to encourage the use of refrigerants with a low global warming potential (GWP) in refrigerant equipment. Credits are awarded where the refrigerants used have low global warming potential. If all the refrigerants in the asset have a GWP of less than 1, the asset will receive full credits. No credits will be awarded if the asset uses refrigerants with a GWP of above 10 (HCFC’s, CFC’s and HFC’s). Evidence requirements for this issue include the manufacturers information confirming the GWP of the refrigerants used as well as photographic evidence of refrigerant packaging/systems, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no refrigerants are used or only small hermetic systems are installed in the asset. Asset Performance: Pol 05 – Refrigerant leak detection systems This issue aims to minimize the leakage of refrigerants. Credits are awarded depending on the breadth of features offered by the automated refrigerant leak detection system installed. The system is required to be in place for all equipment which has 11 lbs or more of refrigerant. Maximum credits are offered where only environmentally benign refrigerants are used. Evidence requirements for this issue include operations and maintenance manuals detailing the systems and their site inspection routine and photographs of the system, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no refrigerants are used or only small hermetic systems are installed in the asset. Management Performance: Pol 08 – Refrigerant replacement This issue aims to encourage a strategy and timetable to replace refrigerants with low environmental impact alternatives. Credits are awarded where either low environmental impact refrigerants are already in use or those with higher environmental impact will be replaced within a reasonable timeframe. Evidence requirements for this issue include a copy of the strategy, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no refrigerants are used or only small hermetic systems are installed in the asset. |  | POL 04 - Global Warming Potential of refrigerants
II-F: 7e.1) - 7e.3) | hazardous waste | GP Compliance Language | Definition | Does your system address hazardous waste? | Yes |  | List specific requirements in the system addressing hazardous waste. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Rsc 02 – Reuse and recycling facilities This issue aims to facilitate the reuse, repurposing, and recycling of waste from the asset. This follows the waste hierarchy of prevention, re-use, recycling, and other recovery means for waste generated by the asset. This includes any hazardous waste that might also be generated. Credits are awarded where there are dedicated facilities and management procedures in place to segregate, store, and collect waste to divert from landfills. Exemplary credits are available for two scenarios: where a suitable construction waste management space is available for optimal sorting of construction waste generated by tenant improvements and where a reusable construction product storage space is available on-site or locally. Evidence requirements include photos of the waste disposal facilities as well as documents of the waste procedures. If the waste is collected by a vendor, the asset management need to provide records from the waste collector that commingled waste is separated into the waste streams as identified. Facilities and documentation are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. However, being awarded all eight credits is required to achieve a rating of Outstanding under Part 1 Asset Performance. Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Management Performance: Rsc 06 – Optimizing resource use, reuse, and recycling The aim of this issue is to reduce resource consumption and facilitate the reuse, repurposing, and recycling of waste resources from the asset. Credits are awarded where the waste generated in the management of the asset and by the occupants is being recorded and monitored and presented at least annually to senior management of the organization managing the asset. Additional credits are available where targets have been set and the asset is actively encouraging reuse and recycling by the occupants. Evidence includes the waste data, evidence of senior management review and training and communications where additional credits are being sought, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Credits are awarded when where building users are provided accessible and understandable information including (but not limited to) the overview of the building and it’s environmental strategies, facilities for users with disabilities and inclusive spaces, safety and emergency information, transportation options, local amenities, building occupant controls and how to operate efficiently. The evidence required to receive the credits include the building user guide in whatever form it is delivered photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset management: Pol 02 – Chemical storage The aim of this issue is to reduce the impact of a chemical leak or spill by containing the substance and minimizing impact on other areas of the building. Credits are given where the asset has management systems in place to store all hazardous chemicals in areas with adequate containment to deal with ≥110% of the chemicals stored. This could include the use of spill trays, double sinks, bunding and non-permeable membranes. Evidence required includes photos of the chemical storage, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where no hazardous chemicals are stored in the asset. |  | RSC 06 - Optimizing Resource Use, Reuse, and Recycling
II-F: 7f.1) - 7f.3) | solid waste management | GP Compliance Language | Definition | Does your system address solid waste management? | Yes |  | List specific requirements in the system addressing solid waste management. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Rsc 02 – Reuse and recycling facilities This issue aims to facilitate the reuse, repurposing, and recycling of waste from the asset. This follows the waste hierarchy of prevention, re-use, recycling, and other recovery means for waste produced by the asset. Credits are awarded where there are dedicated facilities and management procedures in place to segregate, store, and collect waste for optimal recycling and reuse. Exemplary credits are available for two scenarios: where a suitable construction waste management space is available for optimal sorting of construction waste generated by tenant improvements and where a reusable construction product storage space is available on-site or locally. Evidence requirements include photos of the waste disposal facilities as well as documents of the waste procedures. Facilities and documentation are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. However, being awarded all eight credits is required to achieve a rating of Outstanding under Part 1 Asset Performance. Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Management Performance: Rsc 06 – Optimizing resource use, reuse, and recycling The aim of this issue is to reduce resource consumption and facilitate the reuse, repurposing, and recycling of waste resources from the asset. Credits are awarded where the waste generated in the management of the asset and by the occupants is being recorded and monitored and presented at least annually to senior management of the organization managing the asset. Additional credits are available where targets have been set and the asset is actively encouraging reuse and recycling by the occupants. Evidence includes the waste data, evidence of senior management review and training and communications where additional credits are being sought, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | RSC 02 - Reuse and Recycling Facilities RSC 06 - Optimizing Resource Use, Reuse, and Recycling
Part II - G Assess and Consider Building Resilience
II-G: 8a.1 - 8a.3 | Risk assessment | GP Compliance Language |  | Does your system address risk assessment? | Yes |  | List specific requirements in the system addressing risk assessment. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Rsc 01 – Condition survey This issue aims to encourage asset owners to understand the physical condition of the property, to plan scheduled maintenance, repair and renovation activities to avoid higher impact and costlier activities later in the future, extending the life of the asset. Credits are awarded depending on the party that conducts a condition survey and the extent of the work done to rectify defects identified. Evidence requirements for this issue include the condition survey and evidence of the organization that conducted it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where the asset is less than 5 years old and no condition survey has been undertaken. Asset Performance: Rsl 01 – Flood risk assessment The aim of this issue is to recognize and encourage the identification of flood risk and implementation mitigation measures, where required. Credits are awarded for the extent to which flood risk has been identified and measures implemented to address the risks. Credits are available dependent on the extent of the Flood Risk Assessment (FRA) scope, the risk level of the asset and whether mitigation measures were required and implemented. Assets with a Flood Risk Assessment that covers all sources and where flood risk is zero or low achieves maximum credits. An exemplary credit is also offered where the assessment contains an allowance for climate change scenarios. The evidence required to receive the credits include specialist report and photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. However, completing a flood risk assessment that includes at a minimum fluvial and tidal source is required to achieve a rating of Very Good or better under Part 1 Asset Performance. Asset Performance: Rsl 03 – Natural hazard risk assessment The aim of this issue is to encourage the identification of the risks from all natural hazards relevant to the asset and build capacity to recover quickly following a damaging event. Credits are awarded where a risk assessment has been carried out to understand an asset’s exposure to natural hazards relevant to the asset and emergency plans have been prepared. Evidence requirements include a copy of the natural hazard risk policy/strategy which has been completed by a competent individual or organization and the resulting emergency plans have been shared with all building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Pol 01 – Minimizing water course pollution This issue aims to reduce the risk of natural watercourse pollution from surface water run-off and/or grease from kitchen facilities entering drainage systems. Credits are awarded where filters are in place to capture light liquid or grease in the appropriate systems. Evidence requirements for this issue include site plans and photographic evidence, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where the asset does not require light-liquid separators or grease separators. Asset Performance: Pol 03 – Local air quality This issue aims to reduce the asset’s contribution to local air pollution, an activity that is typically regulated and where the requirements could potentially tighten and leave the asset with costly repairs or unexpected replacement. Credits are awarded based on the emissions of nitrogen oxides, particulate matter or volatile organic compounds by the asset’s heating and hot water systems. Evidence requirements for this issue include copy of manufacturer’s details for the installed applicance(s) and their emission leels and photographic evidence, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. This issue can be filtered out where the asset is connected to a district heating system that is outside the control of the building owner or manager. Management Performance: Rsl 07 – Climate-related transition risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to climate-related transition risks and opportunities. Credits are awarded where the asset has been assessed for exposure to climate-related transition risks and opportunities through a risk assessment process. Additional credits are given if the asset management have disclosed the metrics used by the asset to assess the risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and qualifications of the individuals and organization who undertook the assessment, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsl 08 – Social risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to social risks and opportunities. This includes impacts to and from the community and interdependent infrastructure deemed material to the asset, with particular attention paid to underrepresented groups and an aim of encouraging outcomes that contribute to enhancing the community’s overall resilience. Credits are awarded where the asset has been assessed for exposure to social risks and opportunities through a risk assessment process. Additional credits are awarded where the asset management have disclosed metrics used by the asset to assess these risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsl 09 – Fire risk assessment The aim of this issue is to ensure a consistent baseline of fire risk assessment. Assets must report whether regulations include a requirement to conduct a fire risk assessment. Credits are awarded where the asset has conducted a fire risk assessment when not required to by regulations. The question is filtered out for assets that are required to do so by law, ensuring that assets are only rewarded where they go beyond regulations. The evidence requires for this issue includes a copy of the most recent fire risk assessment, competency records of the individual carrying out the risk assessment and any evidence of fire safety manager checking through documentation and recent examples, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Where regulations do not include a requirement for a fire risk assessment to be conducted, assets are required to have carried a fire risk assessment out to achieve any BREEAM rating under Part 2 Management Performance. Where the regulations include the requirement, the asset is deemed to have met this minimum standard and the credits for this issue will be filtered out. Management Performance: Rsl 10 – Security risk assessment The aim of this issue is to ensure all property-related security issues are identified and addressed to reduce risks from crime. Credits are awarded where a security risk assessement has been carried out. Exemplary credit is awarded where a risk-based security rating program has been used and the |  | RSL 01 – Flood risk assessment RSL 03 – Natural hazard risk assessment RSL 07 – Climate-related transition risks and opportunities RSL 08 – Social risks and opportunities RSL 09 – Fire risk assessment RSL 10 – Security risk assessment]
II-G: 8b.1 - 8b.3 | Building resilience and adaptation | GP Compliance Language |  | Does your system address building resilience and adaptation | Yes |  | List specific requirements in the system addressing building resilience and adaptation. For each requirement listed, please note whether it is mandatory or optional. | Asset Performance: Rsc 04 – Future adaptation This issue aims to recognize and encourage buildings which have been built to allow a degree of flexibility for future usage. Credits are awarded where the design of the asset allows for future adaptation to meet changing demands such as variations in use and functionality. Exemplary credit is awarded where a building-specific functional adaptation strategy study has been undertaken. Evidence requirements for this issue include plans, studies, reports or other documentation that demonstrates this was considered during design, a copy of the functional adaptation strategy study where it was done and photographic evidence as appropriate, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Rsl 04 – Durable and resilient features The aim of this issue is to minimize the frequency of building component replacement and therefore maximizing materials optimization. Credits are awarded where there are features within the asset which protect exposed elements of the building and landscaping from damage from pedestrian traffic, internal vehicular/hand truck movement, and external vehicular collision. The evidence required to receive the credits photographs and plans of the site, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Rsl 05 – Alarm systems The aim of this issue is to ensure the asset is equipped with appropriate alarm systems to prevent damage to the asset or property within the asset. Credits are awarded where the asset has been fitted with fire and intruder alarm systems which are certified to a National or International standard and additional credits offered where these are connected to a 24 hour a day monitoring facility. Evidence requirement include any documentation demonstrating intruder alarm system is approved to an appropriate National or International standard and photographs and plans of the site, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsl 06 – Emergency plans and climate-related physical risks The aim of this issue is to encourage emergency plans that go beyond statutory requirements, the intention of which are to protect property, the environment and people. This issue also recognizes and encourages assessment of an asset’s exposure to climate related physical risks and their impact on asset value. Credits are awarded where the asset has been assessed for acute and chronic climate-related physical risks and the emergency plans provide a coherent strategy for protecting life and property for all relevant natural hazards, fire and security risks, with responsibility delegated to key staff and communicated appropriately to building users. Exemplary credits are offered where the asset provides a community space for emergencies and where risks posted to the asset value and the community have also been identified. Evidence includes copies of the risk assessments carried out about the asset, and emergency plans based on these risk assessments. Where exemplary credits are awarded, the evidence must show there has been coordination with civic or other community leaders to offer the community space, communications within the community about the space available and how it can be utilized in the case of an emergency. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsl 07 – Climate-related transition risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to climate-related transition risks and opportunities. . This includes impacts to and from the community and interdependent infrastructure deemed material to the asset, with particular attention paid to underrepresented groups and an aim of encouraging outcomes that contribute to enhancing the community’s overall resilience. Credits are awarded where the asset has been assessed for exposure to climate-related transition risks and opportunities through a risk assessment process. Additional credits are given if the asset management have disclosed the risks and opportunities of a Climate related transition. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsl 08 – Social risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to social risks and opportunities. Credits are awarded where the asset has been assessed for exposure to social risks and opportunities through a risk assessment process. Additional credits are awarded where the asset management have disclosed metrics used by the asset to assess the risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. |  | RSC 04 - future adaptation RSL 06 - Emergency Plans and Climate-Related Physical Risks
Note on C7: Establish sustainability goals as part of the project to meet the Guiding Principles and incorporate those goals into the design document and process, such as the Owner’s Project Requirements (OPR), Basis of Design (BOD), Conceptual Design Report (CDR), or relevant design documents.
Note on C8: Follow all relevant requirements of 41 CFR § 102-76.20 of the Federal Management Regulation to make a positive contribution to the surrounding landscape, and comply with the National Environmental Policy Act of 1969, as amended, 42 U.S.C. 4321 et seq., and the National Historic Preservation Act of 1966, as amended, 54 U.S.C. Subtitle III, Division A.
Note on C9: [Option 1] For new construction or modernization projects disturbing a surface area of 5,000 or more square feet, use planning, design, construction, and maintenance strategies to maintain or restore the predevelopment hydrology of the property in terms of temperature, rate, volume, and duration of flow, in accordance with statutory requirements (42 U.S.C. § 17094). Low impact development (LID) infrastructure solutions can be utilized to help achieve this criteria. [Option 2] For new construction or modernization projects disturbing a surface area fewer than 5,000 square feet, use site planning, design, construction, and maintenance strategies such as low impact development (LID) to manage on-site stormwater and to maintain or restore hydrologic conditions after development, to the maximum extent that is technically practicable. 3 Conform to 2018 IgCC Section 501.3.4 (5.3.4) Stormwater Management.
Note on C10: Evaluate and prioritize transportation strategies and associated infrastructure improvements that promote and support alternative transportation, including walking, cycling, alternative fuel and electric vehicles, and public transit over the life of the building, as feasible and consistent with the mission of the facility.
Note on C12: Employ commissioning, as defined per Section 432 of the Energy Independence and Security Act of 2007 ((42 U.S.C. 8253(f)(1)(A)), and tailored to the size and complexity of the building
Note on C14: Ensure compliance with Federal energy efficiency performance requirements for new construction in accordance with § 109 of the Energy Policy Act of 2005 (42 U.S.C. § 6834(a)(3)(A)) and DOE’s regulations as established under 10 CFR parts 433, subpart A, and 10 CFR parts 435, subpart A. Ensure installation of ENERGY STAR and FEMP-designated products in all procurements involving energy-consuming products and services, in accordance with 42 U.S.C § 8259b and 10 CFR § 436.40– 436.43.
Note on C15: Install building-level meters for electricity and advanced meters to the maximum extent practicable, as required by EPAct 2005 § 103 (42 U.S.C. § 8253(e)). Install standard or advanced meters for natural gas and steam to the maximum extent practical, in accordance with the DOE’s Federal Building Metering Guidance and EISA 2007 § 434 (42 U.S.C. § 8253(e)(1)).
Note on C16: Evaluate applicable renewable electric energy strategies related to the project or building that could support, as needed, agency progress toward renewable energy goals where cost-effective, per 42 U.S.C. § 15852(a).
Note on C17: Benchmark building performance at least annually, preferably using ENERGY STAR Portfolio Manager, and regularly monitor building energy performance against historic performance data and peer buildings, in accordance with criteria established by DOE’s Federal Building Energy Use Benchmarking Guidance per 42 U.S.C. § 8253(f)(8).
Note on C19: For new construction where water is used to achieve energy efficiency, water conservation measures must be applied to the extent that they are life cycle cost-effective in accordance with 10 CFR Parts 433 and 435. In addition to the use of water conservation technologies otherwise required by 42 U.S.C. § 6834, water conservation technologies are to be applied to the extent that the technologies are life cycle cost-effective for new construction and modernization projects, in accordance with 42 U.S.C. § 6834(a)(3)(D)(vii). Eliminate the use of single-pass (also called "once-through") cooling equipment using potable water and optimize cooling tower operations to minimize makeup water. Agencies should refer to EPA's WaterSense, GSA’s SFTool: Water, and DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources for additional details on available water conservation technologies and best management practices
Note on C21: Evaluate and implement, as applicable, water efficient landscaping best practices that incorporate native, non-invasive, drought tolerant, and low maintenance plant species. Utilize and follow, as appropriate, landscaping best practices provided by GSA’s SFTool - Water resources, DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources, EPA’s WaterSense - Outdoors resources, or an agency-approved tool
Note on C25: Design and construct the building to meet and maintain all required illumination levels, in accordance with 41 CFR § 102-74.180 of the Federal Management Regulation, and maximize the use of automatic dimming controls or accessible manual controls in regularly occupied spaces
Note on C31: In accordance with 41 CFR § 102-74.35 of the Federal Management Regulation, ensure effective and environmentally sensitive integrated pest management (IPM) services including the planning, development, operations, and maintenance for pest control, removal, and prevention in both indoor and outdoor spaces. Ensure that pest management contracts are effectively coordinated with the activities of other building service programs that have a bearing on pest activity, such as food service, landscaping, child care, waste management, and repairs and operations.
Note on C34: "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on C37: "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C39: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C41: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C42: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on D7: Ventilation is the process of "changing" or replacing air in any space to remove airborne contaminants such as moisture, odors, emissions from building products and materials (e.g. VOCs and formaldehyde), combustion byproducts, dust, airborne bacteria, and carbon dioxide; and to replenish oxygen. Thermal conditions, which include air temperature, relative humidity, and velocity, greatly impact overall occupant comfort and associated productivity. ASHRAE Standard 55 – Thermal Environmental Conditions for Human Occupancy should be met and maintained at a minimum to achieve adequate indoor environmental quality.
Note on D8: Daylighting uses natural daylight as a substitute for electrical lighting. Daylight controls measure the amount of daylight/ambient light in a room and adjust the electric light levels accordingly. All automated controls, including occupancy sensors, should allow for occupant override. Occupants should also be given control over natural light levels through effective, adjustable shading.
Note on D9: Indoor Air Quality (IAQ) refers to the state of the air within a space. A space with good indoor air quality is one that is low in toxins, contaminants and odors. Good air quality possible when spaces are well ventilated (with outside air) and protected from pollutants brought into the space or by pollutants off-gassed within the space.
Note on D10: Radon comes from the natural (radioactive) breakdown of uranium in soil, rock and water and gets into the air you breathe. Radon can be found all over the U.S. It can get into any type of building—homes, offices, and schools—and result in a high indoor radon level.
Note on D12: Moisture control is the process of regulating where, when and how much water and water vapor collect in a building. Mold and other air borne contaminates develop when there is too much moisture.
Note on D14: Materials used in buildings often contain compounds that have a negative effect on indoor air quality (IAQ) and the earth’s atmosphere. These compounds can be present in adhesives, sealants, paints, flooring, carpets, composite wood and agrifiber products, furnishings, and in ceiling and wall systems. Low-emitting materials release only small amounts of these compounds into the surrounding air over time.
Note on D15: Construction activities can threaten the indoor air quality of an occupied space. Precautions should be taken to protect the health of construction workers as well as the health of occupants. These precautions include ensuring that airborne particles from construction activities are isolated from the permanently installed HVAC equipment; flushing out toxins before occupancy; ensuring absorptive materials are kept dry and that the facility is kept free from mold; and using construction materials low in harmful VOCs.
Note on D16: Research has shown that environmental tobacco smoke (ETS), or secondhand smoke, from cigarettes, pipes, and cigars has cancer-causing airborne particulates that can cause detrimental health effects when inhaled.1 Smoking should be banned from within the building and nearby (25-50 feet) of building openings such as entries, outdoor air intakes and operable windows. Buildings can also install separate HVAC systems to isolate smoking areas within the facility, although it’s typically uncommon and expensive in the office setting.
Note on D17: Integrated Pest Management is a process used to reduce or discourage the growth of pest populations. IPM protects human health and the surrounding environment and improves economic returns by employing the most effective, least-risk management option. It uses non-toxic products such as cleaning and physical barriers to entrance before resorting to chemical means. Pests include plants, fungi, insects, and/or animals.
Note on D19: Healthy people are free of disease and are otherwise well. Buildings with good indoor environmental quality (IEQ) support the health of occupants via high quality lighting, thermal conditions, air quality, acoustics, ergonomic and functional features.
Note on D21: Energy modeling is a computer based tool that predicts the amount of energy that a building will consume. It is a helpful way to identify potentially inefficient systems and compare a building’s energy use to a baseline performance case.
Note on D24: ENERGY STAR is a joint program of the U.S. Environmental Protection Agency (EPA) and the U.S. Department of Energy (DOE). The ENERGY STAR label helps consumers identify energy efficient products and practices in over 60 product categories for the home and office. Products earn the ENERGY STAR label by meeting the energy efficiency requirements set forth in ENERGY STAR product specifications. These products deliver the same or better performance as comparable models while using less energy and saving money. https://energy.gov/eere/femp/search-energy-efficient-products
Note on D25: Renewable energy comes from sources that are either inexhaustible or can be replaced very rapidly through natural processes. Examples include the sun, wind, geothermal energy, small (river-turbine) hydropower, and other hydrokinetic energy (waves and tides).
Note on D26: Alternative energy refers to energy not derived from traditional fossil fuel sources (coal, natural gas, petroleum) through conventional processes.
Note on D27: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities. Submetering or system-level metering is used to determine the proportion of energy use within a building attributable to specific end uses or subsystems (e.g., the ventilation system of an HVAC system).
Note on D28: To benchmark a building is to measure and rate the performance of a particular building compared to a standard. Various building performance indicators can be used for benchmarking (e.g. energy, water, air quality, thermal comfort) however energy use is the most commonly used and well-developed benchmarking indicator.
Note on D30: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D31: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D34: WaterSense, a partnership program of the U.S. Environmental Protection Agency (EPA), seeks to help consumers make smart water choices that save money and maintain high environmental standards without compromising performance. Independent, third-party licensed certifying bodies certify that products meet EPA criteria for water-efficiency and performance by following testing and certification protocols specific to each product category. Products and services that have earned the WaterSense label have been certified to be at least 20% more efficient without sacrificing performance.
Note on D35: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities.
Note on D36: A piece of building equipment which uses water to absorb heat from air-conditioning systems and regulate air temperature in a facility.
Note on D37: The practice uses water-efficient choices in planting and irrigation design. It incorporates climate-appropriate and native plants to decrease the amount of watering required. Xeriscaping or native landscaping for example, is a type of landscaping method that makes routine irrigation unnecessary.
Note on D38: Alternative or alternate water sources are supplied from sources that reuse water from another process or application and are not derived from freshwater sources (such as surface or groundwater). Examples of alternative water sources include grey water, reclaimed wastewater, rainwater harvesting, air handling unit condensate, and process equipment discharge water.
Note on D39: When it rains, stormwater either infiltrates into the ground or flows directly into the storm system. Pervious paving and landscaping allow water to be absorbed into the ground, percolating through natural filters and into aquifers. Impervious surfaces, such as sidewalks and roofs, force storm water to flow directly into the storm drain. This can lead to combined sewer overflow during times of significant rainfall. Additionally, excess storm water may collect contaminants prior to entering the storm drain, and depending on the location, may drain into natural waterways without being treated.
Note on G5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on K5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on N5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response