## GUIDE
GBCS Survey Review Template
Overview | Use this template to review the GBCS Surveys and both verify and evaluate survey responses.
Verification: Reviewer will review survey in its entirety and provide summary report to GSA for each full survey, indicating areas of concern, discrepancies, or inaccuracies
Evaluation: The reviewer will do a preliminary determination of whether the criteria is met (Yes, No, Partially)
Instructions | The "Template" tab is where the reviewer will record responses.
The GBCS survey is comprised of four parts: Instructions, and Parts 1-3
| Survey Part | Title | Action Required by Reviewer?
| Instructions | General guidelines for the system owners in completing the survey | No
| Part I | General information questions about the system | Yes, Note any general concerns with survey responses for this part in the fields provided.
| Part 2 | Effectiveness Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each effectiveness sub-criteria covered in Part 2 of the survey. Copy "Part 2" tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
| Part 3 | Development Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each development criteria covered in Part III of the survey
Completing Survey Review for Parts II-III | The majority of response fields are populated with drop-down menus for the reviewer to respond to the evaluation questions. Response options are "Yes," "No," and "Issue with Response." As described further below, some drop-down menus also include "Partially Met" as a potential response.
| Response | Definition | Action by Reviewer
| Yes | The information provided by the system owner for that sub-criteria is enough to confirm that the system does address that sub-criteria and affirmatively answers the evaluation question. | Mark Yes, and proceed to next evaluation question for that sub-criteria or move on to the next sub-criteria
| No | The system does not address that sub-criteria and therefore does not affirmatively answer the evaluation question. | Mark No, and proceed to the next sub-criteria (any additional evaluation questions for the sub-criteria can be marked as "N/A"
| Issue with Response | The reviewer is not able to respond "Yes" or "No" because the survey response is missing/unanswered, incomplete, factually incorrect, or unclear | Use the next cell over to briefly describe the issue with the answer (see below for further guidance).
| Partially Met | The system may meet the intent of the criteria, but does not specifically meet the evaluation question | Use the cell to the right to briefly describe how the intent is met to address the criteria, even though the evaluation question is not fully met (see below for example)
Types of Response Issues and Corrective Action | Issue | Reviewer Action Required | Corrective Action (if applicable)
| Missing/Unanswered | Note in the provided field | A missing answer will be considered intentional
| Incomplete | Note in the provided field | An incomplete answer will be evaluated as is
| Factually Incorrect | Describe in provided field, and include a question for the system owner requesting a correction. | If correction is received, GSA may ask RMI to re-evaluate (as needed)
| Unclear | Describe in provided field, and include a question for the system owner requesting a correction. | Once response is received by GSA, GSA will determine whether the answer is now clarified
Examples of "Partially Met" Criteria | Some evaluation questions include an additional potential response of "Partially Met." In this instance, GSA is interested in whether the system might meet the intent of the criteria but not completely align with the Guiding Principle requirement for that sub-criteria.
Example:
| Criteria | GP Compliance Language | Evaluation Question | How the system might "Partially Meet" that evaluation question. | Reviewer Action Required
| Moisture Control | "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks." | Is a plan/policy developed(yes/no)? | The system may require that the building identify and employ specific strategies to control moisture. While the system may not specifically require a formal plan, the system does support the intent of the sub-criteria/Guiding Principle Requirement to implement strategies that will control moisture. | In the field provided, briefly describe how the system may meet the intent of the Guiding Principle but not specifically meet what is actually required in the Guiding Principle and/or evaluation question.

## Part 1&3
Survey Part III |  |  |  | Evaluation
Survey Question Number | Sub- Criteria | EISA/DOE Rule Language | Definition | Evaluation Question | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet Criteria? | If "Issue with response," or "Partially Met," Please describe
Part III - A Process for Developing and Administering the Certification System
III-A: 1a) -1c) | Consensus-based approach | EISA/DOE Rule Language | Definition | Was the system developed using the ANSI process or another consensus-based process? | Yes |  | If yes, describe the consensus based approach. | The Green Building Initiative became an American National Standards Institute (ANSI) Standards Developing Organization (SDO) in 2005 and used ANSI approved procedures in developing ANSI/GBI 02-2023: Green Globes Assessment Protocol for Existing Buildings, which is the basis for Green Globes for Existing Buildings 2023. The Consensus Body that developed and approved the Existing Buildings standard is composed of 12 individuals balanced equally between users (5), general interest parties (3), and producers (4). The Consensus Body is supported by technical experts from across the country through working subcommittees and task groups. Additionally, the public plays an important role in developing GBI’s ANSI-approved standards by participating in periodic public comment forums. Green Globes for Existing Buildings 2021 contains many criteria elements of ANSI/GBI 01-2021: Green Globes Assessment Protocol for Design, New Construction, and Major Renovations. Green Globes for Existing Buildings 2021 criteria was used as a pre-draft standard and underwent an ANSI-approved consensus process from 2021-2023 to create ANSI/GBI 02-2023 Green Globes Assessment Protocol for Existing Buildings, which was published by ANSI on July 6, 2023. ANSI/GBI 02-2023 is under continuous maintenance to ensure it will stay up to date with the latest technical advances. All documents related to GBI's standards development process can be found at https://thegbi.org/green-building-standards/green-building-standards-eb/.
III-A: 2a)-2c); 3a)-3c) | Transparency | EISA/DOE Rule Language | Definition | To ensure transparency, what stakeholders or groups of stakholders were involved in the development and updating of the certification system | Public comment and meeting notices are published in ANSI Standards Action and on GBI's website. All point-related comments are thoroughly reviewed by the Points Allocation Subcommittee comprised of individuals from all subcommittees. Their review helps ensure that weighting of points is appropriate for a variety of building types in all climate zones toward achievement of the 35% point minimum of total applicable points, which is mandatory for all project. Within the Green Globes surveys, many criteria include a "non-applicable" (N/A) response selection. This provision increases the flexibility of the tool as points that are impossible or unreasonable for a building to achieve do not result in a penalty as they would if the criteria yielded a "No" response. This feature encourages a more regional approach and recognizes differences and potential conflicts between various local codes and standards. Green Building Initiative’s Guiding Principles Compliance for New Construction & Modernization (GPC NC) is also a program designed specifically for federal construction and modernization projects undergoing Third-Party Certification (TPC). Consensus Body meeting information is emailed to the list of current standard’s development stakeholders, which is comprised of over 600 individuals. The list of stakeholder entities can be found here: https://thegbi.org/wp-content/uploads/2023/02/2023-Stakeholder-List-1-24-23-1.pdf. Consensus Body minutes are available online and can be found here: https://thegbi.org/green-building-standards/2022consensusbody-eb/. Member rosters of subcommittees and the Consensus Body is also available online at: https://thegbi.org/wp-content/uploads/2023/07/Consensus-Body-for-EB-Roster-6-29-23.pdf and https://thegbi.org/green-building-standards/2022-subcommittees-taskgroup-eb/. News releases related to |  | What was their role in the development or updating of the certification. | Stakeholders submit public comments on the draft Standard and participate in public Subcommittee and Consensus Body meetings where proposed changes are discussed and votes are taken. Every Consensus Body meeting and Subcommittee meeting is open to the public, and stakeholders often participate as observers and active participants even if they are not voting members. A list of Consensus Body and Subcommittee members, as well as meeting minutes, can be found on the GBI website here: https://thegbi.org/green-building-standards/green-building-standards-eb/.
I-A: 9) | Ability of applicable SDO to collect and reflect public comment | EISA/DOE Rule Language | Definition | Is there a procedure for differing opinions during system development and/or revision | Yes |  | If yes, describe the procedure. | Stakeholders with differing opinions are encouraged to submit proposed changes during public comment periods and participate in meetings when their comments are addressed by the Subcommittee and Consensus Body. Discussion and debate take place at the Subcommittee level, and then report to the Consensus Body where additional discussion occurs before the vote. Proposed changes can be defended and those submitting proposed changes may participate in the discussion and debate prior to voting. Differing opinions are managed in accordance with the GBI Consensus Procedures (GBI-PRO 2019-1C) following Section 5.1 Addressing Objections. The GBI Consensus Procedures also outline in Section 7.0 Procedural Appeals, which ensures there are third-party reviewers of the process when appropriate. The full GBI Consensus Procedures (GBI-PRO 2019-1C) can be found here: https://thegbi.org/wp-content/uploads/2022/11/GBI_ANSI_Procedures_FINAL_-_11-10-21.pdf.
III-A: 4a)-4b) | Maturity | EISA/DOE Rule language | Definition | Is there an independent review and verification process for updating the certification system to ensure system maturity? | Yes |  | If yes, provide a description of how the system is revised or reaffirmed regularly to ensure maturity. | GBI's consensus process conducts the following independent reviews: a) annual review by ANSI of GBI's procedures for compliance to ANSI Essential Requirements; b) third-party review by ANSI of the consensus process used to create a Standard prior to receiving ANSI approval of the Standard, and c) an audit every five years of GBI prior to renewal of our SDO designation. GBI will follow its ANSI-approved continuous maintenance procedures to make updates and improvements to ANSI/GBI 02-2023. Certification system changes are documented and can be accessed by the public on the GBI website, https://thegbi.org/green-building-standards/.
Part III - B Conformity Assessment
III-A: 5a)-5b) | Transparency | EISA/DOE Rule Language | Definition | Are revisions to the system documented and accessible to the public? | Yes |  | If yes, provide link to publcly accessible information regarding system revisions. | Green Globes for Existing Buildings 2021 criteria was used as a pre-draft standard and underwent an ANSI approved consensus process from 2021-2023. ANSI/GBI 02-2023 Green Globes Assessment Protocol for Existing Buildings was published by ANSI on July 6, 2023. GBI will follow its ANSI-approved continuous maintenance procedures to make updates and improvements to ANSI/GBI 02-2023. When changes occur to ANSI/GBI 02-2023: Green Globes Assessment Protocol for Existing Buildings it will be available on the GBI website, https://thegbi.org/green-building-standards/green-building-standards-eb/.
III-B: 6a)-6b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is an assessor / auditor independently assigned / selected? | Yes |  | If yes, describe the selection or assignment process for auditors. | GBI staff act as liaisons between project teams/owners and trained, independent third-party assessors who conduct project reviews and determine certification levels. Assessors are selected based on qualification (experience in design, engineering, energy analysis/management, commissioning, construction, and/or facility management). Once an assessor is assigned, contact information for an assessor is then given to the project teams/owner by GBI.
III-B: 7a)-7b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Are the criteria used by the assessors and auditors to evaluate a building project documented, available to applicants, and independent from the organizaiton to whom they are providing their services | Yes |  | If yes, please provide links to the location of the documentation and/or description of the process that is made available to applicants. | Information on all criteria of Green Globes for Existing Buildings 2021 and 2023 is available online for free: Green Globes for Existing Buildings 2023 Standard: https://thegbi.org/green-building-standards/green-building-standards-eb/. Green Globes for Existing Buildings 2023 Technical Manual is attached and will soon be available online with the 2021 Technical Manual here: https://thegbi.org/green-globes-existing-buildings/. Additionally, entities can access a free trial of the certification program in GBI’s online platform, which provides access to all the criteria involved in the program.
III-B: 8a)-8b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is there a documented process for applicants to appeal an auditor's/assessor's certification decision or specific findings | Yes |  | If yes, describe the documented appeal process available to the applicant. | The assessment process allows direct contact with the assessor by phone, email and in person, which helps to mitigate discrepancies and appeals. Clients can ask questions and clarify documentation needs prior to report issuance. Entities can appeal the determination. However, because of GBI's certification process and the ability of GGA's to have oversight throughout the duration of the project, appeals are almost never filed. For more information on the appeals process: https://app.thegbi.org/attachments/bbaf87a2-d747-4bce-9c4c-414b5becc422/?object_id=30
III-B: 9a)-9b) | Post-occupancy verification | EISA/DOE Rule Language | Definition | Does the system provide a verfication system for post-occupancy evaluation of the certified building? | Yes |  | If yes, describe the system and or requirement to perform a post occupancy of the certified building. | The Green Globes programs are designed for the life cycle of buildings and provide a system for evaluation of post-occupancy outcomes. Green Globes for Existing Buildings contains criteria to encourage benchmarking and assessment of performance in the first year following occupancy. Green Globes criteria pertaining to post-occupancy verification of outcomes are the following: Green Globes for Existing Buildings 2021 and 2023: 1.1.1 EMS Documentation: 1.1.1.2: EMS Plan, 1.1.1.3: EMS Goals. |  | EISA/DOE rule defines a post occupancy evaluation (POE) as one that evaluates how a building performs six months to two years after occupancy, which GBI fulfills. However, the system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy. Even though ongoing monitoring is encouraged, GBI does not mention a requirement of continued energy and water savings every four years, thereby not meeting the EISA/DOE rule of continued assessment.
Note on C5: EISA Section 436 (h)(1)(d): the ability of the standard to be developed and revised through a consensus-based process.
Note on C6: Public Law 110-140, Energy Independence and Security Act (EISA) Section 436 (h)(1)(c): the ability of the applicable standard-setting organization to collect and reflect public comment.
Note on C8: DOE Rule 10 C.F.R. Parts 433, 435, and 436, Green Building Certification Systems for Federal Buildings: "The system under which the building is certified must be subject to periodic evaluation and assessment of the environmental and energy benefits that result under the rating system" (part 433.33(b)(4)).
Note on C10: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C11: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C12: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C13: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C14: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on D5: GSA defines a consensus based certification system is a voluntary consensus standard as defined by OMB Circular A-119 or one that incorporates the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus. Evidence of a consensus-based system may include: - Publicly accessible draft documents and comment periods, - Publicly accessible certification system clarifications, -Instructions for accessing information on key activities, and - Policy/procedure for ensuring stakeholder input during certification system development
Note on D6: A transparent certification system has a documented approach for the review and consideration of public comments, public comments are collected on a regular basis, and development and updating process of the certification system is documented and publicly available. Evidence of transparency may include: -Evidence that review comments are publicly available; for example, website link, publication of document online, or statement that review document/decision is available upon request - Evidence that public comments are incorporated into the certification system revision process.
Note on D8: A mature certification system is effectively linked to latest tools and standards; the certification system has components to track building performance post-occupancy; the certification system is used as a basis for development of other systems; and/or the certification system is consistently updated. As a best practice, the system is revised or reaffirmed every five years at minimum.
Note on D10: The assessor/auditor is defined and is independent from the organization whose product is being assessed for conformity. Assessors/auditors have no stake in whether a building receives certification.
Note on D11: The conformity assessment body publicly discloses the scoring methodology and levels achieved by products that conform to the standard; and describes how the public can access this information. A documented standard verification method and process should be followed by assessors and auditors
Note on D12: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D13: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D14: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on G3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on L3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Part 2
Survey Part 2 Review Template
Copy tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
II-A 2) Type of Building Addressed
Survey Part II |  |  |  | Evaluation
Survey Question(s) Number | Sub- Criteria | GP Compliance Language | Definition | Evaluation Question 1 | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet GP? | If "Issue with response," or "Partially Met," Please describe | Evaluation Question 3 (if applicable) | Response | If "Issue with response," or "Partially Met," Please describe
Part II - B: Employ Integrated Design Principles
II-B: 3a.1) - 3a.3) | Integrated Design and Management | GP Compliance Language | Definition | Does your system address integrated design and management? | Yes |  | List specific requirements in the system addressing integrated design and management. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.1: Optional, 1.1.1.2: Optional, 1.1.1.3 (eight sub-criteria): Optional, 1.1.1.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.1: Optional, 1.1.1.2: Optional, 1.1.1.3 (three pathways, nine sub-criteria): Optional, 1.1.1.4: Optional |  | 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.1: Optional, 1.1.1.2: Optional, 1.1.1.3 (eight sub-criteria): Optional, 1.1.1.4: Optional
II-B: 3b.1) - 3b.3) | Sustainable siting | GP Compliance Language | Definition | Does your system address sustainable siting? | Yes |  | List specific requirements in the system addressing sustainable siting. For each requirement listed, please note whether it is mandatory or optional | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 12.1.1 Site Pollution: 2.1.1.1: Optional, 2.1.1.2: Optional, 2.1.1.3: Optional; 2.2.1 Site Enhancement: 2.2.1.1: Optional, 2.2.1.2: Optional, 2.2.1.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 2.1.1 Site Pollution (three paths): 2.1.1.1A.1: Optional, 2.1.1.1B.1: Optional, 2.1.1.1C.1: Optional |  | 2.1.1 Site Pollution (three paths): 2.1.1.1A.1: Optional, 2.1.1.1B.1: Optional, 2.1.1.1C.1: Optional
II-B: 3c.1) - 3c.3) | Stormwater Management | GP Compliance Language | Definition | Does your system address stormwater management? | Yes |  | List specific requirements in the system addressing stormwater management. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 12.2.1 Site Enhancement: 2.2.1.1: Optional, 2.2.1.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 2.2.1 Site Enhancement: 2.2.1.4 (four sub-criteria): Optional |  | 2.2.1 Site Enhancement: 2.2.1.4 (four sub-criteria): Optional
II-B: 3d.1) - 3d.3) | Infrastructure utilization and optimization | GP Compliance Language | Definition | Does your system address infrastructure utilization and optimization? | Yes |  | List specific requirements in the system addressing infrastructure utilization and optimization. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 12.2.2 Existing Sites: 2.2.2.1: Optional, 2.2.2.2: Optional, 2.2.2.3: Optional, 2.2.2.4: Optional, 2.2.2.7 (three paths): Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 2.2.2 Existing Sites: 2.2.2.1: Optional, 2.2.2.2: Optional, 2.2.2.3: Optional, 2.2.2.4: Optional, 2.2.2.5 (three sub-criteria): Optional, 2.2.2.6: Optional, 2.2.2.7 (four paths): Optional, 2.2.2.8: Optional |  | 2.2.2 Existing Sites: 2.2.2.1: Optional, 2.2.2.2: Optional, 2.2.2.3: Optional, 2.2.2.4: Optional, 2.2.2.5 (three sub-criteria): Optional, 2.2.2.6: Optional, 2.2.2.7 (four paths): Optional, 2.2.2.8: Optional
II-B: 3e.1) - 3e.3) | Commissioning | GP Compliance Language | Definition | Does your system address Commissioning? | Yes |  | List specific requirements in the system addressing commissioning. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 13.3.3 Commissioning: 3.3.3.1: Optional, 3.3.3.2: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.2.1: Envelope: 3.2.1.4: Optional; 3.3.3 Commissioning: 3.3.3.1: Optional, 3.3.3.2: Optional |  | 3.2.1: Envelope: 3.2.1.4: Optional; 3.3.3 Commissioning: 3.3.3.1: Optional, 3.3.3.2: Optional
Part II - C: Optimize Energy Performance
II-B: 4a1 - 4a.3) | energy efficiency | GP Compliance Language | Definition | Does your system address energy efficiency? | Yes |  | List specific requirements in the system addressing energy efficiency. For each requirement listed, please note whether it is mandatory or optional | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 13.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional, 3.1.1B.1: Optional, 3.1.1C.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.1.1 Energy Consumption (six paths): 3.1.1A.1: Optional, 3.1.1B.1: Optional, 3.1.1C.1: Optional, 3.1.1D.1: Optional, 3.1.1E.1: Optional, 3.1.1F.2: Optional |  | 3.1.1 Energy Consumption (six paths): 3.1.1.1A.2: Optional, 3.1.1.1B.1: Optional, 3.1.1.1C.1: Optional, 3.1.1.1D.1: Optional,
II-C: 4b.1) - 4b.3) | energy metering | GP Compliance Language | Definition | Does your system address energy metering? | Yes |  | List specific requirements in the system addressing energy metering. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 13.3.4 Energy Monitoring, Policy, & Management: 3.3.4.1: Optional, 3.3.4.2: Optional, 3.3.4.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.3.1 Energy Policy and Management: 3.3.1.3: Optional, 3.3.1.4: Optional, 3.3.1.5: Optional |  | 3.3.1 Energy Policy and Management: 3.3.1.3: Optional, 3.3.1.4: Optional
II-C: 4c.1) - 4c.3) | renewable energy | GP Compliance Language | Definition | Does your system address renewable energy? | Yes |  | List specific requirements in the system addressing renewable energy. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 13.4.1 Renewable and Alternative Energy: 3.4.1.1: Optional, 3.4.1.2: Optional, 3.4.1.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.4.1 Renewable Energy (two paths): 3.4.1.1A.1: Optional, 3.4.1.1B.1: Optional |  | 3.4.1 Renewable Energy (two paths): 3.4.1.1A.1: Optional, 3.4.1.1B.1: Optional
II-C: 4d.1) - 4d.3) | benchmarking | GP Compliance Language | Definition | Does your system address benchmarking? | Yes |  | List specific requirements in the system addressing benchmarking. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 11.1.1 Environmental Management System (EMS) Documentation: 1.1.1.4: Optional; 3.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional, 3.1.1B.1: Optional, 3.1.1C.1: Optional; 3.3.4 Energy Monitoring, Policy, & Management: 3.3.4.1: Optional, 3.3.4.4 (including sub-criteria): Optional; 4.2.3 Water Quality and Management: 4.2.3.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.1.1 Energy Consumption (six paths): 3.1.1A.1: Optional, 3.1.1B.1: Optional, 3.1.1C.1: Optional, 3.1.1D.1: Optional, 3.1.1E.1: Optional, 3.1.1F.2: Optional |  | 3.1.1 Energy Consumption (six paths): 3.1.1.1A.1: Optional 3.1.1.1B.1: Optional
Part II - D Protect and Conserve Water
II-D: 5a.1) - 5a.3) | Indoor water use | GP Compliance Language | Definition | Does your system address indoor water use? | Yes |  | List specific requirements in the system addressing indoor water use. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 14.1.1 Water Consumption (three paths): 4.1.1A.1: Optional, 4.1.1B.1: Optional, 4.1.1C.1: Optional; 4.2.3 Water Quality and Management: 4.2.3.1: Optional, 4.2.3.5: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 4.1.1 Water Consumption (three paths): 4.1.1A.1: Optional, 4.1.1B.1: Optional, 4.1.1C.1: Optional; 4.2.1 Indoor Water Consumption (eight paths): 4.2.1.1A.1: Optional, 4.2.1.1B.1: Optional, 4.2.1.1C.1: Optional, 4.2.1.1D.1: Optional, 4.2.1.1E.1: Optional, 4.2.1.1F.1: Optional, 4.2.1.1G.1: Optional, 4.2.1.1H.1: Optional; 4.2.3 Water Quality and Management: 4.2.3.1: Optional, 4.2.3.3: Optional, 4.2.3.5: Optional |  | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While there are credits that require the use of WaterSense fixtures and to implement policies that require water conservation, there are no credits that require agencies to measure percentage reductions from baseline years. As such, there is no way to tell, by use of this rating system, that agencies would be able to reduce indoor water consumption by 20% from a 2007 baseline. 4.2.1.1C.1 4.2.3.1
II-D: 5b.1) - 5b.3) | Water metering |  |  | Does your system address water metering? | Yes |  | List specific requirements in the system addressing water metering. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 14.2.3 Water Quality and Management: 4.2.3.2: Optional, 4.2.3.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 4.2.3 Water Quality and Management: 4.2.3.2: Optional, 4.2.3.3: Optional |  | 4.2.3 Water Quality and Management: 4.2.3.2: Optional, 4.2.3.3: Optional
II-D: 5c.1) - 5c.3) | Outdoor water use | GP Compliance Language | Definition | Does your system address outdoor water use? | Yes |  | List specific requirements in the system addressing outdoor water use. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 14.2.2 Outdoor Water Consumption: 4.2.2A.1: Optional, 4.2.2B.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 4.2.2 Outdoor Water Consumption (three paths): 4.2.2A.1: Optional, 4.2.2B.1: Optional, 4.2.2C.1: Optional; 4.2.4 Leak & Abnormal Water Use Detection: 4.2.4.2: Optional |  | 4.2.2 Outdoor Water Consumption (three paths): 4.2.2A.1: Optional, 4.2.2B.1: Optional, 4.2.2C.1: Optional; 4.2.4 Leak & Abnormal Water Use Detection: 4.2.4.2: Optional
II-D: 5D.1) - 5D.3) | Alternative water |  |  | Does your system address alternative water? | Yes |  | List specific requirements in the system addressing alternative water use. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 14.2.2 Outdoor Water Consumption: 4.2.2B (sub-criteria): 4.2.2B.1.1: Optional, 4.2.2B.1.2: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 4.2.2 Outdoor Water Consumption: 4.2.2.1B (two sub-criteria): 4.2.2.1B.1A: Optional, 4.2.2.1B.1.B: Optional |  | 4.2.2 Outdoor Water Consumption: 4.2.2B (sub-criteria): 4.2.2B.1.1: Optional, 4.2.2B.1.2: Optional
Part II - E: Enhance the Indoor Environment
II-E: 6a.1) - 6a.3) | ventilation and thermal comfort | GP Compliance Language | Definition | Does your system address ventilation and thermal comfort? | Yes |  | List specific requirements in the system addressing ventilation and thermal comfort. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.1.1 Ventilation System: 6.1.1.1: Optional, 6.1.1.2: Optional, 6.1.1.3: Optional, 6.1.1.4: Optional, 6.1.1.5: Optional, 6.1.1.6: Optional; 6.5.1 Thermal Comfort: 6.5.1A.1: Optional, 6.5.1B.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.2.7 Simultaneous Heating & Cooling: 3.2.7.1A: Optional; 3.2.8 Air Handling Equipment & Ventilation: 3.2.8.1: Optional, 3.2.8.4: Optional; 6.1.1: Ventilation System: 6.1.1.1: Optional, 6.1.1.2: Optional, 6.1.1.3: Optional, 6.1.1.4: Optional, 6.1.1.5: Optional, 6.1.1.6: Optional; 6.1.2 Air Filtration and Treatment (three paths): 6.1.2.1A.1: Optional, 6.1.2.1B.1: Optional, 6.1.2.1C.1: Optional; 6.1.3: Control of Pollutants at Source: 6.1.3.1: Optional, 6.1.3.2: Optional, 6.1.3.3: Optional, 6.1.3.4 (six sub-criteria): Optional, 6.1.3.5 (five sub-criteria): Optional, 6.1.3.6 (four sub-criteria): Optional, 6.1.3.7: Optional, 6.1.3.8: Optional, 6.1.3.9: Optional; 6.1.4: IAQ Management: 6.1.4.1: Optional, 6.1.4.2: Optional, 6.1.4.3 (six sub-criteria): Optional, 6.1.4.4: Optional; 6.5.1 Thermal Comfort (two paths): 6.5.1.1A.1: Optional, 6.5.1.1B.1: Optional, 6.5.1.2 (two sub criteria): Optional, 6.5.1.3: Optional |  | 3.2.7 Simultaneous Heating & Cooling: 3.2.7.1A: Optional; 3.2.8 Air Handling Equipment & Ventilation: 3.2.8.1: Optional, 3.2.8.4: Optional; 6.1.1: Ventilation System: 6.1.1.1: Optional, 6.1.1.2: Optional, 6.1.1.3: Optional, 6.1.1.4: Optional, 6.1.1.5: Optional, 6.1.1.6: Optional; 6.1.2 Air Filtration and Treatment (three paths): 6.1.2.1A.1: Optional, 6.1.2.1B.1: Optional, 6.1.2.1C.1: Optional; 6.1.3: Control of Pollutants at Source: 6.1.3.1: Optional, 6.1.3.2: Optional, 6.1.3.3: Optional, 6.1.3.4 (six sub-criteria): Optional, 6.1.3.5 (five sub-criteria): Optional, 6.1.3.6 (four sub-criteria): Optional, 6.1.3.7: Optional, 6.1.3.8: Optional, 6.1.3.9: Optional; 6.1.4: IAQ Management: 6.1.4.1: Optional, 6.1.4.2: Optional, 6.1.4.3 (six sub-criteria): Optional, 6.1.4.4: Optional; 6.5.1 Thermal Comfort (two paths): 6.5.1.1A.1: Optional, 6.5.1.1B.1: Optional, 6.5.1.2 (two sub criteria): Optional, 6.5.1.3: Optional
II-E: 6b.1) - 6b.3) | daylighting and lighting controls | GP Compliance Language | Definition | Does your system address daylighting and lighting controls? | Yes |  | List specific requirements in the system addressing daylighting and lighting controls. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.4.1 Daylighting and Electrical Lighting Features: 6.4.1.2: Optional, 6.4.1.3: Optional, 6.4.1.4: Optional, 6.4.1.5: Optional, 6.4.1.6: Optional, 6.4.1.7: Optional, 6.4.1.8: Optional, 6.4.1.9: Optional, 6.4.1.10: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.4.1 Daylighting & Electrical Lighting: 6.4.1.1: Optional, 6.4.1.2: Optional, 6.4.1.3: Optional, 6.4.1.4: Optional, 6.4.1.5: Optional, 6.4.1.6: Optional, 6.4.1.7: Optional, 6.4.1.8: Optional, 6.4.1.9: Optional, 6.4.1.10: Optional, 6.4.1.11: Optional, 6.4.1.12: Optional, 6.4.1.13: Optional, 6.4.1.14: Optional, 6.4.1.15: Optional, 6.4.1.16: Optional, 6.4.1.17: Optional, 6.4.1.18: Optional |  | 6.4.1 Daylighting & Electrical Lighting: 6.4.1.2: Optional, 6.4.1.3: Optional, 6.4.1.4: Optional, 6.4.1.5: Optional, 6.4.1.6: Optional, 6.4.1.7: Optional, 6.4.1.8: Optional, 6.4.1.9: Optional, 6.4.1.10: Optional, 6.4.1.15: Optional, 6.4.1.16: Optional
II-E: 6c.1) - 6c.3) | low-emitting materials and products | GP Compliance Language | Definition | Does your system address low-emitting materials and products? | Yes |  | List specific requirements in the system addressing low-emitting materials and products. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.1.1 Cycle Renovations: 5.1.1.2 (five sub-criteria): 5.1.1.2.1: Optional, 5.1.1.2.2: Optional, 5.1.1.2.3: Optional, 5.1.1.2.4: Optional, 5.1.1.2.5: Optional; 5.1.2 Environmental Purchasing: 5.1.2.2: Optional; 6.2.1 IAQ Management: 6.2.1.3.5: Optional; 6.2.3 Cleaning & Disinfection: 6.2.3.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 5.1.1 Cycle Renovations: 5.1.1.2 (eleven sub-criteria): 5.1.1.2.1.1: Optional, 5.1.1.2.1.2: Optional, 5.1.1.2.1.3: Optional, 5.1.1.2.2.1: Optional, 5.1.1.2.2.2: Optional, 5.1.1.2.2.3: Optional, 5.1.1.2.3: Optional, 5.1.1.2.4.1: Optional, 5.1.1.2.4.2: Optional, 5.1.1.2.4.3: Optional, 5.1.1.2.5: Optional; 5.1.2 Environmental Purchasing: 5.1.2.2: Optional; 6.1.4 IAQ Management: 6.1.4.3.6: Optional; 6.3.1 Cleaning & Disinfection: 6.3.1.1: Optional |  | 5.1.1.3 6.1.4 IAQ Management: 6.1.4.3.6: Optional
II-E: 6d.1) - 6d.3) | radon mitigation | GP Compliance Language | Definition | Does your system address radon mitigation? | Yes |  | List specific requirements in the system addressing radon mitigation? For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.3.2 Radon: 6.3.2.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.2.2 Radon: 6.2.2.1: Optional |  | 6.2.2 Radon: 6.2.2.1: Optional
II-E: 6e.1) - 6e.3) | moisture and mold control | GP Compliance Language | Definition | Does your system address moisture and mold control? | Yes |  | List specific requirements in the system addressing moisture and mold control. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 11.1.1 Environmental Management System (EMS) Documentation: 1.1.1.3.5: Optional, 1.1.1.6: Optional, 1.1.1.7: Optional; 1.1.2 Operations & Maintenance: 1.1.2.3: Optional; 6.1.3 Control of Pollutants at Source: 6.1.3.4 (two sub-criteria): Optional; 6.2.1 IAQ Management: 6.2.1.1: Optional, 6.2.1.2: Optional, 6.2.1.3 (five sub-criteria): Optional, 6.2.1.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.3B.1F: Optional, 1.1.1.3D.1F: Optional, 1.1.1.6: Optional, 1.1.1.7: Optional; 1.1.2 Operations & Maintenance Training: 1.1.2.3: Optional; 4.2.4 Leak & Abnormal Water Use Detection: 4.2.4.1: Optional, 4.2.4.2: Optional, 4.2.4.3: Optional, 4.2.4.4: Optional, 4.2.4.5: Optional; 6.2.1 IAQ Management: 6.2.1.1: Optional, 6.2.1.2: Optional, 6.2.1.3 (six sub-criteria): Optional, 6.2.1.4: Optional; 6.2.4 Mold Detection & Abatement: 6.2.4.1: Optional |  | 1.1.1.6: Optional, 1.1.2 Operations & Maintenance Training: 4.2.4 Leak & Abnormal Water Use Detection: 4.2.4.1: Optional, 4.2.4.2: Optional, 4.2.4.3: Optional, 4.2.4.4: Optional, 4.2.4.5: Optional; 6.2.4 Mold Detection & Abatement: 6.2.4.1: Optional
II-E: 6f.1) - 6f.3) | IAQ during construction and operations |  |  | Does your system address IAQ during construction and operations? | Yes |  | List specific requirements in the system addressing IAQ during construction and operations. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.2.1 IAQ Management: 6.2.1.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.1.4 IAQ Management: 6.1.4.4: Optional |  | 6.1.4 IAQ Management: 6.1.4.4: Optional
II-E: 6g.1) - 6g.3) | environmental smoking control | GP Compliance Language | Definition | Does your system address environmental smoking control? | Yes |  | List specific requirements in the system addressing environmental smoking control. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.1.3 Control of Pollutants at Source: 6.1.3.7 (four sub-criteria): Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.1.3 Control of Pollutants at Source: 6.1.3.6 (four sub-criteria): Optional |  | 6.1.3 Control of Pollutants at Source: 6.1.3.6 (four sub-criteria): Optional
II-E: 6h.1) - 6h.3) | integrated pest management | GP Compliance Language | Definition | Does your system address integrated pest management? | Yes |  | List specific requirements in the system addressing integrated pest management. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 16.2.2 Integrated Pest Management: 6.2.2.1: Optional, 6.2.2.2: Optional, 6.2.2.3: Optional, 6.2.2.4: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.3.2 Integrated Pest Management: 6.3.2.1: Optional, 6.3.2.2: Optional, 6.3.2.3: Optional, 6.3.2.4: Optional |  | 6.3.2 Integrated Pest Management: 6.3.2.1: Optional, 6.3.2.2: Optional, 6.3.2.3: Optional, 6.3.2.4: Optional
II-E: 6i.1) - 6i.3) | occupant health and wellness | GP Compliance Language |  | Does your system address occupant health and wellness? | Yes |  | List specific requirements in the system addressing occupant health and wellness. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 12.2.2 Existing Sites: 2.2.2.5: Optional, 2.2.2.7 (three paths): Optional; 6.5.3 Access to Potable Water: 6.5.3.1: Optional, 6.5.3.2: Optional, 6.5.3.3: Optional, 6.5.3.4: Optional; 6.5.4 Health and Wellness: 6.5.4.1: Optional, 6.5.4.2 (three sub-criteria): Optional, 6.5.4.3 (four sub-criteria): Optional, 6.5.4.4: Optional, 6.5.4.5 (five sub-criteria): Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 1.2.3 Building Occupant Environmental Training & Communications: 1.2.3.1: Optional; 1.3.2 Social & Governance: 1.3.2.1: Optional; 2.2.1: Site Enhancement: 2.2.1.3: Optional; 2.2.2 Existing Sites: 2.2.2.2: Optional, 2.2.2.5 (three sub-criteria): Optional, 2.2.2.7 (four paths): Optional; 6.1.1: Ventilation System: 6.1.1.6: Optional; 6.7.1 Access to Potable Water: 6.7.1.1: Optional, 6.7.1.2: Optional; 6.7.2 Health and Wellness: 6.7.2.1: Optional, 6.7.2.2: Optional, 6.7.2.3 (four sub-criteria): Optional, 6.7.2.4 (two sub-criteria): Optional, 6.7.2.5 (two sub-criteria): Optional, 6.7.2.6: Optional |  | 1.2.3 Building Occupant Environmental Training & Communications: 1.2.3.1: Optional 1.3.2 Social & Governance: 1.3.2.1: Optional 2.2.2.5 (three sub-criteria): Optional 2.2.2.7 (four paths): Optional; 6.7.1 Access to Potable Water: 6.7.1.1: Optional, 6.7.1.2: Optional; 6.7.2 Health and Wellness: 6.7.2.1: Optional, 6.7.2.2: Optional, 6.7.2.3 (four sub-criteria): Optional, 6.7.2.4 (two sub-criteria): Optional, 6.7.2.5 (two sub-criteria): Optional, 6.7.2.6: Optional
Part II - F: Reduce the Environmental Impact of Materials
II-F: 7a.1) - 7a.3) | materials with recycled content | GP Compliance Language | Definition | Does your system address materials with recycled content? | Yes |  | List specific requirements in the system addressing materials with recycled content. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.1.1 Cycle Renovations: 5.1.1.2.4: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 5.1.1 Cycle Renovations: 5.1.1.2.4.1: Optional, 5.1.1.2.4.2: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional |  | 5.1.1 Cycle Renovations: 5.1.1.2.4.1: Optional, 5.1.1.2.4.2: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional
II-F: 7b.1) - 7b.3) | materials with biobased content | GP Compliance Language | Definition | Does your system address materials with biobased content? | Yes |  | List specific requirements in the system addressing materials with biobased content. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 5.1.1 Cycle Renovations: 5.1.1.2.4.1: Optional, 5.1.1.2.4.3: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional |  | 5.1.1 Cycle Renovations 5.1.1.2.4.2
II-F: 7c.1) - 7c.3) | environmentally preferable products | GP Compliance Language | Definition | Does your system address environmentally preferable products? | Yes |  | List specific requirements in the system addressing environmentally preferable products. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.1.1 Cycle Renovations: 5.1.1.2.1: Optional, 5.1.1.2.2: Optional, 5.1.1.2.3: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 5.1.1 Cycle Renovations: 5.1.1.2: Optional, 5.1.1.2.1.1: Optional, 5.1.1.2.1.2: Optional, 5.1.1.2.1.3: Optional, 5.1.1.2.2.1: Optional, 5.1.1.2.2.2: Optional, 5.1.1.2.2.3: Optional, 5.1.1.2.3: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional |  | 5.1.1 Cycle Renovations: 5.1.1.2: Optional, 5.1.1.2.1.1: Optional, 5.1.1.2.1.2: Optional, 5.1.1.2.1.3: Optional, 5.1.1.2.2.1: Optional, 5.1.1.2.2.2: Optional, 5.1.1.2.2.3: Optional, 5.1.1.2.3: Optional; 5.1.2 Environmental Purchasing: 5.1.2.1: Optional, 5.1.2.2: Optional
II-F: 7d.1) - 7d.3) | ozone depleting substances | GP Compliance Language | Definition | Does your system address ozone depleting substances? | Yes |  | List specific requirements in the system addressing ozone depleting substances. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 13.2.4 Cooling Systems: 3.2.4.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 3.2.4 Cooling Systems: 3.2.4.3: Optional |  | 3.2.4 Cooling Systems: 3.2.4.3: Optional
II-F: 7e.1) - 7e.3) | hazardous waste | GP Compliance Language | Definition | Does your system address hazardous waste? | Yes |  | List specific requirements in the system addressing hazardous waste. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.1.2 Environmental Purchasing: 5.1.2.4: Optional; 6.3.4 Health, Safety, and Management of Chemicals and Hazardous Materials (two paths): 6.3.4A (five sub-criteria): 6.3.4A.1: Optional, 6.3.4A.2: Optional, 6.3.4A.3: Optional, 6.3.4A.4: Optional, 6.3.4A.5: Optional; 6.3.4B (six sub-criteria): 6.3.4B.1: Optional, 6.3.4B.2: Optional, 6.3.4B.3: Optional, 6.3.4B.4: Optional, 6.3.4B.5: Optional, 6.3.4B.6: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 6.3.4 Health, Safety, and Management of Chemicals and Hazardous Materials (two paths): 6.3.4A (five sub-criteria): 6.3.4A.1: Optional, 6.3.4A.2: Optional, 6.3.4A.3: Optional, 6.3.4A.4: Optional, 6.3.4A.5: Optional; 6.3.4B (six sub-criteria): 6.3.4B.1: Optional, 6.3.4B.2: Optional, 6.3.4B.3: Optional, 6.3.4B.4: Optional, 6.3.4B.5: Optional, 6.3.4B.6: Optional |  | 6.3.3.1 Health, Safety, and Management of Chemicals + Hazardous Materials 6.3.3.1A.1 6.3.3.1A.2 6.3.3.1A.4 6.3.3.1A.5
II-F: 7f.1) - 7f.3) | solid waste management | GP Compliance Language | Definition | Does your system address solid waste management? | Yes |  | List specific requirements in the system addressing solid waste management. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 15.2.1 Facilities for Storing and Handling Recyclable Materials: 5.2.1.1 (six sub-criteria): Optional, 5.2.1.2 (five sub-criteria): Optional, 5.2.1.3 (two sub-criteria): Optional, 5.2.1.4 (four sub-criteria): Optional, 5.2.1.5: Optional; 5.2.2 Consumables/Disposables, Waste Reduction and Recycling: 5.2.2.1: Optional, 5.2.2.2: Optional, 5.2.2.3: Optional, 5.2.2.4: Optional, 5.2.2.5: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 5.2.1 Facilities for Storing and Handling Recyclable Materials: 5.2.1.1 (six sub-criteria): Optional, 5.2.1.2 (five sub-criteria): Optional, 5.2.1.3 (two sub-criteria): Optional, 5.2.1.4 (four sub-criteria): Optional, 5.2.1.5: Optional; 5.2.2 Consumables/Disposables: Waste Reduction and Recycling: 5.2.2.1: Optional, 5.2.2.2: Optional, 5.2.2.3: Optional, 5.2.2.4: Optional, 5.2.2.5: Optional |  | 5.2.1 Facilities for Storing and Handling Recyclable Materials: 5.2.1.1 (six sub-criteria): Optional, 5.2.1.2 (five sub-criteria): Optional, 5.2.1.3 (two sub-criteria): Optional, 5.2.1.4 (four sub-criteria): Optional, 5.2.1.5: Optional; 5.2.2 Consumables/Disposables: Waste Reduction and Recycling: 5.2.2.1: Optional, 5.2.2.2: Optional, 5.2.2.3: Optional, 5.2.2.4: Optional, 5.2.2.5: Optional
Part II - G Assess and Consider Building Resilience
II-G: 8a.1 - 8a.3 | Risk assessment | GP Compliance Language |  | Does your system address risk assessment? | Yes |  | List specific requirements in the system addressing risk assessment. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 11.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1 (three sub-criteria): 1.2.1.1.1: Optional, 1.2.1.1.2: Optional, 1.2.1.1.3: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1: Optional, 1.2.1.2 (nine sub-criteria): Optional, 1.2.1.3: Optional; 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.4: Optional, 1.2.2.5: Optional, 1.2.2.7 (three sub-criteria): Optional |  | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1: Optional, 1.2.1.2 (nine sub-criteria): Optional, 1.2.1.3: Optional; 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.4: Optional, 1.2.2.5: Optional, 1.2.2.7 (three sub-criteria): Optional
II-G: 8b.1 - 8b.3 | Building resilience and adaptation | GP Compliance Language |  | Does your system address building resilience and adaptation | Yes |  | List specific requirements in the system addressing building resilience and adaptation. For each requirement listed, please note whether it is mandatory or optional. | The following criteria addresses this requirement in Green Globes for Existing Buildings 2021: 11.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1.3: Optional; 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.1 (four sub-criteria): Optional, 1.2.2.2: Optional, 1.2.2.3: Optional, 1.2.2.4: Optional, 1.2.2.5: Optional, 1.2.2.7 (three sub-criteria): 1.2.2.7.1: Optional The following criteria addresses this requirement in Green Globes for Existing Buildings 2023: 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.3: Optional; 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.1 (four sub-criteria): Optional, 1.2.2.2: Optional, 1.2.2.3: Optional, 1.2.2.4: Optional, 1.2.2.5: Optional, 1.2.2.7 (three sub-criteria): Optional |  | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1: Optional, 1.2.1.2 (nine sub-criteria): Optional, 1.2.1.3: Optional; 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.4: Optional, 1.2.2.5: Optional, 1.2.2.7 (three sub-criteria): Optional
Note on C7: Establish sustainability goals as part of the project to meet the Guiding Principles and incorporate those goals into the design document and process, such as the Owner’s Project Requirements (OPR), Basis of Design (BOD), Conceptual Design Report (CDR), or relevant design documents.
Note on C8: Follow all relevant requirements of 41 CFR § 102-76.20 of the Federal Management Regulation to make a positive contribution to the surrounding landscape, and comply with the National Environmental Policy Act of 1969, as amended, 42 U.S.C. 4321 et seq., and the National Historic Preservation Act of 1966, as amended, 54 U.S.C. Subtitle III, Division A.
Note on C9: [Option 1] For new construction or modernization projects disturbing a surface area of 5,000 or more square feet, use planning, design, construction, and maintenance strategies to maintain or restore the predevelopment hydrology of the property in terms of temperature, rate, volume, and duration of flow, in accordance with statutory requirements (42 U.S.C. § 17094). Low impact development (LID) infrastructure solutions can be utilized to help achieve this criteria. [Option 2] For new construction or modernization projects disturbing a surface area fewer than 5,000 square feet, use site planning, design, construction, and maintenance strategies such as low impact development (LID) to manage on-site stormwater and to maintain or restore hydrologic conditions after development, to the maximum extent that is technically practicable. 3 Conform to 2018 IgCC Section 501.3.4 (5.3.4) Stormwater Management.
Note on C10: Evaluate and prioritize transportation strategies and associated infrastructure improvements that promote and support alternative transportation, including walking, cycling, alternative fuel and electric vehicles, and public transit over the life of the building, as feasible and consistent with the mission of the facility.
Note on C12: Employ commissioning, as defined per Section 432 of the Energy Independence and Security Act of 2007 ((42 U.S.C. 8253(f)(1)(A)), and tailored to the size and complexity of the building
Note on C14: Ensure compliance with Federal energy efficiency performance requirements for new construction in accordance with § 109 of the Energy Policy Act of 2005 (42 U.S.C. § 6834(a)(3)(A)) and DOE’s regulations as established under 10 CFR parts 433, subpart A, and 10 CFR parts 435, subpart A. Ensure installation of ENERGY STAR and FEMP-designated products in all procurements involving energy-consuming products and services, in accordance with 42 U.S.C § 8259b and 10 CFR § 436.40– 436.43.
Note on C15: Install building-level meters for electricity and advanced meters to the maximum extent practicable, as required by EPAct 2005 § 103 (42 U.S.C. § 8253(e)). Install standard or advanced meters for natural gas and steam to the maximum extent practical, in accordance with the DOE’s Federal Building Metering Guidance and EISA 2007 § 434 (42 U.S.C. § 8253(e)(1)).
Note on C16: Evaluate applicable renewable electric energy strategies related to the project or building that could support, as needed, agency progress toward renewable energy goals where cost-effective, per 42 U.S.C. § 15852(a).
Note on C17: Benchmark building performance at least annually, preferably using ENERGY STAR Portfolio Manager, and regularly monitor building energy performance against historic performance data and peer buildings, in accordance with criteria established by DOE’s Federal Building Energy Use Benchmarking Guidance per 42 U.S.C. § 8253(f)(8).
Note on C19: For new construction where water is used to achieve energy efficiency, water conservation measures must be applied to the extent that they are life cycle cost-effective in accordance with 10 CFR Parts 433 and 435. In addition to the use of water conservation technologies otherwise required by 42 U.S.C. § 6834, water conservation technologies are to be applied to the extent that the technologies are life cycle cost-effective for new construction and modernization projects, in accordance with 42 U.S.C. § 6834(a)(3)(D)(vii). Eliminate the use of single-pass (also called "once-through") cooling equipment using potable water and optimize cooling tower operations to minimize makeup water. Agencies should refer to EPA's WaterSense, GSA’s SFTool: Water, and DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources for additional details on available water conservation technologies and best management practices
Note on C21: Evaluate and implement, as applicable, water efficient landscaping best practices that incorporate native, non-invasive, drought tolerant, and low maintenance plant species. Utilize and follow, as appropriate, landscaping best practices provided by GSA’s SFTool - Water resources, DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources, EPA’s WaterSense - Outdoors resources, or an agency-approved tool
Note on C25: Design and construct the building to meet and maintain all required illumination levels, in accordance with 41 CFR § 102-74.180 of the Federal Management Regulation, and maximize the use of automatic dimming controls or accessible manual controls in regularly occupied spaces
Note on C31: In accordance with 41 CFR § 102-74.35 of the Federal Management Regulation, ensure effective and environmentally sensitive integrated pest management (IPM) services including the planning, development, operations, and maintenance for pest control, removal, and prevention in both indoor and outdoor spaces. Ensure that pest management contracts are effectively coordinated with the activities of other building service programs that have a bearing on pest activity, such as food service, landscaping, child care, waste management, and repairs and operations.
Note on C34: "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on C37: "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C39: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C41: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C42: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on D7: Ventilation is the process of "changing" or replacing air in any space to remove airborne contaminants such as moisture, odors, emissions from building products and materials (e.g. VOCs and formaldehyde), combustion byproducts, dust, airborne bacteria, and carbon dioxide; and to replenish oxygen. Thermal conditions, which include air temperature, relative humidity, and velocity, greatly impact overall occupant comfort and associated productivity. ASHRAE Standard 55 – Thermal Environmental Conditions for Human Occupancy should be met and maintained at a minimum to achieve adequate indoor environmental quality.
Note on D8: Daylighting uses natural daylight as a substitute for electrical lighting. Daylight controls measure the amount of daylight/ambient light in a room and adjust the electric light levels accordingly. All automated controls, including occupancy sensors, should allow for occupant override. Occupants should also be given control over natural light levels through effective, adjustable shading.
Note on D9: Indoor Air Quality (IAQ) refers to the state of the air within a space. A space with good indoor air quality is one that is low in toxins, contaminants and odors. Good air quality possible when spaces are well ventilated (with outside air) and protected from pollutants brought into the space or by pollutants off-gassed within the space.
Note on D10: Radon comes from the natural (radioactive) breakdown of uranium in soil, rock and water and gets into the air you breathe. Radon can be found all over the U.S. It can get into any type of building—homes, offices, and schools—and result in a high indoor radon level.
Note on D12: Moisture control is the process of regulating where, when and how much water and water vapor collect in a building. Mold and other air borne contaminates develop when there is too much moisture.
Note on D14: Materials used in buildings often contain compounds that have a negative effect on indoor air quality (IAQ) and the earth’s atmosphere. These compounds can be present in adhesives, sealants, paints, flooring, carpets, composite wood and agrifiber products, furnishings, and in ceiling and wall systems. Low-emitting materials release only small amounts of these compounds into the surrounding air over time.
Note on D15: Construction activities can threaten the indoor air quality of an occupied space. Precautions should be taken to protect the health of construction workers as well as the health of occupants. These precautions include ensuring that airborne particles from construction activities are isolated from the permanently installed HVAC equipment; flushing out toxins before occupancy; ensuring absorptive materials are kept dry and that the facility is kept free from mold; and using construction materials low in harmful VOCs.
Note on D16: Research has shown that environmental tobacco smoke (ETS), or secondhand smoke, from cigarettes, pipes, and cigars has cancer-causing airborne particulates that can cause detrimental health effects when inhaled.1 Smoking should be banned from within the building and nearby (25-50 feet) of building openings such as entries, outdoor air intakes and operable windows. Buildings can also install separate HVAC systems to isolate smoking areas within the facility, although it’s typically uncommon and expensive in the office setting.
Note on D17: Integrated Pest Management is a process used to reduce or discourage the growth of pest populations. IPM protects human health and the surrounding environment and improves economic returns by employing the most effective, least-risk management option. It uses non-toxic products such as cleaning and physical barriers to entrance before resorting to chemical means. Pests include plants, fungi, insects, and/or animals.
Note on D19: Healthy people are free of disease and are otherwise well. Buildings with good indoor environmental quality (IEQ) support the health of occupants via high quality lighting, thermal conditions, air quality, acoustics, ergonomic and functional features.
Note on D21: Energy modeling is a computer based tool that predicts the amount of energy that a building will consume. It is a helpful way to identify potentially inefficient systems and compare a building’s energy use to a baseline performance case.
Note on D24: ENERGY STAR is a joint program of the U.S. Environmental Protection Agency (EPA) and the U.S. Department of Energy (DOE). The ENERGY STAR label helps consumers identify energy efficient products and practices in over 60 product categories for the home and office. Products earn the ENERGY STAR label by meeting the energy efficiency requirements set forth in ENERGY STAR product specifications. These products deliver the same or better performance as comparable models while using less energy and saving money. https://energy.gov/eere/femp/search-energy-efficient-products
Note on D25: Renewable energy comes from sources that are either inexhaustible or can be replaced very rapidly through natural processes. Examples include the sun, wind, geothermal energy, small (river-turbine) hydropower, and other hydrokinetic energy (waves and tides).
Note on D26: Alternative energy refers to energy not derived from traditional fossil fuel sources (coal, natural gas, petroleum) through conventional processes.
Note on D27: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities. Submetering or system-level metering is used to determine the proportion of energy use within a building attributable to specific end uses or subsystems (e.g., the ventilation system of an HVAC system).
Note on D28: To benchmark a building is to measure and rate the performance of a particular building compared to a standard. Various building performance indicators can be used for benchmarking (e.g. energy, water, air quality, thermal comfort) however energy use is the most commonly used and well-developed benchmarking indicator.
Note on D30: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D31: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D34: WaterSense, a partnership program of the U.S. Environmental Protection Agency (EPA), seeks to help consumers make smart water choices that save money and maintain high environmental standards without compromising performance. Independent, third-party licensed certifying bodies certify that products meet EPA criteria for water-efficiency and performance by following testing and certification protocols specific to each product category. Products and services that have earned the WaterSense label have been certified to be at least 20% more efficient without sacrificing performance.
Note on D35: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities.
Note on D36: A piece of building equipment which uses water to absorb heat from air-conditioning systems and regulate air temperature in a facility.
Note on D37: The practice uses water-efficient choices in planting and irrigation design. It incorporates climate-appropriate and native plants to decrease the amount of watering required. Xeriscaping or native landscaping for example, is a type of landscaping method that makes routine irrigation unnecessary.
Note on D38: Alternative or alternate water sources are supplied from sources that reuse water from another process or application and are not derived from freshwater sources (such as surface or groundwater). Examples of alternative water sources include grey water, reclaimed wastewater, rainwater harvesting, air handling unit condensate, and process equipment discharge water.
Note on D39: When it rains, stormwater either infiltrates into the ground or flows directly into the storm system. Pervious paving and landscaping allow water to be absorbed into the ground, percolating through natural filters and into aquifers. Impervious surfaces, such as sidewalks and roofs, force storm water to flow directly into the storm drain. This can lead to combined sewer overflow during times of significant rainfall. Additionally, excess storm water may collect contaminants prior to entering the storm drain, and depending on the location, may drain into natural waterways without being treated.
Note on G5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on K5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on N5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response