## GUIDE
GBCS Survey Review Template
Overview | Use this template to review the GBCS Surveys and both verify and evaluate survey responses.
Verification: Reviewer will review survey in its entirety and provide summary report to GSA for each full survey, indicating areas of concern, discrepancies, or inaccuracies
Evaluation: The reviewer will do a preliminary determination of whether the criteria is met (Yes, No, Partially)
Instructions | The "Template" tab is where the reviewer will record responses.
The GBCS survey is comprised of four parts: Instructions, and Parts 1-3
| Survey Part | Title | Action Required by Reviewer?
| Instructions | General guidelines for the system owners in completing the survey | No
| Part I | General information questions about the system | Yes, Note any general concerns with survey responses for this part in the fields provided.
| Part 2 | Effectiveness Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each effectiveness sub-criteria covered in Part 2 of the survey. Copy "Part 2" tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
| Part 3 | Development Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each development criteria covered in Part III of the survey
Completing Survey Review for Parts II-III | The majority of response fields are populated with drop-down menus for the reviewer to respond to the evaluation questions. Response options are "Yes," "No," and "Issue with Response." As described further below, some drop-down menus also include "Partially Met" as a potential response.
| Response | Definition | Action by Reviewer
| Yes | The information provided by the system owner for that sub-criteria is enough to confirm that the system does address that sub-criteria and affirmatively answers the evaluation question. | Mark Yes, and proceed to next evaluation question for that sub-criteria or move on to the next sub-criteria
| No | The system does not address that sub-criteria and therefore does not affirmatively answer the evaluation question. | Mark No, and proceed to the next sub-criteria (any additional evaluation questions for the sub-criteria can be marked as "N/A"
| Issue with Response | The reviewer is not able to respond "Yes" or "No" because the survey response is missing/unanswered, incomplete, factually incorrect, or unclear | Use the next cell over to briefly describe the issue with the answer (see below for further guidance).
| Partially Met | The system may meet the intent of the criteria, but does not specifically meet the evaluation question | Use the cell to the right to briefly describe how the intent is met to address the criteria, even though the evaluation question is not fully met (see below for example)
Types of Response Issues and Corrective Action | Issue | Reviewer Action Required | Corrective Action (if applicable)
| Missing/Unanswered | Note in the provided field | A missing answer will be considered intentional
| Incomplete | Note in the provided field | An incomplete answer will be evaluated as is
| Factually Incorrect | Describe in provided field, and include a question for the system owner requesting a correction. | If correction is received, GSA may ask RMI to re-evaluate (as needed)
| Unclear | Describe in provided field, and include a question for the system owner requesting a correction. | Once response is received by GSA, GSA will determine whether the answer is now clarified
Examples of "Partially Met" Criteria | Some evaluation questions include an additional potential response of "Partially Met." In this instance, GSA is interested in whether the system might meet the intent of the criteria but not completely align with the Guiding Principle requirement for that sub-criteria.
Example:
| Criteria | GP Compliance Language | Evaluation Question | How the system might "Partially Meet" that evaluation question. | Reviewer Action Required
| Moisture Control | "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks." | Is a plan/policy developed(yes/no)? | The system may require that the building identify and employ specific strategies to control moisture. While the system may not specifically require a formal plan, the system does support the intent of the sub-criteria/Guiding Principle Requirement to implement strategies that will control moisture. | In the field provided, briefly describe how the system may meet the intent of the Guiding Principle but not specifically meet what is actually required in the Guiding Principle and/or evaluation question.

## Part 1&3
Survey Part III |  |  |  | Evaluation
Survey Question Number | Sub- Criteria | EISA/DOE Rule Language | Definition | Evaluation Question | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet Criteria? | If "Issue with response," or "Partially Met," Please describe
Part III - A Process for Developing and Administering the Certification System
III-A: 1a) -1c) | Consensus-based approach | EISA/DOE Rule Language | Definition | Was the system developed using the ANSI process or another consensus-based process? | Yes |  | If yes, describe the consensus based approach. | The standards are developed collaboratively by staff and a volunteer Technical Committee, with public comment. Our general practice is that the Technical Committee is not merely advisory but has decision authority over matters brought to it by staff; these include the major standards update milestones in 2015, 2018, 2021, 2024 (as well as some project certification appeals). The technical committee operates by a modified consensus process – essentially, true consensus is sought for three ballots on a motion, and a decision can be made by supermajority vote thereafter. Public comment input has been collected for these milestone update versions, in varying ways. Usually the draft documents are publicly accessible, but the comments themselves are not. Comments have usually been responded to collectively, rather than individually. For the 2018 version, the list of reviewers was limited by invitation to about 75 people, but some comments submitted during a webinar were responded to individually.
III-A: 2a)-2c); 3a)-3c) | Transparency | EISA/DOE Rule Language | Definition | To ensure transparency, what stakeholders or groups of stakholders were involved in the development and updating of the certification system | The core stakeholders comprise architects and building designers, mechanical engineers, building scientists, and commissioning / quality assurance professionals. A wider group includes builders, developers, educators, government and utility program officials, and product manufacturers. |  | What was their role in the development or updating of the certification. | All the core groups are represented on the Technical Committee; while public comments came from all the listed stakeholders. The 2015 and 2018 standards are described in peer-reviewed publications: Climate-Specific Passive Building Standards.pdf ASHRAE-D-Bldgs19-044.pdf
I-A: 9) | Ability of applicable SDO to collect and reflect public comment | EISA/DOE Rule Language | Definition | Is there a procedure for differing opinions during system development and/or revision | Yes |  | If yes, describe the procedure. | For the major version updates, see the answer to 1b. For minor updates, see the answer to 8b.
III-A: 4a)-4b) | Maturity | EISA/DOE Rule language | Definition | Is there an independent review and verification process for updating the certification system to ensure system maturity? | Yes |  | If yes, provide a description of how the system is revised or reaffirmed regularly to ensure maturity. | Major version updates have been issued on a 3-year cycle since 2015. Formal mid-cycle adjustments were made after the 2015, 2018, and 2021 versions. Minor changes to the requirements, and clarifications thereof, are made by updating the Certification Guidebook on an as-needed basis. (See e.g. Record of Updates for Version 3.2 link below in 5b.)
Part III - B Conformity Assessment
III-A: 5a)-5b) | Transparency | EISA/DOE Rule Language | Definition | Are revisions to the system documented and accessible to the public? | Yes |  | If yes, provide link to publcly accessible information regarding system revisions. | https://www.phius.org/phius-certification-program-version-eligibility-dates https://www.phius.org/phius-2018-standard-setting-documentation https://www.phius.org/phius-2021-passive-building-standard-standard-setting-documentati on Record of Updates for Guidebook Version 3.1 Record of Updates for Guidebook Version 3.2
III-B: 6a)-6b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is an assessor / auditor independently assigned / selected? | Yes |  | If yes, describe the selection or assignment process for auditors. | Phius conducts the standard-setting and also operates a program of certification to the standards; certification is centralized as opposed to franchised. However, the situation is different for the Design Certification phase versus Certification: At the design phase, a project submitter and (usually) their independent qualified Phius Certified Consultant (CPHC) submit design documentation for review by Phius staff. At the construction phase, an independent, 3rd party Phius Certified Rater or Verifier does field quality assurance inspections and submits reports to both their RESNET provider and to Phius. Phius staff reviews to determine final certification. The independent design consultant and quality assurance professionals are selected by the project submitter/owner. The Phius staff reviewers are assigned by the Phius’ Director of Project Certification.
III-B: 7a)-7b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Are the criteria used by the assessors and auditors to evaluate a building project documented, available to applicants, and independent from the organizaiton to whom they are providing their services | Yes |  | If yes, please provide links to the location of the documentation and/or description of the process that is made available to applicants. | The process is covered in Chapter 4 of the Certification Guidebook, provided in the Supporting Documentation and linked below. https://www.phius.org/phius-certification-guidebook
III-B: 8a)-8b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is there a documented process for applicants to appeal an auditor's/assessor's certification decision or specific findings | Yes |  | If yes, describe the documented appeal process available to the applicant. | There is a documented feedback/comment resolution process. Per section 4.5 of the Certification Guidebook: “The Phius Certification Feedback Document is one of the main channels of communication between Phius and the project submitter. The document is used to track the design certification progress and includes feedback on the energy model, the drawings submitted, and specifications submitted. This document must be uploaded to your project’s designated DropBox Folder for each round of review. When the submitter makes changes to the Phius Certification Feedback Document, the updated energy model should also be uploaded. Any external communication via email, phone call, etc. must be copied into this feedback form so the project reviewer is aware.” An appeal process also exists, but it is not documented. It works like this: If the submitter questions a staff reviewer’s decision (via the feedback form) the reviewer may elevate the issue to the Director of Certification. The Director may in turn elevate the issue to a certification staff vote. If the staff vote is close, the manager may elevate the issue to the Technical Committee, where its usual modified consensus process applies. The resolution might result in an outright denial, a one-time project-specific exception, an exception added to the standard at the next Guidebook update, or a denial with the start of a research project into whether the current standard should be changed in a significant way. |  | Although an appeal process exists, it is not documented.
III-B: 9a)-9b) | Post-occupancy verification | EISA/DOE Rule Language | Definition | Does the system provide a verfication system for post-occupancy evaluation of the certified building? | No |  | If yes, describe the system and or requirement to perform a post occupancy of the certified building. | N/A
Note on C5: EISA Section 436 (h)(1)(d): the ability of the standard to be developed and revised through a consensus-based process.
Note on C6: Public Law 110-140, Energy Independence and Security Act (EISA) Section 436 (h)(1)(c): the ability of the applicable standard-setting organization to collect and reflect public comment.
Note on C8: DOE Rule 10 C.F.R. Parts 433, 435, and 436, Green Building Certification Systems for Federal Buildings: "The system under which the building is certified must be subject to periodic evaluation and assessment of the environmental and energy benefits that result under the rating system" (part 433.33(b)(4)).
Note on C10: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C11: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C12: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C13: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C14: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on D5: GSA defines a consensus based certification system is a voluntary consensus standard as defined by OMB Circular A-119 or one that incorporates the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus. Evidence of a consensus-based system may include: - Publicly accessible draft documents and comment periods, - Publicly accessible certification system clarifications, -Instructions for accessing information on key activities, and - Policy/procedure for ensuring stakeholder input during certification system development
Note on D6: A transparent certification system has a documented approach for the review and consideration of public comments, public comments are collected on a regular basis, and development and updating process of the certification system is documented and publicly available. Evidence of transparency may include: -Evidence that review comments are publicly available; for example, website link, publication of document online, or statement that review document/decision is available upon request - Evidence that public comments are incorporated into the certification system revision process.
Note on D8: A mature certification system is effectively linked to latest tools and standards; the certification system has components to track building performance post-occupancy; the certification system is used as a basis for development of other systems; and/or the certification system is consistently updated. As a best practice, the system is revised or reaffirmed every five years at minimum.
Note on D10: The assessor/auditor is defined and is independent from the organization whose product is being assessed for conformity. Assessors/auditors have no stake in whether a building receives certification.
Note on D11: The conformity assessment body publicly discloses the scoring methodology and levels achieved by products that conform to the standard; and describes how the public can access this information. A documented standard verification method and process should be followed by assessors and auditors
Note on D12: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D13: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D14: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on G3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on L3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Part 2
Survey Part 2 Review Template
Copy tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
II-A 2) Type of Building Addressed
Survey Part II |  |  |  | Evaluation
Survey Question(s) Number | Sub- Criteria | GP Compliance Language | Definition | Evaluation Question 1 | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet GP? | If "Issue with response," or "Partially Met," Please describe | Evaluation Question 3 (if applicable) | Response | If "Issue with response," or "Partially Met," Please describe
Part II - B: Employ Integrated Design Principles
II-B: 3a.1) - 3a.3) | Integrated Design and Management | GP Compliance Language | Definition | Does your system address integrated design and management? | Yes |  | List specific requirements in the system addressing integrated design and management. For each requirement listed, please note whether it is mandatory or optional. | Phius’ process is built around integrated design management. From the outset, a project can go through multiple stages of the design review process, all with an eye toward passive building design. Oftentimes, the first step is a feasibility study to determine what the project would need in order to achieve passive building certification. This is typically done in the schematic design phase. Following that, there are multiple rounds of review by the Phius staff, with line-by-line feedback and commentary on how to improve the design, which aligns with the design development and construction documents phase of the architectural design process. Upon completion of the construction documents and once all the review comments have been responded to, the project becomes Design Certified. Following Design Certification, construction commences, with mandated onsite inspections and testing for quality assurance. Upon completion of construction and review of the quality assurance documents, Certification is issued. To create buildings with maximum optimal energy/carbon/cost efficiency, thermal comfort, indoor air quality and passive survivability, Phius requires that passive design strategies and principles are applied first, to leverage free energy sources. The certification specifically requires the integration and optimization of five core passive principles, rooted in best practices for building science: Requirements: 1. Continuous Insulation without thermal bridging 2. Airtight construction 3. High-performance windows to optimize passive solar gain and shading 4. Balanced mechanical ventilation and the use of highly efficient energy/enthalpy recovery ventilators 5. Electrical minimized micro-load mechanical systems (gas is still allowed under Phius CORE for a limited time if a near term electrical transition plan is planned for) Phius has also developed energy design targets that are specific to climate, building typology, and function (to capture differences in internal gains and process loads). The underlying design methodology for the development of such targets has been published by NREL and can be found in the supporting documentation. The team is required to design a building that meets those targets through integrated design practices, building out all specifications appropriately in the design tool. Meeting all design targets results in a building that optimizes energy efficiency and cost while also minimizing embodied carbon in the process. This is due to the optimized point of the building certification targets rather than pushing past the knee of efficiency. Too much insulation in a building can exceed the point of diminishing returns. The certification system sets maximum limits on five quantitative performance design targets, each of which must be met to achieve certification: The performance metrics used for certification compliance are: 1. Annual heating demand 2. Annual cooling demand 3. Peak heating load 4. Peak cooling load 5. Total source energy use (zero in the case of Phius ZERO certification) Additionally, a stringent qualitative air-tightness test criterion has to be met as well. Phius builds upon existing US Department of Energy and US Environmental Protection Agency Programs such as EPA Indoor airPLUS, ENERGY STAR and the DOE Zero Energy Ready Home program. The requirements for these programs serve as co-requisites for certification. Management of the integrated design process: To manage the product and equipment selection in an integrated manner, Phius has developed an integrated design and verification software tool. This software tool serves as the central organization system for the integrated design process, and its use is a requirement for certification. This design software includes a design-decision making flowchart and tree to guide the process. It stores and documents all relevant information for materials and systems selections and calculates the building’s performance on the required performance thresholds mentioned above as well as overall energy performance. It allows for archiving various design iterations on the way to meeting the energy targets for comparison purposes. The tool is strictly a performance based tool and is not prescriptive. This allows for greatest possible design freedom, trade offs, and optimization. The design tool is also used for verification and to document the certification process by Phius internally. The design team submits the completed file for review and the Phius Certification team then uses it to log the review and revision process on the path to first Design Certification, then through construction and onsite quality assurance to Certification. |  | To manage the product and equipment selection in an integrated manner, Phius has developed an integrated design and verification software tool. This software tool serves as the central organization system for the integrated design process, and its use is a requirement for certification. This design software includes a design-decision making flowchart and tree to guide the process. It stores and documents all relevant information for materials and systems selections and calculates the building’s performance on the required performance thresholds mentioned above as well as overall energy performance. It allows for archiving various design iterations on the way to meeting the energy targets for comparison purposes. The tool is strictly a performance based tool and is not prescriptive. This allows for greatest possible design freedom, trade offs, and optimization. The design tool is also used for verification and to document the certification process by Phius internally. The design team submits the completed file for review and the Phius Certification team then uses it to log the review and revision process on the path to first Design Certification, then through construction and onsite quality assurance to Certification.
II-B: 3b.1) - 3b.3) | Sustainable siting | GP Compliance Language | Definition | Does your system address sustainable siting? | Yes |  | List specific requirements in the system addressing sustainable siting. For each requirement listed, please note whether it is mandatory or optional | Sustainable siting is addressed specifically in regards to optimal siting for passive solar gain and shading to optimize heating and cooling demands and loads. It is part of the high-performance window design to optimize heating and cooling performance. It is a strong recommendation only because not all sites allow for the optimal siting for this purpose. |  | While the certification system advocates for sustainable siting, it does so to optimize heating and cooling loads without mention of other aspects of sustainable siting such as wetland impacts, floodplain siting and other items noted in the Guiding Principles. Agencies would need to ensure these other requirements listed in NC&M Criteria 1.2 Sustainable Siting are met.
II-B: 3c.1) - 3c.3) | Stormwater Management | GP Compliance Language | Definition | Does your system address stormwater management? | No |  | List specific requirements in the system addressing stormwater management. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-B: 3d.1) - 3d.3) | Infrastructure utilization and optimization | GP Compliance Language | Definition | Does your system address infrastructure utilization and optimization? | Yes |  | List specific requirements in the system addressing infrastructure utilization and optimization. For each requirement listed, please note whether it is mandatory or optional. | Meeting the Phius targets for peak heating and cooling loads is a requirement for Certification. This assures that active space conditioning systems can be sized for much smaller capacities, which leads not only to simpler, smaller, and easier serviceable systems, but also less space requirements for such systems within the building. Over time, less maintenance and staff providing such maintenance are required, which saves on cost. Should the building goal be zero energy certification, an overall much smaller, less costly, less maintenance-intensive solar and storage system would be needed. Should Phius Standards be applied to entire campuses, districts or city blocks,the benefit of the reduction of system capacity required would ripple into the energy distribution network. Significant peak load reduction in combination with well insulated envelopes and inherent thermal storage capacities would further allow for grid-interactive energy efficiency strategies such as load shedding, shifting and storing. Phius buildings on a larger scale require much less investment in an energy distribution infrastructure, including the requirement for costly peaker infrastructure. Low peak loads make whole building electrification of buildings feasible. Electrification of existing buildings often require upgrades to the electrical service panel to meet new peak loads. However, with significantly reduced heat loads, service panel upgrades may be avoided, or at least reduced. Additionally,heat pump technologies can now facilitate the replacement of energy intensive fossil fuel sources. These technologies perform better in highly insulated buildings with flatter, consistent loads relative to those with variable loads with higher peaks. The passive design envelope strategies also result in the optimization of the use of infrastructure from a materials and labor perspective. The high quality of construction in Phius buildings contributes to the longevity of the building envelope, minimizes failure and requires significantly less maintenance and cost. Phius Certification also requires best practices for vapor control design in assemblies, minimizing the risk for mold or rot in assemblies over time. Buildings designed for such low loads also result in passive survivability in case the grid goes down entirely, and can maintain livable conditions longer than their code-built counterparts. |  | The certification system is focused on energy loads first. It does not address site location (outside of where it optimizes heating and cooling loads). EV requirements are currently not included for the commercial buildings (e.g. non-residential) module of the system.
II-B: 3e.1) - 3e.3) | Commissioning | GP Compliance Language | Definition | Does your system address Commissioning? | Yes |  | List specific requirements in the system addressing commissioning. For each requirement listed, please note whether it is mandatory or optional. | Commissioning is critical for the actual performance of Phius Certified buildings and is an absolute requirement. A thorough onsite Quality Assurance Quality Control process is required for Certification. A Phius trained and certified QA/QC professional verifies the construction, installation and actual performances of the envelope components and systems. Phius partners with RESNET and follows the DOE ZERH requirements and nationally recognized QA/QC protocols. Phius does not require, but strongly recommends, the inclusion of monitoring systems and to continually post-commission performance during operation. Phius has published a monitoring protocol that it recommends to all teams after Certification is awarded. Phius has collected performance data from many fully occupied certified projects. On average, the actual energy consumption measured was within +/- 7% of the predicted (modeled) consumption. This is a result of the rigor and quality assurance carried throughout the design and certification process. |  | A thorough onsite Quality Assurance Quality Control process is required for Certification. A Phius trained and certified QA/QC professional verifies the construction, installation and actual performances of the envelope components and systems.
Part II - C: Optimize Energy Performance
II-B: 4a1 - 4a.3) | energy efficiency | GP Compliance Language | Definition | Does your system address energy efficiency? | Yes |  | List specific requirements in the system addressing energy efficiency. For each requirement listed, please note whether it is mandatory or optional | The mandatory requirements for energy performance and Phius certification are as follows: 1. Annual heating demand a. The ideal air load space conditioning limit required is set per square foot of floor area and is calculated for each project. These specific targets depend on the building size, use type, and location. The heating demand and cooling demand are separate limits to ensure that a building design is balanced between heating and cooling demands, therefore not creating a building that uses more energy overall and to limit overheating, for example. 2. Annual cooling demand a. This target is the cooling equivalent of the heating demand noted above. 3. Peak heat load a. To ensure reduced peak demand, reduced equipment sizing, and comfort, there is also a limit on peak heating loads. These ideal air loads are system agnostic, and produce buildings that have mechanical systems with rated capacities up to 70% smaller than typical code construction. 4. Peak cooling load a. This is the cooling version of the heating load noted above. 5. Total source energy use(zero in the case of Phius ZERO certification) a. All Phius projects must meet a criterion that limits the amount of total energy used by the building, from a source energy perspective. The source energy use takes into account the fuel type (natural gas versus electricity) serving the various end uses. For non-residential projects, this limit is a floor area normalized limit of 24.5 kBtu/ sf yr, with an additional allowance provided for building specific process loads. For residential projects, this limit is in kilowatt hours per person per year. In addition, Phius mandates the modeling and analysis of any potential thermal bridges in the project, accounting for the energy use of these details. Ideally, there would be no thermal bridging, but some building conditions make this impossible, therefore analysis is done to mitigate them as much as possible. For example, if a building foundation is a large thermal bridge, different combinations of insulation can be used and tested to limit heat losses throughout the foundation. There is a pass/fail requirement on minimizing thermal bridges to the extent that they minimize risk of condensation or mold growth on the interior surface of the building at the bridged condition. Phius prescribes a calculation method and protocol to verify the risk is minimized for any significant thermal bridging present in a project. |  | these topics are the focus of PHIUS to reduce loads which bolsters the GHG emissions mitigation response to climate change and to advance resilience.
II-C: 4b.1) - 4b.3) | energy metering | GP Compliance Language | Definition | Does your system address energy metering? | Yes |  | List specific requirements in the system addressing energy metering. For each requirement listed, please note whether it is mandatory or optional. | Under the current Phius certification programs, energy metering and long term monitoring are recommended but not required. |  | Under the current Phius certification programs, energy metering and long term monitoring are recommended but not required. In order to meet the Guiding Principle, agencies would need to ensure their buildings are metered.
II-C: 4c.1) - 4c.3) | renewable energy | GP Compliance Language | Definition | Does your system address renewable energy? | Yes |  | List specific requirements in the system addressing renewable energy. For each requirement listed, please note whether it is mandatory or optional. | Many Phius certified buildings include on-site renewable energy sources such as photovoltaic panels, off-site renewable energy sources such as community solar, renewable energy credits, or a power purchase agreement, or a combination of the two. For projects that are pursuing Phius CORE certification, only onsite renewables are permitted, while for Phius ZERO projects, off-site options (such as a 20-year bundle of offsite credits) can be procured to achieve certification. |  | these topics are the focus of PHIUS to reduce loads which bolsters the GHG emissions mitigation response to climate change and to advance resilience. For projects that are pursuing Phius CORE certification, only onsite renewables are permitted, while for Phius ZERO projects, off-site options (such as a 20-year bundle of offsite credits) can be procured to achieve certification.
II-C: 4d.1) - 4d.3) | benchmarking | GP Compliance Language | Definition | Does your system address benchmarking? | No |  | List specific requirements in the system addressing benchmarking. For each requirement listed, please note whether it is mandatory or optional. | All of the passive building requirements (heating demand limit, cooling demand limit, peak heating load limit, peak cooling load limit) serve as the benchmark for each building design. These were determined using an expansive energy modeling optimization study, and the resulting optimized buildings were curve-fit to determine the limits. See the Climate-Specific Passive Building Standards in the supporting documentation for more information about this process. Since that study was published, additional optimizations have been run, and the curve-fits have become sensitive to building size and use type. |  | These topics are the focus of PHIUS to reduce loads which bolsters the GHG emissions mitigation response to climate change and to advance resilience.
Part II - D Protect and Conserve Water
II-D: 5a.1) - 5a.3) | Indoor water use | GP Compliance Language | Definition | Does your system address indoor water use? | Yes |  | List specific requirements in the system addressing indoor water use. For each requirement listed, please note whether it is mandatory or optional. | Phius requires compliance with the hot water related measures in WaterSense, which is included in the Zero Energy Ready Home program These measures prevent wasting water while waiting for hot water to reach the faucets/taps. The program also has requirements for efficient recirculation of hot water, and the corresponding control strategy, preventing wasted pump energy and reducing wasted heat loss in the pipes. |  | Phius requires compliance with the hot water related measures in WaterSense, which is included in the Zero Energy Ready Home program These measures prevent wasting water while waiting for hot water to reach the faucets/taps. The program also has requirements for efficient recirculation of hot water, and the corresponding control strategy, preventing wasted pump energy and reducing wasted heat loss in the pipes.
II-D: 5b.1) - 5b.3) | Water metering |  |  | Does your system address water metering? | No |  | List specific requirements in the system addressing water metering. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-D: 5c.1) - 5c.3) | Outdoor water use | GP Compliance Language | Definition | Does your system address outdoor water use? | No |  | List specific requirements in the system addressing outdoor water use. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-D: 5D.1) - 5D.3) | Alternative water |  |  | Does your system address alternative water? | No |  | List specific requirements in the system addressing alternative water use. For each requirement listed, please note whether it is mandatory or optional. | N/A
Part II - E: Enhance the Indoor Environment
II-E: 6a.1) - 6a.3) | ventilation and thermal comfort | GP Compliance Language | Definition | Does your system address ventilation and thermal comfort? | Yes |  | List specific requirements in the system addressing ventilation and thermal comfort. For each requirement listed, please note whether it is mandatory or optional. | Phius requires balanced, continuous ventilation. The ventilation rates required align with ASHRAE 62.1. Balanced ventilation through an energy recovery ventilator, or a heat recovery ventilator, extracts energy from the exhaust air to temper the incoming outdoor air. This approach saves energy while also providing adequate filtered, fresh air for occupant health. The balanced ventilation approach does not pressurize the building. A minimum of MERV 8 filtration is required on all incoming outdoor air to manage particulate matter and pests. Thermal comfort is managed by the building envelope. The highly insulated building envelope keeps the mean radiant temperature up, eliminating the sensation of draft near exterior walls, etc. Windows must meet a thermal comfort calculation based on the height, based on ASHRAE 55 ankle draft discomfort calculations. This criterion drives the window selection in terms of thermal performance.
II-E: 6b.1) - 6b.3) | daylighting and lighting controls | GP Compliance Language | Definition | Does your system address daylighting and lighting controls? | No |  | List specific requirements in the system addressing daylighting and lighting controls. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-E: 6c.1) - 6c.3) | low-emitting materials and products | GP Compliance Language | Definition | Does your system address low-emitting materials and products? | Yes |  | List specific requirements in the system addressing low-emitting materials and products. For each requirement listed, please note whether it is mandatory or optional. | Phius follows the prerequisite requirements from EPA Indoor airPLUS, Section 6. Low-Emission Materials. The full EPA IAP Construction Specifications document can be found in the supporting documentation folder. all interior finishes must have low volatile organic compound emissions.
II-E: 6d.1) - 6d.3) | radon mitigation | GP Compliance Language | Definition | Does your system address radon mitigation? | Yes |  | List specific requirements in the system addressing radon mitigation? For each requirement listed, please note whether it is mandatory or optional. | EPA indoor airPLUS is required, Section 2 Radon contains both requirements and advisories. Both Version 1 and Version 2 address radon. Version 2 is more stringent; this is a summary: In EPA Radon Zone 1, Include active radon mitigation system OR a passive system and test upon completion In EPA Radon Zone 2, Install a passive radon reduction system OR test upon completion In EPA Radon Zone 3, Comply with one of the options for Zones 1 2 OR provide the occupants with the Citizen’s Guide to Radon. The full EPA IAP Construction Specifications document can be found in the supporting documentation folder
II-E: 6e.1) - 6e.3) | moisture and mold control | GP Compliance Language | Definition | Does your system address moisture and mold control? | Yes |  | List specific requirements in the system addressing moisture and mold control. For each requirement listed, please note whether it is mandatory or optional. | EPA indoor airPLUS is required, Section 1 is Moisture Control. EPA ENERGY STAR Multifamily New Construction is required. It contains Water Management System Requirements, and the Design Review Checklist requires air-sealing (section 5.1). Phius requires above-Energy-Star air tightness (see Certification Guidebook section 3.1.3) There are additional Phius requirements in Certification Guidebook Section 3.3 Moisture design Criteria for Assemblies and Details, and Appendix B Moisture Control for Opaque Assemblies and N-3 Minimum Interior Surface Temperature for Thermally Bridged Construction Details.
II-E: 6f.1) - 6f.3) | IAQ during construction and operations |  |  | Does your system address IAQ during construction and operations? | Yes |  | List specific requirements in the system addressing IAQ during construction and operations. For each requirement listed, please note whether it is mandatory or optional. | EPA Indoor airPLUS is required. This contains requirements for dust cleanup and ventilation after material installation (section 7 in Version 1, sections 4 and 6 in Version 2). The full EPA IAP Construction Specifications document can be found in the supporting documentation folder.
II-E: 6g.1) - 6g.3) | environmental smoking control | GP Compliance Language | Definition | Does your system address environmental smoking control? | Yes |  | List specific requirements in the system addressing environmental smoking control. For each requirement listed, please note whether it is mandatory or optional. | No indoor smoking is permitted. Ventilations systems must not pull in outdoor air.
II-E: 6h.1) - 6h.3) | integrated pest management | GP Compliance Language | Definition | Does your system address integrated pest management? | Yes |  | List specific requirements in the system addressing integrated pest management. For each requirement listed, please note whether it is mandatory or optional. | Source control and filtration for ventilation are required. The strict airtightness requirements prevent pest infiltration by eliminating cracks and gaps in the building envelope. A mandatory minimum MERV 8 filtration and bug screens are required on the intake for fresh air ventilation systems and on forced-air HVAC systems (per EPA Indoor airPLUS). |  | The airtightness factors in PHIUS greatly reduces or may eliminate the need for IPM within a building. The certification system includes a few indirect requirements for pest management including the use of a mandatory minimum MERV 8 filtration and bug screens for fresh air ventilation systems and on forced-air HVAC systems (per EPA Indoor airPLUS). However, agencies would need to ensure other pest management and source control requirements are implemented to meet the full intent of NC&M 4.8 Integrated Pest Management.
II-E: 6i.1) - 6i.3) | occupant health and wellness | GP Compliance Language |  | Does your system address occupant health and wellness? | No |  | List specific requirements in the system addressing occupant health and wellness. For each requirement listed, please note whether it is mandatory or optional. | N/A
Part II - F: Reduce the Environmental Impact of Materials
II-F: 7a.1) - 7a.3) | materials with recycled content | GP Compliance Language | Definition | Does your system address materials with recycled content? | No |  | List specific requirements in the system addressing materials with recycled content. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-F: 7b.1) - 7b.3) | materials with biobased content | GP Compliance Language | Definition | Does your system address materials with biobased content? | No |  | List specific requirements in the system addressing materials with biobased content. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-F: 7c.1) - 7c.3) | environmentally preferable products | GP Compliance Language | Definition | Does your system address environmentally preferable products? | Yes |  | List specific requirements in the system addressing environmentally preferable products. For each requirement listed, please note whether it is mandatory or optional. | Phius encourages teams to use low embodied carbon products. A key point of material efficiency in a building envelope is the durability requirements to ensure long-lasting building enclosures. If a building assembly fails and needs to be replaced, this requires more materials to be used in the re-build. The strict airtightness requirements as well as the prescriptive hygrothermal requirements outlined in the Phius Certification Guidebook v3.2 (in the supporting documentation) Appendix B produce building assemblies that are durable and long lasting and will have little chance of being damaged. Since EPA Indoor airPLUS is a program co-requisite, materials used in the project must be free of volatile organic compounds and other environmentally damaging materials.
II-F: 7d.1) - 7d.3) | ozone depleting substances | GP Compliance Language | Definition | Does your system address ozone depleting substances? | Yes |  | List specific requirements in the system addressing ozone depleting substances. For each requirement listed, please note whether it is mandatory or optional. | When a project proposes to use spray foam insulation, Phius provides a calculator for the team to use to calculate the amount of blowing agents used in the project. Phius encourages teams to use HFO-free blowing agents, and teams typically choose a blowing agent with a global warming potential of 1.
II-F: 7e.1) - 7e.3) | hazardous waste | GP Compliance Language | Definition | Does your system address hazardous waste? | No |  | List specific requirements in the system addressing hazardous waste. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-F: 7f.1) - 7f.3) | solid waste management | GP Compliance Language | Definition | Does your system address solid waste management? | No |  | List specific requirements in the system addressing solid waste management. For each requirement listed, please note whether it is mandatory or optional. | N/A
Part II - G Assess and Consider Building Resilience
II-G: 8a.1 - 8a.3 | Risk assessment | GP Compliance Language |  | Does your system address risk assessment? | No |  | List specific requirements in the system addressing risk assessment. For each requirement listed, please note whether it is mandatory or optional. | N/A
II-G: 8b.1 - 8b.3 | Building resilience and adaptation | GP Compliance Language |  | Does your system address building resilience and adaptation | Yes |  | List specific requirements in the system addressing building resilience and adaptation. For each requirement listed, please note whether it is mandatory or optional. | Please see Enhancing Resilience in Buildings Through Energy Efficiency in the supporting documents. Pacific Northwest National Laboratory, Lawrence Berkeley National Laboratory and the National Renewable Energy Laboratory performed a study on Phius buildings compared to code buildings when considering the thermal resilience of the buildings during a power outage. Thermal resilience is the ability to maintain livable indoor environmental conditions during a power outage, using either backup power, the thermal mass and insulation in the envelope or a combination of both. By designing the building to the passive space conditioning targets noted above, the balance point between the internal heat gains and heat losses through the envelope is much lower during the winter and warmer during the summer, so the building can ‘float’ through the outage. Since many projects also have onsite renewable energy, the building can maintain critical loads. Due to the limit on source energy consumed by the building, the demand from the building on the utility grid is lower, increasing overall grid resilience. This reduced utility demand also results in direct saving on costs, and the project can maintain lower operating costs over its lifetime. Because the building's thermal enclosure is more robust, and the space conditioning loads are 50-70% lower than a code building, the building can maintain comfortable interior conditions longer with minimized space conditioning, allowing for grid-interactive responses such as load shifting.
Note on C7: Establish sustainability goals as part of the project to meet the Guiding Principles and incorporate those goals into the design document and process, such as the Owner’s Project Requirements (OPR), Basis of Design (BOD), Conceptual Design Report (CDR), or relevant design documents.
Note on C8: Follow all relevant requirements of 41 CFR § 102-76.20 of the Federal Management Regulation to make a positive contribution to the surrounding landscape, and comply with the National Environmental Policy Act of 1969, as amended, 42 U.S.C. 4321 et seq., and the National Historic Preservation Act of 1966, as amended, 54 U.S.C. Subtitle III, Division A.
Note on C9: [Option 1] For new construction or modernization projects disturbing a surface area of 5,000 or more square feet, use planning, design, construction, and maintenance strategies to maintain or restore the predevelopment hydrology of the property in terms of temperature, rate, volume, and duration of flow, in accordance with statutory requirements (42 U.S.C. § 17094). Low impact development (LID) infrastructure solutions can be utilized to help achieve this criteria. [Option 2] For new construction or modernization projects disturbing a surface area fewer than 5,000 square feet, use site planning, design, construction, and maintenance strategies such as low impact development (LID) to manage on-site stormwater and to maintain or restore hydrologic conditions after development, to the maximum extent that is technically practicable. 3 Conform to 2018 IgCC Section 501.3.4 (5.3.4) Stormwater Management.
Note on C10: Evaluate and prioritize transportation strategies and associated infrastructure improvements that promote and support alternative transportation, including walking, cycling, alternative fuel and electric vehicles, and public transit over the life of the building, as feasible and consistent with the mission of the facility.
Note on C12: Employ commissioning, as defined per Section 432 of the Energy Independence and Security Act of 2007 ((42 U.S.C. 8253(f)(1)(A)), and tailored to the size and complexity of the building
Note on C14: Ensure compliance with Federal energy efficiency performance requirements for new construction in accordance with § 109 of the Energy Policy Act of 2005 (42 U.S.C. § 6834(a)(3)(A)) and DOE’s regulations as established under 10 CFR parts 433, subpart A, and 10 CFR parts 435, subpart A. Ensure installation of ENERGY STAR and FEMP-designated products in all procurements involving energy-consuming products and services, in accordance with 42 U.S.C § 8259b and 10 CFR § 436.40– 436.43.
Note on C15: Install building-level meters for electricity and advanced meters to the maximum extent practicable, as required by EPAct 2005 § 103 (42 U.S.C. § 8253(e)). Install standard or advanced meters for natural gas and steam to the maximum extent practical, in accordance with the DOE’s Federal Building Metering Guidance and EISA 2007 § 434 (42 U.S.C. § 8253(e)(1)).
Note on C16: Evaluate applicable renewable electric energy strategies related to the project or building that could support, as needed, agency progress toward renewable energy goals where cost-effective, per 42 U.S.C. § 15852(a).
Note on C17: Benchmark building performance at least annually, preferably using ENERGY STAR Portfolio Manager, and regularly monitor building energy performance against historic performance data and peer buildings, in accordance with criteria established by DOE’s Federal Building Energy Use Benchmarking Guidance per 42 U.S.C. § 8253(f)(8).
Note on C19: For new construction where water is used to achieve energy efficiency, water conservation measures must be applied to the extent that they are life cycle cost-effective in accordance with 10 CFR Parts 433 and 435. In addition to the use of water conservation technologies otherwise required by 42 U.S.C. § 6834, water conservation technologies are to be applied to the extent that the technologies are life cycle cost-effective for new construction and modernization projects, in accordance with 42 U.S.C. § 6834(a)(3)(D)(vii). Eliminate the use of single-pass (also called "once-through") cooling equipment using potable water and optimize cooling tower operations to minimize makeup water. Agencies should refer to EPA's WaterSense, GSA’s SFTool: Water, and DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources for additional details on available water conservation technologies and best management practices
Note on C21: Evaluate and implement, as applicable, water efficient landscaping best practices that incorporate native, non-invasive, drought tolerant, and low maintenance plant species. Utilize and follow, as appropriate, landscaping best practices provided by GSA’s SFTool - Water resources, DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources, EPA’s WaterSense - Outdoors resources, or an agency-approved tool
Note on C25: Design and construct the building to meet and maintain all required illumination levels, in accordance with 41 CFR § 102-74.180 of the Federal Management Regulation, and maximize the use of automatic dimming controls or accessible manual controls in regularly occupied spaces
Note on C31: In accordance with 41 CFR § 102-74.35 of the Federal Management Regulation, ensure effective and environmentally sensitive integrated pest management (IPM) services including the planning, development, operations, and maintenance for pest control, removal, and prevention in both indoor and outdoor spaces. Ensure that pest management contracts are effectively coordinated with the activities of other building service programs that have a bearing on pest activity, such as food service, landscaping, child care, waste management, and repairs and operations.
Note on C34: "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on C37: "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C39: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C41: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C42: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on D7: Ventilation is the process of "changing" or replacing air in any space to remove airborne contaminants such as moisture, odors, emissions from building products and materials (e.g. VOCs and formaldehyde), combustion byproducts, dust, airborne bacteria, and carbon dioxide; and to replenish oxygen. Thermal conditions, which include air temperature, relative humidity, and velocity, greatly impact overall occupant comfort and associated productivity. ASHRAE Standard 55 – Thermal Environmental Conditions for Human Occupancy should be met and maintained at a minimum to achieve adequate indoor environmental quality.
Note on D8: Daylighting uses natural daylight as a substitute for electrical lighting. Daylight controls measure the amount of daylight/ambient light in a room and adjust the electric light levels accordingly. All automated controls, including occupancy sensors, should allow for occupant override. Occupants should also be given control over natural light levels through effective, adjustable shading.
Note on D9: Indoor Air Quality (IAQ) refers to the state of the air within a space. A space with good indoor air quality is one that is low in toxins, contaminants and odors. Good air quality possible when spaces are well ventilated (with outside air) and protected from pollutants brought into the space or by pollutants off-gassed within the space.
Note on D10: Radon comes from the natural (radioactive) breakdown of uranium in soil, rock and water and gets into the air you breathe. Radon can be found all over the U.S. It can get into any type of building—homes, offices, and schools—and result in a high indoor radon level.
Note on D12: Moisture control is the process of regulating where, when and how much water and water vapor collect in a building. Mold and other air borne contaminates develop when there is too much moisture.
Note on D14: Materials used in buildings often contain compounds that have a negative effect on indoor air quality (IAQ) and the earth’s atmosphere. These compounds can be present in adhesives, sealants, paints, flooring, carpets, composite wood and agrifiber products, furnishings, and in ceiling and wall systems. Low-emitting materials release only small amounts of these compounds into the surrounding air over time.
Note on D15: Construction activities can threaten the indoor air quality of an occupied space. Precautions should be taken to protect the health of construction workers as well as the health of occupants. These precautions include ensuring that airborne particles from construction activities are isolated from the permanently installed HVAC equipment; flushing out toxins before occupancy; ensuring absorptive materials are kept dry and that the facility is kept free from mold; and using construction materials low in harmful VOCs.
Note on D16: Research has shown that environmental tobacco smoke (ETS), or secondhand smoke, from cigarettes, pipes, and cigars has cancer-causing airborne particulates that can cause detrimental health effects when inhaled.1 Smoking should be banned from within the building and nearby (25-50 feet) of building openings such as entries, outdoor air intakes and operable windows. Buildings can also install separate HVAC systems to isolate smoking areas within the facility, although it’s typically uncommon and expensive in the office setting.
Note on D17: Integrated Pest Management is a process used to reduce or discourage the growth of pest populations. IPM protects human health and the surrounding environment and improves economic returns by employing the most effective, least-risk management option. It uses non-toxic products such as cleaning and physical barriers to entrance before resorting to chemical means. Pests include plants, fungi, insects, and/or animals.
Note on D19: Healthy people are free of disease and are otherwise well. Buildings with good indoor environmental quality (IEQ) support the health of occupants via high quality lighting, thermal conditions, air quality, acoustics, ergonomic and functional features.
Note on D21: Energy modeling is a computer based tool that predicts the amount of energy that a building will consume. It is a helpful way to identify potentially inefficient systems and compare a building’s energy use to a baseline performance case.
Note on D24: ENERGY STAR is a joint program of the U.S. Environmental Protection Agency (EPA) and the U.S. Department of Energy (DOE). The ENERGY STAR label helps consumers identify energy efficient products and practices in over 60 product categories for the home and office. Products earn the ENERGY STAR label by meeting the energy efficiency requirements set forth in ENERGY STAR product specifications. These products deliver the same or better performance as comparable models while using less energy and saving money. https://energy.gov/eere/femp/search-energy-efficient-products
Note on D25: Renewable energy comes from sources that are either inexhaustible or can be replaced very rapidly through natural processes. Examples include the sun, wind, geothermal energy, small (river-turbine) hydropower, and other hydrokinetic energy (waves and tides).
Note on D26: Alternative energy refers to energy not derived from traditional fossil fuel sources (coal, natural gas, petroleum) through conventional processes.
Note on D27: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities. Submetering or system-level metering is used to determine the proportion of energy use within a building attributable to specific end uses or subsystems (e.g., the ventilation system of an HVAC system).
Note on D28: To benchmark a building is to measure and rate the performance of a particular building compared to a standard. Various building performance indicators can be used for benchmarking (e.g. energy, water, air quality, thermal comfort) however energy use is the most commonly used and well-developed benchmarking indicator.
Note on D30: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D31: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D34: WaterSense, a partnership program of the U.S. Environmental Protection Agency (EPA), seeks to help consumers make smart water choices that save money and maintain high environmental standards without compromising performance. Independent, third-party licensed certifying bodies certify that products meet EPA criteria for water-efficiency and performance by following testing and certification protocols specific to each product category. Products and services that have earned the WaterSense label have been certified to be at least 20% more efficient without sacrificing performance.
Note on D35: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities.
Note on D36: A piece of building equipment which uses water to absorb heat from air-conditioning systems and regulate air temperature in a facility.
Note on D37: The practice uses water-efficient choices in planting and irrigation design. It incorporates climate-appropriate and native plants to decrease the amount of watering required. Xeriscaping or native landscaping for example, is a type of landscaping method that makes routine irrigation unnecessary.
Note on D38: Alternative or alternate water sources are supplied from sources that reuse water from another process or application and are not derived from freshwater sources (such as surface or groundwater). Examples of alternative water sources include grey water, reclaimed wastewater, rainwater harvesting, air handling unit condensate, and process equipment discharge water.
Note on D39: When it rains, stormwater either infiltrates into the ground or flows directly into the storm system. Pervious paving and landscaping allow water to be absorbed into the ground, percolating through natural filters and into aquifers. Impervious surfaces, such as sidewalks and roofs, force storm water to flow directly into the storm drain. This can lead to combined sewer overflow during times of significant rainfall. Additionally, excess storm water may collect contaminants prior to entering the storm drain, and depending on the location, may drain into natural waterways without being treated.
Note on G5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on K5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on N5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response