## GUIDE
GBCS Survey Review Template
Overview | Use this template to review the GBCS Surveys and both verify and evaluate survey responses.
Verification: Reviewer will review survey in its entirety and provide summary report to GSA for each full survey, indicating areas of concern, discrepancies, or inaccuracies
Evaluation: The reviewer will do a preliminary determination of whether the criteria is met (Yes, No, Partially)
Instructions | The "Template" tab is where the reviewer will record responses.
The GBCS survey is comprised of four parts: Instructions, and Parts 1-3
| Survey Part | Title | Action Required by Reviewer?
| Instructions | General guidelines for the system owners in completing the survey | No
| Part I | General information questions about the system | Yes, Note any general concerns with survey responses for this part in the fields provided.
| Part 2 | Effectiveness Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each effectiveness sub-criteria covered in Part 2 of the survey. Copy "Part 2" tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
| Part 3 | Development Criteria Review Questions | Yes, Complete all evaluation questions that correspond to each development criteria covered in Part III of the survey
Completing Survey Review for Parts II-III | The majority of response fields are populated with drop-down menus for the reviewer to respond to the evaluation questions. Response options are "Yes," "No," and "Issue with Response." As described further below, some drop-down menus also include "Partially Met" as a potential response.
| Response | Definition | Action by Reviewer
| Yes | The information provided by the system owner for that sub-criteria is enough to confirm that the system does address that sub-criteria and affirmatively answers the evaluation question. | Mark Yes, and proceed to next evaluation question for that sub-criteria or move on to the next sub-criteria
| No | The system does not address that sub-criteria and therefore does not affirmatively answer the evaluation question. | Mark No, and proceed to the next sub-criteria (any additional evaluation questions for the sub-criteria can be marked as "N/A"
| Issue with Response | The reviewer is not able to respond "Yes" or "No" because the survey response is missing/unanswered, incomplete, factually incorrect, or unclear | Use the next cell over to briefly describe the issue with the answer (see below for further guidance).
| Partially Met | The system may meet the intent of the criteria, but does not specifically meet the evaluation question | Use the cell to the right to briefly describe how the intent is met to address the criteria, even though the evaluation question is not fully met (see below for example)
Types of Response Issues and Corrective Action | Issue | Reviewer Action Required | Corrective Action (if applicable)
| Missing/Unanswered | Note in the provided field | A missing answer will be considered intentional
| Incomplete | Note in the provided field | An incomplete answer will be evaluated as is
| Factually Incorrect | Describe in provided field, and include a question for the system owner requesting a correction. | If correction is received, GSA may ask RMI to re-evaluate (as needed)
| Unclear | Describe in provided field, and include a question for the system owner requesting a correction. | Once response is received by GSA, GSA will determine whether the answer is now clarified
Examples of "Partially Met" Criteria | Some evaluation questions include an additional potential response of "Partially Met." In this instance, GSA is interested in whether the system might meet the intent of the criteria but not completely align with the Guiding Principle requirement for that sub-criteria.
Example:
| Criteria | GP Compliance Language | Evaluation Question | How the system might "Partially Meet" that evaluation question. | Reviewer Action Required
| Moisture Control | "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks." | Is a plan/policy developed(yes/no)? | The system may require that the building identify and employ specific strategies to control moisture. While the system may not specifically require a formal plan, the system does support the intent of the sub-criteria/Guiding Principle Requirement to implement strategies that will control moisture. | In the field provided, briefly describe how the system may meet the intent of the Guiding Principle but not specifically meet what is actually required in the Guiding Principle and/or evaluation question.

## Part 1&3
Survey Part III |  |  |  | Evaluation
Survey Question Number | Sub- Criteria | EISA/DOE Rule Language | Definition | Evaluation Question | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet Criteria? | If "Issue with response," or "Partially Met," Please describe
Part III - A Process for Developing and Administering the Certification System
III-A: 1a) -1c) | Consensus-based approach | EISA/DOE Rule Language | Definition | Was the system developed using the ANSI process or another consensus-based process? | Yes |  | If yes, describe the consensus based approach. | USGBC is committed to developing LEED using a consensus-based process. In developing the LEED standard, USGBC employs processes that ensure the highest levels of openness, inclusion and transparency. All of these measures are essential to protecting and enhancing the integrity, authority, and value of LEED. The LEED certification system embraces the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus (OMB, Circular A-119 at page 16, 2016). (Note that the revision of OMB Circular A-119 did not change the substance of the definition of consensus-based.) Also, USGBC was accredited as ANSI Standards Developer in 2006. Below is an overview of the LEED development and revision process: • First, volunteer-based committees of practitioners and subject matter experts of the highest caliber are organized around the LEED credit categories and work to draft changes to the rating system. Changes may be initiated by the LEED Steering Committee (LSC), the subject matter committees, or any member, at any time (Foundations of LEED, page 44). Through the committees, expert practitioners bring a wealth of knowledge in the decisions made to recognize best practices and acknowledge leadership through state of the art strategies in the LEED credits. Proposed credits are written or developed by these technical advisory groups (TAGs) and then further reviewed by the LSC for technical and market efficacy. • Once approved by the LSC, the draft is released for public comment, which is open to the public and all stakeholders. These comments are collected and responded to individually and all content is available on the USGBC website. • The LEED (or credit) draft undergoes a minimum of two revision and public comment periods. • Once the public comment process is complete, the draft is subject to a ballot by the USGBC members that register to participate in the vote. • To be accepted as a change (e.g., the new version of LEED or a new credit), the draft must receive ‘yes’ votes from 66 percent of the voting members in the consensus group, which is balanced to include equal representation by requiring that subcategories of users also garner a majority vote so that no individual interests control the process. Without this overwhelming consensus, the rating system will not change. Key evidence that LEED incorporates the attributes of a voluntary consensus standards body is summarized below: Openness – [Definition: The procedures or processes used are open to interested parties. Such parties are provided meaningful opportunities to participate in standards development on a non-discriminatory basis. The procedures or processes for participating in standards development and for developing the standard are transparent.] LEED’s process and draft documents are transparent and publicly available. The LEED certification system development process is established in the publicly available Foundations of LEED [https://www.usgbc.org/sites/default/files/foundations-of-leed.pdf] The Foundations of LEED defines the purpose, development and implementation process and procedures for the LEED rating system. The Foundations of LEED was first approved by the USGBC Board of Directors in 2009, and was most recently revised by the USGBC Board of Directors on September 12, 2017. Information on participating in the development of the system is publicly available. For example, the Foundations of LEED specifies that notices regarding committee work of general interest will be posted to the USGBC website and be accessible to USGBC members and non-members. This shall include: • LSC meeting minutes • Notices of proposals to establish or change LEED rating system criteria • Notices about updates to the LEED rating system posted for public comment and/or ballot • Notice of committee vacancies, formation of new committees and working groups, and public events [ https://www.usgbc.org/resources/foundations-leed and https://www.usgbc.org/sites/default/files/foundations-of-leed.pdf ] Balance of interest – [Definition: The standards development process should be balanced. Specifically, there should be meaningful involvement from a broad range of parties, with no single interest dominating the decision-making.] LEED is developed by USGBC member-based volunteer committees, subcommittees, and working groups in conjunction with staff. LEED development follows a structure that includes a balanced representation of stakeholders and management of conflict of interest, to ensure that the development of LEED is transparent and consensus-based. The LEED committee structure balances market needs and constraints with consistency and technical rigor in the development and improvement of the credits within LEED, to ensure the quality and integrity of the LEED brand. LEED committees and subcommittees must adhere to the policies and procedures set forth by the Board of Directors in the USGBC Policies and Procedures for Committees document. This document outlines requirements for committees and subcommittees, such as formation approval, balance, transparency, and conflict of interest, and can be found at www.usgbc.org [ https://www.usgbc.org/resources/usgbc-policies-and-procedures-committees-and-working-groups ]. USGBC procedures also provide for meaningful involvement from a broad range of parties. As noted above, any member can suggest a change to LEED, and can request a meeting with USGBC related to concerns about an LSC recommendation, thus providing meaningful involvement to all members. Anyone from the public can review and comment on a change to LEED during the Public Comment period, thus providing meaningful involvement to all stakeholders regardless of membership. In addition, USGBC has processes to ensure balance in the Consensus Body formed to vote on each proposal to change LEED. Specifically, each member organization shall opt-in to participate in a vote, and shall be identified as being within one of the defined interest groups. The Consensus Body shall represent the following interest groups (which may be redefined from time to time): • Property/building owners (including government), developers, brokers • Architectural/engineering firms, specifiers, urban planners, and designers • Contractors, constructors, project managers, service suppliers, facility operators • Product manufacturers and raw material suppliers • Building occupants/users, sustainable community advocates, unions • Regulation enforcement agencies, standards developers • Utilities, energy service companies, insurers, academia, finance, others The Consensus Body will be reviewed to ensure it is balanced; no single interest group shall make up a majority of the consensus body. If necessary, the LSC shall appoint organizations to the Consensus Body from and among USGBC member organizations which have not already elected to become part of the Consensus Body so as to balance the Consensus Body. (Foundations of LEED p 46-47) Due process – [Definition: Due process shall include documented and publically available policies and procedures, adequate notice of meetings and standards development, sufficient time to review drafts and prepare views and objections, access to views and objections of other participants, and a fair and impartial process for resolving conflicting views.] As noted above, USGBC provides its policies and procedures document, the Foundations of LEED, available to the public on our website. The Foundations of LEED explains how LEED is developed including the conduct of public comment periods and how comments are addressed (see Appendix 2, pp. 44-48). Specifically, USGBC invites public comment, open to members and non-members, for a minimum of 45 days following publication of a proposed change to LEED. Consideration will be given to each comment and evaluation will be done as to whether to make revisions to the credits/prerequisites based on the comments. The comments received, without commenter name or organization will be posted on the USGBC website along with a response to each comment. Our procedures provide for additional public comment periods if the LEED Steering Committee (LSC) makes any substantive revisions to the recommendations it released for the initial public comment period, or on the basis of substantive or procedural comments. LSC will review the final recommendations with respect to each proposal, and shall develop a comprehensive report, which shall provide LSC’s recommended language and recommendation concerning each proposal, and shall inform the Board of Directors of the results of an independent reasonableness review. Any USGBC member may request a meeting to discuss and address concerns at any point during the process. Appeals process – [Definition: An appeals process shall be available for the impartial handling of procedural appeals.] The appeal procedures that are implemented by USGBC further support the consensus process and ensure the fair treatment of affected stakeholders. The appeals process is established in the Foundations of LEED, Appendix 4. An appeal may be lodged on procedural and/or substantive grounds. Any USGBC member in good standing that opted-in to the consensus balloting step may lodge an appeal on procedural and/or substantive grounds. The Foundations of LEED, which is publicly available on our website, specifies the time, process, and form of appeal. The procedures set forth an interim dispute resolution process. USGBC’s acknowledgement of receipt of appeal begins a 60-day, mandatory dispute resolution process. The appellant and USGBC representatives approved by the USGBC President and CEO will, in good faith, meet to discuss the basis for the appeal and options for resolution. If a resolution is agreed upon, the agreement will be memorialized, filing fee returned, and the appeal process concluded. If either party concludes that resolution is not possible, the appeal shall continue after the end of the 60 day dispute resolution period, or such earlier time as the parties may agree. The procedures further set forth the process for formation and the composition of an Appeals Panel and conduct of the Appeal review, which may or may not include a hearing. If the Appeals Panel finds merit in the appeal, it may recommend that all or some portion of the process be repeated, or provide for further procedures to correct the nonconforming procedural action or inaction. The Appeals Panel decision may be appealed to the USGBC Board of Directors, which may consider the appeal in its discretion. If the Board of Directors declines to hear the appeal, the decision of the Appeals Panel is final. If the Board of Directors hears the appeal, its decision is final. Consensus – [Definition: Consensus is defined as general agreement, but not necessarily unanimity. During the development of consensus, comments and objections are considered using fair, impartial, open, and transparent processes.] The balloting process of new versions with the USGBC membership reinforces the open consensus process. As explained above, a Consensus Body is being formed for the purpose of voting on proposed changes to LEED, through notice to and opt in by members. The Consensus Body is reviewed to ensure balance of interest. Once formed, the ballot will open for voting by the Consensus Body. Voting shall be by online ballot, and voting shall remain open for 30 days. The ballot shall utilize proportional voting; Each USGBC member organization with voting privileges which has opted to vote is allowed one vote. Consensus is achieved when: 1. A majority (more than 50%) of the members of the Consensus Body casts a vote, including abstentions; and 2. A minimum of two-thirds of votes cast are affirmative votes; and 3. At least three, of seven, interest groups are represented in the Consensus Body and members of at least two interest groups cast affirmative votes. The number of affirmative, negative, and abstaining votes will be reported to USGBC membership. We note that prior GSA certification system reviews have found LEED to be developed using a consensus-based approach, most recently: (1) GSA’s Green Building Certification System Review (2012, PNNL 20996), and (2) Green Building Certification System Supplemental Review of USGBC’S LEED v4 Systems, prepared for GSA by LMI (2014). The 2014 review of LEED v4 found that USGBC’s approach to the development and implementation of the LEED v4 systems had not changed significantly since the 2012 PNNL Report, thus supporting the 2012 PNNL Report’s conclusion that LEED meets the criteria of a consensus-based standard for documenting a development and revision process (page 1-6). USGBC’s approach to development and implementation of the LEED systems has not changed significantly since the 2014 review. USGBC membership is comprised of a diverse group of more than 12,000 companies and organizations representing virtually all aspects of the building industry. (In addition, there are over 22,000 individual members of USGBC. With respect to the LEED rating system, only organizational members vote (one vote per organization). LEED committees are populated by a diverse group of technical and market experts who donate their time and expertise to advance LEED. In the development of LEED v4, USGBC engaged hundreds of volunteers, conducted six public comment periods, and responded to more than 22,000 public comments during LEED v4 development. The final draft of LEED v4 was approved by 86% of the consensus body members. The LEED revision process, as implemented and as provided in the Foundations of LEED document includes: • Publicly accessible draft documents and comment periods – All proposed changes to LEED are posted on the website available to the public for comment for a period of 45 days following publication (the “Public Comment Period”). USGBC members will be notified of the comment period and an announcement will be made to the public. • Publicly accessible certification system clarifications – USGBC may issue LEED clarifications, through Credit Information Requests (CIRs) and LEED Interpretations (LIs); these are available to the public on our website in the credit library and through quarterly update articles [ https://www.usgbc.org/credits ]. CIRs allow Project Teams to obtain technical guidance on how LEED requirements including Minimum Program Requirements (MPR), Prerequisites, and Credits pertain to their projects. A CIR applies only to that project. LIs are official answers to formal technical inquiries about implementing LEED on a project. They help project teams understand how their projects can meet LEED requirements and provide clarity on existing options. LIs are to be used by any project certifying under an applicable rating system, and undergo review by USGBC member-selected volunteer LEED committees. Over the past 15 years the many federal government projects that have achieved LEED certification are responsible for numerous individual CIRs that have further refined LEED credit requirements making LEED an even more appropriate tool for federal projects. • LEED Pilot Credits are used to test proposed or revised LEED credits. • Instructions for accessing information on key activities – USGBC’s website provides information on how to get involved with committees (see https://new.usgbc.org/about and https://www.usgbc.org/articles/usgbc-leed-committees ), and we post articles from time to time with updates on committee vacancies as well as LEED updates. Policy/procedure for ensuring stakeholder input during certification system development – As detailed above, the publicly available Foundations of LEED establishes USGBC procedure for ensuring stakeholder input throughout the stages of certification system development and revision.
III-A: 2a)-2c); 3a)-3c) | Transparency | EISA/DOE Rule Language | Definition | To ensure transparency, what stakeholders or groups of stakholders were involved in the development and updating of the certification system | USGBC’s process for development and updating the LEED certification system fully embraces transparency, inviting not only its members but all stakeholders to review and comment on drafts at each step of development. Minutes are taken and published of each meeting of the LSC and of each Technical Advisory Group to further inform interested parties about the progress of development. Stakeholders involved in the development and updating of LEED include the Board of Directors, LEED Steering Committee (LSC) and Technical Advisory Groups (TAGs); members of USGBC; and interested public; as detailed in our response to question (1). Membership of the Board of Directors, LEED Steering Committee and TAGs are listed on our website. [see https://new.usgbc.org/about and https://www.usgbc.org/articles/usgbc-leed-committees] Notices of committee vacancies are posted from time to time as they occur. Our membership includes over 12,000 organizations and represents all aspects of the building sector including contractors and builders; product manufacturers of various size and product type; architects; engineers; building consultants; government entities including federal, state, and local levels; nonprofit organizations; trade associations; and others. As described above in response to question (1), USGBC’s development and updating of LEED is a transparent process governed by the publicly available Foundations of LEED. The Foundations of LEED defines the purpose, development and implementation process and procedures for the LEED rating system. USGBC solicits public comment for at least 45 days. Anyone can submit a comment; members and nonmembers alike may create a free website account to do so through USGBC’s publicly available online portal. In addition to numerous notices and articles, we have developed a video to further encourage public comments. [see https://www.usgbc.org/resources/public-comment-tutorial] USGBC compiles and reviews all comments received through the Public Comment process (e.g., submitted to the portal). Comments submitted through the online public comment forum are evaluated through a formal process consisting of review by the appropriate volunteer committee (e.g., subject matter TAG) and then the LSC. Modifications to the proposed rating system or change are made based on the technical merit of the comment. In parallel to the updating of the draft based on stakeholder feedback, a response to each public comment is developed. Comments are posted, with responses, on USGBC’s website. In addition, as described above, the revised draft rating system or change (if modified) and committee meeting minutes are posted on the USGBC website. Examples of notices for public comment can be found on our website [ eg https://www.usgbc.org/articles/leed-v4-public-comment-refining-system ] USGBC’s website posts review comments and responses (which were incorporated into the certification system revision process for LEED v4) https://www.usgbc.org/resources/leed-v4-public-comment-responses. These postings demonstrate the breadth of stakeholders and public who provided comments on the system. |  | What was their role in the development or updating of the certification. | For LEED v4, nearly 20,000 stakeholder comments were received over six public comment periods, and the Consensus Body consisted of 1,960 organizations which opted in to participate. These processes, from technical committees, to comments, to voting, incorporated a range of interests within our membership, representing all aspects of the building sector including contractors and builders; product manufacturers of various size and product type; architects; engineers; building consultants; government entities including federal, state, and local levels; nonprofit organizations; trade associations; and others. As described above, the public, members, and each committee has a particular role in developing and revising LEED. These roles are summarized below: Any interested person (the public) may review developments of the system through reading committee meeting minutes which discuss proposed changes; may review and comment on proposed changes published for public comment; and may review other public comments and USGBC responses. In addition to the opportunities available to any interested person listed above, employees of USGBC member organizations may propose a change to the LEED rating system; may request a meeting with USGBC to discuss concerns about LSC recommendations; and may opt in to the Consensus Body to vote in a balloted change (with the caveat that there is one vote per organizational member). The LEED volunteer committees, or TAGs, are responsible for developing proposed changes including considering member-proposed changes in their subject matter area; for recommending proposed changes to the LSC; for posting committee meeting minutes; and for reviewing, considering, and responding to comments in their subject matter area. The LSC is responsible for reviewing, revising (if needed), and approving proposed changes to the system to be considered by the Board for Public Comment and voting; approving proposed changes for member vote (balloting); may initiate changes to the system; and may participate in member-requested meetings. The LSC is also responsible for developing a comprehensive report after all public comment periods on a change, which shall provide LSC’s recommended language and recommendation concerning each proposed change, and shall inform the Board of the results of an independent reasonableness review. The Board of Directors is responsible for approving recommendations of the LSC to submit changes to LEED for Public Comment and subsequent Consensus Body vote; receiving and reviewing the independent reasonableness review following the Public Comment periods; and for determining whether to withdraw language presented for public comment or vote at any time during the process.
I-A: 9) | Ability of applicable SDO to collect and reflect public comment | EISA/DOE Rule Language | Definition | Is there a procedure for differing opinions during system development and/or revision | Yes |  | If yes, describe the procedure. | Differing opinions are welcomed and solicited through several processes. First, proposals for a change to LEED may be submitted by any USGBC member at any time (Foundations of LEED p. 44). Also, LEED volunteer committees / TAGs represent diverse members and involve discussion of technical issues about which there may be differing views at any stage of development of a change or credit. Second, once there is a TAG recommendation, another diverse set of members on the LSC considers, revises, and/or approves the change. Third, the Board of Directors, bringing additional perspective and viewpoints, considers and must approve a change for Public Comment and voting. Fourth, the public comment period solicits input from anyone in the public, as well as members. Fifth, public comments received in the proper process are reviewed, considered, and responded to. Comments and responses are publicly posted. Any revisions to the proposed rating system or change are reposted and must go through committee review and approval. Sixth, the LSC must develop and inform the Board of the results of an independent reasonableness review, which may include the extent to which public comments were considered. Lastly, an appeals process is available, as described above, with the procedures publicly posted as Appendix IV to the Foundations of LEED. [https://www.usgbc.org/resources/foundations-leed, https://www.usgbc.org/sites/default/files/foundations-of-leed.pdf ]
III-A: 4a)-4b) | Maturity | EISA/DOE Rule language | Definition | Is there an independent review and verification process for updating the certification system to ensure system maturity? | Yes |  | If yes, provide a description of how the system is revised or reaffirmed regularly to ensure maturity. | LEED continues to stay current with changes to referenced standards by enabling use of updated referenced standards via periodic addenda, Credit Interpretations (CIRs), LEED interpretations (LIs) and certification precedent. LEED is updated through continuous improvement, which involves a development cycle for revisions to the rating system. Nonsubstantive revisions (clarifications) do not require balloting; substantive revisions go through the balloting process as described. Updates are periodic without a formal schedule, and have occurred four times prior to the 2013 update to LEED v4.
Part III - B Conformity Assessment
III-A: 5a)-5b) | Transparency | EISA/DOE Rule Language | Definition | Are revisions to the system documented and accessible to the public? | Yes |  | If yes, provide link to publcly accessible information regarding system revisions. | Links to some of the publicly accessible information about the LEED rating system and revisions are listed in the attachment “LEED Resources.” Key links include the current rating system with addenda incorporated [see https://www.usgbc.org/resources/leed-v4-building-design-and-construction-current-version], Addenda including LEED Interpretations [ https://www.usgbc.org/leed-interpretations ], and pilot credits [ https://www.usgbc.org/pilotcredits ].
III-B: 6a)-6b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is an assessor / auditor independently assigned / selected? | Yes |  | If yes, describe the selection or assignment process for auditors. | LEED building projects are certified by the Green Building Certification Institute (GBCI), a separately incorporated entity, through an unbiased pool of qualified assessors that must confirm the absence of any conflict of interest. Projects are randomly assigned by GBCI to reviewers from a pool of highly qualified unbiased teams. The LEED v4 program is a documentation-based verification program. Generally, three LEED reviewers (assessors) are assigned to each project. Certifications involve a preliminary and final review process and typically require 2-3 months from submission to certification by GBCI. Note that independence and rigor of the third party certification process are core to the mission of GBCI: “Green Business Certification Inc. (GBCI) is the premier organization for independently recognizing excellence in sustainability performance and practice globally. Through rigorous certification and credentialing standards, GBCI drives adoption of green business practices, which fosters global competitiveness and enhances environmental performance and human health benefits.” [ http://www.gbci.org/#about ] This is reflected in GBCI processes for reviewers and certification.
III-B: 7a)-7b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Are the criteria used by the assessors and auditors to evaluate a building project documented, available to applicants, and independent from the organizaiton to whom they are providing their services | Yes |  | If yes, please provide links to the location of the documentation and/or description of the process that is made available to applicants. | Criteria used for verification are all publicly available on our website, including the rating system prerequisites and credits, and the process for review and verification. GBCI Reviewers are independent and apply the criteria. The rating system itself is publicly available on our website [see https://www.usgbc.org/resources/leed-v4-building-design-and-construction-current-version and links for each system]; with additional details provided via the Credit Library [ https://www.usgbc.org/credits ]. Published Addenda & LEED Interpretations and other USGBC guidance documents are all available on the website on tabs in the Credit Library and in other formats such as quarterly update articles [ https://www.usgbc.org/articles/leed-addenda-update-january-2018 ]. These resources are summarized in the attachment “LEED Resources.” The process is described in the Guide to LEED Certification documents publicly available on our website [ https://new.usgbc.org/cert-guide ]. Reviewers evaluate submitted project documentation for compliance with the published system requirements (credits & prerequisites), published Addenda & LEED Interpretations and other USGBC guidance documents. LEED Online and/or the Arc platform are the tools used for both application and review. GBCI reviewers (assessors) must use the published, balloted LEED rating system requirements. Unique or complex evaluation needs may be addressed with CIRs and LIs (see discussion above under response to question (1) and the Guide to LEED Certification). The review process for LEED can involve a one or two phase review of on-line documentation. The reviewer provides detailed feedback to the project team. Project teams are able to contact GBCI technical staff with additional questions. [ http://www.gbci.org/contact ] The typical timeframe for review is: Preliminary review: 25 business days/15 business days for expedited reviews Opportunity for project to respond to request for clarifications: 25 business days Final review: 15 business days/7 business days for expedited reviews During the reviews, project teams may contact the reviewers with questions; and after the preliminary review, teams may choose to prepare new or revised documentation or attempt additional credits before submitting for final review. GBCI will then review revised or newly submitted prerequisites and credits, and reconsider any awarded credits or prerequisites for which information has changed since the return of the preliminary review was completed. After the final review, project teams may request a supplemental (appeal) review(s), as described below for Question 8. Project teams may also request CIRs and LIs; the process for each is provided in the publicly accessible Guide to LEED Certification. With CIRs, which apply to only one project, the reviewers will identify if a project team’s interpretation of a particular credit or prerequisite is consistent with published rating system requirements. With LIs, which are published periodically in the form of official addenda, project teams may request an interpretation from GBCI; LIs are developed through a deliberative process involving LEED committees
III-B: 8a)-8b) | Ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics | EISA/DOE Rule Language | Definition | Is there a documented process for applicants to appeal an auditor's/assessor's certification decision or specific findings | Yes |  | If yes, describe the documented appeal process available to the applicant. | There are several ways that project teams can pursue further review or appeal in cases of disagreement with the review. When a project team disagreeing with the reviewer, the first step is to contact GBCI via our “contact us” form. [http://www.gbci.org/contact] GBCI has award winning, comprehensive customer service and support processes and policies in place, and it is anticipated that resolution of technical issues or disputes related to the requirements of a rating system or standard, can be accomplished through our traditional customer service channels. If a project team is in disagreement with the reviewer after the final review, the project team can request a supplemental (appeal) review to provide additional clarifications. This provides an additional round of review and allows project teams to submit additional information, amend the application or add new credits not previously attempted. GBCI will review the previously denied or newly submitted prerequisites and credits, and reconsider any anticipated credits or prerequisites for which information has changed since the return of the final review. The fee associated with supplemental (appeal) reviews varies depending on the level of complexity of the credits or prerequisites submitted. In instances where the reviewers and the project team are unable to come to a resolution (very rare), we also have the Review Challenge Policy [see http://www.gbci.org/legal ] whereby a project team can challenge a review ruling (no additional supporting documentation is provided). This policy address scenarios where a project team is challenging the accuracy of a reviewer’s decision regarding the sufficiency of the submitted materials. GBCI will appoint representatives not previously involved in the original determination to review the explanation provided by the project team, and issue a Statement of Findings including the Review Challenge Decision. The project team may further contest the decision. These procedures are set forth in the publicly accessible Review Challenge Policy.
III-B: 9a)-9b) | Post-occupancy verification | EISA/DOE Rule Language | Definition | Does the system provide a verfication system for post-occupancy evaluation of the certified building? | Yes |  | If yes, describe the system and or requirement to perform a post occupancy of the certified building. | LEED O+M is a post-occupancy performance system, as detailed in Part II. Moreover, LEED relates to post-occupancy performance of new construction projects in several ways. As detailed below, new construction (BD+C) projects are required to commit to sharing post-occupancy energy and water use data for five years; and these certified new construction projects are expected to move into the LEED system for building operations, O+M, in a seamless manner. LEED projects certifying under the BD+C and O&M v4 rating systems must meet prerequisites which include the commitment to report post-occupancy energy use and water use for five years. [for BD+C: https://www.usgbc.org/node/2613018?return=/credits/new-construction/v4/energy-%26amp%3B-atmosphere for O&M: https://www.usgbc.org/node/2613021?return=/credits ] GBCI has developed the Arc platform for building performance, and the platform is free for use by LEED registered and certified projects. [see https://www.arcskoru.com/about ] Project owners can report their post-occupancy data in the Arc platform, such as by linking to ENERGY STAR Portfolio Manager, or manually by entering meter data or by spreadsheets. Note that USGBC has granted the Department of Defense (DOD) a waiver from this requirement, through resolution of the LEED Steering Committee in consideration of DOD’s internal reporting and national security reasons. Information about the DOD waiver is summarized on the Whole Building Design Guide website. [see https://www.wbdg.org/ffc/navy-navfac/sustainable-development-program/usgbc-leed, under Department of Defense Exemption Process: WAIVER: LEED v4.0 WEp and EAp for DATA–SHARING BUILDING LEVEL METERING and as reference for LEED v2009 MPR 6 Department of Defense Exemption Process] Other federal agencies comply with the data sharing commitment requirement. In addition, LEED systems are intended as an on-going performance verification program. The structure created in LEED v4 moves new construction / major rehabilitation projects that certify under ID+C and BD+C rating systems directly towards O+M certification over time. This data-sharing requirement coupled with recertification requirements in LEED v4 EB O+M are designed to create a culture where projects initially certified in either the NC or CI rating system are moved into ongoing performance verification seamlessly.
Note on C5: EISA Section 436 (h)(1)(d): the ability of the standard to be developed and revised through a consensus-based process.
Note on C6: Public Law 110-140, Energy Independence and Security Act (EISA) Section 436 (h)(1)(c): the ability of the applicable standard-setting organization to collect and reflect public comment.
Note on C8: DOE Rule 10 C.F.R. Parts 433, 435, and 436, Green Building Certification Systems for Federal Buildings: "The system under which the building is certified must be subject to periodic evaluation and assessment of the environmental and energy benefits that result under the rating system" (part 433.33(b)(4)).
Note on C10: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C11: EISA Section 436 (h)(2)(b): the ability and availability of assessors and auditors to independently verify the criteria and measurement of metrics.
Note on C12: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C13: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on C14: DOE Rule 10 C.F.R. Parts 433, 435 and 436, "Green Building Certification Systems for Federal Buildings: The system under which the building is certified must include a verification system for post occupancy assessment of the rated buildings to demonstrate continued energy and water savings at least every four years after initial occupancy." (Part 433.300(b)(5)).
Note on D5: GSA defines a consensus based certification system is a voluntary consensus standard as defined by OMB Circular A-119 or one that incorporates the attributes of a voluntary consensus standards body defined in OMB Circular A-119: openness, balance of interest, due process, an appeal process, and consensus. Evidence of a consensus-based system may include: - Publicly accessible draft documents and comment periods, - Publicly accessible certification system clarifications, -Instructions for accessing information on key activities, and - Policy/procedure for ensuring stakeholder input during certification system development
Note on D6: A transparent certification system has a documented approach for the review and consideration of public comments, public comments are collected on a regular basis, and development and updating process of the certification system is documented and publicly available. Evidence of transparency may include: -Evidence that review comments are publicly available; for example, website link, publication of document online, or statement that review document/decision is available upon request - Evidence that public comments are incorporated into the certification system revision process.
Note on D8: A mature certification system is effectively linked to latest tools and standards; the certification system has components to track building performance post-occupancy; the certification system is used as a basis for development of other systems; and/or the certification system is consistently updated. As a best practice, the system is revised or reaffirmed every five years at minimum.
Note on D10: The assessor/auditor is defined and is independent from the organization whose product is being assessed for conformity. Assessors/auditors have no stake in whether a building receives certification.
Note on D11: The conformity assessment body publicly discloses the scoring methodology and levels achieved by products that conform to the standard; and describes how the public can access this information. A documented standard verification method and process should be followed by assessors and auditors
Note on D12: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D13: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on D14: a post occupancy evaluation (POE) evaluates how a building performs six months to two years after occupancy. It provides an overview of how a building functions when in operation.
Note on G3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on L3: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Part 2
Survey Part 2 Review Template
Copy tab as needed if system owner submits multiple surveys for different applicable Building Types/Asset Classes
II-A 2) Type of Building Addressed
Survey Part II |  |  |  | Evaluation
Survey Question(s) Number | Sub- Criteria | GP Compliance Language | Definition | Evaluation Question 1 | Response | If "Issue with Response," or "Partially Met," Please describe | Evaluation Question 2 (if applicable) | Response | Meet GP? | If "Issue with response," or "Partially Met," Please describe | Evaluation Question 3 (if applicable) | Response | If "Issue with response," or "Partially Met," Please describe
Part II - B: Employ Integrated Design Principles
II-B: 3a.1) - 3a.3) | Integrated Design and Management | GP Compliance Language | Definition | Does your system address integrated design and management? | Yes |  | List specific requirements in the system addressing integrated design and management. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C includes a mandatory prerequisite for Integrative Project Planning & Design that applies only to Healthcare projects, and an optional credit for Integrative Process that applies to all projects. LEED v4.1 Prerequisite: Integrative Project Planning & Design (page 11) is for Healthcare projects, and is unchanged from LEED v4. It requires the team to: Use cross-discipline design and decision making, beginning in the programming and pre-design phase. At a minimum, prepare an Owner’s Project Requirements (OPR) document incorporating a health mission statement; develop preliminary rating goals; assemble an integrated project team; and conduct a design charrette. LEED v4.1 Credit: Integrative Process (page 13) is for all projects and has minor changes from LEED v4. The credit requirements are: "Beginning in pre-design and continuing throughout the design phases, identify and use opportunities to achieve synergies across disciplines and building systems." Project teams must conduct a suite of analyses in at least two of the following: energy systems, water systems, site selection, social equity, and health & wellbeing. Implementation requires having an Integrative Process Facilitator and developing an agreed-to and signed project team letter with a clearly defined process and goals for each area. In addition, the Sustainable Sites credit: Tenant Design and Construction Guidelines (page 72) supports integrated design across the owner and tenant. |  | Credit: Integrative Process
II-B: 3b.1) - 3b.3) | Sustainable siting | GP Compliance Language | Definition | Does your system address sustainable siting? | Yes |  | List specific requirements in the system addressing sustainable siting. For each requirement listed, please note whether it is mandatory or optional | Yes: LEED v4.1 BD+C includes the Sustainable Sites (SS) category that rewards decisions about the environment surrounding the building, with credits that emphasize the vital relationships among buildings, ecosystems, and ecosystem services. It focuses on restoring project site elements, integrating the site with local and regional ecosystems, and preserving the biodiversity that natural systems rely on. There are two mandatory prerequisites Construction Activity Pollution Prevention (page 50) and Environmental Site Assessment (page 51). Optional credits available include the following: Site Assessment (page 52); Protect or Restore Habitat (page 55); Open Space (page 59); Rainwater Management (page 61); Heat Island Reduction (page 64); Light Pollution Reduction (page 67); Places of Respite (page 74); and Direct Exterior Access (page 76) |  | Credit: Location + Transportation: Surrounding Density and Diverse Uses Credit: Sustainable Sites - Site Assessment Credit: Location + Transportation: Sensitive Land Protection
II-B: 3c.1) - 3c.3) | Stormwater Management | GP Compliance Language | Definition | Does your system address stormwater management? | Yes |  | List specific requirements in the system addressing stormwater management. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C Sustainable Sites mandatory prerequisite: Construction Activity Pollution Prevention (page 50) addresses stormwater during construction. Sustainable Sites credit: Rainwater Management (page 61) addresses post-construction stormwater management by focusing on a more holistic site water management that relies on green infrastructure and low-impact development strategies to replicate the natural hydrology and water balance of the site (and thus improve quality). This optional credit has major changes from LEED v4. Additional credits that help address stormwater management include the LEED v4.1 Location + Transportation credit: Reduced Parking Footprint (page 28) and Sustainable Sites credit: Site Assessment (page 44) which could help avoid contamination and excess runoff. Also, Sustainable Sites credit: Open Space (page 59) and Sustainable Sites credit: Heat Island Reduction (page 64) could benefit stormwater by encouraging green space, vegetation, and shade . These are all optional credits. |  | Prerequisite: Sustainable Sites - Construction Activity Pollution Prevention Credit: Sustainable Sites - Rainwater Management
II-B: 3d.1) - 3d.3) | Infrastructure utilization and optimization | GP Compliance Language | Definition | Does your system address infrastructure utilization and optimization? | Yes |  | List specific requirements in the system addressing infrastructure utilization and optimization. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C Includes the Location and Transportation (LT) category that rewards thoughtful decisions about building location, with credits that encourage compact development, alternative transportation, and connection with amenities, such as restaurants and parks. The LT category considers the existing features of the surrounding community and how this infrastructure affects occupants’ behavior and environmental performance. Well-located buildings take advantage of existing infrastructure—public transit, street networks, pedestrian paths, bicycle networks, services and amenities, and existing utilities, such as electricity, water, gas, and sewage. By recognizing existing patterns of development and land density, project teams can reduce strain on the environment from the material and ecological costs that accompany the creation of new infrastructure and hardscape. In addition, the compact communities promoted by the LT credits encourage robust and realistic alternatives to private automobile use, such as walking, biking, vehicle shares, and public transit. Location and Transportation optional credits include Sensitive Land Protection (page 18); High Priority Site and Equitable Development (page 20); Surrounding Density and Diverse Uses (page 28); Access to Quality Transit (page 34); Bicycle Facilities (page 39); Reduced Parking Footprint (page 44); Electric Vehicles (page 47). |  | Credit: Location + Transportation: Electric Vehicles Credit: Location + Transportation: Biking Facilities Credit: Location + Transportation: Reduced Parking Footprint Credit: Location + Transportation: Surrounding Density and Diverse Uses
II-B: 3e.1) - 3e.3) | Commissioning | GP Compliance Language | Definition | Does your system address Commissioning? | Yes |  | List specific requirements in the system addressing commissioning. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C includes a mandatory prerequisite for commissioning and an optional credit for enhanced commissioning. LEED v4.1 Energy + Atmosphere prerequisite: Fundamental Commissioning and Verification (page 100) requires the commissioning of mechanical, electrical, plumbing, and renewable energy systems and assemblies, in accordance with ASHRAE Guideline 0-2013 and ASHRAE Guideline 1.1-2007 for HVAC&R Systems, as they relate to energy, water, indoor environmental quality, and durability. There are also some commissioning requirements for exterior enclosures. The prerequisite also requires that an operations and maintenance plan be developed for ongoing operations. This mandatory prerequisite had minor changes from LEED v4. LEED v4.1 Energy + Atmosphere credit: Enhanced Commissioning (page 132) provides points for various levels of additional commissioning activities beyond those required in the prerequisite. For example, one option provides for an expanded set of review and verification functions by the commissioning authority, including a review of building operations 10 months after substantial completion; another option uses monitoring-based commissioning. An additional option is to complete commissioning process (CxP) activities for the building’s thermal envelope in accordance with ASHRAE Guideline 0–2013 and ASTM E2947-16: Standard Guide for Building Enclosure Commissioning, including additional verification steps and a review of building operations 10 months after substantial completion. This voluntary credit had minor changes from LEED v4. Additionally, under the LEED v4.1 Energy + Atmosphere credit: Grid Harmonization (page 145) requires the demand response and/or grid resilience technology be included in the commissioning scope of work. This voluntary credit had minor changes from LEED v4. Commissioning outcomes are referenced in several other credits as well. |  | Prerequisite: Energy + Atmosphere: Fundamental Commissioning and Verification Credit: Energy + Atmosphere: Enhanced Commissioning
Part II - C: Optimize Energy Performance
II-B: 4a1 - 4a.3) | energy efficiency | GP Compliance Language | Definition | Does your system address energy efficiency? | Yes |  | List specific requirements in the system addressing energy efficiency. For each requirement listed, please note whether it is mandatory or optional | Yes: LEED v4.1 BD+C addresses actual energy use reduction primarily through a mandatory prerequisite for minimum energy performance and an optional credit for optimized energy performance. Additional credits in various categories also contribute to reduce the building project’s overall energy use; for example, requirements for water efficiency also help save energy. And, the commissioning and verification process helps optimize system performance and reduce long term maintenance issues and wasted energy by verifying that the design meets the owner’s project requirements and functions as intended. LEED v4.1 Energy + Atmosphere prerequisite: Minimum Energy Performance (page 103) requires projects to achieve a minimum level of energy efficiency for the whole building and its systems. This mandatory prerequisite had major changes from LEED v4. For example, this prerequisite references ASHRAE 90.1-2016, projects must implement all mandatory provisions and comply with one of three options – prescriptive requirements; whole building energy cost budget method; or whole building performance rating method. LEED v4.1 Energy + Atmosphere credit: Optimize Energy Performance (page 135) awards points to projects that achieve further levels of energy efficiency for the whole building and its systems. This voluntary credit had major changes from LEED v4. For example, the credit references ASHRAE 90.1-2016 as the baseline. There are three main pathways, all of which address deep energy efficiency. Under Option 1, points are calculated based on the whole building percent improvement (performance cost index) below the target, using two metrics: cost and GHG emissions. Alternately, under Option 2, projects may comply with the appropriate 50% Advanced Energy Design Guide, in addition to meeting the ASHRAE 90.1-2016 prescriptive compliance path. Lastly, Option 3 awards points for achieving specific systems-based energy efficiency levels. |  | Prerequisite: Energy + Atmosphere: Minimum Energy Performance Credit: Energy + Atmosphere: Optimize Energy Performance
II-C: 4b.1) - 4b.3) | energy metering | GP Compliance Language | Definition | Does your system address energy metering? | Yes |  | List specific requirements in the system addressing energy metering. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C requires meters for building level electricity, natural gas, and steam meters as well as tracking data, through a mandatory requisite, and also rewards advanced metering with an optional credit. LEED v4.1 Energy + Atmosphere prerequisite: Building-Level Energy Metering (page 129) requires that building-level energy meters are installed (electricity, natural gas, chilled water, steam, fuel oil, propane, biomass, etc.); projects may use sub-meters that have the ability to aggregate data for whole building reporting. Projects are required to commit to five years of reporting energy data to USGBC for data aggregation and analysis, unless a special exception is provided for security reasons (as has been provided for the Department of Defense). USGBC also accepts data from approved sources. USGBC works to reduce disparities between predictive and actual performance by analyzing data and sharing results. This mandatory prerequisite is unchanged from LEED v4. LEED v4.1 Energy + Atmosphere credit: Advanced Energy Metering (page 143) provides points to a project that also installs meters to energy end uses that represent 10% or more of the total building energy consumption. The advanced metering must meet specific characteristics including a data collection system that uses a local area network, building automation system, wireless network, or comparable communication infrastructure. This optional credit is unchanged from LEED v4. |  | Prerequisite: Energy + Atmosphere: Building-Level Energy Metering Prerequisite: Energy + Atmosphere: Advanced Energy Metering
II-C: 4c.1) - 4c.3) | renewable energy | GP Compliance Language | Definition | Does your system address renewable energy? | Yes |  | List specific requirements in the system addressing renewable energy. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses renewable energy directly through an optional credit with points to projects that produce renewable energy on-site and certain off-site renewable energy systems meeting conditions such as retention of environmental attribute credits (also referred to as RECs). The LEED v4.1 Energy + Atmosphere prerequisite and credit on commissioning also address renewable energy systems by including them in scope to support well-functioning RE systems. Other LEED v4.1 credits indirectly reward renewable energy, notably the Energy + Atmosphere credit: Optimize Energy Performance , which includes a GHG metric in conjunction with an energy efficiency metric; and some of the Materials + Resources credits involve reducing product lifecycle impact, which can encourage renewable energy through the supply chain. LEED v4.1 Energy + Atmosphere credit: Renewable Energy (page 151) awards points to projects that include new on-site renewable energy generation and/or qualified off-site renewable energy; points are awarded based on the portion of total site energy use provided, from 2 to 100 percent, and according to tiers whereby new on-site generation is most heavily rewarded. All environmental attributes (RECs) must be retained and retired. Off-site renewable energy must be Green-E certified ore equivalent or captured bio-methane. This optional credit has major changes from LEED v4. Notably, the new v4.1 credit combines two LEED v4 credits, Renewable Energy Production and Green Power and Carbon Offsets, into a single 5-point credit that recognizes on-site and off-site renewable energy procurement. |  | Credit: Energy + Atmosphere: Renewable Energy
II-C: 4d.1) - 4d.3) | benchmarking | GP Compliance Language | Definition | Does your system address benchmarking? | Yes |  | List specific requirements in the system addressing benchmarking. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses benchmarking first by requiring whole building metering; and second by requiring projects to document post-occupancy energy use. LEED v4.1 Energy + Atmosphere prerequisite: Building-Level Energy Metering (page 129) requires the installation of building level meters or sub-meters that have the ability to aggregate data for whole building reporting. This mandatory prerequisite sets the stage for benchmarking and requires the project to commit to share post-occupancy data, on a monthly interval, with USGBC for five years (some exceptions may be authorized for security reasons). Finally, LEED BD+C projects are encouraged to conduct benchmarking and are set up in USGBC’s free performance platform, Arc, should a project team wish to use the system. |  | To meet the Guiding Principles, agencies need to benchmark building performance each year, preferably in Energy Star Portfolio Manager. LEED v4.1 BD+C encourages metering energy use and monitoring on a monthly basis. It also requires the building to "commit" to sharing energy use data with GBCI for 5 years via their ARC platform. However, to fully meet the intent of the guiding principle, agencies would need to regularly monitor energy use and compare energy use to other peer buildings as well as historical energy use preferably in Energy Star Portfolio Manager, which is not mentioned in LEED v4.1.
Part II - D Protect and Conserve Water
II-D: 5a.1) - 5a.3) | Indoor water use | GP Compliance Language | Definition | Does your system address indoor water use? | Yes |  | List specific requirements in the system addressing indoor water use. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses indoor water user through a prerequisite and a credit that target indoor water efficiency and reductions in use. Additional credits, including those described later in this section such as the Optimize Process Water use credit, also help reduce total indoor water use. LEED v4.1 Water Efficiency prerequisite: Indoor Water Use Reduction (page 80) targets fixture efficiency and requires projects to report water data to USGBC. The prerequisite includes prescriptive requirements for fixtures and appliances, which also must be WaterSense labeled if the item is eligible. The prerequisite also requires projects meet standards for select process water uses. Example measures include: no once-through cooling water, makeup water meters, conductivity controllers, overflow alarms, and drift eliminators. This mandatory prerequisite has minor changes from LEED v4. LEED v4.1 Water Efficiency credit: Indoor Water Use Reduction (page 87) rewards projects that reduce water use beyond the baseline level of the prerequisite, starting with 25 percent reduction. Alternative water sources can also be used to achieve additional (beyond-prerequisite) water savings in this credit. This optional credit has minor changes from LEED v4. Note that several pilot credits and pilot alternative compliance pathways also support indoor water use reduction. For example, the ACP, Whole Project Water Use Reduction, uses a whole project water budget approach, quantifying water use with whole building water balance modeling; while the Integrated Project Water Reuse Strategy pilot credit incentivizes an integrated design process for building water reuse systems. More information on these two optional pilot credits can be found at [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-16] and [https://www.usgbc.org/credits/WEpc157-v41]. |  | Prequisite: Water Efficiency- Indoor Water Use Reduction Credit: Water Efficiency - Indoor Water Use Reduction
II-D: 5b.1) - 5b.3) | Water metering |  |  | Does your system address water metering? | Yes |  | List specific requirements in the system addressing water metering. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses water metering with a mandatory perquisite and an optional credit. LEED v4.1 Water Efficiency prerequisite: Building-Level Water Metering (page 84), requires metering of total water for a building and associated grounds. Projects are required to share water data with the USGBC over a 5-year period. LEED v4.1 Water Efficiency credit: Water Metering (page 98) awards points for the installation of permanent water meters for two or more of the following water subsystems as they apply to the project: irrigation, indoor plumbing fixtures and fittings, domestic hot water, boilers with aggregate projected annual water use of 100,000 gallons or more, reclaimed water or other process water. Healthcare projects must install water meters in additional systems. One other LEED v4.1 prerequisites require water meters, for example, the Water Efficiency prerequisite: Indoor Water Use Reduction requires cooling towers and evaporative condensors to be equipped with makeup water meters (page 79). |  | Prerequisite: Water Efficiency - BUilding - Level water Metering Credit: Water Efficiency - Water Metering
II-D: 5c.1) - 5c.3) | Outdoor water use | GP Compliance Language | Definition | Does your system address outdoor water use? | Yes |  | List specific requirements in the system addressing outdoor water use. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C credits address actual outdoor water use reduction primarily with a prerequisite and a credit that encourage incorporating native landscapes that eliminate the need for irrigation, and where irrigation is used, to require efficient systems and encourage further efficiency. Several additional Sustainable Sites optional credits reinforce the use of native vegetation which aligns with reduced outdoor water use. LEED v4.1 Water Efficiency prerequisite: Outdoor Water Use Reduction (page 85): requires projects reduce outdoor water use through either incorporating native landscapes eliminating the need for irrigation completely (beyond a maximum two year establishment period), or reducing the project’s landscape water requirement by at least 30% from the calculated baseline for the site’s peak watering month. Reductions must be achieved through plant species selection and irrigation system efficiency as calculated by the EPA WaterSense Budget Tool. This mandatory prerequisite had no changes from LEED v4. LEED v4.1 Water Efficiency credit: Outdoor Water Use Reduction (page 85) rewards projects that either incorporate native landscapes eliminating the need for irrigation completely (beyond a maximum two year establishment period) or reduce the project’s landscape water requirement by at least 50% from the calculated baseline for the site’s peak watering month. This optional credit had minor changes from LEED v4. Note that several pilot credits and pilot alternative compliance pathways also support indoor water use reduction. For example, the ACP, Whole Project Water Use Reduction, features a whole project water budget approach. |  | Prerequisite: Water Efficiency - Outdoor Water use Reduction Credit: Water Efficiency - Outdoor Water Use Reduction
II-D: 5D.1) - 5D.3) | Alternative water |  |  | Does your system address alternative water? | Yes |  | List specific requirements in the system addressing alternative water use. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C address alternative sources of water in several prerequisites and credits. After first reducing water consumption through fixture, fittings, and process water practices, projects can be rewarded for additional potable water savings using alternative water sources. LEED v4.1 Water Efficiency credit: Indoor Water Use Reduction (page 85) rewards projects for achieving at least 25% reduction over baseline. Additional potable water savings beyond the prerequisite level can be earned using alternative water sources. This voluntary credit has minor changes from LEED v4. LEED v4.1 Water Efficiency credit: Outdoor Water Use Reduction (page 87), as described above, rewards projects for reducing their outdoor water use by 50%, whereby savings beyond 30% can be achieved by a combination of efficiency, alternative water sources and smart scheduling technologies. This voluntary credit has minor changes from LEED v4. Pilot credits also encourage alternative sources of water. For example, the Integrated Water Reuse Strategy (view at https://www.usgbc.org/credits/WEpc157-v41) and the Water Restoration Certificates (view at https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-33) each encourage alternative water sources. |  | Credit: Water Efficiency - Indoor Water Use Reduction Credit: Water Efficiency - Outdoor Water use Reduction
Part II - E: Enhance the Indoor Environment
II-E: 6a.1) - 6a.3) | ventilation and thermal comfort | GP Compliance Language | Definition | Does your system address ventilation and thermal comfort? | Yes |  | List specific requirements in the system addressing ventilation and thermal comfort. For each requirement listed, please note whether it is mandatory or optional. | Yes: Four LEED v4.1 BD+C prerequisites/credits address ventilation and thermal control. LEED v4.1 addresses ventilation with a prerequisite and a credit for indoor air quality. The Environmental Quality prerequisite: Minimum Indoor Air Quality Performance (page 218) requires meeting requirements for both ventilation and monitoring. This mandatory prerequisite has major changes from LEED v4. LEED v4.1 BD+C Environmental Quality credit: Enhanced Indoor Air Quality Strategies (page 228) promotes occupants comfort, wellbeing and productivity by improving indoor air quality with several options including ventilation. This optional credit has minor changes from LEED v4. LEED v4.1 BD+C Environmental Quality credit: Thermal Comfort (page 250) requires meeting requirements for both thermal comfort design and thermal comfort control. This optional credit has minor changes from LEED v4. This credit also has a pilot alternative compliance path available, Learning Controls for Thermal Comfort (view at https://www.usgbc.org/credits/new-construction-schools-new-construction-retail-new-construction-healthcare-data-centers-2 ) LEED v4.1 BD+C Environmental Quality credit: Indoor Air Quality Assessment (page 246) addresses ventilation as one of the pathways to ensure quality air in newly occupied buildings. Note: ventilation is also addressed in LEED v4.1 BD+C prerequisite: Environmental Tobacco Smoke Control (page 223) which has provisions to protect ventilation and air distribution systems from exposure to smoking outside the building. Finally, USGBC created a suite of pilot credits to support occupant wellness and health in light of particular risks and concerns posed by the COVID-19 pandemic. These pilot credits, which bear the label Safety First, are found here [https://www.usgbc.org/about/building-re-entry-resources] as well as in the pilot credit library. One of the Safety First pilot credits is available to LEED v4.1 BD+C projects and address ventilation -- Safety First: Design for Indoor Air Quality and Infection Control [https://www.usgbc.org/credits/safety-first-155-v4.1] Additional Safety First pilot credits could be used to inform building facilities operations and maintenance plans including ventilation, for example, Safety First: Managing Indoor Air Quality during COVID-19 [https://www.usgbc.org/credits/safety-first-138-v4.1] and Safety First: Maintenance of HVAC systems during COVID-19 [https://www.usgbc.org/credits/safety-first-156-v4.1]. These are optional credits. Another pilot credit that addresses ventilation is the pilot credit: Performance-based indoor air quality design and assessment which incorporates requirements of ASHRAE standard 62.1-2010. [View at https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-18 ] |  | Prerequisite: Environmental Quality - Minimum Indoor Air Quality Performance Credit: Environmental Quality - Thermal Comfort
II-E: 6b.1) - 6b.3) | daylighting and lighting controls | GP Compliance Language | Definition | Does your system address daylighting and lighting controls? | Yes |  | List specific requirements in the system addressing daylighting and lighting controls. For each requirement listed, please note whether it is mandatory or optional. | Yes: Two LEED v4.1 BD+C credits directly address daylighting and lighting controls. Environmental Quality credit: Daylight (page 258) addresses daylighting directly. This optional credit has minor changes from LEED v4. Environmental Quality credit: Interior Lighting (page 254) addresses lighting controls in supporting high quality interior lighting. This optional credit has no changes from LEED v4. Several pilot credits are available to projects that also address daylighting and lighting controls, such as Daylight in Nonregulalry Occupied Spaces view at [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-42] |  | Credit: Environmental Quality - Daylight Credit: Environmental Quality - Interior Lighting
II-E: 6c.1) - 6c.3) | low-emitting materials and products | GP Compliance Language | Definition | Does your system address low-emitting materials and products? | Yes |  | List specific requirements in the system addressing low-emitting materials and products. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C primarily addresses low – emitting materials through the Environmental Quality credit: Low-Emitting Materials (page 233).): Compliance with this credit includes requirements for VOC emissions into indoor air and the VOC content of materials. This optional credit had major changes from LEED v4. |  | Credit: Environmental Quality - Low-Emitting Materials
II-E: 6d.1) - 6d.3) | radon mitigation | GP Compliance Language | Definition | Does your system address radon mitigation? | Yes |  | List specific requirements in the system addressing radon mitigation? For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses radon mitigation in projects with residential units. If the project building contains residential units, each dwelling unit must meet the requirements of LEED v4.1 Multifamily EQ Prerequisite: Minimum Indoor Air Quality Performance, EQ Prerequisite Combustion venting and EQ Prerequisite Radon-resistant construction. This requirement is in the Environmental Quality prerequisite: Minimum Indoor Air Quality Performance (see page 218). |  | Addressed in residential units but not in commercial offices.
II-E: 6e.1) - 6e.3) | moisture and mold control | GP Compliance Language | Definition | Does your system address moisture and mold control? | Yes |  | List specific requirements in the system addressing moisture and mold control. For each requirement listed, please note whether it is mandatory or optional. | Yes: Several LEED v4.1 BD+C credits address moisture control. Energy and Atmosphere credit: Enhanced Commissioning (page 132), addresses elements of moisture control through envelope commissioning which helps project teams catch and correct moisture control issues associated with the building envelope. Environmental Quality credit: Construction Indoor Air Quality Management Plan (page 243) requires meeting standards such as the protection of absorptive materials stored on-site and installed from moisture damage. Environmental Quality credit: Thermal Comfort (page 250) also addresses moisture including requirements for controllability of systems to enhance occupant comfort and well-being. Each of these optional credits had minor changes from LEED v4. |  | Credit: Energy + Atmosphere - Enhanced Commissioning
II-E: 6f.1) - 6f.3) | IAQ during construction and operations |  |  | Does your system address IAQ during construction and operations? | Yes |  | List specific requirements in the system addressing IAQ during construction and operations. For each requirement listed, please note whether it is mandatory or optional. | LEED v4.1 BD+C addresses indoor air quality during construction primarily through the Environmental Quality credit: Construction Indoor Air Quality Management Plan (page 243). This is an optional credit that had minor changes from LEED v4. LEED v4.1 BD+C addresses indoor air quality during operations through a prerequisite and several credits. LEED v4.1 BD+C Environmental Quality prerequisite: Minimum Indoor Air Quality Performance (page 218) requires meeting standards and monitoring. This mandatory prerequisite has major changes from LEED v4. LEED v4.1 BD+C Environmental Quality credit: Enhanced Indoor Air Quality Strategies (page 228) promotes occupants comfort, wellbeing and productivity by improving indoor air quality. This optional credit has minor changes from LEED v4. LEED v4.1 BD+C Environmental Quality credit: Indoor Air Quality Assessment (page 246) addresses further strategies and monitoring to ensure quality air in newly occupied buildings. This optional credit has major changes from LEED v4. USGBC has created a suite of pilot credits to support occupant wellness and health in light of particular risks and concerns posed by the COVID-19 pandemic. These pilot credits, which bear the label Safety First, are found here [https://www.usgbc.org/about/building-re-entry-resources] as well as in the pilot credit library. One of the Safety First pilot credits is available to LEED v4.1 BD+C projects and address IAQ -- Safety First: Design for Indoor Air Quality and Infection Control [https://www.usgbc.org/credits/safety-first-155-v4.1] Additional Safety First pilot credits could be used to inform building facilities operations and maintenance plans including ventilation, for example, Safety First: Managing Indoor Air Quality during COVID-19 [https://www.usgbc.org/credits/safety-first-138-v4.1] and Safety First: Maintenance of HVAC systems during COVID-19 [https://www.usgbc.org/credits/safety-first-156-v4.1]. These are optional credits. Another pilot credit that addresses indoor air quality during operations is the pilot credit: Performance-based indoor air quality design and assessment which incorporates requirements of ASHRAE standard 62.1-2010. View at [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-18 ] |  | Credit: Environmental Quality: Construction Indoor Air Quality Management Plan
II-E: 6g.1) - 6g.3) | environmental smoking control | GP Compliance Language | Definition | Does your system address environmental smoking control? | Yes |  | List specific requirements in the system addressing environmental smoking control. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C prerequisite: Environmental Tobacco Smoke Control (page 223) protects health by requiring prohibition of smoking inside as well as within defined areas where it could enter the building or impact people entering and exiting. This mandatory prerequisite had minor changes from LEED v4. |  | Prerequisite: Environmental Quality - Environmental Tobacco Smoke Control
II-E: 6h.1) - 6h.3) | integrated pest management | GP Compliance Language | Definition | Does your system address integrated pest management? | Yes |  | List specific requirements in the system addressing integrated pest management. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C has an optional innovation credit that addresses integrated pest management the Innovation: LEED O+M Starter Kit. The revised LEED O+M Starter Kit is a collection of LEED O+M credits that BD+C projects can use in the Innovation in Design credit category. Prerequisites and credits in the O+M rating system are divided between Establishment and Performance requirements. Establishment requirements are physical assets and policies that can be documented and approved once, and do not generally change substantially over time. Performance requirements involve cyclical actions or ongoing tracking during the Performance Period. Many of the Establishment requirements are included in the BD+C rating systems. The LEED O+M Starter Kit includes credits and prerequisites with Establishment policy requirements that are not included within the BD+C rating systems, as follows: SSp Site Management Policy; MRp Ongoing Purchasing and Waste Policy; MRp Facility Maintenance and Renovations Policy; EQp Green Cleaning Policy; EQc Integrated Pest Management [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-data-31?return=/credits/New%20Construction/v4.1] |  | LEED O+M Starter Kit
II-E: 6i.1) - 6i.3) | occupant health and wellness | GP Compliance Language |  | Does your system address occupant health and wellness? | Yes |  | List specific requirements in the system addressing occupant health and wellness. For each requirement listed, please note whether it is mandatory or optional. | Yes: Multiple prerequisites and credits in LEED v4.1 BD+C have a beneficial impact on occupant health and wellness. Those most directly connected with occupant health and wellness are all of those in the Indoor Environmental Quality (EQ) category: Prerequisite: Minimum Indoor Air Quality (page 218), Prerequisite: Environmental Tobacco Smoke (page 223); Prerequisite: Minimum Acoustic Performance (page 226); Credit: Enhanced Indoor Air Quality Strategies (page 228); Credit: Low-Emitting Materials (page 233); Credit: Construction Indoor Air Quality Management Plan (page 243); Credit: Indoor Air Quality Assessment (page 246); Credit: Thermal Comfort (page 250); Credit: Interior Lighting (page 254); Credit: Daylight (page 258); Credit: Quality Views (page 262) and Credit: Acoustic Performance (page 265). The connection and intent for health and wellness is generally explained in the credit language. For additional context, see the Research Anthology of Health-Promoting Building Strategies. [view at https://www.usgbc.org/resources/research-anthology-health-promoting-building-strategies ] Other LEED v4.1 BD+C optional credits address occupant health and wellness through design and location that promote physical exercise and healthy, productive work spaces. Materials and Resources credits include points for inventories that may lead to improved human health outcomes. Location and Transportation credits for Surrounding Density and Diverse Use (page 28) and Bicycle Facilities (page 39) can facilitate daily physical activity. Sustainable Sites credits such as Open Space (page 59) provide options for reconnecting with nature and biophilia. The Safety First pilot credits also seek to address occupant health and wellness. [View https://www.usgbc.org/about/building-re-entry-resources ] One of the Safety First pilot credits is available to LEED v4.1 BD+C projects -- Safety First: Design for Indoor Air Quality and Infection Control [https://www.usgbc.org/credits/safety-first-155-v4.1] Additional Safety First pilot credits could be used to inform building facilities operations and maintenance plans for an occupant health outcome, for example, Safety First: Managing Indoor Air Quality during COVID-19 [https://www.usgbc.org/credits/safety-first-138-v4.1] and Safety First: Maintenance of HVAC systems during COVID-19 [https://www.usgbc.org/credits/safety-first-156-v4.1]. These are optional credits. Several additional pilot credits also support health and wellness. For example the pilot credit: Integrative Process for Health Promotion supports health outcomes through an early analysis to facilitate consideration of the project design on the health and well-being of its occupants and local community. |  | Credit: Location + Transportation - Surrounding Density and Diverse Use Credit: Location + Transportation - Bicycle Facilities Credit: Sustainable Sites - Open Space Credit: Environmental Quality - Daylight Credit: Environmental Quality - Views
Part II - F: Reduce the Environmental Impact of Materials
II-F: 7a.1) - 7a.3) | materials with recycled content | GP Compliance Language | Definition | Does your system address materials with recycled content? | Yes |  | List specific requirements in the system addressing materials with recycled content. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses recycled content with the Materials and Resources credit: Sourcing of Raw Materials (page 186). This credit has options for various environmentally preferable attributes, of which one is recycled content. This voluntary credit has major changes from LEED v4. |  | To meet the Guiding Principles, agencies must purchase products that meet or exceed EPA's recycled content recommendations. LEED v4.1 combines several environmentally preferable attributes into a single credit for sourcing of raw material, including recycled content, but it cannot be assured that it will meet the Guiding Principles requirement that products meet EPA's comprehensive procurement guidelines program, which provides recycled content recommendations.
II-F: 7b.1) - 7b.3) | materials with biobased content | GP Compliance Language | Definition | Does your system address materials with biobased content? | Yes |  | List specific requirements in the system addressing materials with biobased content. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses biobased content with the Materials and Resources credit: Sourcing of Raw Materials (page 186). This credit has options for various environmentally preferable attributes, of which one is biobased content. This voluntary credit has major changes from LEED v4. |  | While there are credits agencies can choose from to minimize harmful materials, there is no mention of the USDA Biopreferred program or products. In order to meet the guiding principles, agencies would need to ensure these products are used.
II-F: 7c.1) - 7c.3) | environmentally preferable products | GP Compliance Language | Definition | Does your system address environmentally preferable products? | Yes |  | List specific requirements in the system addressing environmentally preferable products. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses environmentally preferable products through several credits. Materials and Resources credit: Sourcing of Raw Materials (page 186) has options for various environmentally preferable attributes. This voluntary credit has major changes from LEED v4. Materials and Resources credit: Environmental Product Declarations (page 177) also rewards projects for using products and materials with environmentally, economically, and socially preferable life-cycle impacts. This voluntary credit has major changes from LEED v4. Materials and Resources credit: Material Ingredients (page 190) also rewards projects for using products and materials verified to have improved life-cycle impacts. This voluntary credit has major changes from LEED v4. |  | Credit: Materials + Resources - Environmental Product Declarations
II-F: 7d.1) - 7d.3) | ozone depleting substances | GP Compliance Language | Definition | Does your system address ozone depleting substances? | Yes |  | List specific requirements in the system addressing ozone depleting substances. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses ozone depleting substances directly through a prerequisite and a credit. Environment and Atmosphere prerequisite: Fundamental Refrigerant Management (page 131) requires avoiding the use of CRC-based refrigerants or meeting specific conditions for reducing leakage and phase out. This is a mandatory prerequisite and had no changes from LEED v4. Environment and Atmosphere credit: Enhanced Refrigerant Management (page 161) rewards projects which have no refrigerants or low-impact refrigerants; or that comply with a maximum impact formula. This optional credit had no changes from LEED v4. In addition, two Materials and Resources optional credits incorporate criteria related to ozone. Materials and Resources credit: Building Life-Cycle Impact Reduction (page 168) rewards reduced environmental impacts over the building life cycle; one of the criteria which may be used is reducing depletion of the ozone layer. Materials and Resources credit: Environmental Product Declarations (page 177) recognizes products with verified improved environmental life-cycle impacts such as reducing depletion of the ozone layer. |  | Prerequisite: Environmental + Atmosphere - Fundamental Refrigerant Management Credit: Environment + Atmosphere - Enhanced Refrigerant Management
II-F: 7e.1) - 7e.3) | hazardous waste | GP Compliance Language | Definition | Does your system address hazardous waste? | Yes |  | List specific requirements in the system addressing hazardous waste. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C supports proper management of hazardous waste during construction through excluding it from certain calculations in the Materials and Resources: Construction and Demolition Waste Management (page 211). In addition, the system helps reduce the creation of hazardous waste through attention to materials and products with environmentally preferable characteristics. |  | Hazardous waste is only addressed in LEED v4.1 in the Materials and Resources credit for Construction and Demolition Waste Management credit by requiring projects to not include hazardous waste materials in their diversion rate and waste calculations. In order to meet the Guiding Principle, agencies would need to verify that a program or procedures are in place to ensure compliance with all relevant hazardous waste construction or operational activities that are covered by the Resource Conservation and Recovery Act (RCRA) subtitle C and subtitle I and the Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA), per 42 U.S.C. § 9601 et seq. and its implementing regulations at 40 CFR Parts 239-282. This criterion is achieved if it can be demonstrated that the building has a program and procedure in place to manage hazardous waste or does not generate, store, treat, or dispose of hazardous waste. (40 CFR §§ 260.10 and 261.3)
II-F: 7f.1) - 7f.3) | solid waste management | GP Compliance Language | Definition | Does your system address solid waste management? | Yes |  | List specific requirements in the system addressing solid waste management. For each requirement listed, please note whether it is mandatory or optional. | Yes: Several LEED v4.1 BD+C credits address solid waste management. First, Materials and Resources prerequisite: Storage and Collection of Recyclables (page 165) is a mandatory prerequisite for LEED certification, requires dedicated areas for and the collection of recyclables during operations. This prerequisite had no changes from LEED v4. Several LEED v4.1 BD+C credits addresses construction waste management. Materials and Resources credit: Construction and Demolition Waste Management (page 111) requires projects to reuse, recover, and recycle nonhazardous construction and demolition materials. This optional credit has major changes from LEED v4. Materials and Resources credit: Building Life-Cycle Impact Reduction (page 211) requires project teams to reduce environmental effects by reusing existing building resources which inherently reduces waste. This optional credit has major changes from LEED v4. Pilot credits can also support solid waste management such as the pilot credit: Verified Construction & Demolition Recycling Rates |  | Prerequisite: Materials + Resources: Storage and Collection of Recylcables Credit: Materials + Resources - Construction and Demolition Waste Management
Part II - G Assess and Consider Building Resilience
II-G: 8a.1 - 8a.3 | Risk assessment | GP Compliance Language |  | Does your system address risk assessment? | Yes |  | List specific requirements in the system addressing risk assessment. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C projects can address assessment of building risks such as from natural disasters or extreme weather through several credits and pilot credits. The Location and Transportation credit: Sensitive Land Protection (page 18) includes identifying sensitive land such as floodplains. This is an optional credit with minor changes from LEED v4. The Sustainable Sites credit: Site Assessment (page 52) also involves assessing site conditions to inform site design, and could help understand site risks and opportunities to improve resilience. Also, resilient design pilot credits, adapted from the RELi rating system, guide a team through risk assessment and resiliency improvements. See [https://www.usgbc.org/resources/leed-resilient-design-pilot-credits-brief] and links below under resilience. In addition, USGBC offers extensive resources for project teams to utilize to develop risk assessments and understand the potential impact of future conditions. See [https://www.usgbc.org/resources/usgbc-case-studies-resilience and https://www.usgbc.org/about/programs/center-for-resilience] Notably, LEED projects have access to the Arc platform, which offers embedded risk assessment tools, including a fee-based physical risk report from RiskFootprint. See [https://arcskoru.com/arc-provides-new-tools-understand-and-manage-transition-and-physical-risk] |  | Credit: Location + Transportation - Sensitive Land Protection Credit: Sustainable Sites - Site Assessment
II-G: 8b.1 - 8b.3 | Building resilience and adaptation | GP Compliance Language |  | Does your system address building resilience and adaptation | Yes |  | List specific requirements in the system addressing building resilience and adaptation. For each requirement listed, please note whether it is mandatory or optional. | Yes: LEED v4.1 BD+C addresses building resilience and adaptation in several ways. First, by requiring and incentivizing greater energy and water efficiency, buildings will be inherently more resilient such as by needing less external energy and water to function. Relevant mandatory prerequisites are Energy and Atmosphere prerequisite: Minimum Energy Performance (page 103) and Water Efficiency prerequisite: Indoor Water Use Reduction (page 80) as well as other EA and WE credits. Second, the LEED v4.1 BD+C EA Credit: Grid Harmonization (page 145) specifically addresses resilience and adaptation with approaches whereby the building works with the grid through demand response, load flexibility and management, and/or grid resilience strategies such as islanding. These approaches help the building reduce its contribution to grid stress as well as potentially support resilience, depending on the options used. Third, the encouragement of alternative water may lead to more resilient sources of water being available for sanitation and/or consumption in a power outage or emergency. The Safety First pilot credits related to designing the building for operations in light of COVID-19 can also contribute to resilience. See descriptions and links under “occupant health and wellness”. Additionally, LEED has several resilient design pilot credits to guide resiliency improvements. See [https://www.usgbc.org/resources/leed-resilient-design-pilot-credits-brief]. These include Assessment and Planning for Resilience view at [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-26] and Design for Enhanced Resilience view at [https://www.usgbc.org/credits/new-construction-core-and-shell-schools-new-construction-retail-new-construction-27] USGBC offers extensive resources for project teams to utilize to develop risk assessments and understand the potential impact of future conditions. See the following links: [https://www.usgbc.org/resources/profiles-resilience-leed-practice] [https://www.usgbc.org/resources/usgbc-case-studies-resilience] [https://www.usgbc.org/about/programs/center-for-resilience] |  | Credit: Energy + Atmosphere - Grid Harmonization Credit: Water Efficiency - Alternative Water Pilot Credit: Assessment and Planning for Resilience Pilot Credit: Design for Enhanced Resilience
Note on C7: Establish sustainability goals as part of the project to meet the Guiding Principles and incorporate those goals into the design document and process, such as the Owner’s Project Requirements (OPR), Basis of Design (BOD), Conceptual Design Report (CDR), or relevant design documents.
Note on C8: Follow all relevant requirements of 41 CFR § 102-76.20 of the Federal Management Regulation to make a positive contribution to the surrounding landscape, and comply with the National Environmental Policy Act of 1969, as amended, 42 U.S.C. 4321 et seq., and the National Historic Preservation Act of 1966, as amended, 54 U.S.C. Subtitle III, Division A.
Note on C9: [Option 1] For new construction or modernization projects disturbing a surface area of 5,000 or more square feet, use planning, design, construction, and maintenance strategies to maintain or restore the predevelopment hydrology of the property in terms of temperature, rate, volume, and duration of flow, in accordance with statutory requirements (42 U.S.C. § 17094). Low impact development (LID) infrastructure solutions can be utilized to help achieve this criteria. [Option 2] For new construction or modernization projects disturbing a surface area fewer than 5,000 square feet, use site planning, design, construction, and maintenance strategies such as low impact development (LID) to manage on-site stormwater and to maintain or restore hydrologic conditions after development, to the maximum extent that is technically practicable. 3 Conform to 2018 IgCC Section 501.3.4 (5.3.4) Stormwater Management.
Note on C10: Evaluate and prioritize transportation strategies and associated infrastructure improvements that promote and support alternative transportation, including walking, cycling, alternative fuel and electric vehicles, and public transit over the life of the building, as feasible and consistent with the mission of the facility.
Note on C12: Employ commissioning, as defined per Section 432 of the Energy Independence and Security Act of 2007 ((42 U.S.C. 8253(f)(1)(A)), and tailored to the size and complexity of the building
Note on C14: Ensure compliance with Federal energy efficiency performance requirements for new construction in accordance with § 109 of the Energy Policy Act of 2005 (42 U.S.C. § 6834(a)(3)(A)) and DOE’s regulations as established under 10 CFR parts 433, subpart A, and 10 CFR parts 435, subpart A. Ensure installation of ENERGY STAR and FEMP-designated products in all procurements involving energy-consuming products and services, in accordance with 42 U.S.C § 8259b and 10 CFR § 436.40– 436.43.
Note on C15: Install building-level meters for electricity and advanced meters to the maximum extent practicable, as required by EPAct 2005 § 103 (42 U.S.C. § 8253(e)). Install standard or advanced meters for natural gas and steam to the maximum extent practical, in accordance with the DOE’s Federal Building Metering Guidance and EISA 2007 § 434 (42 U.S.C. § 8253(e)(1)).
Note on C16: Evaluate applicable renewable electric energy strategies related to the project or building that could support, as needed, agency progress toward renewable energy goals where cost-effective, per 42 U.S.C. § 15852(a).
Note on C17: Benchmark building performance at least annually, preferably using ENERGY STAR Portfolio Manager, and regularly monitor building energy performance against historic performance data and peer buildings, in accordance with criteria established by DOE’s Federal Building Energy Use Benchmarking Guidance per 42 U.S.C. § 8253(f)(8).
Note on C19: For new construction where water is used to achieve energy efficiency, water conservation measures must be applied to the extent that they are life cycle cost-effective in accordance with 10 CFR Parts 433 and 435. In addition to the use of water conservation technologies otherwise required by 42 U.S.C. § 6834, water conservation technologies are to be applied to the extent that the technologies are life cycle cost-effective for new construction and modernization projects, in accordance with 42 U.S.C. § 6834(a)(3)(D)(vii). Eliminate the use of single-pass (also called "once-through") cooling equipment using potable water and optimize cooling tower operations to minimize makeup water. Agencies should refer to EPA's WaterSense, GSA’s SFTool: Water, and DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources for additional details on available water conservation technologies and best management practices
Note on C21: Evaluate and implement, as applicable, water efficient landscaping best practices that incorporate native, non-invasive, drought tolerant, and low maintenance plant species. Utilize and follow, as appropriate, landscaping best practices provided by GSA’s SFTool - Water resources, DOE-FEMP’s Water Efficiency in Federal Buildings and Campuses resources, EPA’s WaterSense - Outdoors resources, or an agency-approved tool
Note on C25: Design and construct the building to meet and maintain all required illumination levels, in accordance with 41 CFR § 102-74.180 of the Federal Management Regulation, and maximize the use of automatic dimming controls or accessible manual controls in regularly occupied spaces
Note on C31: In accordance with 41 CFR § 102-74.35 of the Federal Management Regulation, ensure effective and environmentally sensitive integrated pest management (IPM) services including the planning, development, operations, and maintenance for pest control, removal, and prevention in both indoor and outdoor spaces. Ensure that pest management contracts are effectively coordinated with the activities of other building service programs that have a bearing on pest activity, such as food service, landscaping, child care, waste management, and repairs and operations.
Note on C34: "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on C37: "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C39: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C41: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C42: "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on D7: Ventilation is the process of "changing" or replacing air in any space to remove airborne contaminants such as moisture, odors, emissions from building products and materials (e.g. VOCs and formaldehyde), combustion byproducts, dust, airborne bacteria, and carbon dioxide; and to replenish oxygen. Thermal conditions, which include air temperature, relative humidity, and velocity, greatly impact overall occupant comfort and associated productivity. ASHRAE Standard 55 – Thermal Environmental Conditions for Human Occupancy should be met and maintained at a minimum to achieve adequate indoor environmental quality.
Note on D8: Daylighting uses natural daylight as a substitute for electrical lighting. Daylight controls measure the amount of daylight/ambient light in a room and adjust the electric light levels accordingly. All automated controls, including occupancy sensors, should allow for occupant override. Occupants should also be given control over natural light levels through effective, adjustable shading.
Note on D9: Indoor Air Quality (IAQ) refers to the state of the air within a space. A space with good indoor air quality is one that is low in toxins, contaminants and odors. Good air quality possible when spaces are well ventilated (with outside air) and protected from pollutants brought into the space or by pollutants off-gassed within the space.
Note on D10: Radon comes from the natural (radioactive) breakdown of uranium in soil, rock and water and gets into the air you breathe. Radon can be found all over the U.S. It can get into any type of building—homes, offices, and schools—and result in a high indoor radon level.
Note on D12: Moisture control is the process of regulating where, when and how much water and water vapor collect in a building. Mold and other air borne contaminates develop when there is too much moisture.
Note on D14: Materials used in buildings often contain compounds that have a negative effect on indoor air quality (IAQ) and the earth’s atmosphere. These compounds can be present in adhesives, sealants, paints, flooring, carpets, composite wood and agrifiber products, furnishings, and in ceiling and wall systems. Low-emitting materials release only small amounts of these compounds into the surrounding air over time.
Note on D15: Construction activities can threaten the indoor air quality of an occupied space. Precautions should be taken to protect the health of construction workers as well as the health of occupants. These precautions include ensuring that airborne particles from construction activities are isolated from the permanently installed HVAC equipment; flushing out toxins before occupancy; ensuring absorptive materials are kept dry and that the facility is kept free from mold; and using construction materials low in harmful VOCs.
Note on D16: Research has shown that environmental tobacco smoke (ETS), or secondhand smoke, from cigarettes, pipes, and cigars has cancer-causing airborne particulates that can cause detrimental health effects when inhaled.1 Smoking should be banned from within the building and nearby (25-50 feet) of building openings such as entries, outdoor air intakes and operable windows. Buildings can also install separate HVAC systems to isolate smoking areas within the facility, although it’s typically uncommon and expensive in the office setting.
Note on D17: Integrated Pest Management is a process used to reduce or discourage the growth of pest populations. IPM protects human health and the surrounding environment and improves economic returns by employing the most effective, least-risk management option. It uses non-toxic products such as cleaning and physical barriers to entrance before resorting to chemical means. Pests include plants, fungi, insects, and/or animals.
Note on D19: Healthy people are free of disease and are otherwise well. Buildings with good indoor environmental quality (IEQ) support the health of occupants via high quality lighting, thermal conditions, air quality, acoustics, ergonomic and functional features.
Note on D21: Energy modeling is a computer based tool that predicts the amount of energy that a building will consume. It is a helpful way to identify potentially inefficient systems and compare a building’s energy use to a baseline performance case.
Note on D24: ENERGY STAR is a joint program of the U.S. Environmental Protection Agency (EPA) and the U.S. Department of Energy (DOE). The ENERGY STAR label helps consumers identify energy efficient products and practices in over 60 product categories for the home and office. Products earn the ENERGY STAR label by meeting the energy efficiency requirements set forth in ENERGY STAR product specifications. These products deliver the same or better performance as comparable models while using less energy and saving money. https://energy.gov/eere/femp/search-energy-efficient-products
Note on D25: Renewable energy comes from sources that are either inexhaustible or can be replaced very rapidly through natural processes. Examples include the sun, wind, geothermal energy, small (river-turbine) hydropower, and other hydrokinetic energy (waves and tides).
Note on D26: Alternative energy refers to energy not derived from traditional fossil fuel sources (coal, natural gas, petroleum) through conventional processes.
Note on D27: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities. Submetering or system-level metering is used to determine the proportion of energy use within a building attributable to specific end uses or subsystems (e.g., the ventilation system of an HVAC system).
Note on D28: To benchmark a building is to measure and rate the performance of a particular building compared to a standard. Various building performance indicators can be used for benchmarking (e.g. energy, water, air quality, thermal comfort) however energy use is the most commonly used and well-developed benchmarking indicator.
Note on D30: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D31: Indoor water use reduction is typically achieved through efficient plumbing fixtures, fittings, appliances and process equipment used to heat and cool the building; outdoor water use reduction efforts should focus on water-wise landscaping and efficient irrigation. By using less potable water, a building will also reduce the amount of energy needed to transport, treat, and redistribute that water, not to mention the cost savings associated with reduced potable water consumption. Innovative solutions for water efficiency should include not only a reduction in the amount of potable water used, but also a reduction in the use of non-potable water where appropriate (for flushing toilets, watering the landscape, etc.).
Note on D34: WaterSense, a partnership program of the U.S. Environmental Protection Agency (EPA), seeks to help consumers make smart water choices that save money and maintain high environmental standards without compromising performance. Independent, third-party licensed certifying bodies certify that products meet EPA criteria for water-efficiency and performance by following testing and certification protocols specific to each product category. Products and services that have earned the WaterSense label have been certified to be at least 20% more efficient without sacrificing performance.
Note on D35: Metering is the measurement of fuel (such as electricity, natural gas, and steam) and water used in facilities. Meters are useful for determining compliance with building operating plans and other monitoring activities.
Note on D36: A piece of building equipment which uses water to absorb heat from air-conditioning systems and regulate air temperature in a facility.
Note on D37: The practice uses water-efficient choices in planting and irrigation design. It incorporates climate-appropriate and native plants to decrease the amount of watering required. Xeriscaping or native landscaping for example, is a type of landscaping method that makes routine irrigation unnecessary.
Note on D38: Alternative or alternate water sources are supplied from sources that reuse water from another process or application and are not derived from freshwater sources (such as surface or groundwater). Examples of alternative water sources include grey water, reclaimed wastewater, rainwater harvesting, air handling unit condensate, and process equipment discharge water.
Note on D39: When it rains, stormwater either infiltrates into the ground or flows directly into the storm system. Pervious paving and landscaping allow water to be absorbed into the ground, percolating through natural filters and into aquifers. Impervious surfaces, such as sidewalks and roofs, force storm water to flow directly into the storm drain. This can lead to combined sewer overflow during times of significant rainfall. Additionally, excess storm water may collect contaminants prior to entering the storm drain, and depending on the location, may drain into natural waterways without being treated.
Note on G5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on K5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on N5: Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response