## Part 2
BREEAM Exisiting Buildings |  |  | System Owner Survey Response
GBCS Review Criteria | Guiding Principle | GP Compliance Language | Does System address Criteria? | What credit/criteria numbers did the system owner reference? | Which criteria are mandatory/ optional? | Is answer complete? | Validate Answer: do credit(s)/criteria address GP? | What Part of the GP criteria does the system credit/criteria meet? | Does credit/criteria partially or fully meet criteria? | How should this be scored? (Green = Fully aligns with and meets GP criteria; Yellow = partially aligns with and meets GP criteria; Red = system does not address criteria) | Notes | Meet GP? | Prerequisite / Credits needed to meet GP | Points
Part II - Employ Integrated Design Principles
Integrated design and management | GP EB 1.1 Integrated Design and Management | Page 31 | Yes | Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Credits are awarded when where building users are provided accessible and understandable information including (but not limited to) the overview of the building and it’s environmental strategies, facilities for users with disabilities and inclusive spaces, safety and emergency information, transportation options, local amenities, building occupant controls and how to operate efficiently. The evidence required to receive credits includes the building user guide in whatever form it is delivered and evidence of how the information was/is communicated to building users. Achievement is optional. Management Performance: Man 02 – Management Engagement and Feedback The aim of this issue is to facilitate structured feedback and awareness that enables management staff and building occupants to understand how to better operate the building. Credits are awarded where there is formal communication methods set-up between building management and building users with additional credits offered where there is proactive engagement with neighbors and community including a procedure to deal with complaints. The evidence required to receive the credits include evidence of the occupant satisfactions surveys and how they were conducted, the complaints procedure and any records demonstrating neighborhood/community engagement, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement of the credits for proactive engagement with neighbors and community are required to achieve a rating of Excellent or better under Part 2 Management Performance. Management performance: Man 03 – Maintenance policies and procedures The aim of this issue is to recognize and encourage best practice building maintenance practice throughout the operational life cycle of the asset. Credits are awarded within this issue where there are a full set of operational and maintenance manuals available to all building and facilities management staff, there are proactive maintenance policy and procedures outlined for the external site and building envelope and there are regular reviews of the building management systems by suitably qualified staff. The evidence required to receive the credits include the manual(s) and maintenance records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Man 04 – Environmental policies and procedures The aim of this issue is to recognize and encourage implementation of the best environmental management provisions and ensure these are in place and acted on. Credits are awarded where the building management organization has developed and implemented an environmental policy or plan, where it’s been accredited to ISO 14001 or equivalent, where improvement targets have been set for energy, water, and waste/recycling. Exemplary credits are offered where the policy addresses resilience and climate risks. Achievement of the credits for having developed and implemented an environmental policy or plan is required to achieve a rating of Very Good or better under Part 2 Management Performance. | All credits are optional | Yes | Yes | GP EB 1.1 Integrated Design and Management - Meets Option 1: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Allows building users to better understand the functionality of the building and how to operate it effectively, improving occupant comfort and helping to meet end-user requirements, consequently increasing occupant satisfaction and productivity. Management Performance: Man 02 – Management Engagement and Feedback The aim of this issue is to facilitate structured feedback and awareness that enables management staff and building occupants to understand how to better operate the building. Allows building managers to understand whether the building is meeting user needs. Ensures that building users can feedback to building managers and assurance that any issues raised will be investigated and resolved as appropriate. Management performance: Man 03 – Maintenance policies and procedures The aim of this issue is to recognize and encourage best practice building maintenance practice throughout the operational life cycle of the asset. Management performance: Man 04 – Environmental policies and procedures The aim of this issue is to recognize and encourage implementation of the best environmental management provisions and ensure these are in place and acted on. Ensures the commitment of the asset managers, operators and users to identifying and managing the environmental performance of the asset as well as documenting the actions required to minimize the environmental impact of building operations. Encourages the enhancement of these commitments to include resilience-related information. | Fully | Green |  | Yes | Man 01 – Building user guide Man 02 – Management Engagement and Feedback Man 03 – Maintenance policies and procedures Man 04 – Environmental policies and procedures
Access to public amenities/neighborhood assets | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Asset Performance: Tra 03 – Proximity to amenities The aim of this issue is to ensure building users have appropriate access to amenities near to the asset, consequently reducing transport-related impacts. Credits are awarded depending on number of amenities within a specific walking distance of amenities from the asset. The evidence required to receive the credits include photographs, maps, and floor plans, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Credits are awarded when where building users are provided accessible and understandable information including (but not limited to) the overview of the building and it’s environmental strategies, facilities for users with disabilities and inclusive spaces, safety and emergency information, transportation options, local amenities, building occupant controls and how to operate efficiently. The evidence required to receive the credits include the building user guide in whatever form it is delivered photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 1.2 Sustainable Siting - meets Option 1: Tra 03 – Proximity to amenities The aim of this issue is to ensure building users have appropriate access to amenities near to the asset, consequently reducing transport-related impacts. Ensures provision of local amenities facilitating a reduction in short trips. Reduces building users’ carbon emissions and associated negative environmental impacts, improving local air quality and reducing local congestion. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Allows building users to better understand the functionality of the building and how to operate it effectively, improving occupant comfort and helping to meet end-user requirements, consequently increasing occupant satisfaction and productivity. | Fully | Green |  |  | Tra 03 – Proximity to amenities Man 01 – Building user guide
Floodplain avoidance | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Asset Performance: Rsl 01 – Flood risk assessment The aim of this issue is to recognize and encourage the identification of flood risk and implement mitigation measures, where required. Credits are awarded for the extent to which flood risk has been identified and measures implemented to address the risks. Assets with a Flood Risk Assessment that covers all sources and where flood risk is zero or low achieves maximum credits. An exemplary credit is also offered where the assessment contains an allowance for climate change scenarios. The evidence required to receive the credits include specialist report and photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Completing a flood risk assessment that includes at a minimum fluvial and tidal source is required to achieve a rating of Very Good or better under Part 1 Asset Performance. | All credits are optional | Yes | Yes | GP EB 1.2 Sustainable Siting - Meets Option 1: Rsl 01 – Flood risk assessment The aim of this issue is to recognize and encourage the identification of flood risk and implement mitigation measures, where required. Encourages understanding of the flood risk of the asset. Allows appropriate mitigation measures to be implemented, protecting both the physical asset, occupants and associated revenue. | Fully | Green |  |  | Rsl 01 – Flood risk assessment
Protection of historic resources | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. Where the building is historical, this could include information about how occupants can protect the building. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. Management Performance: Man 03 – Maintenance policies and procedures The aim of this issue is to recognize and encourage building management to inform staff and visitors about asset performance. Credits are awarded within this issue where there are a full set of operational and maintenance manuals available to all building and facilities management staff, there are proactive maintenance policy and procedures outlined for the external site and building envelope and there are regular reviews of the building management systems by suitably qualified staff. This could include historic features/systems/fixtures/fittings and instructions on how to maintain them while protecting them from damage. In addition to this, credits are given where there is a proactive management plan for the upkeep of the external site, which could include areas of historical significance. The evidence required to receive the credits include the manual(s) and maintenance records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | No | No | N/A | N/A | Red |  |  | N/A
Preservation and protection of surrounding areas and habitats | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Asset Performance: Lue 01 – Planted Area To measure and encourage planted areas within the asset footprint that support site’s ecology and the health and wellbeing of occupants through access to green space. Credits are awarded for the percentage of the asset’s footprint that has been planted. Where the asset sits on a site, this includes the surrounding areas and habitats that are within the site footprint. The evidence required to receive the credits include mapping, photos, and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Lue 02 – Ecological features of planted area To measure and recognize ecological features that have been installed in the planted areas of the asset footprint to improve the ecological value of the site. Credits are awarded for the extent of the features found, with an exemplary credit available where the habitat significantly supports local native species. The evidence required to receive the credits include photos and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Lue 03 – Ecology Report The aim of this issue is to encourage organizations to establish the ecological value of their site and improve that value based on recommendations from a suitably qualified ecologist. Credits are awarded for having an ecology report completed within the last 3 years and the extent to which the recommendations have been implemented. The evidence includes the report provided and evidence that the recommendations have been implemented, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Lue 04 – Biodiversity management plan To encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of the ecology survey, which sets targets to maintain and enhance the ecological value of the site. Credits are awarded where the ecology survey has been completed and where biodiversity on the site was identified, the plan has been completed and is being implemented. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it. Achievement is optional. Asset Performance: Pol 01 – Minimizing watercourse pollution To reduce the risk of polluting natural watercourses through contaminated surface run-off and/or grease from kitchen facilities entering drainage systems. Credits are awarded for where the light-liquid separators are installed in vehicular areas and/or commercial kitchen facilities (when present). The evidence required to receive the credits include photographs, site plans, and manufacturer information, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Pol 07 – Inspection of watercourse pollution prevention features. To maintain the effectiveness of any features installed to prevent watercourse pollution. Credits are awarded where there is a maintenance policy and procedure in place to ensure watercourses are not polluted throughout the life of the asset. The evidence required to receive the credits include photographs, site plans, and manufacturer information, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Rsl 04 – Durable and resilient features The aim of this issue is to minimize the frequency of building component replacement, maximizing materials optimization while protecting the surrounding area and environment from damage. Credits are awarded for the protection of the effects of high pedestrian traffic (main entrance, corridors, etc.), internal vehicular and hand truck movement and the protection of parking areas and pathways on the site. The evidence required to receive the credits include photographs, site plans, and manufacturer information, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 1.2 Sustainable Siting - Meets Option 1: Lue 01 – Planted Area To measure and encourage planted areas within the asset footprint that support site’s ecology and the health and wellbeing of occupants through access to green space. Identifies the existing planted area that can potentially support biodiversity if it is managed or enhanced appropriately. Supports improvement to the health, well-being and potential productivity of occupants through the provision and increased proximity to elements of the natural environment. Asset Performance: Lue 02 – Ecological features of planted area - To measure and recognize ecological features that have been installed in the planted areas of the asset footprint to improve the ecological value of the site. Raises awareness of ecological features on a site and increase the overall biodiversity on the site. Provides habitat corridors for local native species. Contributes to the restoration and continued growth of biodiversity in the area. Management Performance: Lue 03 – Ecology Report The aim of this issue is to encourage organizations to establish the ecological value of their site and improve that value based on recommendations from a suitably qualified ecologist. Identifies the existing ecological value of the site and its surroundings to allow for the mitigation and management of the possible negative effects on ecology and supports making improvements to the overall ecology and biodiversity where possible. Management Performance: Lue 04 – Biodiversity management plan To encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of the ecology survey, which sets targets to maintain and enhance the ecological value of the site. Assists the asset owners, clients and occupants with managing and improving the ecology and biodiversity of the asset and the immediate site. Supports local, national and international efforts to halt the loss of habitats and biodiversity by promoting net gain where possible. Asset Performance: Pol 01 – Minimizing watercourse pollution To reduce the risk of polluting natural watercourses through contaminated surface run-off and/or grease from kitchen facilities entering drainage systems. Reduces the risk of pollution to local watercourses and potential breaches of environmental law. Management Performance: Pol 07 – Inspection of watercourse pollution prevention features. To maintain the effectiveness of any features installed to prevent watercourse pollution.Reduces the risk of damage to local watercourses and potential breaches of environmental law. Asset performance: Rsl 04 – Durable and resilient features The aim of this issue is to minimize the frequency of building component replacement, maximizing materials optimization while protecting the surrounding area and environment from damage. Avoids damage to building elements, reducing the time and cost of building maintenance. | Fully | Green |  |  | LUE 01 LUE 02 LUE 03 LUE 04 POL 01 POL 07 RSL 04
Stormwater management | GP EB 1.3 Stormwater Management | Page 32 | Yes | Asset Performance: Rsl 02 - Surface water runoff impact mitigation The aim of this issue is to avoid, reduce and delay the discharge of rainfall to public sewers and watercourses, thereby minimizing the risk and impact of localized flooding on-site and off-site and harm to water quality and groundwater resources. Credits are awarded where there are measures in place to minimize the rate of surface water runoff from the site, with examples including Low-Impact Development, permeable sources, green or blue roofs. The evidence required to receive the credits include photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 1.3 Stormwater Management - Meets Option 1: Rsl 02 - Surface water runoff impact mitigation The aim of this issue is to avoid, reduce and delay the discharge of rainfall to public sewers and watercourses, thereby minimizing the risk and impact of localized flooding on-site and off-site and harm to water quality and groundwater resources. Reduces risk of flooding downstream and prevents issues with standing water onsite. | Fully | Green |  |  | RSL 02
Access to public transportation | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | sset Performance: Tra 02 – Proximity to public transport To ensure appropriate public transport provision is available to building users, thereby helping to reduce transport-related pollution and congestion. Credits are awarded depending on the walking distance of public transport networks and the frequency of the service at peak times. There are credits available for a dedicated bus service as well. The evidence required to receive the credits include photographs, maps, public transit timetables, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. This includes public transportation related information. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. Management Performance: Man 02 – Management engagement and feedback The aim of this issue is to facilitate feedback and awareness so that users may better operate the building. Credits are awarded where regular meetings or formal communications are scheduled with occupants to discuss asset related issues and the issues are reported to building management. These issues could include the availability of or timings of public/ collective transport systems to and from the built asset. The evidence required to receive the credits include documentation and interviews with individuals involved, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement of the credits for proactive engagement with neighbors and community are required to achieve a rating of Excellent or better under Part 2 Management Performance. | All credits are optional | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization - Meets Option 1 & Option 4: Tra 02 – Proximity to public transport To ensure appropriate public transport provision is available to building users, thereby helping to reduce transport-related pollution and congestion. Raises awareness, understanding and accessibility of alternative travel options. Encourages more sustainable transport and movement of people. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively. Allows building users to better understand the functionality of the building and how to operate it effectively, improving occupant comfort and helping to meet end-user requirements, consequently increasing occupant satisfaction and productivity. Management Performance: Man 02 – Management engagement and feedback The aim of this issue is to facilitate feedback and awareness so that users may better operate the building. Allows building managers to understand whether the building is meeting user needs. Ensures that building users can feedback to building managers and assurance that any issues raised will be investigated and resolved as appropriate. | Fully | Green |  |  | TRA 02 Man 01 Man 02
Consideration of occupant transportation emissions | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | Asset performance: Tra 01 – Alternative modes of transport The aim of this issue is maximizing the potential for alternative local public, private and active transport modes through provision of sustainable transport measures appropriate to the site. Credits are available for compliant cycle facilities, electric vehicle recharging stations and car sharing priority spaces which supports occupants choosing options that minimize their transportation emissions. Consideration is given for rural locations when setting the minimum number of cycle spaces required. The evidence required includes the calculations used to determine minimum compliance requirements for the asset, site/building plans and communications to encourage occupants to utilize these methods. Achievement is optional. Asset performance: Tra 02 – Proximity to public transport To ensure appropriate public transport provision is available to building users, thereby helping to reduce transport-related pollution and congestion. Credits are awarded depending on the walking distance of public transport networks and the frequency of the service at peak times. This recognizes the practicality of the options available and encourages those options which are feasible and will result in lower occupant transport emissions. There are credits available for a dedicated bus service as well. The evidence required to receive the credits include photographs, maps, public transit timetables, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Tra 03 – Proximity to amenities The aim of this issue is to ensure building users have appropriate access to amenities near to the asset, consequently reducing occupant transportation emissions. Credits are awarded depending on number of amenities within a specific walking distance of amenities from the asset. The evidence required to receive the credits include photographs, maps, and floor plans, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Tra 04 – Pedestrian and cyclist safety The aim of this issue is to encourage the provision of safe access around the site and outdoor space that enhances the well-being of building users as they move around. Credits are awarded where service areas and maneuvering areas are independent from parking areas, protecting cyclists and pedestrians from danger. This provides further confidence to occupants to select these transport modes. The evidence required include maps, photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include encourage for users to consider their transportation emissions and point them to options supported by the building infrastructure or management to reduce those emissions. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization - Meets Option 1 & Option 4: Tra 01 – Alternative modes of transport The aim of this issue is maximizing the potential for alternative local public, private and active transport modes through provision of sustainable transport measures appropriate to the site. Encourages the use of active travel and reduce the dependency on private cars. Promotes provision of electric car recharging stations and reduced reliance on cars powered by fossil fuels. Asset performance: Tra 02 – Proximity to public transport To ensure appropriate public transport provision is available to building users, thereby helping to reduce transport-related pollution and congestion. Raises awareness, understanding and accessibility of alternative travel options. Encourages more sustainable transport and movement of people. Asset performance: Tra 03 – Proximity to amenities The aim of this issue is to ensure building users have appropriate access to amenities near to the asset, consequently reducing occupant transportation emissions. Ensures provision of local amenities facilitating a reduction in short trips. Reduces building users’ carbon emissions and associated negative environmental impacts, improving local air quality and reducing local congestion. Asset performance: Tra 04 – Pedestrian and cyclist safety The aim of this issue is to encourage the provision of safe access around the site and outdoor space that enhances the well-being of building users as they move around. Ensures safe access to and safe movement around the site. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include encourage for users to consider their transportation emissions and point them to options supported by the building infrastructure or management to reduce those emissions. Allows building users to better understand the functionality of the building and how to operate it effectively, improving occupant comfort and helping to meet end-user requirements, consequently increasing occupant satisfaction and productivity. | Fully | Green |  |  | TRA 01 TRA 02 TRA 03 TRA 04 MAN 01
Commissioning | GP EB 1.5 Commissioning | Page 33 | No | Whole building commissioning applies specifically to newly constructed buildings. BREEAM In-Use V6 does not explicitly mention commissioning of an asset as the program scope only covers existing buildings which are occupied and in use. However, BREEAM’s New Construction and Refurbishment & Fit-Out programs both encourage whole-building commissioning. | N/A | No | No | N/A | None | Red |  |  | N/A
Part II - Optimize Energy Performance
Energy use reduction | GP EB 2.1 Energy Efficiency | Page 34 | Yes | BREEAM takes an “Efficiency First” approach by evaluating the efficiency of the building envelope and systems (Part 1 Asset Performance) independently from the operational energy performance (Part 2 Management Performance). The Asset Energy Calculator (Part 1 Asset Performance) requires the following information to start: • the year the building was built, • when it was last refurbished (if applicable) • the address of the building • the space uses within the building (e.g. office, industrial, retail) • the building services present in the building (answered through Asset Performance Ene 01 – Building Services) • the percentage of area that is mechanically ventilated (answered through Asset Performance Ene 02 – Percentage of Mechanical Ventilation) The Asset Energy Calculator creates a model of the asset from this basic information that provides a climate adjusted calculation of the kgCO2eq/ft2/year expected for this type of asset in a worse-case scenario. The asset can then provide optional responses to questions around envelope performance and demonstrated building efficiencies (Ene 03 – 09) to come to the final climate adjusted kgCO2eq/ft2/year for the asset. This performance is then compared to a standard climate adjusted specification for an asset of that same space type and a best practice specification (which is net zero carbon) to award credits. The credits are awarded by how much better the asset performs over the standard specification while only awarding maximum credits where the best practice (net zero carbon) has been met, ensuring that assets must always do better than the standard practice. The full description of the methodology is published in the Technical Manual (pages 100-117). Further to this, there are also issues that support demand side management capabilities (Ene 10), installed controls to reduce energy waste (Ene 11), achieving a recognized energy performance asset rating like DOE’s Asset Energy Score or ENERGY STAR Score (Ene 12), the installation of solar photovoltaic (PV) and/or thermal panels (Ene 13 and Ene 14 respectively) and monitoring specific energy usage and performance inside the building (Ene 15, 16 and 18) and external lighting (Ene 17). The Operational Energy Calculator (Part 2 Management Performance) separately provides an evaluation of the actual energy performance based on consumption data. Performance is measured as kgCO2eq/ft2/year. Credits are awarded depending on how the asset performs against a reference benchmark that reflects the average expected performance of a building in the same location, climate and space types of the asset being assessed. The emissions factors for electricity use the EPA's eGrid factors; all other fuel sources use a factor applied anywhere in the world to ensure comparability. Credits are awarded on a sliding 50-credit scale with maximum credits for a zero-carbon building, and zero credits where the actual emissions are more than four times the reference benchmark emissions. Exemplary performance is also offered for net positive carbon performance. The full description of the methodology is published in the Technical Manual (pages 342-343). The methodology is very similar to that of ENERGY STAR though using different and more global data set which allows BREEAM to be used in over 50 different building types. All energy usage for the previous 12 months is required to be reported to calculate the score (Ene 19). Assets have the option to report the carbon intensity of their districting heating and/or cooling (Ene 20) where it is known and any on-site renewable energy that is generated (Ene 21). BREEAM does not accept off-site generation (through RECs, PPAs or other mechanisms) or offsets of any kind as part of the calculation. Additionally, there are credits available for conducting an energy audit within 5 years (Ene 22), energy measurement, monitoring and reporting (Ene 23) and demonstrating a reduction in carbon emissions over a 3-year period (Ene 24). The asset is required to provide the information about the asset’s age, year of construction/refurbishment, location and space uses to register the building. All other energy data points are optional to provide, meaning that assets can report their performance in all the other categories and may still obtain a rating and certification. This flexibility is balanced through the weighting of the BREEAM categories. As the Energy category is the weighted the heaviest in both parts (25% and 27% respectively for Part 1 and Part 2), any asset that does not provide the basic information to generate the Asset Energy Score or without compliant consumption data for Operational Energy Score will see their overall BREEAM score in either Part severely limited along with their ability to achieve the higher ratings in the BREEAM program. Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include managing their energy usage. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users. Achievement is optional. Management Performance: Man 03 – Maintenance policies and procedures The aim of this issue is to recognize and encourage building management to inform staff and visitors about asset performance. Credits are awarded within this issue where there are a full set of operational and maintenance manuals available to all building and facilities management staff, there are proactive maintenance policy and procedures outlined for the external site and building envelope and there are regular reviews of the building management systems by suitably qualified staff. The evidence required to receive the credits include the manual(s) and maintenance records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 2.1 Energy Efficiency - Meets Option 1 & Option 2 - Use Asset Energy Calculator to determine if bldg is 20% below 2015 energy use baseline or 30% below 2003 energy use baseline | Fully | Green
procurement of ENERGY STAR products and/ Federal Energy Management Program or products | GP EB 2.1 Energy Efficiency | Page 34 | Yes | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The plan at any level can require the use of ENERGY STAR products and/or products designated by the Federal Energy Management Program (FEMP). The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. | All credits are optional | Yes | Partially |  | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. It does not require the purchase of Energy Star or FEMP-designated products. In order to meet the Guiding Principles, buildings would need to ensure they purchase Energy Star or FEMP-designated products as appropriate.
Energy metering | GP EB 2.2 Energy Metering | Page 34 | Yes | Asset performance: Ene 15 – Monitoring energy uses The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption for different building services and building services systems. Credits are awarded for the issue based on the extent to which end uses with significant energy consumption are sub metered, with a minimum of 25% to achieve any credits. The evidence required includes copies of verified sub-meter data from outputs from energy monitoring and management systems or automatic or manual meter readings or line diagram indicating sub-meters and the related energy uses or evidence to show that the end uses can be monitored separately. Achievement is optional. Asset performance: Ene 16 – Monitoring tenanted areas The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption in separately tenanted and functional areas. Credits are awarded where energy is monitored through sub metering in all tenanted areas of the asset and additionally where all end uses with significant energy consumption within the tenanted area are sub metered. Evidence includes estimated energy consumption for tenanted areas, functional areas with different energy requirements and high energy intensity equipment and areas as well as copies of verified sub-meter data for the first and last date of the 12-month period specified. These may be outputs from energy monitoring and management systems or automatic or manual meter readings or Line diagram indicating sub-meters and the related energy uses or evidence to show that the tenanted area can be monitored separately Achievement is optional. Management Performance: Ene 19 – Energy consumption The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by employing effective energy management practices, increasing intrinsic energy efficiency of the building envelope, and installing energy efficient building services and equipment. Credits are awarded where there is accurate annual recording of energy data for the asset. The evidence required to receive the credits include metering data or energy bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Providing energy performance data is optional. However, any asset without compliant consumption data will see their score severely limited due to the category weightings. This will prevent the asset from achieving the higher ratings available not matter how many other credits they collect in other categories. | All credits are optional | Yes | Yes | GP EB 2.2 Energy Metering - Meets GP: Ene 15 – Monitoring energy uses The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption for different building services and building services systems. Asset performance: Ene 16 – Monitoring tenanted areas The aim of this issue is to reduce operational energy consumption through the effective management and monitoring of energy consumption in separately tenanted and functional areas. Management Performance: Ene 19 – Energy consumption The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by employing effective energy management practices, increasing intrinsic energy efficiency of the building envelope, and installing energy efficient building services and equipment. | Fully | Green |  |  | ENE 15 ENE 16
Renewable energy | GP EB 2.3 Renewable Energy | Page 35 | Yes | BREEAM In-Use encourages assets to understand the capacity for the asset to support on-site renewable energy generation, including: Asset Performance: Ene 10 – Demand side management (DSM) capabilities for electricity The aim of this issue is to reduce carbon emissions associated with grid supply electricity by enabling electricity demand profiles to better match the availability of renewable electricity generation sources. Credits are awarded for adapting the asset to enable renewable sources of energy by including energy storage capabilities, electric smart appliances, and such like. The evidence required to receive the credits include photographs, billing data, and metering data, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Ene 13 – Solar photovoltaic (PV) panels The aim of the issue is to reduce the energy use and carbon emissions of an asse by on-site renewable energy generation from photovoltaics (PV). Credits are awarded for the correct installation and the % coverage of the PV systems on the roof of the asset. The evidence required to receive the credits an onsite visit from the licensed BREEEAM assessor and an extract of the relevant operations manuals or copy of the manufacturer’s information for the PV panels. Achievement is optional. Asset performance: Ene 14 – Solar thermal panels The aim of this issue is to minimize carbon emissions through on-site renewable energy generation from solar thermal. Credits are awarded for the correct installation and the % coverage of the solar thermal panels on the asset. The evidence required to receive the credits an onsite visit from the licensed BREEEAM assessor and an extract of the relevant operations manuals or copy of the manufacturer’s information for the solar thermal panels. Achievement is optional. When evaluating operational energy performance, BREEAM In-Use only rewards assets for on-site generation and use of renewable energy. Off-site renewable energy generation delivered through the grid however purchased, Renewable Energy Credits (RECs) and offsets are not accepted. Assets have the option to report any on-site renewable energy that is generated (Ene 21) as part of the Operational Energy Calculator (Ene 19 – 21). Management Performance: Ene 19 – Energy consumption The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by employing effective energy management practices, increasing intrinsic energy efficiency of the building envelope, and installing energy efficient building services and equipment. Credits are awarded where there is accurate annual recording of energy data for the asset. The evidence required to receive the credits include metering data or energy bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Providing energy performance data is optional. However, any asset without compliant consumption data will see their score severely limited due to the category weightings. This will prevent the asset from achieving the higher ratings available not matter how many other credits they collect in other categories. Management performance: Ene 21 – Renewable electricity generated The aim of this issue is to minimize operational energy consumption and the associated carbon emissions by generating renewable electricity. Credits are awarded based on the amount of electricity generated from renewable sources vs. non-renewable sources. The evidence for this issue requires photographic evidence of the generation meter as well as BEMS data for the reporting period selected. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 2.2 Energy Metering - Meets GP | Fully | Green |  |  | ENE 10 ENE 15
Benchmarking | GP EB 2.4 Benchmarking | Page 35 | Yes | Asset Performance: Ene 12 – Local energy performance asset rating The aim of this issue is to recognize operational energy efficiency and carbon benefits associated with benchmarking against local energy standards. Credits are awarded where the asset has been assessed and passed local energy performance standards for existing buildings. Examples include the Department of Energy’s Building Energy Asset Score or a certified ENERGY STAR score. The evidence required to receive the credits include documentation and certificates, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 2.4 Benchmarking | Fully |  |  |  | ENE 12
Part II - Protect and Conserve Water
Indoor water use reduction | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Asset Performance: Wat 01 – Water monitoring The aim of this issue is to reduce the consumption of water in buildings through the effective management and monitoring of water consumption. Credits are awarded for installing submeters, with more credits offered the more specific the submetering covers (site, building, equipment with 10% or more of all building water demand and tenanted areas. Exemplary credit is offered where submeters are pulsed and connect to a Building Management System. Evidence includes copies of the site plans including where all the water meters are located, photos of all the installed water meters and a copy of the most recent water meter readings, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Demonstrating that water meters are in place and operational at site level or better is required to achieve a rating of Good or better under Part 1 Asset Performance. Asset Performance: Wat 02 – Water efficient equipment: Toilets The aim of this issue is to reduce water consumption by encouraging the specification of water efficient toilets. A minimum 1.6 gallon per flush rate on all toilets is required to earn any credits. Maximum credits offered where over 50% of toilets are ≤0.79 gallons per flush and all remaining toilets are ≤1.18 gallons per flush, exceeding the WaterSense label minimum rates. Calculation methodology includes effective flush volume where dual flush toilets are present. Evidence includes photos of the installed toilets, copies of the floor plans and manufacturer details of the toilets, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 03 – Water efficient equipment: urinals The aim of this issue is to reduce water consumption by encouraging the specification of water efficient urinals. More credits are offered for better performance demonstrated: where all urinals installed have less than 0.8 gallons per flush, less than 0.5 gallons per flush and waterless flush. Evidence includes photos of the installed urinals, copies of the floor plans and manufacturer details of the urinals, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 04 – Water efficient equipment: hand washing sink faucets The aim of this issue is to reduce water consumption by encouraging specification of water efficient hand washing sink faucets. More credits are offered for better performance demonstrated: no more than 1.6 gallon/minute rate for all faucets, 50% or more have less than 1.0 gallon/minute rate with remaining at 1.6 gallon/minute or less, 100% at 1.0 gallons/minute or less and maximum credits where 100% at 1.0 gallons/minute or less and they have automatic controls. Evidence includes, photos of the installed faucets, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 05 – Water efficient equipment: Showers The aim of this issue is to reduce water consumption by encouraging the specification of water efficient showers. Credits are awarded for the percentage of low water use showers installed, with only those with a flow rate of less than or equal to 1.6 gallons/minute permitted. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 06 – Water efficient equipment: Appliances The aim of this issue is to reduce water consumption by encouraging the specification of water efficient white goods. Credits are awarded where the dishwashers and washing machines that are part of the scope are low water use appliances. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Wat 10 – Reducing utility–supplied water consumption The aim of this issue is to minimize unnecessary water consumption by reducing the demand for utility-supplied water within the asset. Credits are given where the asset has the ability to harvest and reuse greywater, blackwater or rainwater. Evidence includes photos of the water source(s) and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded based on the percentage of total annual water consumption comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 14 – Water Strategy The aim of this issue is to promote reduced utility-supplied water consumption through encouraging strategies that focus on water efficiency and reduction on wastage. Credits are awarded where the water strategy includes replacing water appliances and fittings with low water use equivalents during renovations. Evidence includes the strategy document with relevant sections highlighted as well as maintenance logs and evidence of water monitoring data, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and ensure appropriate guidance for building users to use the building effectively, which could include managing their indoor water use. Credits are awarded where there is dedicated, specific and relevant information provided to non-technical building users to help them access, operate and use the building efficiently and in line with the design intent. The evidence required to receive the credits include photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 05 Green lease The aim of this issue is to encourage the implementation of lease agreements that contain incentives to actively engage tenants in consideration of energy, water, and waste efficient practices. Credits are awarded where the percentage of tenants within an asset have a green lease in place that includes sharing of environmental performance data. More credits are offered the higher the percentage of tenants with green leases and where targets are set in addition to data sharing. Evidence includes a copy of the tenant contract with the green lease section and scope highlighted or identified, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Paritally | GP EB 3.1 Indoor Water Use | Partially | Green |  |  | WAT 01 WAT 02 WAT 03 WAT 04 WAT 05 WAT 06 WAT 10 WAT 12 WAT 14
Procurement Water conserving products | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Asset Performance: Wat 02 – Water efficient equipment: Toilets The aim of this issue is to reduce water consumption by encouraging the specification of water efficient toilets. A minimum 1.6 gallon per flush rate on all toilets is required to earn any credits. Maximum credits offered where over 50% of toilets are ≤0.79 gallons per flush and all remaining toilets are ≤1.18 gallons per flush, exceeding the WaterSense label minimum rates. Calculation methodology includes effective flush volume where dual flush toilets are present. Evidence includes photos of the installed toilets, copies of the floor plans and manufacturer details of the toilets, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 03 – Water efficient equipment: urinals The aim of this issue is to reduce water consumption by encouraging the specification of water efficient urinals. More credits are offered for better performance demonstrated: where all urinals installed have less than 0.8 gallons per flush, less than 0.5 gallons per flush and waterless flush. Evidence includes photos of the installed urinals, copies of the floor plans and manufacturer details of the urinals, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 04 – Water efficient equipment: hand washing sink faucets The aim of this issue is to reduce water consumption by encouraging specification of water efficient hand washing sink faucets. More credits are offered for better performance demonstrated: no more than 1.6 gallon/minute rate for all faucets, 50% or more have less than 1.0 gallon/minute rate with remaining at 1.6 gallon/minute or less, 100% at 1.0 gallons/minute or less and maximum credits where 100% at 1.0 gallons/minute or less and they have automatic controls. Evidence includes, photos of the installed faucets, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 05 – Water efficient equipment: Showers The aim of this issue is to reduce water consumption by encouraging the specification of water efficient showers. Credits are awarded for the percentage of low water use showers installed, with only those with a flow rate of less than or equal to 1.6 gallons/minute permitted. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Wat 06 – Water efficient equipment: Appliances The aim of this issue is to reduce water consumption by encouraging the specification of water efficient white goods. Credits are awarded where the dishwashers and washing machines that are part of the scope are low water use appliances. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 3.1 Indoor Water Use | Fully | Green |  |  | WAT 02 WAT 03 WAT 04 WAT 05 WAT 06
Water use in cooling equipment | GP EB 3.1 Indoor Water Use | Page 36 | No | BREEAM doesn’t specifically target water use in cooling equipment, however: Asset Performance: Wat 01 – Water monitoring The aim of this issue is to reduce the consumption of water in buildings through the effective management and monitoring of water consumption. Maximum credits are awarded for installing sub-meters on all water-consuming equipment or building areas that consume 10% or more of the buildings total water demand. Evidence includes copies of the site plans including where all the water meters are located, photos of all the installed water meters and a copy of the most recent water meter readings, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Demonstrating that water meters are in place and operational at site level or better is required to achieve a rating of Good or better under Part 1 Asset Performance. | All credits are optional | No | No | GP EB 3.1 Indoor Water Use | N/A | Red |  |  | N/A
Water metering | GP EB 3.2 Water Metering | Page 36 | Yes | Asset Performance: Wat 01 – Water monitoring The aim of this issue is to reduce the consumption of water in buildings through the effective management and monitoring of water consumption. Credits are awarded for installing submeters, with more credits offered the more specific the submetering covers (site, building, equipment with 10% or more of all building water demand and tenanted areas. Exemplary credit is offered where submeters are pulsed and connect to a Building Management System. Evidence includes copies of the site plans including where all the water meters are located, photos of all the installed water meters and a copy of the most recent water meter readings, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Demonstrating that water meters are in place and operational at site level or better is required to achieve a rating of Good or better under Part 1 Asset Performance. | All credits are optional | Yes | Paritally | GP EB 3.2 Water Metering | Paritally | Yellow |  |  | WAT 01
Outdoor water use reduction | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Asset Performance: Lue 02 – Ecological features of planted area To measure and recognize ecological features that have been installed in the planted areas of the asset footprint to improve the ecological value of the site. Credits are awarded for the extent of the features found, with an exemplary credit available where the habitat significantly supports local native species. The evidence required to receive the credits include photos and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Lue 04 – Biodiversity management plan To encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of an ecology survey, which sets targets to maintain and enhance the ecological value of the site. Credits are awarded where the ecology survey has been completed and the plan developed as a result is being implemented. This plan will often include irrigation methodologies for the biological infrastructure on site. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Wat 11 – Water consumption The aim of this issue is to ensure management are aware of annual consumption from utility-supplied water resources. Credits are awarded for reporting the annual consumption figure which includes both indoor and outdoor water use. The evidence required to receive the credits include meter readings and/or utility bills, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded based on the percentage of total annual water consumption comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Wat 13 – Water consumption reporting The aim of this issue is to facilitate the structured and systematic provision of reporting on water consumption to encourage building users to understand and set efficiency improvement targets. Credits are awarded where the strategy in place uses water monitoring data to minimize water consumption, with more credits provided where the strategy includes target setting and reporting mechanisms. The evidence required to receive the credits include consumption records, specialist reports, and strategy/policy documents, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 3.3 Outdoor Water Use | Fully | Green | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. Outside of using local plants, there are no credits that specifically target reducing outdoor water use. In order to meet the guiding principles, an agency would need to employ water efficient irrigation strategies to reduce outdoor potable water consumption, and where installed, demonstrate that the permanent irrigation system uses 50 percent or less of the amount of potable water used in conventional practices, assuming typical annual baseline water use. An agency may also, If installing landscaping, use xeriscaping techniques or do not irrigate beyond the establishment of plantings. |  | LUE 02
Water efficient landscapes | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Asset Performance: Lue 02 – Ecological features of planted area To measure and recognize ecological features that have been installed in the planted areas of the asset footprint to improve the ecological value of the site. Credits are awarded for the extent of the features found, with an exemplary credit available where the habitat significantly supports local native species. While not specifying water efficiency, this encourages providing landscapes that are appropriate and supportive of the wider ecology which would reflect natural water availability. For example, if the asset features vertical walls/ living walls and green roofs are installed on the exterior of this building, they must have efficient water irrigation systems build in. The evidence required to receive the credits include photos and visual inspections, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Lue 04 – Biodiversity management plan To encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of an ecology survey, which sets targets to maintain and enhance the ecological value of the site. Credits are awarded where the ecology survey has been completed and the plan developed as a result is being implemented. While not specifying water efficiency, this encourages protecting and enhancing habitats that reflect natural water availability, and where there is not availability of natural water the management plan should include methods of irrigation for the ecological features on the site. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Partially | GP EB 3.3 Outdoor Water Use | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system contains a credit on using water efficient landscapes, it does not mention strategies or other requirements to reduce landscape water use to be 50% or less than conventional practices. In order to meet the Guiding Principles, agencies would need to use strategies to reduce landscape irrigation to be 50% below conventional practices. |  | LUE 02
Alternative sources of water | GP EB 3.4 Alternative Water | Page 37 | Yes | Asset performance: Wat 10 – Reducing utility – supplied water consumption The aim of this issue is to minimize unnecessary water consumption by reducing the demand for utility-supplied water within the asset. Credits are given where the asset has the ability to harvest and reuse greywater, blackwater or rainwater. Evidence includes, photos of the installed items, with floor plans and manufacturers specifications, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Wat 12 – Water recycling The aim of this issue is to encourage the use of alternative water supplies to reduce the demand for utility-supplied water. Credits are awarded where the annual water consumption of the asset also comes from alternative water supplies. Evidence includes verified meter readings for the alternative supplies, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 3.4 Alternative Water | Fully | Green |  |  | WAT 10 WAT 12
Part II - Enhance the Indoor Environment
Ventilation and thermal comfort | GP EB 4.1 Ventilation and Thermal Comfort | Page 38 | Yes | Asset Performance: Hea 07 – User comfort control The aim of this issue is to recognize the provision of controls allowing asset users to optimize their comfort levels. Credits are awarded for where there is the ability for asset users to control the temperature and ventilation in occupied spaces. Evidence includes photos of the system, as well as building plans illustrated with the locations of the control panels and zoning, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 08 - Ventilation system air intakes and exhausts The aim of this issue is to ensure that the asset ventilation system minimizes the entry of external sources of air pollution. Credits are awarded where there are ventilation systems which minimize the entry of air pollutants in accordance with ASHRAE 62.1-2019. The evidence required includes documentation (plans, photographs or scaled drawings of the asset) showing the location of air intakes and exhausts and external sources of pollution and the distances between them, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 14 – Thermal Comfort The aim of this issue is to ensure that asset users are thermally comfortable in occupied spaces. Credits are awarded for regularly monitoring occupied spaces within the asset. Credits are awarded depending on how stringent the method is for monitoring thermal comfort. This includes through detailed thermal comfort measurement and analysis in line with ASHRAE 55-2017. Evidence includes a procedure and records outlining thermal comfort related feedback, occupant satisfaction surveys, physical measurement data, analysis, and records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 16 - Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. Included is the cleanliness of and for cleaning ventilation system components in accordance with ASHRAE 62.1-2019. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.1 Ventilation and Thermal Comfort | Fully | Green |  |  | HEA 14 HEA 16
Daylighting and lighting controls | GP EB 4.2 Daylighting and Lighting Controls | Page 38 | Yes | Asset Performance: Hea 01 – Daylighting This issue aims to ensure asset users have access to good levels of daylight. Credits are awarded based on the percentage of occupied spaces which have glazed areas that allow asset users to experience daylight. Evidence required for this issue includes photos of the occupied spaces, and Documentation specifying the floor area and glazed area in occupied spaces and calculations in accordance with the Methodology, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 02 – Control of glare from sunlight This issue aims to recognize and encourage features that control glare from sunlight in occupied spaces. Credits are awarded based on the percentage of relevant occupied space (weighted by floor area) that contains compliant glare control features. Evidence required includes photos showing glare control features installed, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 03 – Internal and external lighting levels This issue aims to ensure appropriate lighting is provided which will enable asset users to perform visual tasks efficiently and accurately. Credits are awarded where the lighting in the occupied areas of the asset meets best practice illuminance (lux) as defined by the IES Lighting Handbook 10th edition (2011). Evidence required includes documentation confirming the illuminance levels, which are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 04 – Lighting controls This issue aims to encourage the provision of lighting that allows asset users to have an appropriate level of control. Credits are awarded where there are lighting controls present in 50% and 80% of the occupied spaces of the asset. Evidence requirements include lighting plans, photos of the lighting controls as well as data sheets and schedules for the lighting controls which are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Hea 05 – Minimizing flicker from lighting systems This issue aims to encourage the installation of lighting systems that minimize the impact of flicker on asset users. Credits are awarded for the percentage of lighting fittings which have features to minimize flicker. Evidence includes photos of the features which are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.2 Daylighting and Lighting Controls | Fully | Green |  |  | HEA 01 HEA 02 HEA 03 HEA 04
Low-emitting materials and products | GP EB 4.3 Low-Emitting Materials and Products | Page 38 | Yes | Management Performance: Hea 16 - Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. Included is the selection of low or no emission products for paints, coatings, adhesives, sealants, flooring, furniture and cleaning products with labels such as EPA Safer Choice. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.3 Low-Emitting Materials and Products | Fully | Green |  |  | HEA 16
Radon mitigation | GP EB 4.4 Radon Mitigation | Page 39 | Yes | Management Performance: Pol 09 – Land contamination mitigation The aim of this issue is to identify any land contamination issues that require further investigation or remediation. This includes radon. Credits are awarded where the investigation has been carried out and where issues have been identified, the extent to which they have been remediated. Evidence includes reports from contaminated land specialists and other relevant documentation, which are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes the monitoring of radon and other air pollutants. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.4 Radon Mitigation | Fully | Green |  |  | HEA 16 POL 09
Moisture and Mold control | GP EB 4.5 Moisture and Mold Control | Page 39 | Yes | Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes identifying sources of moisture and potential for condensation through inspections. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.5 Moisture and Mold Control | Fully | Green |  |  | HEA 16
Protecting IAQ during construction and operations | GP EB 4.6 Indoor Air Quality during Construction | Page 39 | Yes | Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. This includes procedures and plans to ensure good indoor air quality is maintained during specific maintenance, redecoration, refurbishment, or construction activities. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.6 Indoor Air Quality during Construction | Fully | Green |  |  | HEA 16
Environmental smoking control | GP EB 4.7 Environmental Smoking Control | Page 39 | Yes | Management Performance: Hea 15 – Smoking policy The aim of this issue is to recognize and encourage the health benefits of a smoke-free environment and to minimize fire risk. Credits are awarded where there are policies which prohibit smoking inside, and directly outside the asset’s entrances. Evidence requirements include a copy of the smoke-free policy and, where applicable, tenancy agreements. As well as photos of ‘No Smoking’ signage and other infrastructure which demonstrates the separation of smoke free zones such as shelters. All evidence must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset performance: Hea 11 – Provision of rest areas The aim of this issue is to recognize and encourage the provision of rest areas for asset users. Credits are awarded where there are purpose-built areas to allow asset users to rest, prepare food and sit together. Additional credits are awarded where there are dedicated outdoor spaces with seating. All rest areas must prohibit smoking. Evidence requirements include photos of the areas, demonstrating the facilities available to asset users as well as plans of the locations, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.7 Environmental Smoking Control | Fully | Green |  |  | HEA 15
Integrated pest management | GP EB 4.8 Integrated Pest Management | Page 40 | Yes | Management Performance: Lue 04 – Biodiversity management plan The aim of this issue is to encourage organizations to develop, implement and keep under review a biodiversity action plan based on the outcomes of the ecology survey, which sets targets to maintain and enhance the ecological value of the site . Credits are awarded where the ecology survey has been completed and where biodiversity on the site was identified, the plan has been completed and is being implemented. This plan will include an integrated pest management plan for the site and surrounding areas. Evidence includes the plan/strategy in place and the qualifications of the competent individual who developed it, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.8 Integrated Pest Management | Fully | Green |  |  | LUE 04
Occupant health and wellness | GP EB 4.9 Occupant Health and Wellness | Page 40 | Yes | Supporting the occupant health and wellbeing has been a core of the BREEAM standard since it was launched in 1990. As an asset-focused sustainability standard, BREEAM seeks to deliver healthy environments to enable healthy occupants. Management Performance: Hea 14 – Thermal Comfort The aim of this issue is to ensure that asset users are thermally comfortable in occupied spaces. Credits are awarded for regularly monitoring occupied spaces within the asset. Evidence includes a procedure and records outlining thermal comfort related feedback, occupant satisfaction surveys, physical measurement data, analysis, and records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 16 – Indoor air quality management The aim of this issue is to encourage and support healthy internal environments with good indoor air quality. Credits are awarded where there are management processes in place to help maintain good levels of indoor air quality within the asset. Evidence includes copies of relevant policies, procedures and plans and associated records, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 17 – Acoustic conditions The aim of this issue is to ensure the asset provides a good indoor acoustic environment to provide comfortable conditions for asset users. Credits are awarded where the acoustic environment in occupied space has been evaluated in terms of sound insulation, indoor ambient noise level and room acoustics. Additional credits are awarded where sound insulation methods have been installed and indoor ambient noise level performance standards are achieved in a percentage of the occupied space. Evidence includes records or reports from a suitably qualified acoustician (SQA), demonstrating the measured acoustic performance and details of the SQA’s qualifications. All must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Hea 18 – Legionella risk management The aim of this issue is to ensure that water systems are managed to minimize the risk from legionella. Credits are awarded where an assessment of the asset’s water systems has been performed and where the risk of exposure to legionella bacteria has been identified, management processes are in place to prevent or control the risk of legionella. Evidence requires a report to be submitted by a competent person, detailing the risk assessment and the management action going forward. The on-site verification by the licensed BREEAM Assessor confirms the risk measures have been implemented and are operational. Achievement is optional. Management Performance: Hea 19 – Drinking water management The aim of the issue is to ensure that the number and location of drinking water outlets meet the needs of asset users. Credits are awarded where drinking water outlets are free of charge, accessible to all users, in a hygienic location and the number of drinking water outlets are regularly reviewed. The evidence required includes documentation such as building plans, showing the location of drinking water outlets, the number of asset users and occupied space and details of any significant alterations in the number of asset users or changes in the layout of the asset, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 4.9 Occupant Health and Wellness | Fully | Green |  |  | HEA 14 HEA 16 HEA 17 HEA 18 HEA 19
Part II - Reduce the Environmental Impact of Materials
Materials with Recycled content | GP EB 5.1 Materials - Recycled Content | Page 41 | Yes | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Asset Performance: Rsc 03 – Resources inventory This issue aims to enable asset owners to recognize, maintain and benefit from the value of resources in the asset. Allowing them to increase the reuse and recycling of resources and reduce the use of virgin materials. Credit are awarded where a resources inventory has been completed within a 5-year period, with additional credits available for more comprehensive inventories. Evidence required includes a copy of the resources inventory, with the relevant sections identified according to each question answer and criterion specified, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Partially | GP EB 5.1 Materials - Recycled Content | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system addresses responsible material procurement, it does not explicitly reference a requirement or metric related to recycled content of materials. In order to meet the Guiding Principles, agencies would need to ensure they use RCRA section 6002 compliant products or those that meet or exceed EPA's recycled content recommendations. |  | RSC 05
Materials Biobased content | GP EB 5.2 Materials - Biobased Content | Page 41 | Yes | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. This would include the procurement of bio-based products where applicable as these would ensure the end products are more sustainable. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. | All credits are optional | Yes | Partially | GP EB 5.2 Materials - Biobased Content | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system addresses responsible material procurement, it does not explicitly reference a requirement or metric related to biobased content of materials. In order to meet the Guiding Principles, agencies would need to ensure they use USDA-designated products, where applicable. |  | RSC 05
Environmentally preferable products | GP EB 5.3 Products | Page 41 | Yes | Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. | All credits are optional | Yes | Yes | GP EB 5.3 Products | Fully | Green |  |  | RSC 05
Ozone depleting substances | GP EB 5.4 Ozone Depleting Substances | Page 41 | Yes | Asset Performance: Pol 04 Global warming potential of refrigerants This issue aims to encourage the use of refrigerants with a low global warming potential (GWP) in refrigerant equipment. Credits are awarded where the refrigerants used have low global warming potential. If all the refrigerants in the asset have a GWP of less than 1, the asset will receive full credits. No credits will be awarded if the asset uses refrigerants with a GWP of above 10 (HCFC’s, CFC’s and HFC’s). Evidence requirements for this issue include the manufacturers information confirming the GWP of the refrigerants used as well as photographic evidence of refrigerant packaging/systems, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Partially | GP EB 5.4 Ozone Depleting Substances | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. While the rating system addresses ozone depleting compounds, it does not explicitly reference a requirement or metric related to ozone depleting substances. In order to meet the Guiding Principles, agencies would need to ensure they avoid using ozone depleting compounds and high global warming potential chemicals. |  | POL 04
Hazardous waste | GP EB 5.5 Hazardous Waste | Page 42 | Yes | Asset performance: Rsc 02 – Reuse and recycling facilities This issue aims to facilitate the reuse, repurposing, and recycling of waste from the asset. This follows the waste hierarchy of prevention, re-use, recycling, and other recovery means for waste generated by the asset. This includes any hazardous waste that might also be generated. Credits are awarded where there are dedicated facilities and management procedures in place to segregate, store, and collect waste to divert from landfills. Evidence requirements include photos of the waste disposal facilities as well as documents of the waste procedures. If the waste is collected by a vendor, the asset management need to provide records from the waste collector that commingled waste is separated into the waste streams as identified. Facilities and documentation are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Management performance: Rsc 06 - Optimizing resource use, reuse, and recycling The aim of this issue is to reduce resource consumption and facilitate the reuse, repurposing, and recycling of waste resources from the asset. Credits are awarded where the waste generated in the management of the asset and by the occupants is being recorded and monitored and presented at least annually to senior management of the organization managing the asset. Additional credits are available where targets have been set and the asset is actively encouraging reuse and recycling by the occupants. Evidence includes the waste data, evidence of senior management review and training and communications where additional credits are being sought, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Man 01 – Building user guide The aim of this issue is to recognize and encourage the provision of appropriate guidance for non-technical building users which enables them to access, understand and operate the building efficiently, and in a manner in keeping with the original design intent or revised strategy. Credits are awarded when where building users are provided accessible and understandable information including (but not limited to) the overview of the building and it’s environmental strategies, facilities for users with disabilities and inclusive spaces, safety and emergency information, transportation options, local amenities, building occupant controls and how to operate efficiently. The evidence required to receive the credits include the building user guide in whatever form it is delivered photographs, relevant written/published sections of the information provided and evidence of how the information was/is communicated to building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset management: Pol 02 – Chemical storage The aim of this issue is to reduce the impact of a chemical leak or spill by containing the substance and minimizing impact on other areas of the building. Credits are given where the asset has management systems in place to store all hazardous chemicals in areas with adequate containment to deal with ≥110% of the chemicals stored. This could include the use of spill trays, double sinks, bunding and non-permeable membranes. Evidence required includes photos of the chemical storage, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. | All credits are optional | Yes | Yes | GP EB 5.5 Hazardous Waste | Fully | Green |  |  | RSC 06 | besides RSC 06, the other credits do not pertain to hazardous waste.
Solid waste management | GP EB 5.6 Solid Waste Management | Page 42 | Yes | Asset performance: Rsc 02 – Reuse and recycling facilities This issue aims to facilitate the reuse, repurposing, and recycling of waste from the asset. This follows the waste hierarchy of prevention, re-use, recycling, and other recovery means for waste produced by the asset. Credits are awarded where there are dedicated facilities and management procedures in place to segregate, store, and collect waste for optimal recycling and reuse. Evidence requirements include photos of the waste disposal facilities as well as documents of the waste procedures. Facilities and documentation are verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management Performance: Rsc 05 – Sustainable procurement The aim of this issue is to recognize and encourage the procurement of more sustainable products and services. Credits are awarded where a sustainable procurement policy or plan is in place and credits are offered where the plans are applicable to asset maintenance, repair, replacement, and refurbishment activities as well as the procurement of consumables and equipment. There are exemplary credits where the plan extends from the asset to the occupants and where the organization managing the asset has ISO 14001 or equivalent certified management system. The evidence required to receive the credits include photos of the displays or other methods used, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. The organization managing the asset is required to have a procurement policy that requires all timber (and timber based) products used during the management of the asset to be legally harvested and traded to achieve any BREEAM rating under Part 2 Management Performance. Management performance: Rsc 06 - Optimizing resource use, reuse, and recycling The aim of this issue is to reduce resource consumption and facilitate the reuse, repurposing, and recycling of waste resources from the asset. Credits are awarded where the waste generated in the management of the asset and by the occupants is being recorded and monitored and presented at least annually to senior management of the organization managing the asset. Additional credits are available where targets have been set and the asset is actively encouraging reuse and recycling by the occupants. Evidence includes the waste data, evidence of senior management review and training and communications where additional credits are being sought, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Partially | GP EB 5.6 Solid Waste Management | Partially | Yellow |  |  | RSC 02 RSC 06
Part II - Assess and Consider Building Resilience
Risk Assessment | GP EB 6.1 Risk Assessment | Page 43 | Yes | Asset Performance: Rsl 01 – Flood risk assessment The aim of this issue is to recognize and encourage the identification of flood risk and implementation mitigation measures, where required. Credits are awarded for the extent to which flood risk has been identified and measures implemented to address the risks. Credits are available dependent on the extent of the Flood Risk Assessment (FRA) scope, the risk level of the asset and whether mitigation measures were required and implemented. Assets with a Flood Risk Assessment that covers all sources and where flood risk is zero or low achieves maximum credits. An exemplary credit is also offered where the assessment contains an allowance for climate change scenarios. The evidence required to receive the credits include specialist report and photographs, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Completing a flood risk assessment that includes at a minimum fluvial and tidal source is required to achieve a rating of Very Good or better under Part 1 Asset Performance. Asset Performance: Rsl 03 – Natural hazard risk assessment The aim of this issue is to encourage the identification of the risks from all natural hazards relevant to the asset and build capacity to recover quickly following a damaging event. Credits are awarded where a risk assessment has been carried out to understand an asset’s exposure to natural hazards relevant to the asset and emergency plans have been prepared. Evidence requirements include a copy of the natural hazard risk policy/strategy which has been completed by a competent individual or organization and the resulting emergency plans have been shared with all building users, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 07 - Climate-related transition risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to climate-related transition risks and opportunities. Credits are awarded where the asset has been assessed for exposure to climate-related transition risks and opportunities through a risk assessment process. Additional credits are given if the asset management have disclosed the metrics used by the asset to assess the risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and qualifications of the individuals and organization who undertook the assessment, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 08 - Social risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to social risks and opportunities. This includes impacts to and from the community and interdependent infrastructure deemed material to the asset, with particular attention paid to underrepresented groups and an aim of encouraging outcomes that contribute to enhancing the community’s overall resilience. Credits are awarded where the asset has been assessed for exposure to social risks and opportunities through a risk assessment process. Additional credits are awarded where the asset management have disclosed metrics used by the asset to assess these risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 09 Fire risk assessment The aim of this issue is to ensure a consistent baseline of fire risk assessment. Assets must report whether regulations include a requirement to conduct a fire risk assessment. Credits are awarded where the asset has conducted a fire risk assessment when not required to by regulations. The question is filtered out for assets that are required to do so by law, ensuring that assets are only rewarded where they go beyond regulations. The evidence requires for this issue includes a copy of the most recent fire risk assessment, competency records of the individual carrying out the risk assessment and any evidence of fire safety manager checking through documentation and recent examples, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Where regulations do not include a requirement for a fire risk assessment to be conducted, assets are required to have carried a fire risk assessment out to achieve any BREEAM rating under Part 2 Management Performance. Where the regulations include the requirement, the asset is deemed to have met this minimum standard. Management performance: Rsl 10 Security risk assessment The aim of this issue is to ensure all property-related security issues are identified and addressed in order to reduce risks from crime. Credits are awarded where a security risk has been carried out. Exemplary credits are awarded where a risk-based security rating program has been used and the performance against the rating program has been confirmed through independent assessment and verification. Evidence includes a copy of the security risk assessment prepared by the competent person and photographs of the security controls, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 6.1 Risk Assessment | Fully | Green |  |  | RSL 01 RSL 03 RSL 07 RSL 08 RSL 09 RSL 10
Building Resilience | GP EB 6.2 Building Resilience and Adaptation | Page 44 | Yes | Asset Performance: Rsl 04 – Durable and resilient features The aim of this issue is to minimize the frequency of building component replacement and therefore maximizing materials optimization. Credits are awarded where there are features within the asset which protect exposed elements of the building and landscaping from damage from pedestrian traffic, internal vehicular/hand truck movement, and external vehicular collision. The evidence required to receive the credits photographs and plans of the site, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Asset Performance: Rsl 05 - Alarm systems The aim of this issue is to ensure the asset is equipped with appropriate alarm systems to prevent damage to the asset or property within the asset. Credits are awarded where the asset has been fitted with fire and intruder alarm systems which are certified to a National or International standard and additional credits offered where these are connected to a 24 hour a day monitoring facility. Evidence requirement include any documentation demonstrating intruder alarm system is approved to an appropriate National or International standard and photographs and plans of the site, all verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 06 - Emergency plans and climate-related physical risks The aim of this issue is to encourage emergency plans that go beyond statutory requirements, the intention of which are to protect property, the environment and people. This issue also recognizes and encourages assessment of an asset’s exposure to climate related physical risks and their impact on asset value. Credits are awarded where the asset has been assessed for acute and chronic climate-related physical risks and the emergency plans provide a coherent strategy for protecting life and property for all relevant natural hazards, fire and security risks, with responsibility delegated to key staff and communicated appropriately to building users. Exemplary credits are offered where the asset provides a community space for emergencies and where risks posted to the asset value and the community have also been identified. Evidence includes copies of the risk assessments carried out about the asset, and emergency plans based on these risk assessments. Where exemplary credits are awarded, the evidence must show there has been coordination with civic or other community leaders to offer the community space, communications within the community about the space available and how it can be utilized in the case of an emergency. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 07 - Climate-related transition risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to climate-related transition risks and opportunities. . This includes impacts to and from the community and interdependent infrastructure deemed material to the asset, with particular attention paid to underrepresented groups and an aim of encouraging outcomes that contribute to enhancing the community’s overall resilience. Credits are awarded where the asset has been assessed for exposure to climate-related transition risks and opportunities through a risk assessment process. Additional credits are given if the asset management have disclosed the risks and opportunities of a Climate related transition. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. Management performance: Rsl 08 - Social risks and opportunities The aim of this issue is to recognize and encourage the assessment of the asset’s exposure to social risks and opportunities. Credits are awarded where the asset has been assessed for exposure to social risks and opportunities through a risk assessment process. Additional credits are awarded where the asset management have disclosed metrics used by the asset to assess the risks and opportunities publicly. Evidence requirements include a report detailing the transition risks and opportunities identified, the methodology used for the assessment and the key metrics where applicable and any qualifications of the individuals and organization who undertook the assessment. All this must be verified as accurate through the on-site verification visit by the licensed BREEAM Assessor. Achievement is optional. | All credits are optional | Yes | Yes | GP EB 6.2 Building Resilience and Adaptation | Fully | Green | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. BREEAM provides credits that address various risk assessments for fire, climate, security, and social, there is no language that requires proof of anything being implemented. The GP is requiring the findings in these assessments be implemented. |  | RSL 06 RSL 07 RSL 08
Key
EA |  | Energy and Atmosphere
EQ |  | Indoor Environmental Quality
IN |  | Innovation
IP |  | Integrated Process
LT |  | Location and Transportation
MR |  | Materials and Resources
SS |  | Sustainable Sites
WE |  | Water Efficiency
c |  | credit
p |  | prerequisite
EX:
WEc1 |  | Water Efficiency Credit 1: Indoor Water Use Reduction
Note on I5: ====== ID#AAAAMa1BqbI (2021-05-26 14:08:00) Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on O5: ====== ID#AAAAMa1BqZ4 (2021-05-26 14:08:00) Refer to GUIDE tab for a definition of "Partially Met" and/or potential "Issues with Response"
Note on C9: ====== ID#AAAAMa1Bqa4 (2021-05-26 14:08:00) "For new construction meet or exceed EISA section 438 stormwater management requirements." "Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health."
Note on C13: ====== ID#AAAAMa1Bqbs (2021-05-26 14:08:00) "Meet current ASHRAE standards 55 and either 62.1 or 62.2 for ventilation and thermal comfort."
Note on C14: ====== ID#AAAAMa1BqZw (2021-05-26 14:08:00) "Maximize opportunities for daylighting in regularly occupied space, automatic dimming controls or accessible manual controls, task lighting, and shade and glare control."
Note on C15: ====== ID#AAAAMa1BqaM (2021-05-26 14:08:00) "Develop and implement an indoor air quality policy that considers the following: moisture control, use of low emitting materials and products with low pollutant emissions, necessary protocols to protect indoor air quality during construction and in the finished building, prohibition of smoking in any form inside and within 25 feet of all building entrances, operable windows, and building ventilation intakes, and use of integrated pest management techniques."
Note on C18: ====== ID#AAAAMa1BqaQ (2021-05-26 14:08:00) "Establish policy and implement a moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks."
Note on C19: ====== ID#AAAAMa1BqcE (2021-05-26 14:08:00) "Use low emitting materials for building construction, modifications, maintenance, and operations. In particular, specify the following materials and products to have low pollutant emissions: composite wood products, adhesives, sealants, interior paints and finishes, solvents, carpet systems, janitorial supplies, and furnishings."
Note on C20: ====== ID#AAAAMa1BqbU (2021-05-26 14:08:00) "Establish a policy and implement necessary protocols to protect indoor air quality during construction and in the finished building."
Note on C21: ====== ID#AAAAMa1BqaA (2021-05-26 14:08:00) "Prohibit smoking in any form within the building and within 25 feet of all building entrances, operable windows, and building ventilation intakes."
Note on C23: ====== ID#AAAAMa1BqZ0 (2021-05-26 14:08:00) "Promote opportunities for voluntary increased physical movement of building occupants such as making stairwells an option for circulation, active workstations, fitness centers, and bicycle commuter facilities; and support convenient access to healthy dining options, potable water, daylight, plants, and exterior views."
Note on C25: ====== ID#AAAAMa1Bqb8 (2021-05-26 14:08:00) For new construction, ensure energy efficiency is 30% better than the current American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) 90.1 standard, OR B. For modernization, ensure: 1) Energy use is 20% below the fiscal year (FY) 2015 energy use baseline, OR 2) Energy use is 30% below the FY 2003 energy use baseline, OR 3) The building has an ENERGY STAR® rating of 75 or higher, OR 4) For building types not in ENERGY STAR Portfolio Manager, where adequate benchmarking data exists, the building is in the top quartile of energy performance for its building type
Note on C26: ====== ID#AAAAMa1BqcI (2021-05-26 14:08:00) "For new construction and modernization, use energy efficient products, as required by statute." The Energy Policy Act of 2005 requires federal agencies to buy either ENERGY STAR products or products designated as energy efficient by the Federal Energy Management Program (FEMP).
Note on C27: ====== ID#AAAAMa1Bqac (2021-05-26 14:08:00) "Evaluate and implement, where appropriate, life cycle cost-effective renewable energy projects on-site; consider long-term off-site renewable sources and Renewable Energy Certificates (RECs); and utilize clean and alternative energy where possible."
Note on C28: ====== ID#AAAAMa1BqaI (2021-05-26 14:08:00) "Evaluate and implement, where appropriate, life cycle cost-effective renewable energy projects on-site; consider long-term off-site renewable sources and Renewable Energy Certificates (RECs); and utilize clean and alternative energy where possible."
Note on C29: ====== ID#AAAAMa1Bqbk (2021-05-26 14:08:00) "Install building level meters for electricity, natural gas, and steam; install advanced or standard meters as appropriate."
Note on C32: ====== ID#AAAAMa1Bqas (2021-05-26 14:08:00) "Employ strategies that minimize water use and waste."
Note on C33: ====== ID#AAAAMa1Bqbo (2021-05-26 14:08:00) "Employ strategies that minimize water use and waste."
Note on C34: ====== ID#AAAAMa1BqbM (2021-05-26 14:08:00) "Purchase water conserving products, including WaterSense and FEMP-designated products, as required by statute."
Note on C35: ====== ID#AAAAMa1BqZ8 (2021-05-26 14:08:00) "Install building level water meters to allow for the management of water use during occupancy, including detection of leaks." "Install water meters for irrigation systems serving more than 25,000 square feet of landscaping."
Note on C36: ====== ID#AAAAMa1Bqaw (2021-05-26 14:08:00) "Use water-efficient products; install building level water meters; optimize cooling tower operations; and eliminate single pass cooling."
Note on A37: ====== ID#AAAAMa1BqZs BryanSteverson (2021-05-26 14:08:00) BryanSteverson: Also under Water, the GP 8 language says either do the outdoor water use reduction (line 31) or do water efficient landscapes (line 35). So if you do one of the 2 you meet the GP.
Note on C37: ====== ID#AAAAMa1BqbY (2021-05-26 14:08:00) "Use water efficient landscapes, AND/OR limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1 2014 section 6.5.1, or current comparable ASHRAE standards, to calculate water use of conventional practices."
Note on C38: ====== ID#AAAAMa1BqbQ (2021-05-26 14:08:00) "Implement cost effective methods to utilize alternative sources of water such as harvested rainwater, treated wastewater, air handler condensate capture, grey water, and reclaimed water, to the extent permitted under local laws and regulations."
Note on C42: ====== ID#AAAAMa1BqcU (2021-05-26 14:08:00) "Incorporate appropriate space, equipment, and transport accommodations for collection, storage, and staging of recyclable and, as appropriate, compostable materials in building design, construction, renovation, and operation. Provide reuse and recycling services, including composting, for building occupants, where markets or on-site recycling exist."
Note on C43: ====== ID#AAAAMa1BqZo (2021-05-26 14:08:00) "Where markets exist, divert at least 50% of construction and demolition materials from landfills."
Note on C44: ====== ID#AAAAMa1Bqa8 (2021-05-26 14:08:00) "Where markets exist, provide reuse and recycling services for building occupants and divert at least 50% of non-hazardous, nonconstruction related materials from landfills."
Note on C46: ====== ID#AAAAMa1BqcM (2021-05-26 14:08:00) "Use Resource Conservation and Recovery Act (RCRA) section 6002 compliant products that meet or exceed EPA’s recycled content recommendations for building construction, modifications, operations, and maintenance."
Note on C48: ====== ID#AAAAMa1BqbE (2021-05-26 14:08:00) "Purchase products that meet Federally Recommended Specifications, Standards and Ecolabels or are on the Federal Green Procurement Compilation."
Note on C49: ====== ID#AAAAMa1BqaE (2021-05-26 14:08:00) "Avoid ozone depleting compounds and high global warming potential (GWP) chemicals."

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response