## GP Analysis of Green Globes EB
Green Globes for Existing Buildings |  |  | System Owner Survey Response
GBCS Review Criteria | Guiding Principle | GP Compliance Language | Does System address Criteria? | What credit/criteria numbers did the system owner reference? | Which criteria are mandatory/ optional? | Is answer complete? | Validate Answer: do credit(s)/criteria address GP? | What Part of the GP criteria does the system credit/criteria meet? | Does credit/criteria partially or fully meet criteria? | How should this be scored? (Green = Fully aligns with and meets GP criteria; Yellow = partially aligns with and meets GP criteria; Red = system does not address criteria) | Notes | Meet GP? | Prerequisite / Credits needed to meet GP | Points
Part II - B Healthy, Effective Environments
Integrated design and management | GP EB 1.1 Integrated Design and Management | Page 31 | Yes | 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.1: Optional 1.1.1.2: Optional 1.1.1.3 (eight sub-criteria): Optional 1.1.1.4: Optional | All credits are optional | Yes | Yes | GP EB 1.1 Integrated Design and Management - Option 1: 1.1.1.1: Optional - There is an integrated team and process that regularly reviews the Environmental Management System (EMS). 1.1.1.2: Optional - There is a comprehensive written and fully implemented building environmental management plan and program, including a policy statement and a comprehensive structure based around an EMS. 1.1.1.3 (eight sub-criteria): Optional - The following building related goals and targets are documented in the building environmental management plan: 1.1.1.3.1 Energy conservation; 1.1.1.3.2 Water conservation; 1.1.1.3.3 Waste reduction and recycling; 1.1.1.3.4 Environmental purchasing; 1.1.1.3.5 Schedule for regular checks on air-handling units, cooling towers, boilers, chillers, and/or applicable HVAC system(s) and other significant energy consuming equipment; 1.1.1.3.6 Indoor Air Quality (IAQ); 1.1.1.3.7 Reduction in use and proper handling of toxic or hazardous products; 1.1.1.3.8 Training and education. 1.1.1.4: Optional - There are action plans based on measurement and performance data, operational controls and monitoring and incident records to improve the environmental and energy performance of the building. | Fully | Green |  |  | 1.1.1.1 1.1.1.2 1.1.1.3 1.1.1.4
Access to public amenities/neighborhood assets | GP EB 1.2 Sustainable Siting | Page 31 | Yes | 2.2.2 Existing Sites: 2.2.2.7 (three paths): Optional 6.5.4 Health & Wellness 6.5.4.4: Optional - 6.5.4.6 (both sub-criteria): Optional | All credits are optional | Yes | Yes | GP EB 1.2 Sustainable Siting | Fully | Green |  |  | 2.2.2 Existing Sites: 2.2.2.7 (three paths): Optional 6.5.4 Health & Wellness 6.5.4.4: Optional - 6.5.4.6 (both sub-criteria): Optional
Floodplain avoidance | GP EB 1.2 Sustainable Siting | Page 31 | Yes | 2.2.1 Site Enhancement 2.2.1.1: Optional | All credits are optional | No | No | N/A | N/A | Red |  |  | N/A
Protection of historic resources | GP EB 1.2 Sustainable Siting | Page 31 | No | N/A | N/A | No | No | N/A | N/A | Red |  |  | N/A
Preservation and protection of surrounding areas and habitats | GP EB 1.2 Sustainable Siting | Page 31 | Yes | 2.2.1 Site Enhancement 2.2.1.1: Optional 2.2.1.2: Optional 2.2.1.3: Optional 2.2.2 Existing Sites 2.2.2.10: Optional | All credits are optional | Yes | Yes | GP EB 1.2 Sustainable Siting - Option 1 - 2.2.1 Site Enhancement 2.2.1.1: Optional - There are indications that the site has been enhanced, such as an increase of indigenous species, the reestablishment of vegetation corridors including wildlife habitat, or filtration or reduction of stormwater runoff. 2.2.1.2: Optional - The site has achieved certification from a nationally or regionally recognized site certification program within the last four years. 2.2.1.3: Optional - A comprehensive site plan has been developed that includes all areas of site improvement, including access to walking trails, bike paths, outdoor respite, and outdoor community spaces (i.e., community gardens, farmers' markets, etc.) on or adjacent to the building or campus. 2.2.2 Existing Sites - The distance to the closest public transit stop is within at least 1 mile (1.6 km). 2.2.2.10: Optional - A management policy is in place to employ birdsafe measures. | Fully | Green |  |  | 2.2.1 Site Enhancement 2.2.1.1: Optional 2.2.1.2: Optional 2.2.1.3: Optional 2.2.2 Existing Sites 2.2.2.10: Optional
Stormwater management | GP EB 1.3 Stormwater Management | Page 32 | Yes | 2.2.1 Site Enhancement 2.2.1.1: Optional 2.2.1.4: Optional | All credits are optional | Yes | Yes | GP EB 1.3 Stormwater Management - Option 1 2.2.1 Site Enhancement 2.2.1.1: Optional - There are indications that the site has been enhanced, such as an increase of indigenous species, the reestablishment of vegetation corridors including wildlife habitat, or filtration or reduction of stormwater runoff. 2.2.1.4: Optional - Permeable strategies are used to reduce water runoff from roofs and hardscaping. | Fully | Green |  |  | 2.2.1 Site Enhancement 2.2.1.1: Optional 2.2.1.4: Optional
Access to public transportation | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | 2.2.2 Existing Sites: 2.2.2.1: Optional 2.2.2.2: Optional 2.2.2.3: Optional 2.2.2.4: Optional 2.2.2.7 (three paths): Optional | All credits are optional | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization | Fully | Green |  |  | 2.2.2 Existing Sites: 2.2.2.1: Optional 2.2.2.2: Optional 2.2.2.3: Optional 2.2.2.4: Optional 2.2.2.7 (three paths): Optional
Consideration of occupant transportation emissions | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | 2.2.2 Existing Sites 2.2.2.1: Optional 2.2.2.5: Optional 2.2.2.6: Optional 2.2.2.8: Optional | All credits are optional | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization - Option 1 & Option 4 - 2.2.2 Existing Sites: 2.2.2.1: Optional - A transportation assessment has been completed. 2.2.2.2: Optional - The distance to the closest public transit stop is within at least 1 mile (1.6 km). 2.2.2.3: Optional - There is a main or secondary building entrance located accessibly to pedestrian traffic and public transit stop(s). 2.2.2.4: Optional - There are public or private transit service available for building staff for commuting. 2.2.2.7 (three paths): Optional - Walkability of sites | Fully | Green |  |  | 2.2.2 Existing Sites 2.2.2.1: Optional 2.2.2.5: Optional 2.2.2.6: Optional 2.2.2.8: Optional
Commissioning | GP EB 1.5 Commissioning | Page 33 | Yes | 3.3.3 Commissioning 3.3.3.1: Optional 3.3.3.2: Optional | All credits are optional | Yes | Yes | GP EB 1.5 Commissioning - Option 3 - 3.3.3 Commissioning 3.3.3.1: Optional - The building systems were commissioned during construction, or retro-commissioning or recommissioning has been conducted within the last 8 years. 3.3.3.2: Optional - Commissioning baseline readings have been used to generate an informed, preventative maintenance/monitoring schedule. | Fully | Green |  |  | 3.3.3 Commissioning 3.3.3.1: Optional 3.3.3.2: Optional
Part II - Optimize Energy Performance
Energy use reduction | GP EB 2.1 Energy Efficiency | Page 34 | Yes | 3.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional 3.1.1B.1: Optional 3.1.1C.1: Optional | All credits listed are optional | Yes | Partial | GP EB 2.1 Energy Efficiency - Option 3 - 3.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional - 1 There is at least a 15% reduction in the building’s energy over a 5-year benchmarking baseline or 6-10-year benchmarking baseline. 3.1.1B.1: Optional - The ENERGY STAR® score of the building is 75 or greater. 3.1.1C.1: Optional - The building's current standing as compared to average performance for the building type is at least 75. | Fully | Green |  |  | 3.1.1B.1 - must get 24 points or higher to meet GP
procurement of ENERGY STAR products and/ Federal Energy Management Program or products | GP EB 2.1 Energy Efficiency | Page 34 | Yes | 5.1.2 Environmental Purchasing 5.1.2.3: Optional | All credits listed are optional | Yes | Partial | GP EB 2.1 Energy Efficiency - Option 3 - 5.1.2 Environmental Purchasing - 5.1.2.3: Optional - The purchasing policy includes the requirement for purchasing energy saving equipment. - No specific mention of ENERGY STAR or FEMP products. | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system address environmental purchasing, but does not reference Energy Star or other standards. In order to comply with the Guiding Principles, agencies must purchase products that meet the government's recommended specifications, standards and ecolabels or those that are FEMP products and ENERGY STAR. |  | 5.1.2.3 - but agency would need to specifiy energy star or FEMP designated products
Energy metering | GP EB 2.2 Energy Metering | Page 34 | Yes | 3.3.4 Energy Monitoring, Policy, & Management 3.3.4.1: Optional 3.3.4.2: Optional 3.3.4.3: Optional | All credits listed are optional | Yes | Yes | GP EB 2.2 Energy Metering - 3.3.4 Energy Monitoring, Policy, & Management 3.3.4.1: Optional - Energy use is being monitored at the site level. 3.3.4.2: Optional - At least 25% of annual site energy is sub-metered and monitored as part of a comprehensive energy submetering approach by end-use (lighting, hot water, motors, steam, etc.), department, apartment unit, and other applicable data. 3.3.4.3: Optional - Energy sub-metering and monitoring includes trending of major equipment. " | Fully | Green |  |  | 3.3.4 Energy Monitoring, Policy, & Management 3.3.4.1: Optional 3.3.4.2: Optional 3.3.4.3: Optional
Renewable energy | GP EB 2.3 Renewable Energy | Page 35 | Yes | 3.4.1 Renewable and Alternative Energy 3.4.1.1: Optional 3.4.1.2: Optional 3.4.1.3: Optional | All credits listed are optional | Yes | Yes | GP EB 2.3 Renewable Energy - Option 1 - 3.4.1 Renewable and Alternative Energy 3.4.1.1: Optional - 25% or more of “green electricity” is continually purchased. 3.4.1.2: Optional - Renewable onsite energy sources are being used. 3.4.1.3: Optional - 1% or more of the building's total energy is provided by renewable onsite energy sources. | Fully | Green |  |  | 3.4.1 Renewable and Alternative Energy 3.4.1.1: Optional 3.4.1.2: Optional 3.4.1.3: Optional
Benchmarking | GP EB 2.4 Benchmarking | Page 35 | Yes | 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.4: Optional 3.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional 3.1.1B.1: Optional 3.1.1C.1: Optional 3.3.4 Energy Monitoring, Policy, & Management: 3.3.4.1: Optional 3.3.4.4 (including sub-criteria): Optional 4.2.3 Water Quality and Management: 4.2.3.4: Optional | All credits listed are optional | Yes | Fully | GP EB 2.3 Renewable Energy - Option 1 - 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.4: Optional - There are action plans based on measurement and performance data, operational controls and monitoring and incident records to improve the environmental and energy performance of the building. 3.1.1 Energy Consumption (three paths): 3.1.1A.1: Optional - Improvement over Baseline 3.1.1B.1: Optional - ENERGY STAR® Benchmarking 3.1.1C.1: Optional - Alternative Building Energy Performance Metric 3.3.4 Energy Monitoring, Policy, & Management: 3.3.4.1: Optional - Energy use is being monitored at the site level. 3.3.4.4 (including sub-criteria): Optional - There is an energy policy and monitoring plan with energy usage targets endorsed by senior management. 4.2.3 Water Quality and Management: 4.2.3.4: Optional - A water audit has been done within the last three years. | Fully | Green |  |  | 3.3.4 Energy Monitoring, Policy, & Management: 3.3.4.1: Optional 3.3.4.4 (including sub-criteria): Optional
Part II - Protect and Conserve Water
Indoor water use reduction | GP EB 3.1 Indoor Water Use | Page 36 | Yes | 4.1.1 Water Consumption (three paths): 4.1.1A: Optional 4.1.1B: Optional 4.1.1C: Optional 4.2.3 Water Quality and Management: 4.2.3.1: Optional 4.2.3.5: Optional | All credits listed are optional | Yes | Partially | GP EB 3.1 Indoor Water Use - No options met (system doesnt address indoor water use specifically and doesnt provide specific parameters on a percent reduction) 4.1.1 Water Consumption (three paths): 4.1.1A: Optional - Peer Benchmarking 4.1.1B: Optional - EPA Water Score for Multifamily Housing 4.1.1C: Optional - Prescriptive Water Performance 4.2.3 Water Quality and Management: 4.2.3.1: Optional - There is a written policy intended to minimize water use and encourage water conservation. 4.2.3.5: Optional - There is a water usage policy, including waterreduction targets, endorsed by senior management. | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system addresses monitoring and reporting of total water use; however, it does not differentiate between indoor and outdoor water use for reporting purposes. The water audit covers major water use systems which may be useful in differentiating between indoor and outdoor consumption, but this is not explicit in the rating system. To meet the Guiding Principles, agencies must measure reductions in indoor water use and provide specific parameters on a percent reduction. |  | 4.1.1 Water Consumption (three paths): 4.1.1A: Optional 4.1.1B: Optional 4.1.1C: Optional 4.2.3 Water Quality and Management: 4.2.3.1: Optional 4.2.3.5: Optional
Procurement Water conserving products | GP EB 3.1 Indoor Water Use | Page 36 | Yes | 4.2.1 Water Conserving Fixtures (eight paths): 4.2.1A: Optional 4.2.1B: Optional 4.2.1C: Optional 4.2.1D: Optional 4.2.1E: Optional 4.2.1F: Optional 4.2.1G: Optional 4.2.1H: Optional | All credits listed are optional | Yes | Yes | GP EB 3.1 Indoor Water Use - No options met (system doesnt provide specific parameters on a percent reduction, strategic water management plan ) 4.2.1 Water Conserving Fixtures (eight paths): 4.2.1A: Optional - WaterSense Labeling 4.2.1B: Optional - Multifamily 4.2.1C: Optional - Office 4.2.1D: Optional - Healthcare 4.2.1E: Optional - Hotel/Hospitality 4.2.1F: Optional - Resort/Casino 4.2.1G: Optional - Restaurant 4.2.1H: Optional - Other Building Types | Fully | Green |  |  | 4.2.1A 4.2.1C 4.2.1D 4.2.1H
Water use in cooling equipment | GP EB 3.1 Indoor Water Use | Page 36 | Yes | 3.2.4 Cooling Systems: 3.2.4.1: Optional 3.2.4.2: Optional | All credits listed are optional | Yes | Yes | GP EB 3.1 Indoor Water Use - Option 3 met - 3.2.4 Cooling Systems: 3.2.4.1: Optional - The cooling equipment base efficiency meets or exceeds ANSI/ASHRAE/IES Standard 90.1-2010 efficiency requirements with respect to COP, EER, IEER, and SEER. 3.2.4.2: Optional - The cooling systems use hydronic cooling and/or heat rejection systems that employ the following: 3.2.4.2.1 Variable speed chilled water pumping; 3.2.4.2.2 Multi-speed cooling tower or air-cooled condenser fans; 3.2.4.2.3 Non-compressor “free cooling” capability | Fully | Green |  |  | 3.2.4.2.2 3.2.4.2.3
Water metering | GP EB 3.2 Water Metering | Page 36 | Yes | 4.2.3 Water Quality and Management: 4.2.3.2: Optional 4.2.3.3: Optional | All credits listed are optional | Yes | Partial | GP EB 3.2 Water Metering - Option 1 met - 4.2.3 Water Quality and Management: 4.2.3.2: Optional - Water use is metered and monitored at the facility. 4.2.3.3: Optional - At least 25% of the annual water consumption (potable and non-potable) is sub-metered. | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system mentiones the benefits of metering but does not explicitly require building level meters. The rating system also does not require the use of water meters for irrigation. To meet the Guiding Principles, building level water meters and irrigation meters must be installed. |  | 4.2.3 Water Quality and Management: 4.2.3.2: Optional 4.2.3.3: Optional
Outdoor water use reduction | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | 4.2.2 Outdoor Water Consumption 4.2.2A: Optional 4.2.2B: Optional | All credits listed are optional | Yes | Partial | GP EB 3.3 Outdoor Water Use - Option 2 met - 4.2.2 Outdoor Water Consumption 4.2.2A: Optional - No Irrigiation - 4.2.2A.1 Irrigation is not used for landscaping. 4.2.2B: Optional - Outdoor Water Conserving Features - 4.2.2B.1 The following items are incorporated into landscape irrigation: 4.2.2B.1a Rainwater is used for irrigation. 4.2.2B.1b Graywater or Municipal Reclaimed Water (purple pipe) is used for irrigation. 4.2.2B.1c Landscaping minimizes the need for using potable water for irrigation by planting specific species that require little watering. 4.2.2B.1d Hydro zoning is used to water different plant materials such as turf grass vs. shrubs. | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system addresses monitoring and reporting of total water use; however, it does not differentiate between indoor and outdoor water use for reporting purposes. The water audit covers major water use systems which may be useful in differentiating between indoor and outdoor consumption, but this is not explicit in the rating system. To meet the Guiding Principles, agencies must measure reductions in outdoor water use. |  | 4.2.2A
Water efficient landscapes | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | 4.2.2 Outdoor Water Consumption 4.2.2A.1: Optional 4.2.2B.1 (four sub-criteria): 4.2.2B.1.1: Optional 4.2.2B.1.2: Optional 4.2.2B.1.3: Optional 4.2.2B.1.4: Optional 4.2.2B.1.5: Optional | All credits listed are optional | Yes | Parital | GP EB 3.3 Outdoor Water Use | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system addresses the use of water efficient landscapes and provides strategies for setting reduction targets. However, actual reductions in irrigation consumption are not tied to the strategies or addressed in the rating system. To meet the Guiding Principles, agencies must water efficient landscapes and limit irrigation to at least 50% below conventional practices. |  | 4.2.2 Outdoor Water Consumption 4.2.2A.1: Optional 4.2.2B.1 (four sub-criteria): 4.2.2B.1.1: Optional 4.2.2B.1.2: Optional 4.2.2B.1.3: Optional 4.2.2B.1.4: Optional 4.2.2B.1.5: Optional
Alternative sources of water | GP EB 3.4 Alternative Water | Page 37 | Yes | 4.2.2 Outdoor Water Consumption 4.2.2B (sub-criteria): 4.2.2B.1.1: Optional 4.2.2B.1.2: Optional | All credits listed are optional | Yes | Yes | GP EB 3.4 Alternative Water | Fully | Green |  |  | 4.2.2B.1a 4.2.2B.1b
Part II - Enhance the Indoor Environment
Ventilation and thermal comfort | GP EB 4.1 Ventilation and Thermal Comfort | Page 38 | Yes | 6.1.1 Ventilation System 6.1.1.1: Optional 6.1.1.2: Optional 6.1.1.3: Optional 6.1.1.4: Optional 6.1.1.5: Optional 6.1.1.6: Optional 6.5.1 Thermal Comfort 6.5.1A.1: Optional 6.5.1B.1: Optional | All credits listed are optional | Yes | Yes | GP EB 4.1 Ventilation and Thermal Comfort | Fully | Green |  |  | 6.1.1 Ventilation System 6.1.1.1: Optional 6.1.1.2: Optional 6.1.1.3: Optional 6.1.1.4: Optional 6.1.1.5: Optional 6.1.1.6: Optional 6.5.1 Thermal Comfort 6.5.1A.1: Optional
Daylighting and lighting controls | GP EB 4.2 Daylighting and Lighting Controls | Page 38 | Yes | 6.4.1 Daylighting and Electrical Lighting Features: 6.4.1.2: Optional 6.4.1.3: Optional 6.4.1.4: Optional 6.4.1.5: Optional 6.4.1.6: Optional 6.4.1.7: Optional 6.4.1.8: Optional 6.4.1.9: Optional 6.4.1.10: Optional | All credits listed are optional | Yes | Yes | GP EB 4.2 Daylighting and Lighting Controls | Fully | Green |  |  | 6.4.1 Daylighting and Electrical Lighting Features: 6.4.1.2: Optional 6.4.1.3: Optional 6.4.1.4: Optional 6.4.1.5: Optional 6.4.1.6: Optional 6.4.1.7: Optional 6.4.1.8: Optional 6.4.1.9: Optional 6.4.1.10: Optional
Low-emitting materials and products | GP EB 4.3 Low-Emitting Materials and Products | Page 38 | Yes | 5.1.1 Cycle Renovations: 5.1.1.2 (five sub-criteria): 5.1.1.2.1: Optional 5.1.1.2.2: Optional 5.1.1.2.3: Optional 5.1.1.2.4: Optional 5.1.1.2.5: Optional 5.1.2 Environmental Purchasing 5.1.2.2: Optional 6.2.1 IAQ Management 6.2.1.3.5: Optional 6.2.3 Cleaning & Disinfection 6.2.3.1: Optional | All credits listed are optional | Yes | Parital | GP EB 4.3 Low-Emitting Materials and Products | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system requires a plan or policy be developed; however, it does not require implementation of the plan or policy and they have other paths to complete this credit which will not fulfill the Guiding Principles. |  | 6.2.1.3.5
Radon mitigation | GP EB 4.4 Radon Mitigation | Page 39 | Yes | 6.3.2 Radon 6.3.2.1: Optional | All credits listed are optional | Yes | Parital | GP EB 4.4 Radon Mitigation | Partially | Yellow | While this credit agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system does not requires a plan or policy be developed to prevent Radon frequently in the building. Only to make sure Radon is not in there or do a survey to make sure the level of Radon is safe. |  | 6.3.2.1 requires a recent radon test if a bldg is located in a high risk area; however, there is no requirement to have a plan in place to test (and how often).
Moisture and Mold control | GP EB 4.5 Moisture and Mold Control | Page 39 | Yes | 1.1.1 Environmental Management System (EMS) Documentation: 1.1.1.3.5: Optional 1.1.1.6: Optional 1.1.1.7: Optional 1.1.2 Operations & Maintenance 1.1.2.3: Optional 6.1.3 Control of Pollutants at Source 6.1.3.4 (two sub-criteria): Optional 6.2.1 IAQ Management 6.2.1.1: Optional 6.2.1.2: Optional 6.2.1.3 (five sub-criteria): Optional 6.2.1.4: Optional | All credits listed are optional | Yes | Partial | GP EB 4.5 Moisture and Mold Control | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system requires a plan or policy be developed to help control Moisture and Mold; however, it does not require implementation of the plan or policy and they have other paths to complete this credit which will not fulfill the Guiding Principles. |  | 1.1.1.6 1.1.1.7 6.1.3.4 6.2.1.3.3
Protecting IAQ during construction and operations | GP EB 4.6 Indoor Air Quality during Construction | Page 39 | Yes | 6.2.1 IAQ Management 6.2.1.4: Optional | All credits listed are optional | Yes | Partial | GP EB 4.6 Indoor Air Quality during Construction | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system requires a plan or policy be developed; however, it does not require implementation of the plan or policy. To meet the Guiding Principles, agencies must both develop a plan/policy and implement the plan/policy. |  | 6.2.1.4
Environmental smoking control | GP EB 4.7 Environmental Smoking Control | Page 39 | Yes | 6.1.3 Control of Pollutants at Source: 6.1.3.7 (four sub-criteria): Optional | All credits listed are optional | Yes | Yes | GP EB 4.7 Environmental Smoking Control | Fully | Green |  |  | 6.1.3 Control of Pollutants at Source: 6.1.3.7 (four sub-criteria): Optional
Integrated pest management | GP EB 4.8 Integrated Pest Management | Page 40 | Yes | 6.2.2 Integrated Pest Management: 6.2.2.1: Optional; 6.2.2.2: Optional; 6.2.2.3: Optional; 6.2.2.4: Optional | All credits listed are optional | Yes | Yes | GP EB 4.8 Integrated Pest Management | Fully | Green |  |  | 6.2.2 Integrated Pest Management: 6.2.2.1: Optional; 6.2.2.2: Optional; 6.2.2.3: Optional; 6.2.2.4: Optional
Occupant health and wellness | GP EB 4.9 Occupant Health and Wellness | Page 40 | Yes | 2.2.2 Existing Sites: 2.2.2.5: Optional; 2.2.2.7 (three paths): Optional ¦ 6.5.3 Access to Potable Water: 6.5.3.1: Optional; 6.5.3.2: Optional; 6.5.3.3: Optional; 6.5.3.4: Optional ¦ 6.5.4 Health and Wellness: 6.5.4.1: Optional; 6.5.4.2 (three sub-criteria): Optional; 6.5.4.3 (four sub-criteria): Optional; 6.5.4.4: Optional; 6.5.4.5 (five sub-criteria): Optional | All credits listed are optional | Yes | Yes | GP EB 4.9 Occupant Health and Wellness | Fully | Green |  |  | 2.2.2 Existing Sites: 2.2.2.5: Optional; 2.2.2.7 (three paths): Optional ¦ 6.5.3 Access to Potable Water: 6.5.3.1: Optional; 6.5.3.2: Optional; 6.5.3.3: Optional; 6.5.3.4: Optional ¦ 6.5.4 Health and Wellness: 6.5.4.1: Optional; 6.5.4.2 (three sub-criteria): Optional; 6.5.4.3 (four sub-criteria): Optional; 6.5.4.4: Optional; 6.5.4.5 (five sub-criteria): Optional
Part II - Reduce the Environmental Impact of Materials
Materials with Recycled content | GP EB 5.1 Materials - Recycled Content | Page 41 | Yes | 5.1.1 Cycle Renovations: 5.1.1.2.4: Optional 5.1.2 Environmental Purchasing: 5.1.2.1: Optional 5.1.2.2: Optional | All credits listed are optional | Yes | Partially | GP EB 5.1 Materials - Recycled Content | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system addresses environmental purchasing, but does not explicitly reference procurement of recycled content products. To meet the Guiding Principles, agencies must purchase products that meet or exceed EPA's recycled content recommendations. |  | 5.1.1.2.4
Materials Biobased content | GP EB 5.2 Materials - Biobased Content | Page 41 | Yes | 5.1.1 Cycle Renovations: 5.1.1.2.4: Optional 5.1.2 Environmental Purchasing: 5.1.2.1: Optional 5.1.2.2: Optional | All credits listed are optional | Yes | Partially | GP EB 5.2 Materials - Biobased Content | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system addresses environmental purchasing, and reference procurement of biobased content products but it is not mandatory and there is no procedure/policy for it. In order to meet the Guiding Principles, agencies must purchase products that meet or exceed USDA's biobased content recommendations. |  | 5.1.1.2.4
Environmentally preferable products | GP EB 5.3 Products | Page 41 | Yes | 5.1.1 Cycle Renovations: 5.1.1.2.1: Optional 5.1.1.2.2: Optional 5.1.1.2.3: Optional 5.1.2 Environmental Purchasing: 5.1.2.1: Optional 5.1.2.2: Optional | All credits listed are optional | Yes | Partially | GP EB 5.3 Products | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system requires a plan or policy be developed; however, it is not a requirement for this agency to fulfill this credit. To meet the Guiding Principles, agencies must both develop a plan/policy and implement the plan/policy." |  | 5.1.1.2
Ozone depleting substances | GP EB 5.4 Ozone Depleting Substances | Page 41 | Yes | 3.2.4 Cooling Systems 3.2.4.3: Optional | All credits listed are optional | Yes | Yes | GP EB 5.4 Ozone Depleting Substances | Fully | Green |  |  | 3.2.4 Cooling Systems 3.2.4.3: Optional
Hazardous waste | GP EB 5.5 Hazardous Waste | Page 42 | Yes | 5.1.2 Environmental Purchasing 5.1.2.4: Optional 6.3.4 Health, Safety, and Management of Chemicals and Hazardous Materials (two paths) 6.3.4A (five sub-criteria): 6.3.4A.1: Optional 6.3.4A.2: Optional 6.3.4A.3: Optional 6.3.4A.4: Optional 6.3.4A.5: Optional 6.3.4B (six sub-criteria): 6.3.4B.1: Optional 6.3.4B.2: Optional 6.3.4B.3: Optional 6.3.4B.4: Optional 6.3.4B.5: Optional 6.3.4B.6: Optional | All credits listed are optional | Yes | Partially | GP EB 5.5 Hazardous Waste | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system requires a plan or policy be developed; however, it does not require implementation of the plan or policy. To meet the Guiding Principles, agencies must both develop a plan/policy and implement the plan/policy. |  | 5.1.2 Environmental Purchasing 5.1.2.4: Optional 6.3.4 Health, Safety, and Management of Chemicals and Hazardous Materials (two paths) 6.3.4A (five sub-criteria): 6.3.4A.1: Optional 6.3.4A.2: Optional 6.3.4A.3: Optional 6.3.4A.4: Optional 6.3.4A.5: Optional 6.3.4B (six sub-criteria): 6.3.4B.1: Optional 6.3.4B.2: Optional 6.3.4B.3: Optional 6.3.4B.4: Optional 6.3.4B.5: Optional 6.3.4B.6: Optional
Solid waste management | GP EB 5.6 Solid Waste Management | Page 42 | Yes | 5.2.1 Facilities for Storing and Handling Recyclable Materials: 5.2.1.1 (six sub-criteria): Optional; 5.2.1.2 (five sub-criteria): Optional; 5.2.1.3 (two sub-criteria): Optional; 5.2.1.4 (four sub-criteria): Optional; 5.2.1.5: Optional; 5.2.2 Consumables/Disposables: Waste Reduction and Recycling: 5.2.2.1: Optional; 5.2.2.2: Optional; 5.2.2.3: Optional; 5.2.2.4: Optional; 5.2.2.5: Optional | All credits listed are optional | Yes | Partially | GP EB 5.6 Solid Waste Management | Partially | Yellow | While there are credits agencies can choose from below, these will not achieve total compliance with the Guiding Principles. The rating system has requirements to track the amount diverted, but it does not set a minimum diversion rate of 50% as required by the Guiding Principles. To comply with the Guiding Principles, agencies must demonstrate a 50% diversion rate. |  | 5.2.1 Facilities for Storing and Handling Recyclable Materials: 5.2.1.1 (six sub-criteria): Optional; 5.2.1.2 (five sub-criteria): Optional; 5.2.1.3 (two sub-criteria): Optional; 5.2.1.4 (four sub-criteria): Optional; 5.2.1.5: Optional; 5.2.2 Consumables/Disposables: Waste Reduction and Recycling: 5.2.2.1: Optional; 5.2.2.2: Optional; 5.2.2.3: Optional; 5.2.2.4: Optional; 5.2.2.5: Optional
Part II - Assess and Consider Building Resilience
Risk Assessment | GP EB 6.1 Risk Assessment | Page 43 | Yes | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1 (three sub-criteria): 1.2.1.1.1: Optional 1.2.1.1.2: Optional 1.2.1.1.3: Optional | All credits listed are optional | Yes | Yes | GP EB 6.1 Risk Assessment | Fully | Green |  |  | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1 (three sub-criteria): 1.2.1.1.1: Optional 1.2.1.1.2: Optional 1.2.1.1.3: Optional
Building Resilience | GP EB 6.2 Building Resilience and Adaptation | Page 44 | Yes | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1.3: Optional 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.1 (four sub-criteria): Optional 1.2.2.2: Optional 1.2.2.3: Optional 1.2.2.4: Optional 1.2.2.5: Optional 1.2.2.7 (three sub-criteria): 1.2.2.7.1: Optional 1.2.2.7.2: Optional 1.2.2.7.3: Optional | All credits listed are optional | Yes | Yes | GP EB 6.2 Building Resilience and Adaptation | Fully | Green |  |  | 1.2.1 Risk Assessment & Facility Adaptation: 1.2.1.1.3: Optional 1.2.2 Emergency Procedures, Response, & Facility Upgrades: 1.2.2.1 (four sub-criteria): Optional 1.2.2.2: Optional 1.2.2.3: Optional 1.2.2.4: Optional 1.2.2.5: Optional 1.2.2.7 (three sub-criteria): 1.2.2.7.1: Optional 1.2.2.7.2: Optional 1.2.2.7.3: Optional

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response