## GP Analysis of LBC EB
Living Building Challenge - Existing Buildings |  |  | System Owner Survey Response
GBCS Review Criteria | GP | GP Compliance Language | Does System address Criteria? | What credit/criteria numbers did the system owner reference? | Which criteria are mandatory/ optional? | Is answer complete? | Validate Answer: do credit(s)/criteria address GP? | What Part of the GP criteria does the system credit/criteria meet? | Does credit/criteria partially or fully meet criteria? | How should this be scored? (Green = Fully aligns with and meets GP criteria; Yellow = partially aligns with and meets GP criteria; Red = system does not address criteria) | Notes | Meet GP? | Prerequisite / Credits needed to meet GP | Points
Part II - Employ Integrated Design Principles
Integrated design and management | GP EB 1.1 Integrated Design and Management | Page 31 | Yes | Imperative 19 - Beauty + Biophilia (Mandatory for all LBC projects) | Mandatory | Yes | Yes | GP EB 1.1 Integrated Design and Management, Option 1 | Fully | Green
Access to public amenities/neighborhood assets | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) Imperative 4 - Human Scaled Living (Mandatory for all LBC projects) Imperative 17 - Universal Access (Mandatory for all LBC projects) | Mandatory | Yes | Yes | GP EB 1.2 Sustainable Siting, Option 1: Imperative 19 - Beauty + Biophilia - The intent of this Imperative is to protect wild and ecologically significant places and encourage ecological regeneration and enhanced function of the communities and places where projects are built. Imperative 4 - Human Scaled Living - The intent of this Imperative is to contribute toward the creation of walkable, pedestrian-oriented communities that reduce the use of fossil fuel vehicles. Imperative 17 - Universal Access - The intent of this Imperative is to allow equitable access to and protections from any negative impacts resulting from the development of Living Building projects. | Fully | Green |  |  | imperative 4 and 17
Floodplain avoidance | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) | Mandatory | Yes | Yes | GP EB 1.2 Sustainable Siting, Option 1: Imperative 1 - Ecology of Place - All projects must avoid building on pristine greenfield, wilderness, prime farmland or in a floodplain unless they meet an Exception. Projects must preserve thriving vibrant ecological environments and habitats. Project teams must provide evidence of the organization’s primary purpose of protection, restoration, and/or interpretation of the sensitive ecology. In floodplains, project teams must also document how the project is appropriately designed to be resilient during and after a 100-year flood. Projects that are part of an existing historic community developed prior to 1945, or that are within Transects L5 or L6, may build within the 100-year floodplain. Projects not in L5 or L6 must show that the project is either on a site that was developed by 1945, or is outside of the floodplain. | Fully | Green |  |  | imperative 1
Protection of historic resources | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Imperative 16 - Net Positive Waste (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 1.2 Sustainable Siting, Option 1 - Imperative 16 - Net Positive Waste - | Fully | Green |  |  | imperative 16
Preservation and protection of surrounding areas and habitats | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) Imperative 3 - Habitat Exchange (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory | Yes | Yes | GP EB 1.2 Sustainable Siting, Option 1 - Imperative 1 - Ecology of Place - The intent of this Imperative is to protect wild and ecologically significant places and encourage ecological regeneration and enhanced function of the communities and places where projects are built. All projects must avoid building on pristine greenfield, wilderness, prime farmland or in a floodplain unless they meet an Exception. Projects must preserve thriving vibrant ecological environments and habitats. All project teams must document site and community conditions prior to the start of work, including but not limited to identification of the project’s Reference Habitat. All projects must demonstrate that they contribute positively to the ecology of their place and restore or enhance the ecological performance of the site toward a healthy ecological baseline. Imperative 3 - Habitat Exchange - The intent of this Imperative is to protect land for other species as more and more land is taken for human use. All projects must set aside land equal to the Project Area (or 0.4 hectares/1 acre, whichever is greater) away from the project site, in perpetuity, through an approved land trust organization or the Institute’s Living Future Habitat Exchange Program. | Fully | Green |  |  | imperative 1 and 3
Stormwater management | GP EB 1.3 Stormwater Management | Page 32 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory/ Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 1.3 Stormwater Management, Option 1 - Imperative 5 - Responsible Water Use: All projects must treat all stormwater on site, through natural or mechanical means and without chemicals, and manage all stormwater based on both pre-development hydrology and current ecological conditions, as determined by a qualified professional. To show compliance with the hydrologic stormwater standards, project teams shall develop an appropriate stormwater model. Brief narrative of stormwater control strategy and control and treatment methods used is required. Narrative should address pre-development hydrology and current ecological conditions and how these are addressed in the project design. | Fully | Green |  |  | imperative 5 and 6
Access to public transportation | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | Imperative 4 - Human-Scaled Living (Mandatory for all LBC projects) Imperative 17 - Universal Access (Mandatory for all LBC projects) | Mandatory | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization, Option 4 - Imperative 4 - Human-Scaled Living - The intent of this Imperative is to contribute toward the creation of walkable, pedestrian-oriented communities that reduce the use of fossil fuel vehicles. Advocacy in the community to facilitate the uptake of human-powered and public transportation is a focus. The following must be required: A transit subsidy for all occupants of the building (if owner-occupied) or a requirement for tenant employers to provide such a subsidy and Carpool coordination assistance. Imperative 17 - Universal Access - All projects must make all primary transportation, roads, and non-building infrastructure that are considered externally focused (e.g., plazas, seating, or park space) equally accessible to all members of the public regardless of background, age, and socioeconomic class—including the homeless—with reasonable steps taken to ensure that all people can benefit from the project’s creation. | Fully | Green |  |  | imperative 4 and 17
Consideration of occupant transportation emissions | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | Imperative 4 - Human-Scaled Living (Mandatory for all LBC projects) | Mandatory | Yes | Yes | GP EB 1.4 Infrastructure Utilization and Optimization, Option 4 - Imperative 4 - Human-Scaled Living - The intent of this Imperative is to contribute toward the creation of walkable, pedestrian-oriented communities that reduce the use of fossil fuel vehicles. | Fully | Green |  |  | imperative 4
Commissioning | GP EB 1.5 Commissioning | Page 33 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification)Ongoing commissioning, balancing, testing, and metering are encouraged through our technical support and guidance documents to achieve the performance outcomes. | Mandatory/ Mandatory LBC Living, Optional for LBC Petal | No | No | N/A | N/A | Red
Part II - Optimize Energy Performance
Energy use reduction | GP EB 2.1 Energy Efficiency | Page 34 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 2.1 Energy Efficiency, Option 1 & 2 - Imperative 7 - Energy and Carbon Reduction - All projects must achieve a reduction in total net annual energy consumption (after accounting for on-site renewable power), as compared to a typical existing building with comparable climate, size, use, and occupancy, and combustion must be limited as follows: 50% reduction from an equivalent building baseline for Existing Buildings. Imperative 8 - Net Positive Carbon - The intent of this Imperative is to foster the development and use of carbon-free renewable energy resources while avoiding the negative impacts of fossil fuel use, primarily the emissions that contribute to global climate change.All projects must supply one hundred and five percent of their project’s energy needs through on-site renewable energy on a net annual basis, without the use of combustion. | Fully | Green |  |  | Imperative 7
procurement of ENERGY STAR products and/ Federal Energy Management Program or products | GP EB 2.1 Energy Efficiency | Page 34 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification)Ongoing commissioning, balancing, testing, and metering are encouraged through our technical support and guidance documents to achieve the performance outcomes. | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 2.1 Energy Efficiency, Option 1 & 2 | Partially | Yellow | It's stated that "Procurement of Energy Star and FEMP products are a key strategy outlined in the technical support and guidance documents offered to project teams." However, procurement of Energy Star and FEMP products are not explicitly stated in LBC standards.
Energy metering | GP EB 2.2 Energy Metering | Page 34 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory | Yes | Yes | GP EB 2.2 Energy Metering - Imperative 7 - Energy and Carbon Reduction - All projects must meter energy used by the project. Imperative 8 - Net Positive Carbon - All projects (except single-family residential) must sub-meter major energy end uses. | Fully | Green |  |  | imperative 7
Renewable energy | GP EB 2.3 Renewable Energy | Page 35 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory | Yes | Yes | GP EB 2.3 Renewable Energy, Option 1 - Imperative 7 - Energy and Carbon Reduction - All projects must be designed to be “zero ready” through strategies such as designating area(s) and/or preinstalling wiring and connections for both electric vehicle charging and future installation of renewable energy systems. Imperative 8 - Net Positive Carbon - All projects must supply one hundred and five percent of their project’s energy needs through on-site renewable energy on a net annual basis, without the use of combustion. | Fully | Green |  |  | imperative 7 and 8
Benchmarking | GP EB 2.4 Benchmarking | Page 35 | Yes | Imperative 7 - Energy and Carbon Reduction (Mandatory for all LBC projects) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 2.4 Benchmarking | Fully | Green |  |  | imperative 7
Part II - Protect and Conserve Water
Indoor water use reduction | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.1 Indoor Water Use, Option 1 - Imperative 5 - Responsible Water Use - EB must use 30% less water than a baseline regional building of the same type. | Fully | Green |  |  | imperative 5 and 6
Procurement Water conserving products | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Procurement of water conserving products is a key strategy outlined in the technical support and guidance documents provided to project teams. | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.1 Indoor Water Use, Option 1 | Fully | Green |  |  | imperative 5 and 6
Water use in cooling equipment | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Water reductions for LBC include ALL process and potable water end-uses. | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 3.1 Indoor Water Use, Option 1 | Partially | Yellow |  |  | Imperative 6
Water metering | GP EB 3.2 Water Metering | Page 36 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.2 Water Metering, Option 1 - Imperative 6 - Net Positive Water - The project must demonstrate at the time of certification that it has minimized, or met 100 percent of, its water demand through site-sourced water for a continuous 12-month performance period. The building must be at least 85 percent occupied at the start of the performance period, and the metered data must be adjusted appropriately to show that if/when 100 percent occupied, the project could still meet the water demand. Adequate water metering and tracking systems are required to show compliance. At a minimum, monthly readings must be recorded documenting the project’s actual water use (gal/month) as well as quantity from each supply source. | Fully | Green |  |  | Imperative 5 and 6
Outdoor water use reduction | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.3 Outdoor Water Use, Option 1 - Imperative 2 - Water sources for irrigation must be non-potable to minimize unnecessary energy for purification, unless there is a health concern or code-related requirement stating that potable water must be used for on-site agriculture. Imperative 5 - Responsible Water Use - All projects must not use potable water for irrigation. | Fully | Green |  |  | Imperative 5 and 6
Water efficient landscapes | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.3 Outdoor Water Use, Option 1 - Imperative 2 - Water sources for irrigation must be non-potable to minimize unnecessary energy for purification, unless there is a health concern or code-related requirement stating that potable water must be used for on-site agriculture. Imperative 5 - Responsible Water Use - All projects must not use potable water for irrigation. | Fully | Green |  |  | imperative 1, 5, and 6
Alternative sources of water | GP EB 3.4 Alternative Water | Page 37 | Yes | Imperative 5 - Responsible Water Use (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 3.4 Alternative Water, Option 1 - Imperative 6 - All projects must supply one hundred percent of the project’s water needs through captured precipitation or other natural closed-loop water systems, and/or through recycling used project water, and all water must be purified as needed without the use of chemicals. | Fully | Green |  |  | imperative 5 and 6
Part II - Enhance the Indoor Environment
Ventilation and thermal comfort | GP EB 4.1 Ventilation and Thermal Comfort | Page 38 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.1 Ventilation and Thermal Comfort, Option 1 - Imperative 9 - Projects must comply with ASHRAE Standard 62 and smoking within any buildings or enclosed spaces, and within 25’ of any building opening, including air supply vents, is prohibited. | Fully | Green |  |  | imperative 9 and 10
Daylighting and lighting controls | GP EB 4.2 Daylighting and Lighting Controls | Page 38 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.2 Daylighting and Lighting Controls, Option 1 - Imperative 9 - Project teams are encouraged to incorporate as many outside views and as much daylighting as programmatically appropriate in order to balance energy use and support visual acuity, with a minimum requirement that 75% of regularly occupied spaces have access to views outside and daylight. Daylight and views to the outside should, however, be balanced with other considerations, including glare issues. Light shelves, window shades, or awnings can provide glare mitigation when it is an issue, allowing daylight and/or views while protecting from glare. | Fully | Green |  |  | imperative 9 and 10
Low-emitting materials and products | GP EB 4.3 Low-Emitting Materials and Products | Page 38 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects)y for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 12 - Responsible Materials (Mandatory for all LBC Projects) Imperative 13 - Red List (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 14 - Responsible Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.3 Low-Emitting Materials and Products, Option 1 | Fully | Green |  |  | imperatives 9, 10, 12, 13, 14
Radon mitigation | GP EB 4.4 Radon Mitigation | Page 39 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 4.4 Radon Mitigation | Partially | Yellow |  |  | imperative 10
Moisture and Mold control | GP EB 4.5 Moisture and Mold Control | Page 39 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 4.5 Moisture and Mold Control | Partially | Yellow | Both temperature and humidity are monitored, thereby moisture and mold control is utilized. However, nothing about mold control mitigation is explicitly stated. |  | imperative 9 and 10
Protecting IAQ during construction and operations | GP EB 4.6 Indoor Air Quality during Construction | Page 39 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.6 Indoor Air Quality during Construction, Option 1 | Fully | Green |  |  | imperative 9 and 10
Environmental smoking control | GP EB 4.7 Environmental Smoking Control | Page 39 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.7 Environmental Smoking Control, Option 1 | Fully | Green |  |  | imperative 9
Integrated pest management | GP EB 4.8 Integrated Pest Management | Page 40 | Yes | Imperative 1 Ecology of Place (Mandatory for all LBC projects) Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 4.8 Integrated Pest Management | Partially | Yellow |  |  | imperative 1, 9, and 10
Occupant health and wellness | GP EB 4.9 Occupant Health and Wellness | Page 40 | Yes | Imperative 9 - Healthy Interior Environment (Mandatory for all LBC projects)y for all LBC projects) Imperative 10 - Healthy Interior Performance (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 11 - Access to Nature (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 4.9 Occupant Health and Wellness, Option 1 | Fully | Green |  |  | imperative 9, 10, 11
Part II - Reduce the Environmental Impact of Materials
Materials with Recycled content | GP EB 5.1 Materials - Recycled Content | Page 41 | Yes | Imperative 12 - Responsible Materials (Mandatory for all LBC Projects) Imperative 14 - Responsible Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 5.1 Materials - Recycled Content | Partially | Yellow | It is stated that "In order to meet high diversion rates, project teams are expected to go beyond business as usual in order to stimulate and support recycling innovators if necessary. Project teams are encouraged to examine alternative construction methods that might reduce the amount of product waste, particularly where no recycling infrastructure exists locally, and to consider the challenges of recycling when determining whether to use specific products in the project." However, no more specifics are listed on how projects should utilize RCRA compliant products. |  | imperative 12, 13 and 14
Materials Biobased content | GP EB 5.2 Materials - Biobased Content | Page 41 | Yes | Imperative 12 - Responsible Materials (Mandatory for all LBC Projects) Imperative 14 - Responsible Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 5.2 Materials - Biobased Content | Fully | Green | No mention of the USDA Biopreferred program or products. In order to meet the guiding principles, agencies would need to ensure these products are used. |  | imperative 12 and 14
Environmentally preferable products | GP EB 5.3 Products | Page 41 | Yes | Imperative 12 - Responsible Materials (Mandatory for all LBC Projects) Imperative 14 - Responsible Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 15 - Living Economy Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 5.3 Products, Option 1 | Fully | Green |  |  | imperative 12, 14, and 15
Ozone depleting substances | GP EB 5.4 Ozone Depleting Substances | Page 41 | Yes | Imperative 13 - Red List (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 5.4 Ozone Depleting Substances, Option 1 | Fully | Green |  |  | imperative 13
Hazardous waste | GP EB 5.5 Hazardous Waste | Page 42 | Yes | Imperative 12 - Responsible Materials (Mandatory for all LBC Projects) Imperative 14 - Responsible Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 15 - Living Economy Sourcing (Mandatory for LBC Living Certification, Optional for LBC Petal) Imperative 16 - Net Positive Waste (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 5.5 Hazardous Waste | Partially | Yellow |  |  | imperative 12 and 13
Solid waste management | GP EB 5.6 Solid Waste Management | Page 42 | Yes | Imperative 16 - Net Positive Waste (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory LBC Living, Optional for LBC Petal | Yes | Yes | GP EB 5.6 Solid Waste Management, Option 4 | Fully | Green |  |  | imperative 16
Part II - Assess and Consider Building Resilience
Risk Assessment | GP EB 6.1 Risk Assessment | Page 43 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 6.1 Risk Assessment | Partially | Yellow |  |  | imperative 6 and 8
Building Resilience | GP EB 6.2 Building Resilience and Adaptation | Page 44 | Yes | Imperative 1 - Ecology of Place (Mandatory for all LBC projects) Imperative 6 - Net Positive Water (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 8 - Net Positive Carbon (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) Imperative 16 - Net Positive Waste (Mandatory for LBC Living Certification, Optional for LBC Petal Certification) | Mandatory / Mandatory LBC Living, Optional for LBC Petal | Yes | Partially | GP EB 6.2 Building Resilience and Adaptation | Partially | Yellow |  |  | imperative 6 and 8

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response