## GP analysis of LEED O+M
LEED O+M (Existing Buildings) |  |  | System Owner Survey Response |  |  | LMI Review
GBCS Review Criteria | Guiding Principle | GP Compliance Language | Does System address Criteria? | What credit/criteria numbers did the system owner reference? | Which criteria are mandatory/ optional? | Is answer complete? | Validate Answer: do credit(s)/criteria address GP? | What Part of the GP criteria does the system credit/criteria meet? | Does credit/criteria partially or fully meet criteria? | How should this be scored? (Green = Fully aligns with and meets GP criteria; Yellow = partially aligns with and meets GP criteria; Red = system does not address criteria) | Notes | Meet GP? | Prerequisite / Credits needed to meet GP | Points
Part II - Employ Integrated Design Principles
Integrated design and management | GP EB 1.1 Integrated Design and Management | Page 31 | Yes | **Note: Throughout this form, page numbers refer to the LEED v4.1 O+M Rating System, found here and attached to this email package: https://www.usgbc.org/resources/leed-v41-om-proposed-rating-system-clean ** Integrated design is not directly address in LEED v4.1 EB:O+M which focuses on existing buildings. The rating system does include some elements that reinforce an integrated approach to facilities management. For example, LEED v4.1 EB:O+M EA Prerequisite: Energy Efficiency Best Management Practices (page 15) requires an energy audit and facilities operations and management plan that will help coordinate operations, and MR Prerequisite: Facility Maintenance and Renovations Policy (page 26) which includes a plan for facility maintenance, repair, renovation, and guidance for fitout, that helps integrate goals of waste management and indoor environmental quality. These are both mandatory prerequisites. LEED v4.1 EB:O+M SS Credit: Site Management (page 11) addresses several aspects of the site in an integrated way. This is an optional credit.` | Optional | Yes | Partially | All of the credits EB 1.1: MR Prerequisite: Facility Maintenance and Renovations Policy | Partially | Yellow | To meet the Guiding Principles, agencies would need to either reference 2018 IgCC Appendix F Integrated Design or have a more tailored Intergrated design and Management Plan |  | MR Prerequisite: Facility Maintenance and Renovations Policy
Access to public amenities/neighborhood assets | GP EB 1.2 Sustainable Siting | Page 31 | No | Access to amenities is indirectly addressed in LEED v4.1 EB:O+M through the LT Prerequisite: Transportation Performance (page 4), which requires an annual or more frequent transportation survey and achieving a minimum performance score. The score rates the project’s greenhouse gas emissions measured in carbon dioxide equivalent emissions (CO2e) resulting from transportation to and from the building against other high performing buildings worldwide. This is a mandatory prerequisite. | None | No | No | None | None | Red
Floodplain avoidance | GP EB 1.2 Sustainable Siting | Page 31 | No | LEED v4.1 EB: O+M is a certification system for the operations and maintenance of existing buildings. Floodplain avoidance is outside the scope of this certification system. | None | No | No | None | None | Red
Protection of historic resources | GP EB 1.2 Sustainable Siting | Page 31 | No | LEED v4.1 EB: O+M is a certification system for the operations and maintenance of existing buildings. The protection of historic resources is outside the scope of this certification system. | None | No | No | None | None | Red
Preservation and protection of surrounding areas and habitats | GP EB 1.2 Sustainable Siting | Page 31 | Yes | Preservation and protection of surrounding areas and habitats is addressed in LEED v4.1 EB:O+M in several Sustainable Sites credits. The SS Credit: Site Management (page 11) requires a site management plan, including an integrated pest management plan, monitoring and eradicating invasive and exotic species, preventing erosion, reducing fertilizer use to only as needed, and reduced use of pesticides; these best practices reduce the potential for negative impacts around and off-site including inadvertently through impacts to insects and birds, further spread of invasives, and pesticide drift. This is an optional credit. LEED v4.1 EB:O+M SS Credit: Heat Island Reduction (page 8)aims to minimize effects on microclimates and human and wildlife habitats by reducing heat islands.. This credit rewards projects for use of reflective or vegetated surfaces and shading. This is an optional credit. LEED v4.1 EB:O+M SS Credit: Light Pollution Reduction (page 10) aims to minimize impacts of exterior lighting on wildlife. This credit rewards projects for best practices or meeting night illumination standards. This is an optional credit. | Optional | Yes | Yes | All of the Credits fulfill EB 1.2: SS Credit: Site Management and SS Credit: Heat Island Reduction | Fully | Green |  |  | SS Credit: Site Management SS Credit: Heat Island Reduction SS Credit: light Pollution Reduction
Stormwater management | GP EB 1.3 Stormwater Management | Page 32 | Yes | Stormwater management is primarily addressed by LEED v4.1 EB:O+M SS Credit: Rainwater Management (page 7), which requires projects to conserve and improve existing natural areas and use low impact development to capture and treat water from impervious surfaces and replicate the natural hydrology and water balance of the site. This is an optional credit. Additionally, SS Credit: Site Management (page 11) requires a site management plan incorporating best practice and environmentally sensitive site management practices. The plan must include elements that directly support stormwater efficiency like eliminating unnecessary irrigation and eliminating invasive and exotic plant species. This is an optional credit. | Optional | Yes | Yes | All of the Credits fulfill EB 1.3 SS Credit: Rainwater Management and SS Credit: Site Management | Fully | Green |  |  | SS Credit: Rainwater Management SS Credit: Site Management
Access to public transportation | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | Access to public transportation is addressed in LEED v4.1 EB:O+M through the LT Prerequisite: Transportation Performance (page 4), which requires an annual or more frequent transportation survey and achieving a minimum performance score. The score rates the project’s greenhouse gas emissions measured in carbon dioxide equivalent emissions (CO2e) resulting from transportation to and from the building against other high performing buildings worldwide. Access to public transportation facilitates a better score. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the Credits fulfill EB1.4 LT Prerequisite: Transportation Performance | Fully | Green |  |  | LT Prerequisite: Transportation Performance
Consideration of occupant transportation emissions | GP EB 1.4 Infrastructure Utilization and Optimization | Page 32 | Yes | Occupant transportation emissions are addressed in LEED v4.1 EB:O+M through the LT Prerequisite: Transportation Performance (page 4), which requires an annual or more frequent transportation survey and achieving a minimum performance score. The score rates the project’s greenhouse gas emissions measured in carbon dioxide equivalent emissions (CO2e) resulting from transportation to and from the building against other high performing buildings worldwide. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the Credits fulfill EB1.4 LT Prerequisite: Transportation Performance | Fully | Green |  |  | LT Prerequisite: Transportation Performance
Commissioning | GP EB 1.5 Commissioning | Page 33 | Yes | Commissioning is addressed in LEED v4.1 EB:O+M EA Credit: Grid Harmonization (page 23), which calls for demand response processes to be included in building commissioning. This is an optional credit. The EA Prerequisite: Energy Efficiency Best Management Practices (page 15) may also lead to retrocommisioning, by requiring an energy audit and operations and maintenance plan including preventive maintenance. This is a mandatory prerequisite. | Optional | Yes | Partially | All of the credits fulfill EB 1.5 : EA Credit: Grid Harmonization and EA Prerequisite: Energy Efficiency Best Management Practices | Partially | Yellow
Part II - Optimize Energy Performance
Energy use reduction | GP EB 2.1 Energy Efficiency | Page 34 | Yes | Energy use reduction is addressed by several prerequisites and credits in LEED v4.1 EB:O+M. First, the EA Prerequisite: Energy Efficiency Best Management Practices (page 15) supports energy use reduction by requiring an energy audit and operations and maintenance plan, including preventive maintenance. Second, the achievement of and the points awarded in EA Prerequisite: Energy Performance (page 17) are based on the building’s energy performance and greenhouse gas emissions using the energy performance score, benchmarked against other high-performing buildings. The score is explained in the Rating System and a minimum score is required for certification. These are mandatory prerequisites. LEED v4.1 EB:O+M EA Credit: Grid Harmonization (page 23) also supports reduced energy use, by increasing the tools and building team awareness of time of use impacts of energy use, and encouraging participation in demand response programs whereby demand may be modified by or in conjunction with the power grid operator. This is an optional credit. | Mandatory | Yes | Partially | All of the credits fulfill EB2.1 EA Prerequisite: Energy Efficiency Best Management Practices and EA Prerequisite: Energy Performance | Partially | Yellow | To meet the Guiding Principles, agencies would need to ensure they reference ASHRAE 90.1-2013 in their projects and be 30% more efficient than ASHRAE 90.1-2013, demonstrate energy use is 20% below FY2015 baseline, demonstrate energy use is 30% below FY2003 baseline, or achieve an Energy Star rating of 75 or higher. |  | EA Prerequisite: Energy Efficiency Best Management Practices EA Prerequisite: Energy Performance
procurement of ENERGY STAR products and/ Federal Energy Management Program or products | GP EB 2.1 Energy Efficiency | Page 34 | Yes | Procurement of ENERGY STAR products is addressed in LEED v4.1 EB:O+M MR Credit: Purchasing (page 30), which includes an option for electronics equipment that has the EPEAT rating or ENERGY STAR rating (page 33). This is an optional credit. ENERGY STAR/FEMP products are indirectly encouraged through EA Prerequisite: Energy Performance (page 17) which requires a threshold score based on efficiency as well as greenhouse gas emissions. This is a mandatory prerequisite. | Optional | Yes | Yes | All of the credits fulfill EB 2.1 EA Prerequisite: Energy Performance and MR Credit: Purchasing (page 30), which includes an option for electronics equipment that has the EPEAT rating or ENERGY STAR rating (page 33) | Fully | Green |  |  | EA Prerequisite: Energy Performance MR Credit: Purchasing
Energy metering | GP EB 2.2 Energy Metering | Page 34 | Yes | Energy metering is addressed in LEED v4.1 EB:O+M EA Prerequisite: Energy Performance (page 17), which requires permanently installed energy meters or submeters that measure total building energy consumption (electricity, natural gas, chilled water, steam, fuel oil, propane, etc.). This mandatory prerequisite also requires meter calibration. | Mandatory | Yes | Yes | All of the credits fulfill EB 2.2 EA Prerequisite: Energy Performance | Fully | Green |  |  | EA Prerequisite: Energy Performance
Renewable energy | GP EB 2.3 Renewable Energy | Page 35 | Yes | Renewable energy is addressed through LEED v4.1 EB:O+M EA Prerequisite: Energy Performance (page 17). This prerequisite requires a minimum score based on benchmarking the building for energy performance and greenhouse gas emissions using the Arc platform performance score. The score is explained in the rating system. The use of the greenhouse gas emission metric in the score reinforces the use of renewable energy. This is a mandatory prerequisite | Mandatory | Yes | Partial | All of the credits fulfill EB2.3: EA Prerequisite: Energy Performance | Partially | Yellow
Benchmarking | GP EB 2.4 Benchmarking | Page 35 | Yes | Benchmarking is addressed in LEED v4.1 EB:O+M in numerous ways. Specifically with respect to energy, the achievement of and the points awarded in EA Prerequisite: Energy Performance (page 17) are based on benchmarking the building for energy performance and greenhouse gas emissions using the Arc platform performance score. The score is explained in the rating system and a minimum score is required for certification. This is a mandatory prerequisite. Note that satisfaction and achievement of points in WE Prerequisite: Water Performance (page 12) are also based on benchmarking performance using actual data. | Mandatory | Yes | Yes | All of the credits fulfill EB2.4: EA Prerequisite: Energy Performance | Fully | Green |  |  | EA Prerequisite: Energy Performance
Part II - Protect and Conserve Water
Indoor water use reduction | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Indoor water use reduction is addressed in LEED v4.1 EB:O+M through WE Prerequisite: Water Performance (page 12). This prerequisite requires water metering, and satisfaction and achievement of points in this prerequisite are based on benchmarking performance using actual data. A minimum score is required for certification. MR Prerequisite: Facility Maintenance and Renovations Policy (page 26) includes a plan for facility maintenance, repair, renovation, and guidance for fitout, may also help ensure attention is paid to any leaky fixtures or other issues that could waste water. These are both mandatory prerequisites. | Mandatory | Yes | Yes | All of the crredits fulfill EB3.1: WE Prerequisite: Water Performance and Facility Maintenance and Renovations Policy | Fully | Green |  |  | WE Prerequisite: Water Performance
Procurement Water conserving products | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Water-conserving products are addressed indirectly through WE Prerequisite: Water Performance (page 12) which requires a threshold score for certification, and which water-conserving products will help achieve. Additionally, LEED v4.1 EB:O+M MR Prerequisite: Purchasing Policy (page 25) requires an purchasing policy based on environmentally preferable characteristics which may include water conservation, and MR Prerequisite: Facility Maintenance and Renovation Policy (page 26), requires a purchasing policy related to maintenance and renovations, which may include water conservation attributes. These are all mandatory prerequisites. In addition, MR Credit: Purchasing (page 30) encourages use of products and materials with various environmentally preferable attributes, with several options. This is an optional credit. EQ Prerequisite: Green Cleaning Policy (page 38), mandatory, and EQ Credit: Green Cleaning (page 44), optional, also support use of water conserving products, as having appropriate, tested cleaning products and following best practices can conserve water. | Both | Yes | Yes | All of the credits fulfill EB3.1: WE Prerequisite: Water Performance and MR Prerequisite: Purchasing Policy and MR Prerequisite: Facility Maintenance and Renovation Policy | Fully | Green
Water use in cooling equipment | GP EB 3.1 Indoor Water Use | Page 36 | Yes | Water use in cooling equipment is addressed indirectly through WE Prerequisite: Water Performance (page 12) which requires a threshold score for certification. The score can better be achieved if a project achieves reduced water use in cooling equipment, such as by following best practices (including those outlined in the LEED v4.1 BD+C water efficiency credits). Water performance is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the credits fulfill EB 3.1: WE Prerequisite: Water Performance | Fully | Green
Water metering | GP EB 3.2 Water Metering | Page 36 | Yes | Water metering is addressed in LEED v4.1 EB:O+M through WE Prerequisite: Water Performance (page 12). This prerequisite requires water metering including the project and associated grounds. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the credits fulfill EB 3.2: WE Prerequisite: Water Performance | Fully | Green |  |  | WE Prerequisite: Water Performance
Outdoor water use reduction | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Outdoor water use reduction is addressed in LEED v4.1 EB:O+M through WE Prerequisite: Water Performance (page 12). This prerequisite requires water metering including the project and associated grounds. Satisfaction and achievement of points in this prerequisite are based on benchmarking performance using actual data. A minimum score is required for certification. This is a mandatory prerequisite. Additionally, several Sustainable Sites credits support outdoor water use reduction, such as SS Credit: Site Management (page 11) which has irrigation best practices to reduce waste. These are optional credits. | Optional | Yes | Yes | All of the credits fulfill EB 3.3: WE Prerequisite: Water Performance and SS Credit: Site Management | Fully | Green |  |  | SS Credit: Site Management
Water efficient landscapes | GP EB 3.3 Outdoor Water Use | Page 37 | Yes | Water efficient landscapes are addressed in LEED v4.1 EB:O+M through WE Prerequisite: Water Performance (page 12), whereby water used in the landscape is included. Satisfaction and achievement of points in this prerequisite are based on benchmarking performance using actual data. A minimum score is required for certification. This is a mandatory prerequisite. Additionally, several Sustainable Sites credits support water efficient landscapes, such as SS Credit: Site Management (page 11). These are voluntary credits. | Mandatory | Yes | Partially | All of the credits fulfill EB 3.3: WE Prerequisite: Water Performance and SS Credit: Site Management | Partially | Yellow | To meet the Guiding Principles,The rating system needs to address the use of water-efficient landscapes and reducing outdoor irrigation; however, there are only enough points allotted up to a 40% reduction.
Alternative sources of water | GP EB 3.4 Alternative Water | Page 37 | No | Alternative sources of water are indirectly addressed in LEED v4.1 EB:O+M through WE Prerequisite: Water Performance (page 12), whereby using nonpotable water will help the project achieve the minimum score or an improved score for points. Water performance is a mandatory prerequisite. | No | No | No | None | None | Red
Part II - Enhance the Indoor Environment
Ventilation and thermal comfort | GP EB 4.1 Ventilation and Thermal Comfort | Page 38 | Yes | Ventilation is addressed in the LEED v4.1 EB:O+M EQ Prerequisite: Minimum Indoor Air Quality (page 34). The prerequisite includes standards, maintenance best practices, and measurements. This is a mandatory prerequisite. Ventilation and thermal comfort are both addressed in the LEED v4.1 EB:O+M EQ Prerequisite: Indoor Environmental Quality Performance (page 40). The prerequisite. This is a mandatory prerequisite, with options for achievement including standards, occupant satisfaction surveys, maintenance best practices, and air quality measurements. | Mandatory | Yes | Yes | All of the credits fulfiill EB 4.1 EQ Prerequisite: Minimum Indoor Air Quality and EQ Prerequisite: Indoor Environmental Quality Performance | Fully | Green |  |  | EQ Prerequisite: Minimum Indoor Air Quality
Daylighting and lighting controls | GP EB 4.2 Daylighting and Lighting Controls | Page 38 | Yes | Lighting controls are addressed directly in the LEED v4.1 EB:O+M EA Prerequisite: Energy Efficiency Best Management Practices (page 15). This is a mandatory prerequisite. In addition, lighting controls may contribute to the scores for the LEED v4.1 EB:O+M EA Prerequisite: Energy Performance (page 17) as supporting energy efficiency, and EQ Prerequisite: Indoor Environmental Quality Performance (page 40) as reflected in occupant satisfaction. These are both mandatory prerequisites. Daylighting is not directly addressed in LEED v4.1 EB:O+M, but is indirectly addressed in the EQ Prerequisite: Indoor Environmental Quality Performance (page 40) as reflected in occupant satisfaction. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the credits fulfill EB 4.2: EA Prerequisite: Energy Efficiency Best Management Practices and EA Prerequisite: Energy Performance | Fully | Green |  |  | EA Prerequisite: Energy Efficiency Best Management Practices
Low-emitting materials and products | GP EB 4.3 Low-Emitting Materials and Products | Page 38 | Yes | Low-emitting materials and products are addressed directly in one prerequisite and two optional credits. LEED v4.1 EB:O+M EQ Prerequisite: Green Cleaning Policy (page 38) requires a green cleaning policy or professional services, including the use of cleaning products and materials that meet green cleaning standards aiming to reduce emissions. This is a mandatory prerequisite. Low-emitting materials and products are incentivized in LEED v4.1 EB:O+M MR Credit: Purchasing (page 30); and in LEED v4.1 EB:O+M EQ Credit: Green Cleaning (page 44). Both are optional credits; the extent to which each credit results in low-emitting materials and products depends on the options and criteria selected by the project. Low-emitting materials may also be indirectly addressed in the EQ Prerequisite: Indoor Environmental Quality Performance (page 40) as reflected in occupant satisfaction. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the credits fulfill EB4.3: EQ Prerequisite: Green Cleaning Policy and MR Credit: Purchasing and Q Credit: Green Cleaning | Fully | Green |  |  | EQ Prerequisite: Green Cleaning Policy EQ Credit: Green Cleaning - Option 4
Radon mitigation | GP EB 4.4 Radon Mitigation | Page 39 | No | Radon mitigation is not addressed in LEED v4.1 EB:O+M. | No | No | No | None | None | Red
Moisture and Mold control | GP EB 4.5 Moisture and Mold Control | Page 39 | Yes | Moisture and mold control is addressed in LEED v4.1 EB:O+M MR prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires an indoor air quality policy for facility maintenance and renovation activities. Mold control is indirectly addressed in LEED v4.1 EB:O+M EQ Prerequisite: Green Cleaning Policy (page 38), mandatory, and EQ Credit: Green Cleaning (page 44), optional, in that having and implementing a detailed cleaning plan will help reduce the possibility of mold and enable any problems to be identified. Moisture and mold control may also be indirectly addressed in the EQ Prerequisite: Indoor Environmental Quality Performance (page 40) as reflected in occupant satisfaction. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the credits fulfill EB 4.5: MR prerequisite: Facility Maintenance and Renovation Policy and SS CREDIT: SITE MANAGEMENT | Fully | Green |  |  | Q Credit: Green Cleaning
Protecting IAQ during construction and operations | GP EB 4.6 Indoor Air Quality during Construction | Page 39 | Yes | Indoor Air Quality ( IAQ) during construction and operations is addressed in LEED v4.1 EB:O+M MR Prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires an indoor air quality policy for facility maintenance and renovation activities. EQ Prerequisite: Green Cleaning Policy (page 38), mandatory, and EQ Credit: Green Cleaning (page 44), optional, also support IAQ in that having and implementing a detailed cleaning plan will help reduce contaminants in the air, as well as incentivizing cleaning products with healthier characteristics. | Both | Yes | Yes | All of the Credits fulfill EB 4.6: MR Prerequisite: Facility Maintenance and Renovation Policy | Fully | Green |  |  | MR Prerequisite: Facility Maintenance and Renovation Policy
Environmental smoking control | GP EB 4.7 Environmental Smoking Control | Page 39 | Yes | Environmental smoking control is addressed in LEED v4.1 EB:O+M EQ Prerequisite: Environmental Tobacco Smoke Control (page 36), which requires prohibiting smoke in the building and in specified locations outside the building, and communicating the policy. This is a mandatory prerequisite. | Mandatory | Yes | Yes | All of the EB 4.7 EQ Prerequisite: Environmental Tobacco Smoke Control | Fully | Green |  |  | EQ Prerequisite: Environmental Tobacco Smoke Control
Integrated pest management | GP EB 4.8 Integrated Pest Management | Page 40 | Yes | Integrated pest management is addressed in two LEED v4.1 EB:O+M credits. The SS Credit: Site Management (page 11) requires a site management plan, including an integrated pest management plan. The EQ Credit: Integrated Pest Management (page 47) rewards projects with an in-house or contracted IPM program. These are optional credits. | Optional | Yes | Yes | All of the credits fulfill EB 4.8: EQ Credit: Integrated Pest Management and SS Credit: Site Management | Fully | Green |  |  | EQ Credit: Integrated Pest Management SS Credit: Site Management
Occupant health and wellness | GP EB 4.9 Occupant Health and Wellness | Page 40 | Yes | Multiple prerequisites and credits in LEED v4.1 EB:O+M have a beneficial impact on occupant health and wellness. Those most directly connected with occupant health and wellness are all of those in the Indoor Environmental Quality (EQ) category: Prerequisite: Minimum Indoor Air Quality (page 34), Prerequisite: Environmental Tobacco Smoke (page 36); Prerequisite: Green Cleaning Policy (page 38); Prerequisite: Indoor Environmental Quality Performance (page 40); Credit: Green Cleaning (page 44); and Credit: Integrated Pest Management (page 47). In addition, the LEED v4.1 EB:O+M SS Credit: Heat Island Reduction (page 8) can support occupant health and wellness by enabling more comfortable outdoor spaces including green space, shade, and playing areas; and the SS Credit: Site Management (page 11) can reduce occupant exposure to pesticides, noise, and air pollution. Several of the MR credits also support occupant health and wellness. LEED v4.1 EB:O+M MR Credit: Purchasing (page 30) encourages materials and products meeting sustainability and health standards; and LEED v4.1 EB:O+M MR Prerequisite: Facility Maintenance and Renovation Policy (page 26) requires an indoor air quality policy for facility maintenance and renovation activities. Finally, USGBC created a suite of pilot credits to support occupant wellness and health in light of particular risks and concerns posed by the COVID-19 pandemic. These pilot credits, which bear the label Safety First, are found here [https://www.usgbc.org/about/building-re-entry-resources] as well as in the pilot credit library. The following six Safety First pilot credits are available to LEED v4.1 EB:O+M projects: Safety First: Re-Enter Your Workspace [https://www.usgbc.org/credits/safety-first-136-v4.1] Safety First: Managing Indoor Air Quality during COVID-19 [https://www.usgbc.org/credits/safety-first-138-v4.1] Safety First: Maintenance of HVAC systems during COVID-19 [https://www.usgbc.org/credits/safety-first-156-v4.1] Safety First: Building Water System Recommissioning [https://www.usgbc.org/credits/safety-first-139-v4.1] Safety First: Cleaning and Disinfecting Your Space [https://www.usgbc.org/credits/safety-first-137-v4.1] Safety First: Arc Re-Entry [https://www.usgbc.org/credits/safety-first-142-v4.1] These are optional credits. | Both | Yes | Partially | All of the credits fulfill EB 4.9: Indoor Environmental Quality (EQ) category: Prerequisite: Minimum Indoor Air Quality | Partially | Yellow | To meet the Guiding Principles, agencies must adopt practices/policies that promote physical movement of its building occupants.
Part II - Reduce the Environmental Impact of Materials
Materials with Recycled content | GP EB 5.1 Materials - Recycled Content | Page 41 | Yes | Recycled content materials are addressed in LEED v4.1 EB:O+M MR Prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires a purchasing policy among other things. This is a mandatory prerequisite. In addition, MR Credit: Purchasing (page 30) encourages use of recycled content materials with several options. This is an optional credit. Additionally, EQ Credit: Green Cleaning (page 44) includes recycled content among the standards/criteria for disposable janitorial paper products and trash bags. | Both | Yes | Partially | All of the credits fulfill: MR Prerequisite: Facility Maintenance and Renovation Policy and MR Credit: Purchasing | Partially | Yellow | To meet the Guiding Principles, agencies must purchase products that meet or exceed EPA's recycled content recommendations. |  | MR Credit: Purchasing - option 1 - meet recycled materials and products criteria
Materials Biobased content | GP EB 5.2 Materials - Biobased Content | Page 41 | Yes | Biobased content of materials is addressed in LEED v4.1 EB:O+M MR Prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires a purchasing policy among other things, and MR Prerequisite: Purchasing Policy (page 25) which specifies environmentally preferable purchasing. These are mandatory prerequisites. In addition, MR Credit: Purchasing (page 30) encourages use of biobased content materials with several options. This is an optional credit. | Both | Yes | Partially | All of the credits fulfill EB5.2 MR Credit: Purchasing | Partially | Yellow | To meet the Guiding Principles, agencies must purchase products that meet or exceed USDA's biobased recycled content recommendations. |  | MR Credit: Purchasing - option 1 - meet biobased products category
Environmentally preferable products | GP EB 5.3 Products | Page 41 | Yes | Environmentally preferable products are addressed in LEED v4.1 EB:O+M MR Prerequisite: Purchasing Policy (page 25) which requires an environmentally preferable purchasing policy, and MR Prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires a purchasing policy. These are mandatory prerequisites. In addition, MR Credit: Purchasing (page 30) encourages use of products and materials with various environmentally preferable attributes, with several options. This is an optional credit. EQ Prerequisite: Green Cleaning Policy (page 38), mandatory, and EQ Credit: Green Cleaning (page 44), optional, also support use of environmentally preferable products, based on the listed standards for cleaning products. EQ Credit: Green Cleaning (page 44) also references environmentally preferable batteries in relation to janitorial equipment. This is an optional credit. | Both | Yes | Yes | All of the credits fulfill EB5.3: MR Prerequisite: Purchasing Policy and R Prerequisite: Facility Maintenance and Renovation Policy (page 26), which requires a purchasing policy and MR Credit: Purchasing | Fully | Green |  |  | MR Prerequisite: Purchasing Policy MR Prerequisite: Facility Maintenance Renovation Policy MR Credit: Purchasing
Ozone depleting substances | GP EB 5.4 Ozone Depleting Substances | Page 41 | Yes | Ozone depleting substances are addressed in the LEED v4.1 EB:O+M EA Prerequisite: Fundamental Refrigerant Management (page 16) and the companion EA Credit: Enhanced Refrigerant Management (page 21). The mandatory prerequisite requires avoiding the use of CRC-based refrigerants, or meeting specific conditions for reducing leakage and phase out. The prerequisite includes standards, maintenance best practices, and measurements. The optional credit rewards projects which have no refrigerants or low-impact refrigerants; or that comply with a maximum impact formula. In addition, MR Credit: Purchasing (page 30) encourages use of products and materials with various characteristics, one of which is optimization to reduce impact on the ozone layer. | Both | Yes | Yes | All of the credits fulfill EB5.4: EA Credit: Enhanced Refrigerant Management and MR Credit: Purchasing and EA Prerequisite: Fundamental Refrigerant Management | Fully | Green |  |  | EA Credit: Enhanced Refrigerant Management MR Credit: Purchasing EA Prerequisite: Fundamental Refrigerant Management
Hazardous waste | GP EB 5.5 Hazardous Waste | Page 42 | Yes | Several other prerequisites and credits contribute to reducing hazardous waste; for example, EQ Prerequisite: Green Cleaning Policy (page 38), mandatory, and EQ Credit: Green Cleaning (page 44), optional, also address hazardous waste in reducing the hazardous materials used in cleaning products through use of cleaning product standards, and through the policy requiring guidelines for safe handling and plans for managing spills. | Both | Yes | Yes | All of the credits fulfill EB5.5: EQ PREREQUISITE: GREEN CLEANING POLICY and EQ CREDIT: GREEN CLEANING | Fully | Green |  |  | EQ PREREQUISITE: GREEN CLEANING POLICY EQ CREDIT: GREEN CLEANING
Solid waste management | GP EB 5.6 Solid Waste Management | Page 42 | Yes | Waste management is addressed in LEED v4.1 EB:O+M MR Prerequisite: Waste Performance (page 28) which requires specific best practices, measurements of waste generated and diverted, and using a score for benchmarking. This is a mandatory prerequisite. MR Credit: Purchasing (page 30) also encourages use of products and materials with various characteristics, including take back policies and other aspects that may reduce waste, either at the building or in the supply chain/manufacturing. This is an optional credit. | Both | Yes | Partial | This credit fulfills EB 5.6: MR Prerequisite: Waste Performance and MR Credit: Purchasing | Partially | Yellow | While there are credits agencies can choose from below that address Solid Waste Management, these will not achieve total compliance with the Guiding Principles. The rating system did not address the reduction of waste by 50% in the MR PREREQUISITE: WASTE PERFORMANCE. |  | MR Prerequisite: Waste Performance
Part II - Assess and Consider Building Resilience | [14 empty] | Part II - G Siting Information | Part II - G Siting Information
Risk Assessment | GP EB 6.1 Risk Assessment | Page 43 | NO | LEED v4.1 EB:O+M does not directly address assessment of building risks such as from natural disasters or extreme weather; however, LEED has several resilient design credits that could be used by a project team to guide risk assessment and resiliency improvements in an existing building. See https://www.usgbc.org/resources/leed-resilient-design-pilot-credits-brief In addition, USGBC offers extensive resources for project teams to utilize to develop risk assessments and understand the potential impact of future conditions. See https://www.usgbc.org/resources/usgbc-case-studies-resilience and https://www.usgbc.org/about/programs/center-for-resilience Notably, LEED projects have access to the Arc platform, which offers embedded risk assessment tools, including a fee-based physical risk report from RiskFootprint. See https://arcskoru.com/new-tools-allow-arc-projects-understand-physical-risks | No | No | No | None | None | Red
Building Resilience | GP EB 6.2 Building Resilience and Adaptation | Page 44 | Yes | LEED v4.1 EB:O+M addresses building resilience and adaptation in several ways. First, by requiring and incentivizing greater energy and water efficiency, buildings will be inherently more resilient such as by needing less external energy and water to function. Second, the LEED v4.1 EB:O+M EA Credit: Grid Harmonization (page 23) specifically addresses resilience and adaptation with approaches whereby the building works with the grid through demand response, load flexibility and management, and/or grid resilience strategies such as islanding. These approaches help the building reduce its contribution to grid stress as well as potentially support resilience, depending on the options used. Third, the encouragement of alternative water may lead to more resilient sources of water being available for sanitation and/or consumption in a power outage or emergency. The Safety First pilot credits related to building operations in light of COVID-19 can also contribute to resilience. See descriptions and links under “occupant health and wellness”. Additionally, LEED has several resilient design credits that could be used by a project team to guide resiliency improvements in an existing building. See https://www.usgbc.org/resources/leed-resilient-design-pilot-credits-brief USGBC offers extensive resources for project teams to utilize to develop risk assessments and understand the potential impact of future conditions. See https://www.usgbc.org/resources/usgbc-case-studies-resilience and https://www.usgbc.org/about/programs/center-for-resilience | Mandatory | Yes | Yes | This credits fulfill EB6.2: LEED v4.1 EB:O+M EA Credit: Grid Harmonization : To increase participation in demand response technologies and programs that make energy generation and distribution systems more efficient, increase grid reliability, and reduce greenhouse gas emissions. | Fully | Green |  |  | LEED v4.1 EB:O+M EA Credit: Grid Harmonization
Key
EA |  | Energy and Atmosphere
EQ |  | Indoor Environmental Quality
IN |  | Innovation
IP |  | Integrated Process
LT |  | Location and Transportation
MR |  | Materials and Resources
SS |  | Sustainable Sites
WE |  | Water Efficiency
c |  | credit
p |  | prerequisite
EX:
WEc1 |  | Water Efficiency Credit 1: Indoor Water Use Reduction

## Drop-Down (hidden)
3 options | 4 options
[SELECT]
[SELECT] | Yes
Yes | No
No | Partially Met
Issue with Response | Issue with Response